MINISTRY OF THE EDUCATION AND SCIENCES OF THE REPUBLIC OF KAZAKHSTAN

M.AUEZOV SOUTH-KAZAKHSTAN STATE UNIVERSITY

A.Tukibayeva, S.Nazarbekova

EXAMINATION OF ORGANIC SUBSTANCES

Course of lectures

for students in specialty 5B060600 - Chemistry

Shymkent 2015

УДК

ББК

Tukibayeva A., Nazarbekova S. Examination of organic substances/ Course of lectures. - Shymkent: M.Auezov South-Kazakhstan State University, 2015. -86 p.

ISBN

Course of lectures is formed in accordance with the requirements of the curriculum and the program of discipline "Examination of organic substances" and includes all necessary information that practical occupation of the course.

Course of lectures is intended for students of specialty 5B060600-Chemistry.

The reviewers: doctor of Chemistry, professor Hadirov K.S.

candidate of Chemistry, assistant professor

Mailyeva G.K.

doctor of Chemistry, professor Sermanizov S.S.

It is considered and recommended for publication to print by meeting of the training-methodical advice of M.Auezov SKSU.

ISBN

© Tukibayeva A.,  Nazarbekova S.

© M.Auezov South-Kazakhstan State University, 2015.

Contents

|  | Алғы сөз (Preface)……………………………………............ | 4 |
| --- | --- | --- |
| №1 | Natural and synthetiс organic materials, their categorization. Methods of cleaning and division organic materials (extraction, sedimentation, sorption, crystallization, distillation sublimation)…. | 5 |
| №2 | Classification reactions of organic classes. Method of flowing dropping reaction............................................................................... | 12 |
| №3 | Identification of chemical elements and functional groups of organic materials................................................................................ | 13 |
| №4 | Titrimetric analysis of organic materials. Iodine and Bromine Numbers, Acid Number. Saponification and ester numbers.............. | 29 |
| №5 | Preparation of drugs to the analysis. Identification of drugs............. | 35 |
| №6 | Forensic investigation of the non-narcotic analgesic pharmaceutical drugs and their dosage forms............................................................. | 38 |
| №7 | Particularities of the analysis of narcotic and psychotropic material and precursors...................................................................... | 47 |
| №8-9 | Quantitative analysis of organic compounds. Definition of molecular weight of organic substances............................................ | 51 |
| №10-11 | Electrochemical methods of the analysis of organic materials.......... | 60 |
| №12-13 | Physical-chemical methods of determination of fine structures: Ultraviolet–Visible Spectroscopy or Ultraviolet-Visible Spectrophotometry (UV-VIS OR UV/VIS). Atomic Force Microscopy (AFM)............................................................................ | 63 |
| №14 | Chromatographic methods of division and cleanings of organic materials: Gas chromatography. GC/FID. Gas Chromatography–Mass Spectrometry (GC-MS). Liquid Chromatography (LC)........... | 71 |
| №15 | Inductively Coupled Plasma Atomic Emission Spectroscopy (ICP-AES). FT-IR Spectroscopy....................................................... | 80 |
|  | Glossary.............................................................................................. | 88 |
|  | References…………………………………………………….......... | 90 |

Алғы сөз (Preface)

Органикалық заттар, тіршіліктің негізі, сондай-ақ, химия және тамақ өнеркәсіптерінде негізгі шикізат бола тұра, негізгі қоршаған ортаны ластаушы заттардың бірі болып табылады, сонымен қатар уыттылығы жоғары пирогенді заттар қатарын құрайды және псхотропты әсер көрсететін фармацевтикалық препараттардың негізі болып табылады.

Тұрмыста кең аумақта органикалық негіздегі заттарды қолдану, болашақ химик, химик-сарапшы мамандарға органикалық заттарды және олардың негізіндегі өнімдерді сапалық және сандық талдауға, оларды сертификаттау жолдарын және талдаудың қазіргі заманауи физика-химиялық тәсілдерін меңгеруге үйренуді талап етеді.

Ұсынылып отырған дәрістер жинағы «Органикалық заттардың сараптамасы» пәнінің оқу бағдарламасына сәйкес жасалған және 5В060600 – Химия  мамандығы бойынша оқитын студенттерге таңдау пәні бойынша оқытылады және органикалық заттарды талдау және сараптау негіздерін тереңдетіп оқытуға бағытталған.

Курстың мақсаты - студенттерге органикалық заттардың және олардың негізіндегі өнімдердің негіздерін және ұқсастықтарын, органикалық заттардың қосындыларымен жұмыстардың спецификасымен, органикалық өосылысттардың негізгі кластарын сапалық және сандық талдаудың жоғарғы сезімтал әдістерімен, мемлекеттік және халықаралық стандарттарға  негізгі және жұқа органикалық синтез өнімдерінің сәйкестігін анықтау туралы түсінік беру.

Ұсынылып отырған дәрістер жинағы М.Әуезов атындағы Оңтүстік Қазақстан Мемлекеттік университетінің Ғылыми Кеңесі бекіткен пән (ЖОО бекіткен пән) болып табылады және таңдау компоненті бойынша пәндер тізіміне енгізілген және іске қосылған пәндердің оқу бағдарламасының (хаттама №1, 09.09.2011ж.) мазмұнына сәйкестендіріліп жасалған.

Дәрістер жинағында  органикалық заттардың жіктелуі және оларды тазалау әдістері; органикалық заттарды сапалық және сандық талдап сараптау, дәрі-дәрмек препараттарының сипаттамасы және оларды сапалық талдау, органикалық қосылыстарды қазіргі заманғы физика-химиялық әдістермен анықтау тәсілдері және осы әдістердің мүмкіндігі баяндалған.

LECTURE № 1

Natural and synthetiс organic materials, their categorization. Methods of cleaning and division organic materials

Plan of the lecture:

1. Natural organic materials, their characterization.

2. Characterization of the dissolved fraction of natural organic material

3. Synthetiс organic materials, their categorization.

4. Methods of cleaning and division of organic materials (extraction, sedimentation, sorption, crystallization, distillation sublimation)

Natural compounds refer to those that are produced by plants or animals. Many of these are still extracted from natural sources because they would be more expensive to produce artificially. Examples include most sugars, some alkaloids and terpenoids, certain nutrients such as vitamin B12, and, in general, those natural products with large orstereoisometrically complicated molecules present in reasonable concentrations in living organisms.

Further compounds of prime importance in biochemistry are antigens, carbohydrates, enzymes, hormones, lipids and fatty acids, neurotransmitters, nucleic acids, proteins,peptides and amino acids, lectins, vitamins, and fats and oils.

The content of natural organic material occurring in the terrestrial environment as well as in aquatic systems is defined as all withering material from plants and animals and their degradation products. Those organic compounds are all compounds containing carbon with the exception of carbon dioxide (CO2), carbonates, carbide and metal cyanides. Therefore, in various studies the total content of organic material is also expressed as the content of the total organic carbon (TOC), i.e. the total content of organic bonded carbon. Using this definition, TOC is measured as unit of carbon from total substances, in contrary to the content of total organic material (OM), which is measured as unit of volume. Degradation compounds can be categorized as biopolymers, which are predominantly polysaccharides and polypeptides, and as geopolymers (humic substances), which are random polymers of a variety of biological monomers.

Since the recognition of the importance of dissolved organic material (DOM) for most processes in the environment, great efforts have been made to classify, characterize and elucidate chemical structures of this complex class of compounds. As mentioned above DOM is the term for the dissolved fraction of a broad, complex mixture of natural substances. The constitution of DOM is dependent on the environmental compartment and location. Usually, only a minor part of DOM consists of simple compounds like carbohydrates, carboxylic acids, amino acids and hydrocarbons. The main part is formed by humic substances - coloured, polyelectrolytic acids. Classifications and terms used for DOM and its various compounds or classes of compounds are mainly based upon procedures applied for fractionating this complex mixture of natural substances. As already mentioned above, DOM itself is called the amount of organic carbon in aqueous solutions that passes through a 0.45 pm silver or glass fiber filter, whereas the part of organic compound retained on the filter is called particulate organic matter (POM). During the years after their classification a number of important analytical methods of studying DOM from soils as well as from water have been established. The mostly used of these strategies shall be outlined here. For a deeper insight a lot of books occupied in the field of humic substance research are meanwhile available. For a suitable application of sensitive analytical methods sample pretreatment for fractionating and clean-up are normally a prerequisite. The most difficult part from the analytical point of view are the humic substances on which the scientific interest is mainly focused.

Characterization of the dissolved fraction of natural organic material

Conventional elemental analysis allows the determination of carbon, hydrogen, oxygen, nitrogen, phosphorus, sulphur, halogens, ash and elemental ratios. Thus, elemental compositions and differences between DOM of various sources or alterations after chemical treatment can be examined. Parameters like acidity and cation exchange apacity of separated fractions or single compounds can be determined using titration or chemical derivatization. A further important strategy is the determination of the molecular weight of DOM-fractions. This can be done by gel permeation chromatography, ultrafiltration, small-angle x-ray scattering or by investigating the colligative properties of DOM. Normally different methods should be used, and the results which often differ strongly have to be considered critically. The problem is that for most of the methods, e.g. gel permeation chromatography, standards like proteins or polymers with known molecular weight are used. But the different behaviour of these well defined compounds compared to the unknown humic substances can lead to misleading results, as investigations could show. NMR-spectroscopy turned out to be one of the most important analytical methods for structure elucidation of DOM. Applying 1H-, 13C-, 15N- and 31P-NMR-spectroscopy, detailed information about binding characteristics of these elements can be obtained. Especially 13C NMR spectroscopy appears to be well suited for obtaining an inventory of the chemical composition of humic materials. Spectra can be obtained in solution-state and solid-state NMR-spectroscopy. Information about the presence of functional groups, aromatic systems or branched alkyl groups can be obtained.

Synthetic compounds

Compounds that are prepared by reaction of other compounds are known as "synthetic". They may be either compounds that already are found in plants or animals or those that do not occur naturally.

Most polymers (a category that includes all plastics and rubbers), are organic synthetic or semi-synthetic compounds.

Synthetic Organic Chemicals (SOCs) are organic (carbon based) chemicals that are less volatile than volatile organic compounds. SOCs are used as pesticides, defoliants, fuel additives and as ingredients for other organic compunds.  They are all man made and do not naturally occur in the environment. Some of the more well known SOCs are Atrazine, 2,4-D, Dioxin and Polychlorinated Biphenyls (PCBs).

SOCs most often enter the natural environment through application of pesticide (including runoff from areas where they are applied), as part of a legally discharged waste stream, improper or illegal waste disposal, accidental releases or as a byproduct of incineration. Some SOCs are very persistent in the environment, whether in soil or water.

SOCs are generally toxic and can have substantial health impacts from both acute (short-term) and chronic (long-term) exposure. Many are known carcinogens (cancer causing).

Methods of cleaning and division organic materials (extraction, sedimentation, sorption, crystallization, distillation, sublimation)

Extraction in chemistry is a separation process consisting in the separation of a substance from a matrix. It includes Liquid-liquid extraction, and Solid phase extraction. Extractions often use two immiscible phases to separate a solute from one phase into the other. Typical lab extractions are of organic compounds out of an aqueous phase and into an organic phase. Common extractants are arranged from ethyl acetate to water (ethyl acetate <acetone< ethanol <methanol < acetone:water (7:3) < ethanol:water (8:2) < methanol:water (8:2) < water) in increasing order of polarity according to the Hildebrand solubility parameter. The extract can be put back to dried form using a centrifugal evaporator or a freeze-drier. The distribution of a solute between two phases is an equilibrium condition described by partition theory. This is based on exactly how the analyte move from the water into an organic layer. echniques include supercritical carbon dioxide extraction, ultrasonic extraction, heat reflux extraction, microwave-assisted extraction, instant controlled pressure drop extraction (DIC), and perstraction. Boiling tea leaves in water extracts the tannins, theobromine, and caffeine out of the leaves and into the water. Solid-liquid extractions at laboratory scales can use Soxhlet extractors.

Sedimentation is the tendency for particles in suspension to settle out of the fluid in which they are entrained, and come to rest against a barrier. This is due to their motion through the fluid in response to the forces acting on them: these forces can be due to gravity, centrifugal acceleration or electromagnetism. In geology sedimentation is often used as the polar opposite of erosion, i.e., the terminal end of sediment transport. In that sense it includes the termination of transport by saltation or true bedload transport.Settling is the falling of suspended particles through the liquid, whereas sedimentation is the termination of the settling process.

Sedimentation may pertain to objects of various sizes, ranging from large rocks in flowing water to suspensions of dust and pollen particles to cellular suspensions to solutions of single molecules such as proteins and peptides. Even small molecules supply a sufficiently strong force to produce significant sedimentation.

The term is typically used in geology, to describe the deposition of sediment which results in the formation of sedimentary rock, and in various chemical and environmental fields to describe the motions of often-smaller particles and molecules. Process is also used in biotech industry to separate out cells from the culture media.

Absorption is a physical or chemical phenomenon or a process in which atoms, molecules or ions enter some bulk phase – gas, liquid or solid material. This is a different process from adsorption, since molecules undergoing absorption are taken up by the volume, not by the surface (as in the case for adsorption). A more general term is sorption, which covers absorption,adsorption, and ion exchange. Absorption is a condition in which something takes in another substance.

In many processes important in technology, the chemical absorption is used in place of the physical process, e.g., absorption of carbon dioxide by sodium hydroxide – such acid-base processes do not follow the Nernst partition law.

For some examples of this effect, see liquid-liquid extraction. It is possible to extract from one liquid phase to another a solute without a chemical reaction. Examples of such solutes are noble gases and osmium tetroxide.

The process of absorption means that a substance captures and transforms energy. The absorbent distributes the material it captures throughout whole and adsorbent only distributes it through the surface. The reddish color of copper is an example of this process because it is caused due to its absorption of blue light.

If absorption is a physical process not accompanied by any other physical or chemical process, it usually follows the Nernst distribution law: "the ratio of concentrations of some solute species in two bulk phases in contact is constant for a given solute and bulk phases":

The value of constant KN depends on temperature and is called partition coefficient. This equation is valid if concentrations are not too large and if the species "x" does not change its form in any of the two phases "1" or "2". If such molecule undergoes association or dissociation then this equation still describes the equilibrium between "x" in both phases, but only for the same form – concentrations of all remaining forms must be calculated by taking into account all the other equilibria.

In the case of gas absorption, one may calculate its concentration by using, e.g., the Ideal gas law, c = p/RT. In alternative fashion, one may use partial pressures instead of concentrations.

Absorption is a process that may be chemical (reactive) or physical (non-reactive).

Physical absorption

Physical absorption or non-reactive absorption is made between two phases of matter: a liquid absorbs a gas, or a solid absorbs a liquid.

When a liquid solvent absorbs a gas mixture or part of it, a mass of gas moves into the liquid. For example, water may absorb oxygen from the air. This mass transfer takes place at the interface between the liquid and the gas, at a rate depending on both the gas and the liquid. This type of absorption depends on the solubility of gases, the pressure and the temperature. The rate and amount of absorption also depend on the surface area of the interface and its duration in time. For example, when the water is finely divided and mixed with air, as may happen in a waterfall or a strong ocean surf, the water absorbs more oxygen. When a solid absorbs a liquid mixture or part of it, a mass of liquid moves into the solid.

Laboratory absorber: 1a): CO2 inlet; 1b): H2O inlet; 2): outlet; 3): absorption column; 4): packing.

For example, a clay pot used to store water may absorb some of the water. This mass transfer takes place at the interface between the solid and the liquid, at a rate depending on both the solid and the liquid. For example, pots made from certain clays are more absorbent than others. Absorption is essentially a molecule attaching themselves to a substance and will not be attracted from other molecules.

Chemical absorption

Chemical absorption or reactive absorption is a chemical reaction between the absorbed and the absorbing substances. Sometimes it combines with physical absorption. This type of absorption depends upon the stoichiometry of the reaction and the concentration of its reactants.

Crystallization is the (natural or artificial) process of formation of solid crystals precipitating from a solution, melt or more rarely deposited directly from a gas. Crystallization is also a chemical solid–liquid separation technique, in which mass transfer of a solute from the liquid solution to a pure solid crystalline phase occurs. In chemical engineering crystallization occurs in a crystallizer. Crystallization is therefore an aspect of precipitation, obtained through a variation of the solubility conditions of the solute in the solvent, as compared to precipitation due to chemical reaction.

Crystallization is used to improve (obtaining very pure substance) and/or verify their purity.

Crystallization separates a product from a liquid feedstream, often in extremely pure form, by cooling the feedstream or adding precipitants which lower the solubility of the desired product so that it forms crystals.

Well formed crystals are expected to be pure because each molecule or ion must fit perfectly into the lattice as it leaves the solution. Impurities would normally not fit as well in the lattice, and thus remain in solution preferentially. Hence, molecular recognition is the principle of purification in crystallization. However, there are instances when impurities incorporate into the lattice, hence, decreasing the level of purity of the final crystal product. Also, in some cases, the solvent may incorporate into the lattice forming a solvate. In addition, the solvent may be 'trapped' (in liquid state) within the crystal formed, and this phenomenon is known as "inclusion".

Distillation is a process of separating the component substances from a liquid mixture by selective evaporation and condensation. Distillation may result in essentially complete separation (nearly pure components), or it may be a partial separation that increases the concentration of selected components of the mixture. In either case the process exploits differences in the volatility of mixture's components. In industrial chemistry, distillation is a unit operation of practically universal importance, but it is a physical separation process and not a chemical reaction.

Laboratory display of distillation: 1:A source of heat 2: Still pot 3: Still head 4: Thermometer/Boiling point temperature 5: Condenser 6: Cooling water in 7: Cooling water out 8:Distillate/receiving flask 9: Vacuum/gas inlet 10: Still receiver 11: Heat control12: Stirrer speed control 13: Stirrer/heat plate 14: Heating (Oil/sand) bath 15:Stirring means e.g. (shown), boiling chips or mechanical stirrer 16: Cooling bath.

Commercially, distillation has many applications. For example:

- In the fossil fuel industry distillation is a major class of operation in obtaining materials from crude oil for fuels and for chemical feedstocks.

- Distillation permits separation of air into its components — notably oxygen, nitrogen, and argon — for industrial use.

- In the field of industrial chemistry, large ranges of crude liquid products of chemical synthesis are distilled to separate them, either from other products, or from impurities, or from unreacted starting materials.

- Distillation of fermented products produces distilled beverages with a high alcohol content, or separates out other fermentation products of commercial value.

An installation for distillation, especially of alcohol, is a distillery. The distillation equipment is a still.

Sublimation is a change of a solid substance directly to a vapor without first passing through the liquid state. The term is also used to describe the reverse process of the gas changing directly to the solid again upon cooling. An example of sublimation is seen when iodine, on being heated, changes from a dark solid to a purplish vapor that condenses directly to a crystalline solid upon striking a cool surface. In this way pure crystals of iodine are prepared. Some other substances, e.g., mercuric chloride, can be prepared by sublimation. Solid carbon dioxide, commonly known as dry ice, sublimes at - 78.5°C ( - 109.3°F). Sublimation also occurs when air saturated with water vapor is suddenly cooled below the freezing point of water. Frost and snowflakes are thus formed by water changing directly from the gaseous to the solid state.

Sublimation is a phase transition that occurs at temperatures and pressures below what is called the "triple point" of the substance (see phase diagram). The process is an endothermic change—that is, a change in which heat is absorbed by the system. The enthalpy of sublimation can be calculated as the enthalpy of fusion plus the enthalpy of vaporization.

Simple sublimation apparatus. Water, usually cold, is circulated in cold finger to allow the desired compound to be deposited. 1 Cooling water in. 2 Cooling water out. 3 Vacuum/gas line. 4 Sublimation chamber. 5 Sublimed material deposited on the cold finger. 6 Crude material. 7 External heating.

Test taskas for students:

1. Organic compounds, containing sulphur are used in an industry of

A) varnish-painting

B) pharmaceutical

C) pyrotechnical

D) of explosive substances

E) all

2. Organic compounds, containing nitrogen is the important component in the following substances of

A) explosive and pyrotechnical materials

B) explosive

C) varnish-painting

D) nitrogen containig

E) fertilizers

LECTURE № 2

Classification reactions of organic classes. Method of flowing dropping reaction

Plan of the lecture:

1. Classification reactions of organic classes. Solubility of organic substances.

2. Method of flowing dropping reaction.

3. Microscopic studying of organic substances

Solubility of organic substances basically depends on the polarity of the solvent and the dissolved substance, the presence of hydrophilic groups - hydroxyl, sulfogroup and alkylammonium refining products in the molecule.

Hydrocarbons are not dissolved in water, polyatomic are mixed, but are not soluble in ether.

The pH of solutions of organic substances is determined by the indicator. If the substance is not soluble in water, then an alcohol solution dripping on the display paper moistened with water.

Acidic medium indicates the presence of acids, phenols, weak acids, salts. If the solution of an organic compound when mixed with soda carbon dioxide, this indicates the presence of sulfo - carboxylic groups in the solution.

Alkaline medium indicates the content of nitrogen (aliphatic amine, heteropolycyclic nitrous compounds, amino acids).

Neutral environment over time through protolitical reaction proceeds in an acidic environment. At this time determined halides, anhydrides, esters.
The qualitative determination of organic substances is carried out by drop reactions.

Qualitative determination of organic substances is carried out by drop reactions.

Dropping reactions perform:

А) by a combination of drops of the searching solution and reagent on a drop plate or in a drop test tube;

B) application of the searching solution on filter paper, pre- impregnated in the corresponding solution;

C) spotting of reagent directly on a surface of a sample;

D) by the allocation of the constituent parts of the searching substance in the form of gas and observation of reactions between of gas and drop of the reagent.

At the carrying out of drop reactions it is necessary to observe the following rules:

1. Spotting of drops is consistently in accordance with the procedure of implementation of this reaction.

2. In the capillary should be so much amount of solution, in order the drop not hanging from the end of the capillary.

3. Spot on paper should be formed not as a result of falling of drops on the paper, but by the free absorbing of solution.

4. Spots should not be more than 2-3 mm in diameter.

5. Spotting on a wet spot portion of the new solution it is possible after the complete absorption of first portion on the paper.

6. For prevention of pollution of the capillary by a searching solution should remove it remains by a pressing capillary to clean strip of paper.

7. At the carrying out of reactions on drop plate or in drop test tube the drops carefully mix with a glass rod.

To eliminate interfering influence of impurities in the drop method applies masking properties, precipitation of interfering ions and removes the sediment by filtration.

At conducting of drop reactions on paper spot is formed, which consists of variously colored zones due to different speed of diffusion of the fluid components. If at this is formed a several sparingly soluble compounds, there are arranged in the spot by areas in dependence of solubility. It should be remembered that the characteristic effect of reaction, indicating the presence of an ion, is obtained only at the correct technique. Sometimes we use the special techniques of a spotting of a drop: the strikethrough of spot on a diameter and cross-wise, and outlining of spot by a capillary.

Microcrystallcopic reactions perform on a carefully washed and dried slide. The glass put a drop of the searching solution, evaporates to dryness and allows cooling. To the dry remains add a drop of reagent and in 1-2 min look the shape and color of the obtained crystals under a microscope (increase in 50-150 times).

Microscopic studying of organic substances

In the presence of organic substances in a amounts of less than 0.5 mg, them extract with alcohol, which is evaporated at the temperature 400C up to volume of 1-2 drops, which in further use for chemical study. The ready preparations are examined under a microscope with the increasing until 150-175х. Microobjects in the form of small particles, the fine powders should be fixed before to analysis. The role of sticky slide can perform the sticky tape «Scotch», the fixed photographic plate with still wet gelatinous layer, plate made of Plexiglas and polystyrene (pre-treated with clean chloroform). In essence, objects can also fix on any plate using the 1-2 drops of colloidal solution until drying. Then carry out research under the microscope, determining the structure of organic substances.

Test tasks for students

1. The task of the qualitative organic analysis includes:

A) all

B) definition of a class of organic compounds

C) establishment of presence of functional groups

D) check the presence of functional groups

E)  identification of individual compounds

2. When the qualitative determining organic substances by the drop method a spot on the paper should not be more

A) 2 - 3 mm in diameter

B) 4 - 5 mm in diameter

C) 1 - 2 mm in diameter

D) 3 - 4 mm in diameter

E) there is no difference

3. In order to prevent of pollution of the capillary by test solution, its remnants should be removed by

A) clamping the capillary to pure strip of paper

B) washing with the alcoholic solution of KOH

C) blowing the capillary

D) washing with distilled water

E) washing with ethanol

4. For maximum reliability of the analysis and the use of tests for narcotic and psychotropic substances it is necessary to observe the following rules

A) All answers are correct

B) If the amount of the substance is too small, in order to be subjected to the test on a sheet, the whole sample must be sent to the expert laboratory

C) The powder samples are test in the amount of several grains

D) for cigarettes - to open a cigarette, take a small amount of plant material, grind it and continue testing

E) for the capsule - carefully open the capsule and use a few particles of its content for the test

5. The first quantitative analysis of organic compounds were investigated by scientists

A) Gay-Lussac and Tenar

B) Gay-Lussac and Jens

C) Tenar and Jens

D) Tenar and Bertsellus

E) Liebig and Bohuslav

6. Scientist, who have studied the definition of nitrogen in organic compounds, based on the oxidation of organic substance by heating with sulfuric acid

A) Kveldal

B) Liebig

C) Tenar

D) Bertsellus

E) Bohuslav

7. Indicate substance that quantitatively oxidize organic substance by heating below the temperature of dark red heat

A) copper oxide and lead chromate

B) copper oxide and sodium sulphate

C) copper sulphate and lead chloride

D) Copper chloride and lead acetate

E) copper nitrate and lead nitrate

8. Organic substance, subjected to analysis should be

A) chemically pure

B) in a small amount of

B) in the excess

D) with an impurity

D) all answers are correct

9. For identification of unknown compounds it is important to know what elements other than carbon and hydrogen, enter into the composition and is carried out

A) Testing reaction into separate elements

B) Classification reactions for identification of organic compounds

C) Preliminary tests

D) Determination of the solubility in water

E) The study of literature and selection of additional verification reactions

10. Information, obtained from the preliminary tests of establishment solubility, and as a result of classification reactions one can conclude about

A) Class and type of the test substance

B) The functional groups of the test substance

C) On the state of the test substance

D) On the composition of the substance

E) All answers are correct

LECTURE N 3

Identification of chemical elements and functional groups of organic materials.

Plan of the lecture:

1. Identification of chemical elements and functional groups of organic materials.

2. Qualitative element analysis.

3. Quantitative functional analysis.

4.  CHNS elemental analysis.

When analysing of organic substances are the following tasks:

1. establishment of the chemical composition and structure of the new organic compounds (synthesized or extracted from natural materials)

2. identification of unknown compounds

3. determination of content of a basics or impurities in a substance of known composition.

These tasks can be solved by both chemical and instrumental methods. Separation and analysis of mixtures of organic substances by chemical methods typically do not difficult. For this purpose, it is suitable physical and physical-chemical methods: chromatography, infrared spectroscopy, mass spectroscopy, and other.

Identification of organic compounds by chemical methods (in combination with the measurement of physical properties) can be represented by the following scheme:

1. Preliminary tests: establishment of the state of aggregation, color, odor; test for flammability, measurement of physical constants and molecular weight.

2. Determination of solubility in water, in dilute hydrochloric acid, sodium hydroxide, sodium bicarbonate, in organic solvents and measurement of pH in the obtained solutions.

3. Test reactions to some elements (nitrogen, sulfur, chlorine, iodine and metals)

4. Establishing compounds classes using classification reactions.

5. Verification reactions on functional groups.

6. Study of literature and selection of additional verification reactions.

7. Obtaining derivatives of the estimated organic compounds and conduct additional reactions.

For solids measure the melting point, for liquids - boiling points, density and refractive index. Molecular mass can be determined on the lowering of the freezing point of the solution or on the change of the elasticity vapor in test tube named vapor phase examination.

Solubility is an important characteristic of organic compounds. On the bases of solubility were developed classification schemes. So, for example, if the substance does not dissolve in water, but soluble in 5% NaOH solution and NaHCO3, it belongs to a group of substances, which includes strong organic acid, carboxylic acids with more than six carbon atoms, phenols with substitutes in ortho - and para-positions, -ketones.

S₂ - salts of organic acids (RCOONa, RSO₃Na), hydrochlorides of amines (RNH ∙ HCl), amino acids (R-CHCNH₃ + COO-), carbohydrates, polycarboxylic acids, polyoxy compounds.

SA - monobasic carboxylic acids with five or lower carbon atoms, aromatic sulfonic acids.

SB - amines having six or lower C atoms

S₁ - multifunctional alcohols, aldehydes, ketones, esters, nitriles, amides with five or lower atoms C.

A₁ - strong carboxylic acids, phenols with substituted on the o-and p-positions, β-diketones.

A₂ - weak organic acid: phenols, enols, oxymes, imides, sulfonamides, nitrocompounds.

B - aliphatic amines with the number more than 8 carbon atoms, aniline, oxoethers.

MN - different neutral compounds, containing nitrogen and sulfur, with the number of carbon atoms more than 5.

N₁ - alcohols, aldehydes, methylketones, cyclic ketones, esters (1-9C), ethers (number of carbon atoms is less than 8) and epoxides.

N₂ - alkenes, alkynes, ethers, certain aromatic compounds, ketones.

I - saturated hydrocarbons, alkyl halides, aryl halides, some aromatic compounds.

For identification of unknown compounds is important to know which elements, besides carbon and hydrogen, enter into the composition of it. For carrying out of the verification reactions on individual elements, at first they are decomposed. If an element is present, we can conclude about the belongings of a substance to the certain class of organic compounds.

Verification reactions on the individual elements

| Element | Reagent | The supposed class of compounds |
| --- | --- | --- |
| Sulfur | Pb(CH₃COO)₂ Na nitroprusside | Sulfides, mercaptanes, sulfoxides, sulfonic acids, sulfonyl chlorides, sulfates |
| Nitrogen | n-nitrobenzaldehyde Na₂S₂, FeCl₃ | Amines, amino acids, nitro compounds, nitriles, acid amides |
| Halogens (Cl, Br, I) | 1) AgNO₃ 2) staining of flame 3) NaNO₂ 4) Alizarin-zirconium test paper | Halogen containing derivatives Fluorine containing derivatives |

The next stage is the establishment of a class of organic compounds by using the classification reactions.

| Class or type | Functional group | Reagent |
| --- | --- | --- |
| Aldehyde Ketone | С = O | а) 2,4- dinitrophenyl hydrasine b) hydroxylamine hydrochloroide c) NaHSO3 |
| Amine | -NH2 | a) HNO2 b) benzenesulphochloride |
| Aromatic hydrocarbon | C6H6 | Azoxibenzene and AlCl3 |
| Unsaturated hydrocarbons | -С=С- | а) KMnO4 (solution) b) solution of Br2 in CCl4 |
| Nitrocompound | - NO2 | а) Fe(OH)2 (Mohr’s salt+КОН) b) zinc dust +NH4Cl c) 20% solution NaOH |
| Alcohol | R-OH | а) (NH4)2[Cl(NO3)6] b) ZnCl2 in HCl c) iodine acid |
| Phenol | Ar-OH | а) FeCl2 b) bromine water |
| Ether | R-O-R | а) HI b) bromine water |
| Complex ether | R-COOR | а) solutions of NaOH или KOH b) hydroxylamine hydrochloroide |

For the identification of the primary, secondary and tertiary alcohols are used reagents of KMnO₄, Nessler reagent, HgSO₄ and I₂. Potassium permanganate oxidizes primary alcohols to aldehydes, secondary to ketones, and at that is isolated MnO₂; with tertiary alcohols do not react. Nessler's reagent reduces only primary and secondary alcohols. Mercury sulfate (II) gives the color or precipitate with tertiary alcohols, and primary or secondary cause cloudiness. Test with I₂ is particularly effective for distinguish two-and trihydric alcohols, dihydric alcohols dissolved I₂, solution has color from yellow to reddish-brown. Triatomic alcohols not dissolve the I₂.

For example. For research the obtained liquid substance with a pungent odor, that is burn by a colorless flame and burns without residue.

At measuring of physical constants received the following data: tboiling - 114-117°C , ρ=0,812, n=1,3988 . Verification reactions on the elements showed to absence of elements of nitrogen, sulfur and halogen. This substance is soluble in water and reaction on litmus and phenolphthalein is negative.

Classification reaction of (NH₄)₂[Cl(NO₃)₆] gave a positive result, therefore, the test substance is alcohol. To determine what is the alcohol - primary or secondary, we should carry out verification reaction with the ZnCl₂ in HCl. The negative reaction indicates that the alcohol is primary.

We’ll search at the reference book primary alcohols having boiling point - 110-120°C, as the secondary alcohol - isobutyl alcohol, 108°C, 3 - pentanol - 116°C. n - butyl alcohol - 117°C, 2- pentanol - 119°C. .

In order to completely eliminate secondary alcohols should be carried iodoform test. The negative reaction shows, that the searching substance is a primary alcohol.

Two substances - n- butyl alcohol ρ-0,810, pentanol-2 - 0,820 were in our list. Measurement of density 0.812 is closer to the density of n- butyl alcohol on the reference data.

The final step in the identification process is preparation of derivatives and measurement of their properties. For the purpose of identifying are suitable such derivatives, which the preparation are not cause experimental difficulties, i.e. the reaction should proceed with good yield and accompanied by the formation of by-products.  Properties of the derivative must be different from the properties of the initial compound. For example, for the case of the discussed above, a suitable derivative are 3,5-dinitrobenzoate and phenyluretane, they melting points are significantly differed:

3,5- dinitrobenzoate                             phenyluretane

n-butyl alcohol                       	64	                                	    61

pentanol - 3	                     97                                            49

Determination of the elemental composition of organic substance and its molecular weight give the possibility to establish an empirical formula of this compound. The structure of the compound can be largely found out by the quantitative determination of the functional groups and linkages.

Now, quantitative determination of functional groups becomes a significant and important part of the analysis of organic compounds.

Qualitative element analysis. Definition of the unknown substance

Preliminary tests

First of all, note the physical state of the substance, color and smell. For solid substances establish state (crystalline or amorphous and crystal form (prisms, plates, needles and so on). A small sample of a substance on the tip of the iron spatula or on a loop of copper wire are gently heated and set the character of melting, and then brings in the flame and burn, noting the presence or absence of ash after combustion of substances. In the first case, a substance contains a metal or impurities of any salts in its composition. If combustion is carried out on the copper wire, is simultaneously determined the presence of the halogens in substance (Beylshtein test). The green color of the flame indicates the possibility of the presence of chlorine, bromine or iodine. Copper fluoride does not volatile and therefore fluorine is not defined in this way. In case, when a substance melts without decomposition, and its melting temperature determines. If it is unclear, then the substance is recrystallized from the different solvents until a constant temperature of melting several times. After cleaning, you can determine the molecular weight of a substance on Rast.

For a liquid substance determines boiling temperature at an atmospheric pressure. In all cases indicate the residual pressure. The density of liquid substances is also determined by a picknometer.

Elemental analysis

Determination of carbon and hydrogen in the organic substances does not have sense most often. In those cases, when a compound is separated from the mixture of natural substances and unknown, whether it is organic, substance burns in the refractory tube. Condensing on cold walls of the water indicates the presence of hydrogen in the substance. The resulting gas is passed through lime water using a flatus tube, turbidity indicates the presence of carbon.

For determination of nitrogen, sulfur and halogens (except fluoride) conduct substances mineralization. This method allows defining majority of other elements, which present in organic compounds (except for carbon, hydrogen and oxygen). In the presence of sulfur, and sometimes without it (for example, in nitrocompounds) is unsuccessful the determination of nitrogen. In such cases, a sample of a substance heats with calcium oxide and zinc, and allocated ammonia is recognized by the smell and on bluish of wet red litmus paper. However, such a definition requires a fairly complex installation.

Mineralization spends with sodium in a test tube Pyrex-glass, fixed vertically. A piece of sodium weighing up to 30 mg (ball diameter up to 3 mm) is placed into the test tube. The test tube is heated until melting of sodium and appearance of vapours. At this point burner is removed and immediately contribute about 20 mg of the researched substance, if it is solid, about 0,03... 0,05 ml (1 - 2 drops), or if it is liquid. After the flash of the fusion process it is considered as completed. In the absence of flash, test tube is heated to its occurrence or to carbonization of substance. After cooling tube to room temperature, add on dropwise about 0,5 ml of absolutly ethanol, giving completely react every drop. Then the shell of coal, covering a piece of sodium is destroyed by a glass rod and making sure, that all the sodium reacted, transfer the content in a large test tube, and into the little add 1 ml of water, boil and also pour in a large tube. This operation is repeated by adding 1 ml of water. All the obtained solution is filtered into a clean tube and carry out detection of elements.

Fusion with sodium it is unsuitable for chloroform and carbon tetrachloride.

Study of solubility

It has long been known, that this is dissolved in a similar, i.e. the substance are better dissolved in the solvent, to which it is closer in nature. Because of this, the study of solubility of organic compounds in solvents of various natures can give the initial information about its structure.

Solubility in water connections are divided into two groups, which are then subdivided in accordance with solubility in other solvents. All measurement was performed at room temperature with 0,02... 0,03 ml of liquid or 4... 6 mg of solid finely crushed substances and 0.2 ml of the solvent, the mixture is ground with a stick and severely shaken. If at first glance it seems, that an unknown substance is more soluble in dilute alkali or acid, than in water, it is necessary to confirm neutralization of the solution, as a result of precipitate the initial substance must be formed. Aromatic amino acids in contrast to aliphatic not form the internal salts and are soluble in diluted hydrochloric acid and diluted sodium hydroxide solution, however, are insoluble in solution of sodium bicarbonate. Aminosulphonic acids, existing in the form of internal salts are soluble in alkalis, but are not soluble in acids. Determination of solubility not always produces consistent results, but gives preconditions for the choice of methods of functional analysis.

Attached as Annex I classification was proposed by Kam. It is followed by notes, which numbers are given in the respective columns of the table in brackets.

Classification of organic compounds by their solubility

| Solubility in iodine | Groups and their characteristics |  | Substances |
| --- | --- | --- | --- |
| Soluble in cold water' | I Group Soluble in ethers |  | Some phenols (see category IV B) Some oxyacids |
|  | II Group Insoluble in ether 2 | А Acid (on lithmus) melting substances | Sulfonic acids, polycarboxylic acids, salts of amines (slightly acid) |
|  |  | B Neutral substances | Metal salts (nonmelting), salts of amines (melting) |
| Insoluble in cold water | III group Soluble in 5% НС1 solution3 |  | amines |
|  | IV group Soluble in diluted NаОН solution4 | А Soluble in 5% NaНСО3 solution | Carbolic acids5, some phenols6, aminosulfoacids |
|  |  | B Insoluble | Phenol 7 |
| Insoluble in cold water, soluble in concentrated Н2SО48,9 | V group Carbonyl compounds | А It is colored | Quinones10, diketones |
|  |  | B Reacts with phenylhydrasine | Aldehydes, ketones |
|  |  | C Hydrolyzed by NaОН и | Ethers, anhydrides |
|  | VI group Neutral nitrogencontaining compounds | А Colored, reduced 12 | Polynitrocompounds (yellow), azocompounds (orange or red) |
|  |  | B It is usually colorless solids which may be either hydrolyzed 13 | Amides, acetylated amines (N1-substituted аceteamides) |

Quantative element analysis. Functional analysis

If in inorganic chemistry determination of the composition of the compounds most often are establishment the nature of ions, and organic compounds belong to any class of compounds on the presence of fragments, determining of their chemical properties and named the functional groups. In the same compounds can be groups with a different nature. For example, there are aminoalcohols, hydroxy acid, nitro - and polynitrophenols, etc. Study of solubility of organic compounds in different medium allows to judge about the presence of some functional groups. However, the evidence of functional composition are based on the specific chemical reactions, and spectral characteristics.

CHNS elemental analysis

The determination of Carbon, Hydrogen, Nitrogen and Sulphur content is carried out by a simultaneous analysis.

1 Solid and liquid samples, weighed in tin capsules, are introduced into a vertical quartz reactor heated at a temperature of 1000 °C with a constant flow of helium stream.

2 A few seconds before introduction the helium stream was enriched with high purity oxygen.

3 The combustion gas mixture is driven through an tungsten oxide zone to achieved a complete quantitative

oxidation following by a reduction step in a cupper zone to reduce nitrogen oxides and sulphuric anhydride

to nitrogen and sulphurous anhydride.

4 The resulting 4 components N2, CO2, H2O und SO2 are separated in a chromatographic column and detected by a thermo conductivity detector.

5 The resulting signals, proportional to the amount of eluted gases, are analysed by an automatic workstation which provides the sample elemental composition report.

Elemental Analyzer Vario EL III

Determination of C, H, N, S, both in the field of trace elements and in terms of macro concentration while maintaining the accuracy of its readings.

Principle of the method: catalytic combustion of the sample at 1200 ° C, the separation of gas adsorption on the columns, detection on the basis of the difference of thermal conductivity.

The use of chemicals, drugs, plant materials, soil, fertilizers, food products, coals, oils, fuels and derivatives, polymers, rubber, leather, rocks and minerals, sediments and waste, etc.

Measurement capabilities:

Quantitative analysis:

• analysis of solid and liquid samples

• total weight of the test sample:

of solids from 0.02 mg to 1.5 g of liquid: up to 1g

The duration of a single analysis: from 10 to 20 minutes while the determination of C, H, N, S. Reproducibility of indications: above 99.7% for the standard substance. Reference substance, the weight of sample taken for analysis, combustion time and analysis time is selected depending on the characteristics of the sample.

• Samples for analysis must be homogeneous, dry, in environmental samples - unified and the smallest possible particle size.

• Samples should be brought into a clean container.

• Liquid samples can not be an aqueous solution.

• The samples are stored at room temperature. At the request of the client can be stored in the refrigerator, or a desiccator protected from light.

• If possible it is helpful to estimate the percentage of indicated elements, which helps in determining the conditions of analysis. Welcome to the structure or summary.

• Each analysis is stored in a special log (date, label = label analysis attempts to order, the client, results).

• The results are given in weight percent.

Micro weighed sample

We weight of 0.01 mg-10 mg, in aluminum capsules of both liquids and solids.

If the sample weight is to be made ​​in capsules of different material to be delivered to the capsule in the studio. Capsule weight may not exceed 1 g. Samples must be dried, can not be hygroscopic liquids can not be too volatile. Flask to ready weighed amounts must be clean and dry.

Sartorius M2P Microbalance

Mettler-Toledo Weight UMT2

Test tasks for students

1. The qualitative analysis of organic substances will be carried out

A) after translation of them into inorganic compounds

B) it is not required of translation them in inorganic compounds

C) at low temperatures

D) at low pressure

E) after dissolution them in organic solvents

2. Reagent, used for detection of nitrogen is

A) Na,

B)

C)

D) sodium nitropusside

E) lead acetate

3. Reagent, used for detection of sulphur is

A) lead acetate

B)

C)

D) copper wire

E) methanol

4. Reagent, used for qualitative detection of chlorine

A)

B) sodium nitroprusside

C)

D) lead acetate

E)

5. The method, which carried out by a calcination of wire, moistened with the chlorine solution is called as

A) method of Bolshtain

B) method of Fisher

C) method of Thin Layer Chromatograpy

D) method of Nessler

E) method of Simerman

6. If quantity of the taken substance is very small, in order to analysis in a finding place, all samples should be directed to

A) expert laboratory

B) research laboratory

C) test laboratory

D) trial laboratory

E) are not exposed to the analysis

7. The powder samples are subjected to testing in an amount of several grains. If it is necessary to repeat, to increase an amount up to the sizes of

A) match head

B) 2-3 gr

C) 10-15 gr

D) 3-5 gr

E) 5-7 gr

8. The identification of organic compounds by chemical methods consists of stages

A) 7

B) 5

C) 6

D) 3

E) 4

9. For identification of organic solids is measured

A) temperature of melting

B) temperature of boiling

C) parameter of refraction

D) density

E) all

10. If the researched substance is not dissolved in water, it is dissolved in

A) 5 % of solutions of  and

B) 10 % of  and

C) 5 % a solution of  and

D) 96 % of

E) 25 % of solution

11. Reagent , used for differences the primary alcohols from secondary and tertiary is

A) iodoform test

B) solution of

C)

D)

E)

12. Reagent, used for detection of alcohols is

A)

B) iodoformic test

C)

D)

E)

13. Reagent, used for detection of glycerol is

A)

B)

C)

D)

E)

14. Reagent, used for detection of phenols is

A)

B)

C)

D)

E)

15. Reagent, used for detection of nitrogroup is

A)

B)

C)

D)

E)

16. Reaction, proceeding when definition of aldehydes is called

A) Silver-mirror reaction

B) Trommer’s reaction

C) Тоllеn’s reaction

D) Fisher’s reaction

E) Fehling’s reaction

17. Reagent, used for detection of secondary аmines is

A)

B)

C) chloroform

D)

E) alcohol solution of

18. The formation of isonitrile that smelling very unpleasant indicates the presence of

A) primary aromatic аmines

B) secondary aromatic аmines

C) tertiary aromatic аmines

D) primary aliphatic аmines

E) secondary aliphatic аmines

19. Reagent, used for detection of acetic acid is

A) LnNO3, morpholyne,

B)

C) Chloroform

D)

E)  alcohol solution

20. With the solution of sodium hypochlorite and sodium hydroxide determine substances such as

A) urea

B) aldehyde

C) formaldehyde

D) carbohydrates

E) ethanol

21. Reagent, used for detection of azodyes is

A) Griss reactive

B)

C) chloroform

D)

E)

22. The appearance of a red color or precipitate when added to the reagent the solution of triphenyltetrazolium chloride indicates the presence of

A) carbohydrates

B) alcohols

C) azodyes

D) acetaldehyde

E) aromatic аmines

23. The reagent, used for the detection of a higher fatty acid in petrolatum is

a) rodamyne B

b) chloride of triphenyltetrazolium

c)

d)

e) diphenylamine sulphate

LECTURE N4

Titrimetric analysis of organic materials. Iodine and Bromine Numbers, Acid Number. Saponification and ester numbers

Fundamental differences between gravimetric analysis of organic and inorganic compounds are not. Titration analysis of organic substances has some peculiarities.

1. Due to poor solubility of many organic substances in water it is necessary to conduct work in nonaqueous solutions that requires compliance with certain precautions and special equipment.

2. The flow of the main titration reaction may be complicated because of the ability of organic compounds to enter into the addition reaction, substitution of hydrogen, condensation and polymerization and other. For example, at the titration with the participation of halogen containing acids can be allocated free of halogen, which atoms replace hydrogen in organic molecule. These reactions are greatly expand the area of titration analysis of organic substances, since they can serve as a basis of titation method. To prevent or decrease the possibility of undesirable reactions, work is carried out at low temperatures (often at room), create suitable conditions, adding to the reaction medium appropriate reagents or passing inert gas etc.

Fixing endpoint titration is performed, as a rule, by physical and chemical methods (sedimentation, conductometric, amperometric titration). However, a whole number of organic substances can be identified with a visual observation of the end of titration by the appearance, disappearance or the color change of titrated solution, on the appearance or disappearance of turbidity or by a color change of added indicator.

Organic substances can participate in protolytic, redox reactions, as well as the reactions of deposition and complex formation, that is stipulated by the chemical properties of their functional groups. In this regard, for quantitative titrimetric analysis of organic compounds are mainly used the same methods for the analysis of inorganic substances. Besides, for the purposes of analysis use condensation reaction, substitution of hydrogen, the introduction of nitro or nitroso groups, addition that attributable for organic substances. In some cases, several types of communications, such as oxidation-reduction, substitution of hydrogen and addition, acid-base interaction and addition are combined in the titration process.

The acidic properties of organic compounds associated with the presence in their composition carboxylic-COOH and sulfonic acid groups SO3H, and dissociation constants are 10-4-10-6. Aliphatic and aromatic amines have basic character. Esters, substances containing hydroxyl and carbonyl groups enter into the protolytic reaction. For example, aldehydes and ketones react with hydroxylamine hydrochloride with the formation of НС1, which then are titrated by the solution of sodium or potassium hydroxide.

Substances containing aldehyde, ketone and hydroxyl functional groups in the neighbouring carbon atoms, as well as the hydroxyamines typically enter into the reactions of oxidation-reduction. In the process of oxidation can occur following processes: breaking the bond between neighbouring carbon atoms, to which are attached functional groups, formation of aldehyde or ketone groups into hydroxyl, transformation of carboxyl group into acidic carboxyl group, formation of ammonia or substituted amine from amino groups.

For example, glycerin can be oxidized by iodic acid with the formation of formaldehyde and formic acid.

Due to a variety of reactions, in which can be participated organic compound, it can be determined by various titrimetric methods.

The iodine value (or "iodine adsorption value" or "iodine number" or "iodine index") in chemistry is the mass of iodine in grams that is consumed by 100 grams of a chemical substance. Iodine numbers are often used to determine the amount of unsaturation in fatty acids. This unsaturation is in the form of double bonds, which react with iodine compounds. The higher the iodine number, the more C=C bonds are present in the fat. It can be seen from the table that coconut oil is very saturated, which means it is good for making soap. On the other hand, linseed oil is highly unsaturated, which makes it a drying oil, well suited for making oil paints.

This particular analysis is an example of iodometry. A solution of iodine is yellow/brown in color. When this is added to a solution to be tested, however, any chemical group (usually in this test C=C double bonds) that react with iodine effectively reduce the strength, or magnitude of the colour (by taking iodine out of solution). Thus the amount of iodine required to make a solution retain the characteristic yellow/brown colour can effectively be used to determine the amount of iodine sensitive groups present in the solution.

The chemical reaction associated with this method of analysis involves formation of the diiodo alkane (R and R' symbolize alkyl or other organic groups):

R-CH=CH-R'+ I2→R-CHI-CHI-R'

The precursor alkene (RCH=CHR') is colourless and so is the organoiodine product (RCHI-CHIR').

In a typical procedure, the fatty acid is treated with an excess of the Hanuš or Wijs solutions, which are, respectively, solutions of iodine monobromide (IBr) and iodine monochloride (ICl) in glacial acetic acid. Unreacted iodine monobromide (or monochloride) is then allowed to react with potassium iodide, converting it to iodine, whose concentration can be determined by titration with sodium thiosulfate.

Recommended procedure

Place a quantity of the test substance, accurately weighed, as specified in the monograph, in a dry 300-mL to 500-mL stoppered flask, add 15 mL of carbon tetrachloride R and dissolve. Add 25 mL of iodine bromide TS, insert the stopper, previously moistened with potassium iodide (80 g/l) TS, shake the flask gently, and keep in the dark for 30 minutes, unless otherwise specified in the monograph. Add 20 mL of potassium iodide (80 g/l) TS and 150 mL of water, and, whilst shaking the contents of the flask, titrate with sodium thiosulfate (0.1 mol/l) VS, adding starch TS as indicator towards the end of the titration. Note the number of mL required (a). At the same time carry out the operation in exactly the same manner, but without the substance being tested, and note the number of mL of sodium thiosulfate (0.1 mol/l) VS required (b). Calculate the iodine value from the following formula:

Bromine number is the amount of bromine in grams absorbed by 100 grams (3.5 oz) of a sample. The number indicates the degree of unsaturation.

The Bromine Number is useful as a measure of aliphatic unsaturation in gasoline samples. The ARB, in its Motor Vehicle Fuels Compliance Assistance Program, indicated that every unit of Bromine Number is equivalent to twice the percentage point of olefin content in gasoline. So, a gasoline with Bromine Number 30 would have an olefin content of not more than 15 vol%. One refinery compiled a year's worth of data on Bromine Number and the corresponding olefin content of gasoline. The data showed that the Bromine Number of gasoline is about 2.4 times the olefin content. A gasoline with Bromine Number of 30 would then have an olefin content of about 12.5 percent by volume, which is slightly lower than ARB's assumption, but still is higher than the CaRFG maximum limit of 10 percent by volume.

The Bromine Number is usually determined by electrochemical titration, where bromine is generated in situ with the redox process of potassium bromide and bromate in an acidic solution, using a mercury catalyst to ensure the complete bromination of all olefins.

It is similar to I2 value and useful for oils containing fatty acids with conjugated system of double bonds. It can be calculated as an equivalent I2 value by multiplying result by:

Atomic Weight of I2 divided by Atomic Weight of Br2 ...that is: *126.9/79.9.

Acid value (or "neutralization number" or "acid number" or "acidity") is the mass of potassium hydroxide (KOH) in milligrams that is required to neutralize one gram of chemical substance. The acid number is a measure of the amount of carboxylic acid groups in a chemical compound, such as a fatty acid, or in a mixture of compounds. In a typical procedure, a known amount of sample dissolved in organic solvent (often isopropanol), is titrated with a solution of potassium hydroxide(KOH) with known concentration and with phenolphthalein as a color indicator.

The acid number is used to quantify the amount of acid present, for example in a sample of biodiesel. It is the quantity of base, expressed in milligrams of potassium hydroxide, that is required to neutralize the acidic constituents in 1 g of sample.

AN=Veq-beqN56.1Voil

Veq is the volume of titrant (ml) consumed by the crude oil sample and 1 ml of spiking solution at the equivalent point, beq is the volume of titrant (ml) consumed by 1 ml of spiking solution at the equivalent point, and 56.1 is the molecular weight of KOH. WOil is the mass of the sample in grams.

The molar concentration of titrant (N) is calculated as such:

N=1000WKHP204.23Veq

In which WKHP is the mass (g) of Potassium hydrogen phthalate (KHP) in 50 ml of KHP standard solution, Veq is the volume of titrant (ml) consumed by 50 ml KHP standard solution at the equivalent point, and 204.23 is the molecular weight of KHP.

As oil-fats rancidify, triglycerides are converted into fatty acids and glycerol, causing an increase in acid number. A similar observation is observed with biodiesel aging through analogous oxidation processes and when subjected to prolonged high temperatures (ester thermolysis) or through exposure to acids or bases (acid/base ester hydrolysis).

The total acid number (TAN) is a measurement of acidity that is determined by the amount of potassium hydroxide in milligrams that is needed to neutralize the acids in one gram of oil. It is an important quality measurement of crude oil.

The TAN value indicates to the crude oil refinery the potential of corrosion problems. It is usually the naphthenic acids in the crude oil that cause corrosion problems. This type of corrosion is referred to as naphthenic acid corrosion (NAC).

TAN values may also be useful in other industries where oils are used as lubricants to determine oxidation and the subsequent corrosion risk to machinery.

TAN value can be deduced by various methods, including

- Potentiometric titration: The sample is normally dissolved in toluene and propanol with a little water and titrated with alcoholic potassium hydroxide (if sample is acidic). A glass electrode and reference electrode is immersed in the sample and connected to a voltmeter/potentiometer. The meter reading (in millivolts) is plotted against the volume of titrant. The end point is taken at the distinct inflection of the resulting titration curve corresponding to the basic buffer solution.

- Color indicating titration: An appropriate pH color indicator e.g. phenolphthalein, is used. Titrant is added to the sample by means of a burette. The volume of titrant used to cause a permanent color change in the sample is recorded and used to calculate the TAN value.

- Spectroscopic methods: as with many chemical parameters, spectroscopy can be used to make fast, accurate measurements once calibrated by a reference method. Mid and near infrared spectroscopy are most commonly used for this purpose. Spectroscopic methods are valuable as they can also be used to simultaneously measure a number of other parameters and do away with the need for wet chemistry.

Saponification value (or "saponification number"/"Koettstorfer number", also referred to as "sap" in short) represents the number of milligrams of potassium hydroxide required to saponify 1g of fat under the conditions specified. It is a measure of the average molecular weight (or chain length) of all the fatty acids present. As most of the mass of a fat/tri-ester is in the 3 fatty acids, it allows for comparison of the average fatty acid chain length. The long chain fatty acids found in fats have a low saponification value because they have a relatively fewer number of carboxylic functional groups per unit mass of the fat as compared to short chain fatty acids. If more moles of base are required to saponify N grams of fat then there are more moles of the fat and the chain lengths are relatively small, given the following relation:

Number of moles = mass of oil/relative atomic mass

The calculated molar mass is not applicable to fats and oils containing high amounts of unsaponifiable material, free fatty acids (>0.1%), or mono- and diacylglycerols (>0.1%).

Handmade soap makers who aim for bar soap use NaOH (sodium hydroxide, lye). Because saponification values are listed in KOH (potassium hydroxide) the value must be converted from potassium to sodium to make bar soap; potassium soaps make a paste, gel or liquid soap. To convert KOH values to NaOH values, divide the KOH values by the ratio of the molecular weights of KOH and NaOH (1.403).

Ester  value (number) is the number of milligrams of potassium hydroxide required to saponify the fatty acid esters in one gram of a fat, wax, oil etc, equal to the saponification value minus the acid value.

Test tasks for students

1. In order to prevent or reduce the possibility of flowing of undesired reactions in the titrimetric analysis is conducted under conditions by

A) all answers are correct

B) low temperatures

C) passing an inert gas

D) adding additional reagents

E) low pressure

2. The following titrants are often used in redox titrimetric analysis of organic compounds

A) all answers are correct

B)

C)

D)

E)

3. The mass of iodine (g), joining to 100 grams of organic substance is called

A) Iodine number

B) bromine number

C) saponification number

D) acid number

E) ester number

4. Mass of of KOH (mg), spent for interaction of free acids with esters, contained in one gram of substance

A) saponification number

B) iodine number

C) bromine number

D) ester numbers

E) acid number

5. Mass of KOH (mg), spent for titration of 1 g of an organic substance is called

A) Acid number

B) Iodine number

C) Bromine number

D) Ester number

E) Saponification number

6. Mass of KOH (mg), spent for the saponification of esters, contained in 1 grams of organic substance is called

A) ester number

B) acid number

C) bromine number

D) iodine number

E) saponification number

7. Specify the number of characterizing the degree of unsaturated organic compounds

A) bromine and iodine numbers

B) acid number

C) iodine and acid numbers

D) ester and saponification numbers

E) acid and ester numbers

8. Determination of bromine and iodine numbers based on the reaction of the halogen by

A) double bond

B) triple bond

C) functional group

D) OH group

D) There is no right answer

9. Some characteristics of a number of organic substances are defined by titrimetric method that are important for practical purposes. These include

A) All answers are correct

B) Iodine number

C) Bromine number

D) Acid number

E) Ester and saponification numbers

10. The number, which characterizes the content of free acids in substance and establishing by titration of analyzed solution with an alcoholic solution of KOH

A) acid number

B) bromine number

C) ester number

D) saponification number

E) iodine number

LECTURE N 5

Preparation of drugs to the analysis. Identification of drugs.

Plan of the lecture:

1. Conception about drugs and medicine preparations.

2. Classification of drugs.

3. Quality control system of drugs in chemical-pharmaceutical companies

Rational classification of drugs has very important for the study and use of a huge arsenal of drugs. There are two types of classification of drugs: on the chemical structure and by the action on the body

In the pharmacological classification are reflected the principles of the pre-emptive effect of the drug on a particular physiological system (cardiovascular, central nervous system, etc.). In each of these groups of drugs are classified on chemical structure.

There is also pharmacotherapeutic classification, in accordance with which drugs are grouped depending on the use for the treatment of certain diseases.

Lack of pharmacological and pharmacotherapeutic classification is that of the same group are combined different substances by chemical structure.

Chemical classification allows a very clear to distribute all drugs on groups in accordance with their chemical structure. However, this classification into the same group may be drugs with different pharmacological action.

In pharmaceutical chemistry, drugs are considered according to the chemical classification. This has important importance for the study and research methods of obtaining drugs, establishing a connection between the chemical structure and pharmacological action, and for the development methods of pharmaceutical analysis based on physical and chemical properties of the drug.

All drugs in accordance with the classification of the chemical are divided into two major groups: inorganic and organic. Inorganic preparations are classified according to the position of elements in Periodic system of Mendeleev and basic classes: oxides, acids, hydroxides, salts, complex compounds. Organic drugs are classified the same way as it is in organic chemistry.

At this, two classification signs are used: the structure of the carbon chain or cycle and the nature of the functional group. On the first sign organic drug substances are divided into aliphatic (acyclic) and cyclic, latter in turn - on carbocyclic heterocyclic compounds. Heterocyclic are classified by number of atoms, forming the cycle, on the nature of heteroatoms and their quantity, and also on the number of heterocycles or nature of the condensed system, comprising  heterocycles and aromatic rings.

Carbocyclic compounds combine two series of substances - alicyclic and aromatic. Organic medicinal substance the structure of which contains only carbon and hydrogen atoms (hydrocarbons) are classified as derivatives of hydrocarbons in the molecule which either one or more hydrogen atoms are substituted by functional groups. The second classification basis depending on the presence in the molecule of a functional group of aliphatic and aromatic hydrocarbons are divided into halo derivatives, alcohols, phenols, ethers, esters, aldehydes and their derivatives (imines, oximes, hydrazones, semicarbazones, thiosemicarbazones), ketones, sulfonic acids, carboxylic acids and their derivatives (salts, anhydrides, amides, hydrazides, etc.), nitro and nitroso compounds, amines, hydrazines, azo and diazocompounds.

Classification is important for ensuring processing machine in the planning, production and accounting standards, pricing of medicines. It is used in automatic control systems in the national economy, is part of the Unified System of classification and coding of technical and economic information.

For this purpose the 93rd class-union classification of products (CCP) "Medicines, chemical and pharmaceutical products and medical devices." The objects of the classification in 93 th grade CCP are medicines, medical products, intermediates, excipients. The document, which made ​​information about the Health Ministry approved drugs, is the "State Register of medicines authorized for use in medical practice and to industrial production."

Quality control system of drugs in chemical-pharmaceutical companies

The main document normalizing production technology and quality control of commercially available drugs in chemical and pharmaceutical companies is an industrial regulation. The purpose of the development and use in the manufacture of industrial regulations is to provide such drugs that have maximum pharmacological activity at minimum adverse effect, requires low doses to exhibit the therapeutic effect and save these qualities for the maximum period of time.

Development of industrial regulations is achieved in stages in accordance with the industry standard OST 64-2 - 72 and includes four stages.

1. Development of Laboratory rule - a document, that had finished research on the production of the drug in the laboratory.

II Development of pilot regulation - a document, which ends the testing of technology of reception and control the production of the drug in conditions of pilot plant.

III. Development of start-up regulations, implemented on the basis of experimental and industrial regulations and project planning documents for the production of a medicament. This is a document allowing to realization a commercial production of a new drug or dosage form.

IV. Making the starting regulation in the industry is carried out only then, when   the project data on the technical and economic performance and on the power reached, and the quality of the drug corresponds to the requirements, established by the SPh, PhA, or temporary PhA.

Industrial regulation includes the following sections : characteristics of the final product of manufacture, chemical scheme of production; technological scheme of production, intermediate products, raw materials and supplies ; instrumental scheme of production and specification of equipment, presentation of the technological process, production wastes, air emissions, use and utlilization of them; production control, safety, fire safety, industrial hygiene, a list of manufacturing instructions, technical and economic standards, information materials.

Industrial regulation reflects the information necessary for the optimum and safe implementation the manufacturing process; production. The content of this part of the regulation is being studied in the course; drug technology.

The close relationship between the process to produce the drug and analytical control is reflected in the design of laboratory, pilot plant and industrial regulations.

However, the functions of the analytical control are different at this. In the development of laboratory regulations are used experimental data, justifying the choice of the method of analysis, characterization and application of techniques at the study. It uses methods of analysis with a high degree of informativeness ( IR, UV, NMR, EPR, mass spectroscopy) to allow a thorough study of chemical reactions and their mechanisms. Control methods are used in the pilot regulations, tested in the laboratory regulations. Their selection shall be based on the available equipment, rapidity and modes of expression of results. At this stage are necessary a simple but high-performance methods (polarimetry, refractometry, Conductometry, etc.), allowing to implement automatic control. In the industrial regulations include techniques based on the use of standard production equipment, standard reagents. Basically, these are the methods tested in pilot regulations.

Technical and analytical monitoring is carried out at all stages of the production of medicines. This is reflected to the industrial regulation in the form of so-called control points, that ensuring observance of established technological regime. Under control point understand the place, the name of the specified parameter, specification, technical means and the method of its determination. Control points are described in such branches of regulations as the characteristics of the final product production, intermediate products, raw materials and supplies; instrumental production scheme and specification of equipment, presentation of the technological process of production inputs, air emissions, their use and disposal. The rules must be set out detailed procedure of the control, i.e., are listed objects and controls controlled parameters of standards, methods, and frequency of control. In the industrial regulations "Production Control" give a description of the sequence of stepwise control. Indicated the place of the technological scheme, in which the sampling for analysis, provides a list of parameters that must be checked, describes methods of analysis.

In the industrial regulations give details of quality control system of initial and intermediate products and raw materials. The quality of the drug is provided prior to the start of its production of careful control of raw materials.

Thus, the problems and possibilities of control are closely connected with the technological processes. Department of technical control at all levels of the production performs analytical control. DTC controls the production technology, the quality of intermediate products of obtaining of drugs, coming from shop to shop, monitors the status of the measuring devices and equipment, conducts preventive actions to improve the quality of manufactured drugs.

The finished products particularly are carefully monitored: matching its requirements SPh, PhA, temporary PhA.  the correctness of storing raw materials and finished products, quality packaging, labeling, documentation are systematically checked. The latter must necessarily to accompany each shipment or series of issued medication.

Thus, the DTC is responsible for the quality of manufactured drugs and conducts a comprehensive technical control at all stages from receipt of raw materials to production and shipment of finished products.

The structure of DTC depend on the volume and nature of the production. It usually involves several laboratories: analytical, biological, bacteriological, etc.

LECTURE N 6

Forensic investigation of the non-narcotic analgesic pharmaceutical drugs and their dosage forms

Plan of the lecture:

1. General characteristics of analgesic agents

2. Physico-chemical properties  of non-narcotic analgesic agents

3. Chromatographic analysis  study with Thin Layer Chromatography.

Analgesic agents or analgesics are called medicinal product, with the specific ability to weaken or eliminate the pain.

Along with the actual analgesics such as the effect of drugs are used for anesthesia.

According to the chemical nature, the nature and mechanism of pharmacologically activity modern analgesics can be divided into narcotic and non-narcotic.

Depending on the source of receiving and  chemical structure of the narcotic analgesics are divided into natural alkaloids - morphine and codeine, are contained in the Mac, semisynthetic compounds derived by chemical modification of the morphine molecule (Gilmartin), codeine (hydrocodone) and compounds obtained by chemical synthesis (promedol).

The main feature of narcotic analgesics is a high analgesic activity, which enable their use as effective analgesics in different fields of medicine. However, they have an undesirable effect on the Central nervous system, manifested in the development of euphoria and NDT repeated use - pathological addiction (addiction), which naturally limits the possibility of their long-term use.

Non-narcotic analgesics are synthetic derivatives of salicylic acid, pyrazolone, aniline, and other chemical compounds.

Analgesic activity of these drugs is manifested when certain types of pain. Prolonged use by the above negative. In medical practice, they are widely used as substances with antipyretic and anti-inflammatory action.

Table 1 Physico-chemical properties  of non-narcotic analgesic agents

| Name | Brutto - formula, mol. weight | Form of issue, weight | Morphological features | solubility | Melting point |
| --- | --- | --- | --- | --- | --- |
| Sodium salicylate, (sodium salt of o-orthobenzoquinone acid) | C7H5NaO3 160,11 | The detergent tablets of 0.25 and 0.5 g Capsules: 10% solution in 5, 10 ml | White crystalline powder or small flakes, odorless,sweet-salty taste | Easily soluble in water, glycerin, alcohol | In the sediment 157-161 |
| Acetylsalicylic acid (salicylic ester of acetic acid) | C9H8O4 180,16 | The detergent tablets of 0.25 and 0.5 g | Colourless crystals or a white crystalline powder, without tapaha slightly | Poorly soluble in water, easily in alcohol, chloroform, ether, alkali | 133-138 |
| Salicylic acid (o-oxybenzone acid) | C7H6O3 138,12 | Powder (2-5%) ointment, paste (1-10%), alcohol solution (1-2%) | White fine needle crystals or light crystalline powder, odorless | It is soluble in water, soluble in boiling water, easily soluble in alcohol, ether | 158-161 |
| Amidopyrine (1 - phenyl-2,3-dimethyl-4-dimethylaminopropan-5) | C13H17N3O 231,3 | Powder, tablets of 0.25 g, granules, capsules:4-% R-R, 5,10 ml | White crystals or white crystalline powder, no smell, slightly bitter taste | Slowly soluble m water (1:20), easily soluble in chloroform, ether | 107-109 |
| Analgin (-phenyl-2,3-dimethyl-4-methylaminopropane-5) | C13H16N3NaO4 231,3 | Powder, tablets of 0.5 g capsules: 50% solution 1-2 ml | Or white with a faint yellowish tinge large needle crystalline powder, odorless, bitter taste. Aqueous solutions turn yellow over time | Soluble in 1.5 h of water, 160 with alcohol, insoluble in ether, acetone, chloroform |  |
| Paracetamol (p-acetaminophenol) | C8H9NO2 151,17 | Powder tablets on 0,2 g | White with a reddish or pinkish tinge crystalline powder, odorless | It is soluble in water, easily soluble in alcohol, acetone and practically insoluble in ether | 168-172 |
| Novocaine (β-is diethylamino ethyl ester of p-aminobenzoic acid hydrochloride) | C13H20N2O2HCl 236,28 | Powder, ampoules of 0.25% solution of 1,2,5,10,20 ml, candles 1 g | White crystalline powder, odorless | Very easily soluble in water, easily soluble in alcohol, slightly soluble in chloroform, practically insoluble in ether | 154-156 |

Chromatographic analysis. Study with Thin Layer Chromatography.

Thin-layer chromatography method has the advantage over chemical methods of analysis, especially at the study of multicomponent mixtures, as it allows dividing and at the presence of standard samples to carring out the identity of the components. High sensitivity of the method allows investigating a small amount of objects.

Systems of solvents are prepared by mixing ways organic reagents in the specified proportions. For each analysis of system are prepared again to avoid pollution and also compliance with the necessary ratio of chemicals.

Recently, TLC is found the most widespread at the study of pharmaceuticals of various classes and groups. It is explained by the simplicity and enough high sensitivity of analysis with a relatively small timetable of conducting of it, a possibility to use for determining the nature of the research substances not only chromatographic parameters, but also about qualitative reactions at the manifestation of substances and etc, and as well as the availability of equipments.

Analytical study of substances with TLC includes the following steps: preparation of samples for analysis, conducting chromatographic analysis and evaluation of the obtained results.

Preparation of samples for analysis. About 0.05 g test substances (powder or granulated tablets) are dissolved in 0.5 ml of ethanol. The solution is filtered through a paper filter, which are additionally washed by 0.5 ml of ethyl alcohol. Combining filtrates, are obtained a solution №1. In this solution can be amidopyrine, butadion, acetylsalicylic acid, salicylic acid, paracetamol,  anesthesin. The remainder on a filter slightly dry on the air (for the removal of traces of ethanol), and are twice treated by distilled water on 0.5 ml. Water filters are the solution №2. It can contain analgine and novocaine.

At necessary, researches of small or trace amounts of substances, which are on various kinds of subjects-carriers (syringes, needle), they are derived (wash-off, extracted) with them as described above scheme, however, due to the small of their content in solutions N1 and 2, these solution evaporated until a few drops (0.1 ml).

Carrying out of chromatographic analysis. The obtained solutions №1 and №2 (approximately 2 ml) alternately by means of micro-syringes or micro-burettes (10 ml) are applied on the starting line of the TLC plate «Silefol». At this sample in the form of small spots with a diameter of 1-2 mm are applied to the starting line of not less than 1 cm from the edge of the plate. Into avoidance blotting of spots samples are gradually applied, in order to the intervals a solvent can be removed by evaporation. Plate with the spotting samples on it leaves on the air for 10-15 minutes for final evaporation of the solvent.

Dried plate with the research substance is put into a preliminarily appropriate solvents chromatography camera and conduct two-dimensional separation of substances: at first in one direction, then turn the preliminarily dried plate on the 900 - in another.

As soon as the front of the solvent will reach the finish line (conditional or slightly marked at a distance about 1 cm from the end plate), the plate is removed from the camera in a drying case (fume hood) remove the solvent. For removal of ammonia, that have entered into the composition of some systems of solvents, the plate is placed into a desiccators filled with concentrated sulfuric acid, where extracting the air until 10-15 mm of mercury column, and desiccators is filled by nitrogen. This procedure is repeated several times, and since from desiccators again extracting the air up to 10-15 mm of mercury column, and plate leaves on it for 1 hour.

To registration of substances on chromatographic plate is recommended to use developing solution, used in the industry of qualitative chemical analysis of substances in Pharmacopeia. This allows not only to detect spots of investigated substances, and also to determine the colors of nature (table 1).

General scheme for detecting of non-narcotic analgesic pharmaceuticals is:

a. spraying of plates with 10% solution of chloride of iron oxide, acidified with hydrochloric acid;

b. fumigation them by vapors of nitrogen oxides;

c. fumigation by ammonia;

d. drying;

e. fumigation of plate by vapors of iodine.

Bubblers, filled accordingly by concentrated nitric acid and copper wire, concentrated solution of ammonia or crystalline iodine are used for obtaining nitrogen oxides, ammonia and iodine vapors.

Table 2 Detection of non-narcotic analgesic pharmaceuticals

| № | Researching substance | Developing reagent | Color of spots | Minimally determined amount, mcg |
| --- | --- | --- | --- | --- |
| 1 | Analgin | Chloride of iron oxide | Blue, turning into pink | 50 |
| 2 | Amidopyrine | Chloride of iron oxide | Blue-violet, disappearing | 20 |
| 3 | Phenylbutazone | Vapor of iodine | Yellow spot on a blue setting* | 50 |
| 4 | Salicylic acid | Chloride of iron oxide | Blue-violet | 10 |
| 5 | Acetylsalicylic acid | Chloride of iron oxide, Nitrogen oxides + ammonia** | Blue-violet, Light brown | 20 |
| 6 | Paracetamol | Nitrogen oxides + ammonia | Red-orange | 10 |
| 7 | Novocaine | nitrogen oxides + ammonia | orange | 10 |

*- at intensive fumigation of spot takes brown color

**- acetylsalicylic acid, as a rule there is an admixture of salicylic acid.

The recommended method of applying substances on chromatographic plate

We recommend you to use the «bulk» method of spotting of objects at an examination, when a certain number of substances (less than 1mg) averaged well grinded sample is applied in marked on the plate point, then the substance is applied a drop of methanol or ethanol, substance adheres to the plate and firmly fixed on her. This method allows the application to «raise» a substance (example, chloroquine phosphate) that insoluble in ethanol, which is commonly used in thin-layer chromatography in sample preparation.

Conditions carrying out of the analysis:

- solvents are poured in chromatographic camera in an amount such that the plate is dipped into the solvent on 0.5 sm, a researched spot should be above the solvent;

- length of run solvent is 10 cm from the start line;

- a camera must be sealed close.

For separation of substances on the plate, at the identification monitoring research of heroin are recommended the following systems;

- benzene: ethanol:diethylamine (9:1:1) system;

- toluene:acetone:ethanol:ammonia (45:45:7:3) system B

Further research if fillers are given in the methodology with the use of two first systems.

Besides them can be used the following systems:

- cyclohexane : acetone : diethylamine (7:3:1);

-cyclohexane : chloroform : diethylamine (7:2:1);

- acetone :ethyl acetate, ethanol:25% ammonium hydroxide (5:4:1:0,3)

- chloroform :acetone :methanol :glacial acetic acid (7:2:2:1)

- ethyl acetate:25% hydroxide ammonium: methanol (85:5:10);

- ethyl acetate :acetone: n-butanol : 10% ammonium hydroxide(5:4:3:1).

Chromatograms are dried, then are studied by UV-rays and treated by the reagent of Dragendorf (can be treated by iodine vapours).

The following table 1 shows the values of Rf in comparison with spots of standard samples of O-6-monoacetylmorphyne, diacetylmorphine (heroin) and acetyl codeine.

At the studying the chromatograms in UV-rays (234 nm) the researched substances are glowed in the form of spots with bright violet - acetylsalicylic acid, rest spots have dark glows.

For the manifestation of the plates is used reagent of Dragendorf.

At the spraying the chromatographic plate by this reagent is appeared zone of dimedrol, chloroquine, biseptole. O-6-monoacetylmorphyne, diacetylmorphine and acetyl codeine are painted in dark-brown color with a different intensity. Spots of other drugs are visible only in UV-rays.

Comparing the values of Rf and color of spots of the researched object with the value of Rf «witness» is made conclusion about the hypothetical nature of the drugs, used as a excipient (наполнитель).

It is shown from the tables, that in the system A the spot of chloroquine is manifested at the level of spots of O-6-monoacetylmorphyne or heroin and therefore it is unsuitable for the separation of them in a mixture. For the detection of chloroquine in a mixture of heroin is recommended system B.

In addition, the spots of acetylsalicylic acid and paracetamol in complex drug citramon, also are badly separated in system A, and coming out almost one big spot. On the contrary, in the system B all of the above substances is well separated.

Method of thin-layer chromatography allows making a conclusion about the existence of different excipients in the studied objects, further confirmation of the conclusions conduct at the using instrumental methods of analysis, such as the gas chromatography and IR-spectroscopy.

Table 1

Results of researches of the most common excipients and narcotics by the method TLC

| № | Excipients | Value of Rf substances at the using systems of solvents in UV-rays (254 nm) |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | System A |  | System B |  |
|  |  | do-it-yourself (кустарная) plate | Factory plate | do-it-yourself plate | Factory plate |
| 1 | Analgin | 0,11 | 0,36 | 0,23 | 0,60 |
| 2 | Acetylsalicylic acid | 0,31 | 0,38 | 0,11 | 0,32 |
| 3 | Paracetamol | 0,35 | 0,42 | 0,47 | 0,56 |
| 4 | Dimedrol | 0,81 | 0,96 | 0,74 | 0,80 |
| 5 | Chloroquine | 0,62 | 0,92 | 0,74 | 0,80 |
| 6 | Tsitramon | 0,31:0,35 | 0,42:0,38:0,92 | 0,11:0,47 | 0,32:0,56:0,64 |
| 7 | Pentalgin | 0,11:0,27 | 0,00:0,36 | 0,02:0,23 | 0,00:0,12 |
| 8 | Biseptol | 0,12:0,32 | 0,14:0,33 | 0,14:0,38 | 0,31:0,38 |
| 9 | O-6 | 0,53 | 0,84 | 0,61 | 0,52 |
| 10 | Monoacetylmorphine | 0,59 | 0,90 | 0,66 | 0,62 |
| 11 | Diacetylmorphine Acetylcodeine | 0,66 | 0,95 | 0,71 | 0,68 |

Test tasks for students

1. Drugs, having the specific ability to reduce or eliminate painful sensations, are called

A) Analgesics

B) Psychotropic substances

C) Narcotic substances

D) Non-narcotic substances

E) Precursors

2. According to the chemical nature, character and the mechanism of the pharmacological activity of the analgesics can be divided into

A) Narcotic and non-narcotic

B) Narcotic and psychotropic

C) Non-narcotic and precursors

D) Non-narcotic and psychotropic

E) Psychotropic and precursors

3. Narcotic natural alkaloids are

A) morphine and codeine

B) morphine and heroin

C) ethylmorphine

D) hydrocodone

E) promedol and morphine

4. Semisynthetic narcotic analgesic means include

A) Ethylmorphine and hydrocodone

B) Morphine

C) Hydrocodone and promedol

D) Promedol

E) Codeine

5. The non-narcotic analgesics are

A) derivatives of chemical compounds

B) derivatives of morphine

C) derivatives of promedola

D) derivatives of codeine

E) derivatives of hydrocodone

6. Indicate the formula of sodium salicylate (sodium salt of o- ortobenzoic acid)

A)

B)

C)

D)

E)

7. Indicate the formula of paracetamol (n - acetaminophenol)

A)

B)

C)

D)

E)

8. Indicate the formula of analginum (1-phenyl -2,3-dimethyl-4-methyl aminopirozolon -5-nitrogen-methane-sulphonate of sodium)

A)

B)

C)

D)

E)

9. Substances of synthetic and natural origin, acting on the central nervous system, causing disturbances of perception and consciousness disorder is called

A) psychotropic drugs

B) narcotic Drugs

C) analgesics

D) precursors

E) medicines

10. Substances of synthetic and natural origin, included into the list of narcotic drugs, psychotropic substances and precursors subject to control in accordance with the United Nations Single Convention on Narcotic Drugs of 1961 and the RK legislation is called

A) narcotic Drugs

B) psychotropic drugs

C) analgesics

D) precursors

E) medicines

LECTURE N 7

Particularities of the analysis of narcotic and psychotropic material and precursors

Plan of the lecture:

1. Psychotropic materials.

2. Reactions of color testing

3. Preparation of reagents for color test

Psychotropic substances are substances of synthetic and natural origins, acting on the Central nervous system (CNS), causing the disturbance of perception and disorder of consciousness. These include analgesics, depressants, stimulants and galucegenes. The term «psychotropic substances» is expedient to apply only to those substances, which are not referred to narcotic and psychotropic, since to these last it is necessary accept the terms, which they are mean as in international and national law.

Psychotropic drugs or narcotic drugs are substances are under international and national control (the narcotic drugs and psychotropic substances)

Narcotic drugs - substances of synthetic and natural origins, included into the List of narcotic drugs, psychotropic substances and precursors, subject to control in accordance with the Single Convention of U.N.O. about narcotic drugs in 1961 and the legislation of the Republic of Kazakhstan.

Precursors are substances, often used for the manufacture of narcotic drugs and psychotropic substances, subject to control in accordance with the Single Convention U.N.O. about the illicit revolution of narcotic drugs and psychotropic substances in 1988 and the legislation of the Republic of Kazakhstan.

Narcotic drugs are plants, substances or drugs, classified as narcotic drugs or psychotropic substances, presenting a potential danger for the health of the population in connection with the consequences, which can cause abuse by them, included in the List of drugs, psychotropic substances and precursors, subject to control in the Republic of Kazakhstan.

Narcomania (drug addiction) is a disease, caused by dependence of narcotic drug or psychotropic substance.

Sampling. A characteristic particular of the withdrawal of drugs, psychotropic substances and precursors are their quality, appearance, and also the concentration of the active substance is considerably varied. For some materials, the true number of the proposed substances, in connection with its high drug activity, can be very low (e.g. LSD). Moreover, it is possible the presence of admixtures, which are colored by reagent, as well as the tested substances, that can change the course of reactions and assessing its results.

Reactions of color testing

| Name of the test | coloring | substance |
| --- | --- | --- |
| Marcus | purple violet | opium |
|  | Violet red-purple | Morphine, codeine, heroin |
|  | orange brown | Amphytamine, methamphetamine |
| Chloric iron | Brown-purple red | Opium, morphine |
|  | blue-violet quickly disappearing + НС1 Blue-violet | amidopyrine |
|  | + НС1 blue colouring red discolored | analgin |
| Mecca | Blue-greyblue-violet | Paracetamol |
|  | Beige | Acetylsalicylic acid |
|  | Blue green | Morphine, codeine, heroin |
|  | pink | phencyclidine |
| Nitric acid | yellow light green | Heroin |
|  | orangered yellow | Morphine |
|  | yellow-brown | Paracetamol |
|  | orange yellow | Codeine |
| Scott | Blue | Cocaine |
| Scott modified | Blue | Cocaine |
| Hydrochloric acid | yellow | Benzdyazepine |
| Marky | Orange-red | Toluene |
|  | Slowly formed a bright pink | Acetylsalicylic acid |
|  | bright pink | Citramonum |
|  | Bright yellow yellow-brown | Dimedrol |
| Simon | yellow yellow-green | Anthranilic acid |
|  | blue | piperidine |
| Zimmerman | Red- purple red | Acetone |
|  | pink | methylethylketone |
| Sodium nitroprusside | orange | Acetone, methylethylketone |
| Iron hydroxymate | reddish blue-purple | Acetic anhydride |
| Silver nitrate | White of flocculent precipitate | Hydrochloric acid |
| Permanganate | pink dark green | Potassium permanganate |
| Sulphate | White precipitate | Sulphuric acid |

Preparation of reagents for color test

| Name of the test | Methodology of reagent preparation |
| --- | --- |
| Markus | A. To add 8-10 drops (0.25 ml) 37% formaldehyde solution in 10 ml of ice acetic acid B. Concentrated nitric acid To mix 1 drop of reagent A with 3 drops of reagent B. |
| Iron chloride | Dissolve 5 g of iron sulfate (FeSO4) in 100 ml of water |
| Nitric acid | Concentrated nitric acid |
| Mecca | Dissolve 1 g of selenium acid in 100 ml of concentrated sulfuric acid |
| Scott | - 16% water solution of hydrochloric acid - Dissolve 2.5 mg cobalt thiocyanate in 100 ml of water. Add 1 drop of reagent A to substance, mix up ten seconds, then add 1 drop of reagent B and mix again 10 seconds |
| Scott modified | A. Dissolve 1 g of cobalt thiocyanate in 50 ml of 10% acetic acid. Then add 50 ml of glycerol. B. Concentrated nitric acid. C. Chloroform. With a small number of substances add 5 drops of solution A and mix 10 seconds, if it turns blue, then add a few drops of reagent B, if it turns into a pink, add a few drops of reagent C. |
| Hydrochloric acid | 2 n solution НС1. To the analyzed substance add 2 drops of reagent |
| Marky | 0.25 ml of 37% formaldehyde solution is dissolved in 10 ml of concentrated sulfuric acid |
| Simon | A. Dissolve 0.9 g of sodium nitroprusside in 90 ml of water, then add 10 ml of acetaldehyde B. Dissolve 2 g of sodium carbonate in 100 ml of water. Mix 1 drop of reagent A and 1 drop of reagent B with the analyzed substance. |
| Zimmermane | A. Dissolve 1 g of 1,3-dinitrobenzene in 100 ml of methanol B. Dissolve 1,5g of KOH in 100 ml of water To the analyzed substance add 1 drop of reagent A and 1 drop of the reagent B. |
| Sodium nitroprusside | A. Dissolve 8 g of sodium hydroxide in 100 ml of water (2 n solution) B. 1g of nitroprusside isdissolved in 100 ml of water. Mix 2 drops of reagent A and 2 drops of reagent B with the analyzed substance. |
| Iron hydroxymate | A. Saturated solution of hydroxylamine hydrochloride B. 0,5g of iron chloride is dissolved in 100 ml of water Mix 1 drop of reagent A and 1 drop of the reagent B, and 1 drop of water with the analyzed substance |
| Silver nitrate | 1 n solution of AgNO3 (1.7 grams of silver nitrate in 100 ml of water) |
| Permanganate | A. Dissolve 8 g of sodium hydroxide in 100 ml of water (2 n solution). B. Absolute ethyl alcohol. Mix 1 drop of reagent A and 1 drop of reagent B with the analyzed substance. |
| Sulfate | Dissolve 5 g of barium chloride in 100 ml of water |

Test tasks for students

1. Drug addiction - is

A) The disease is caused by dependence on narcotic drugs or psychotropic substances

B) The disease is caused by dependence on drugs

C) Prolonged use of drugs with negative implications

D) Diseases caused by poor circulation and human perception

E) All answers are correct

2. Precursors are

A) substances, used in the manufacture of narcotic drugs and psychotropic substances

B) substances, added into the composition of Narcotic Drugs and Psychotropic Substances

C) substances, substituting psychotropic drugs

D) substances, used for manufacture of medicaments

E) all answers are correct

3. Express analysis of narcotic drugs, psychotropic substances and precursors are

A) A number of consecutive qualitative reactions

B) A number of quantitative analyzes

C) A number of physical and chemical analyzes

D) A number of drop reactions

E) All answers are wrong

4. For carrying out express tests а scheme of investigation is recommended. The initial stage of the research involves the reaction

A) with the reagent Mercus

B) with the reagent of Tsimmermen

C) reagent of iron hidroxollote

D) with the reagent of sodium nitroprusside

E) reagent of Mecca

LECTURE N 8-9

Quantitative analysis of organic compounds. definition of molecular weight of organic substances

Determination of the molecular weight in conjunction with the elemental analysis gives the opportunity to establish a formula of an organic compound. Chemical methods for determining molecular weight are rarely used. They are used relatively often only when the test compound is an acid or base. In other cases, physical methods are more advantageous to use. Selection of an appropriate the physical method for determining molecular weight are caused by physical and chemical properties of the substance, such as density, heat resistance, solubility and so on.

The most widely used methods for determining the molecular weight are: 1) ebullioscopic; 2) cryoscopic; 3) isothermal distillation; 4) gasometric.

The listed methods, developed initially for the analysis of substances in the amount of a few tenths of a gram, and after a lot of numerical modifications were adapted for micro- and semi- micro-definitions.

The advantage to the freezing point depression method before ebullioscopic is that cryoscopic constants of used solvents are higher than ebullioscopic. Area of application ebullioscopic method is limited by condition that the boiling point of the test substance should be not less than 150 °C above the boiling point of the solvent. In other respects ebullioscopic method is more convenient than cryoscopic, in particular it is much easier to choose the appropriate solvent for ebullioscopy.

It is undoubtedly, the method of isothermal distillation has most wide range of applications.

Gasometric method for determining molecular weights can only be applied for those compounds, in which the transition into a vapor state does not accompanied by the simultaneous decomposition of the substance.

Boiling-point elevation describes the phenomenon that the boiling point of a liquid (a solvent) will be higher when another compound is added, meaning that a solution has a higher boiling point than a pure solvent. This happens whenever a non-volatile solute, such as a salt, is added to a pure solvent, such as water. The boiling point can be measured accurately using an ebullioscope.

The boiling point elevation is a colligative property, which means that it is dependent on the presence of dissolved particles and their number, but not their identity. It is an effect of the dilution of the solvent in the presence of a solute. It is a phenomenon that happens for all solutes in all solutions, even in ideal solutions, and does not depend on any specific solute-solvent interactions. The boiling point elevation happens both when the solute is an electrolyte, such as various salts, and a nonelectrolyte. In thermodynamic terms, the origin of the boiling point elevation is entropic and can be explained in terms of the vapor pressure or chemical potential of the solvent. In both cases, the explanation depends on the fact that many solutes are only present in the liquid phase and do not enter into the gas phase (except at extremely high temperatures).

Put in vapor pressure terms, a liquid boils at the temperature when its vapor pressure equals the surrounding pressure. For the solvent, the presence of the solute decreases its vapor pressure by dilution. A non-volatile solute has a vapor pressure of zero, so the vapor pressure of the solution is less than the vapor pressure of the solvent. Thus, a higher temperature is needed for the vapor pressure to reach the surrounding pressure, and the boiling point is elevated.

Put in chemical potential terms, at the boiling point, the liquid phase and the gas (or vapor) phase have the same chemical potential (or vapor pressure) meaning that they are energetically equivalent. The chemical potential is dependent on the temperature, and at other temperatures either the liquid or the gas phase has a lower chemical potential and is more energetically favorable than the other phase. This means that when a non-volatile solute is added, the chemical potential of the solvent in the liquid phase is decreased by dilution, but the chemical potential of the solvent in the gas phase is not affected. This means in turn that the equilibrium between the liquid and gas phase is established at another temperature for a solution than a pure liquid, i.e., the boiling point is elevated.[1]

The phenomenon of freezing-point depression is analogous to boiling point elevation. However, the magnitude of the freezing point depression is larger than the boiling point elevation for the same solvent and the same concentration of a solute. Because of these two phenomena, the liquid range of a solvent is increased in the presence of a solute.

The extent of boiling-point elevation can be calculated by applying Clausius–Clapeyron relation and Raoult's law together with the assumption of the non-volatility of the solute. The result is that in dilute ideal solutions, the extent of boiling-point elevation is directly proportional to the molal Concentration of the solution according to the equation:[1]

ΔTb = Kb · bB

Where ΔTb - the boiling point elevation, is defined as Tb (solution) - Tb (pure solvent); Kb - the ebullioscopic constant, which is dependent on the properties of the solvent. It can be calculated as Kb = RTb2M/ΔHv, where R is the gas constant, and Tb is the boiling temperature of the pure solvent [in K], M is the molar mass of the solvent, and ΔHv is the heat of vaporization per mole of the solvent; bB is the molality of the solution, calculated by taking dissociation into account since the boiling point elevation is a colligative property, dependent on the number of particles in solution. This is most easily done by using the van 't Hoff factor i as bB = bsolute · i. The factor i accounts for the number of individual particles (typically ions) formed by a compound in solution. Examples:

- i = 1 for sugar in water

- i = 1.9 for sodium chloride in water, due to the near full dissociation of NaCl into Na+ and Cl− (often simplified as 2)

- i = 2.3 for calcium chloride in water, due to nearly full dissociation of CaCl2 into Ca2+ and 2Cl− (often simplified as 3)

Non integer i factors result from ion pairs in solution, which lower the effective number of particles in the solution.

Equation after including the van 't Hoff factor

ΔTb = Kb · bsolute · i

At high concentrations, the above formula is less precise due to nonideality of the solution. If the solute is also volatile, one of the key assumptions used in deriving the formula is not true, since it derived for solutions of non-volatile solutes in a volatile solvent. In the case of volatile solutes it is more relevant to talk of a mixture of volatile compounds and the effect of the solute on the boiling point must be determined from the phase diagram of the mixture. In such cases, the mixture can sometimes have a boiling point that is lower than either of the pure components; a mixture with a minimum boiling point is a type of azeotrope.

Uses. Together with the formula above, the boiling-point elevation can in principle be used to measure the degree of dissociation or the molar mass of the solute. This kind of measurement is called ebullioscopy (Greek "boiling-viewing"). However, since superheating is difficult to avoid, precise ΔTb measurements are difficult to carry out,[1] which was partly overcome by the invention of the Beckmann thermometer. Furthermore, the cryoscopic constant that determine freezing-point depression is larger than the ebullioscopic constant, and since the freezing point is often easier to measure with precision, it is more common to use cryoscopy.

Among many urban legends related to the effect of ebullioscopic increase, one of them leads to adding salt when cooking pasta only after water has started boiling. The misconception is that since the water boils at a higher temperature, food will cook faster. However, at the approximate concentration of salt in water for cooking (10 g of salt per 1 kg of water, or 1 teaspoon per quart), the ebullioscopic increase is approximately 0.17 °C (0.31 °F), which will arguably make no practical difference for cooking.

Cryoscopic method describes the process in which adding a solute to a solvent decreases the freezing point of the solvent.

Examples include salt in water, alcohol in water, or the mixing of two solids such as impurities in a finely powdered drug. In the last case, the added compound is the solute, and the original solid is thought of as the solvent. The resulting solution or solid-solid mixture has a lower freezing point than the pure solvent or solid did. This phenomenon is what causes sea water, (a mixture of salt (and other things) in water) to remain liquid at temperatures below 0 °C (32 °F), the freezing point of pure water.

Uses. The phenomenon of freezing point depression has many practical uses. The radiator fluid in an automobile is a mixture of water and ethylene glycol (antifreeze). As a result of freezing point depression, radiators do not freeze in winter (unless it is extremely cold, e.g. −30 to −40 °C (−22 to −40 °F)). Road salting takes advantage of this effect to lower the freezing point of the ice it is placed on. Lowering the freezing point allows the street ice to melt at lower temperatures, preventing the accumulation of dangerous, slippery ice. The maximum depression of the freezing point of the commonly used sodium chloride in water is about −21 °C (−6 °F), so if the ambient temperature is lower, it becomes ineffective and other salts are used, such as calcium chloride, magnesium chloride or a mixture of many. These salts are a little aggressive to metals, especially iron, so in airports they need a safer media such as sodium formate, potassium formate, sodium acetate, potassium acetate and more others.

Freezing-point depression is used by some organisms that live in extreme cold. Such creatures have evolved means through which they can produce high concentration of various compounds such as sorbitol and glycerol. This elevated concentration of solute decreases the freezing point of the water inside them, preventing the organism from freezing solid even as the water around them freezes, or the air around them is very cold. Examples include some species of arctic-living fish, such as rainbow smelt, which can survive in freezing temperatures for long periods. In other animals, such as the spring peeper frog (Pseudacris crucifer), the molality is increased temporarily as a reaction to cold temperatures. In the case of the peeper frog, freezing temperatures trigger a large scale breakdown of glycogen in the frog's liver and subsequent release of massive amounts of glucose into the blood.

With the formula below, freezing-point depression can be used to measure the degree of dissociation or the molar mass of the solute. This kind of measurement is called cryoscopy (Greek cryo = cold, scopos = observe "observe the cold") and cryoscopy is a technique for determining the molecular weight of a solute by dissolving a known quantity of it in a solvent and recording the amount by which the freezing point of the solvent drops.

In cryoscopic methods for the quantitative evaluation of the purity of hydrocarbons and other organic ccmpounds, calculation is carried out on the basis of the dependence of the equilibrium temperature of crystallization or melting on the proportion of material which has crystallized. From the thermodynamic point of view; the analysis will be more accurate if crystallization or melting of the sample under investigation is performed with stirring and with a low rate of heat-transfer. Only in this case will the process approximate to equilibrium conditions. With very small amounts of substance, stirring is associated with great experimental difficulties. Consequently, the analysis is carried out from the kinetic curves of time versus temperature obtained on melting the sample under investigation in a stationary layer. One of the conditions necessary to obtain the required accuracy of cryoscopic analysis is the uniform distribution of impurities through the volume of the sample. In the analysis of solid products this may be achieved by first grinding and mixing the crystals. In the analysis of liquid products, the sample under investigation is crystallized immediately before the experiment after its introduction into the heating block. Since crystallization is carried out without stirring, any impurity in the crystal obtained will be distributed non, uniformly. A growing crystal expels an impurity. Since the crystallization front moves from the periphery to the interior layers of the sample, the main mass of impurity accumulates in the central part. Consequently the eryoscopic analysis of small samples of liquid products carried out from the fusion curves must give an error, the magnitude and sign of which depend on the location of the thermocouple junction in the sample.

In thermodynamics, the cryoscopic constant, Kf, relates molality to freezing point depression. It is the ratio of the latter to the former:

∆Tf=Kf∙m∙i

i is the van 't Hoff factor, the number of particles the solute splits into or forms when dissolved.

Through cryoscopy, a known constant can be used to calculate an unknown molar mass. The term "cryoscopy" comes from Greek and means "freezing measurement." Freezing point depression is a colligative property, so depends only on the number of solute particles dissolved, not the nature of those particles. Cryoscopy is related to ebullioscopy, which determines the same value from the ebullioscopic constant (of boiling point elevation). The Kf for water is 1.853 K·kg/mol.

Isothermal distillation method

Molecular weight determination by isothermal distillation is based on the fact that if two solutions of different molar concentrations with the same temperature to put into in the upper part communicating vessels, the solvent from the solution with the lowest molar concentration will be distilled into solution with a high molar concentration as long as an equilibrium is reached, at which the molar concentrations of both solutions are equal.

If the concentrations of both solutions and the molecular weight (Mo) of dissolved reference substance are known, then on reaching of equilibrium:

PM∙V= P0M0∙V0

where P is the weight of dissolved test substance; M is its desired molecular weight; V - volume of solution test substance; Ro, Mo and Vo- corresponding values for the reference material.

From this equation one can calculate the molecular weight of test substance by the formula:

M=P∙M0∙V0V∙P0

Signer constructed a simple device, based on the above principle, enabling very accurately determine the molecular weight. The apparatus consists of two spherical vessels, containing a contention solutions; vessels are interconnected by a curved steam pipe and provided with the calibrated tube, which the vessel contents is poured for measuring the volume of solutions.

A solution of the test substance of defined concentration was placed into an one vessel, into another - the solution of the reference material with a known molecular weight of a certain concentration. After removal of air device is sealed and placed into a thermostat. The solvent will be distilled under reduced pressure from the solution with lower molar concentration into the solution with greater molar concentration until the concentration of both solutions are equal.

From time to time, the solution is poured into a measuring tube for determination of their volumes. When the volumes of the solutions is not changed, they are measured and using the above equation the desired molecular weight is calculated. Determination of molecular weight by this method is accurate, but it is very long. Some definitions, made by Signer, gave the results only after 140 days.

Clark adapted the Signer device for semi-micro-definitions (20-50 mg of the substance). The device of Clark has no microsection and therefore it is completely hermetically sealed. However, like a device Signer, it requires a qualified sealing every time after preliminary removal of air from it. In order to avoid the associated problems, Wight and Morris designed a device, equipped with a normal, so-called spherical grinds, however, which led, to a considerable complication of the device.

The disadvantage of the Signer device and its modifications is the duration of the definition.

Much smaller amounts of substances are necessary for determining the molecular weight by the method, developed Barger. This method, also based on the principle of isothermal distillation differs from the previously described in that instead of quantity determination of volume of solutions of the test and reference substances after equalization of the molar concentration of these solutions are satisfied by qualitative verification: is subjected to changing the volume of solution of test substance of a certain concentration, placed  into container with the auxiliary communicating with the reference solution with a known molar concentration.

Gasometric method

In chemistry, the art of separating and of estimating, quantitatively, the several constituents of a gaseous mixture. The methods employed may he divided into three general classes: (1) Those based on diffusion; (2) those based upon the absorption of certain constituents by sub stances over or through which the mixed gases are passed; and (3) those in which the given mixture is oxidized and its original composition inferred from an examination of the products of the oxidation. In the application of diffusion methods, the mixture is caused to pass through a porous septum of graphite, gypsum or baked clay. The lighter constituents pass through faster than the heavier ones, so that a partial separation is effected. By causing the mixture to pass through a succession of such porous partitions, the concentration effects may be cor respondingly increased. This method has been employed in many chemical researches, espe cially for effecting the concentration of gaseous substances that are present in a mixture in very small quantity. Its value as an experi mental method was well demonstrated in con nection with the study of the rare gases of the atmosphere, in effecting the separation of helium from argon. In general, the rates of diffusion of two gases are proportional to the square roots of their densities; and the den sity of argon being 10 times that of helium, it follows that helium will diffuse through a por ous septum about 3.2 times as fast as argon.

In the analysis of gases by the absorption of certain of their constituents by means of chem ical substances, use is made of the following facts (among others): Water absorbs HCl, HBr, and HI, very readily; solid caustic potash, when moist, absorbs all acid gases, such as CO2, SO2, H2S, HCl, etc.; dilute sulphuric acid absorbs all alkaline gases, such as am monia; concentrated sulphuric acid also absorbs water, alcohol, ether, methyl oxide, and (more slowly) propylene and its homologues; alkaline solutions of pyrogallic acid absorb oxygen very readily; cuprous chloride in solution in hydro chloric acid absorbs oxygen and carbon mon oxide; and solutions of CrO and of KMnO4 absorb H2S and SO2. In the study of special problems, certain unusual absorbents also sug gest themselves. Thus in the isolation of the rare gases of the atmosphere, great use was made of the fact that red-hot metallic magne sium absorbs nitrogen gas, while it is without effect upon argon, helium, and the other gases of that group.

The combustion methods are particularly ap plicable to those cases in which the mixture to be analyzed is capable of being burned so that the final products are water, carbon dioxide, and free nitrogen, together with excess of such gas as may have been added in order to effect the combustion. The combustion is effected in an instrument called a "eudiometer," which com monly consists of a graduated glass tube that is closed at the upper end, and which is provided with a pair of platinum electrodes fused through the glass near the closed end. A sample of the gas to be analyzed is introduced into the tube (the lower end of which dips into a mercury bath), and its volume is determined by reference to the graduation marks; readings being simultaneously taken of the thermometer and barometer, so that the observed volume of the gas can be reduced, in the subsequent cal culations, to standard conditions of tempera ture and pressure. A known quantity of such gas as may be required to effect the combustion is next added; pure oxygen being used if the gas under examination is rich in carbon and hydrogen, and pure hydrogen being used if it is highly oxygenated or chlorinated. It is usual, also, to add a known quantity of which is prepared by the electrolysis of water and consists of pure oxygen and hydro gen in the proportion in which they combine to form water. The mixture is then exploded by passing an electric spark between the electrodes that are sealed into the eudiometer near its closed end, and after the heat developed by the explosive combustion has been lost by radiation, the volume of the mixture is again determined. The several constituents that remain in the eudiometer tube are then removed, one by one, by the temporary introduction, into the tube, of suitable absorbent substances. The volume of the gaseous contents of the eudiometer tube are observed after each partial absorption, and from the data so • obtained the quantities of carbon, oxygen, hydrogen and nitrogen that were present in the original sample may be calculated.

Test tasks for students

1. For definition of molecular weight of organic substances the methods are accepted

A) all answers are correct

B) ebullioscopic

C) crioscopic

D) isothermal distilation

E) gasometric

2. The advantage of crioscopic method from ebulioscopic is

A) cryoscopic (the freezing point depression) constant of used solvent is higher

B) cryoscopic (the freezing point depression) constant of used solvent is less high

C) cryoscopic (the freezing point depression) constant of used solvent is lower

D) cryoscopic (the freezing point depression) constant of used solvent is changed

E) all answers are correct

3. Gasometric method for the determination of the molecular weight is used for compounds in which

A) transition into the vapor state is not accompanied by a simultaneous decomposition of substance

B) transition into the solid state is not accompanied by a simultaneous decomposition of substance

C) transition into the liquid state is not accompanied by a simultaneous decomposition of substance

D) cryoscopic constant of used solvent is changed

E) All answers are correct

4. The advantage of ebullioscopic method to the freezing point depression method is

A) it is easy to choose the appropriate solvent

B) transition into the solid state is not accompanied by a simultaneous decomposition of substance

C) transition into the liquid state is not accompanied by a simultaneous decomposition of substance

D) cryoscopic constant of used solvent is changed

E) all answers are correct

5. The basis of ebullioscopic method is

A) measuring the differences of boiling points of pure solvent and a solution of the test substance in a given solvent

B) measuring differences of the melting point of pure solvent and a solution of the test substance

C) measuring the differences of refractive index of pure solvent and a solution of the test substance

D) Determination of the viscosity of the test substance

E) Establishment of structure of organic substance

6. One mole of dissolved in 100 g of solvent causes always the same, depending on the solvent, the boiling point elevation is called

A) ebullioscopic constant

B) the freezing point depression constant

C) gasometric constant

D) distilling

E) number of Faraday

7. The scientist, who first created ebuliometers for the determination of the molecular weight of organic substance

A) Beckman

B) Landsberger

C) Kotrell

D) Washburn

E) Reed

8. Cryoscopic method for determining molecular weight of organic compounds is based on

A) measuring the melting temperature of the solvent caused by the solvent of the test substance in it

B) measuring difference of the melting point of pure solvent and a solution of the test substance

C) measuring the difference of refractive index of pure solvent and a solution of the test substance

D) determination of the viscosity of the test substance

E) establishment of structure of organic substance

9. If two solutions of different molar concentrations with the same temperature to put into in the upper part communicating vessels, the solvent from the solution with the lowest molar concentration will be distilled into solution with a high molar concentration as long as an equilibrium is reached, at which the molar concentrations of both solutions are equal. This is a conception of molecular weight as

A) Isothermal distilation

B) Crioscopic

C) Ebullioscopic

D) Gasometric

E) Gravimetric

LECTURE N10-11

Electrochemical methods of the analysis of organic materials.

Plan of the lecture:

1. Electrochemical methods of analysis of organic materials.

2. Potentiometry and Voltammetry

3. Coulometry

4. Conductometry and Dielectrometry

Electrochemical methods of the analysis, the set of methods of the qualitative and quantitative analysis based on the electrochemical phenomena, occurring in researched environment or on border undressed of phases and structure, connected to change, chemical structure or concentration of analyzed substance.

The electrochemical methods of the analysis are based on measurement of electrical conductivity, potentials, current and other sizes. Characteristics thus are the electrical character of an analytical signal.

Electrochemical methods of the analysis are divided into five basic groups: potenciometrical, voltampermetrical, culonometrical, conductometrical and dielectrometrical.

Classification of Electrochemical Methods

Although there are only three principal sources for the analytical signal - potential, current, and charge - wide variety of experimental designs are possible; too many, in fact, to cover adequately in an introductory textbook. The simplest division is between bulk methods, which measure properties of the whole solution, and interfacial methods, in which the signal is a function of phenomena occurring at the interface between an electrode and the solution in contact with the electrode. The measurement of a solution’s conductivity, which is proportional to the total concentration of dissolved ions, is one example of a bulk electrochemical method. A determination of pH using a pH electrode is one example of an interfacial electrochemical method. Only interfacial electrochemical methods receive further consideration in this text.

Electrochemical methods of analysis:

§  Methods without potential imposing from the outside (potentiometry).

§ Methods with potential imposing from the outside which are based on measurement different electric parameter (all another methods)

Electrochemical methods on usage can be classified on:

| Direct methods in which substance concentration measure by instrument reading | Electrochemical titration – in which for indication of equivalence point use of electrochemical measurements |
| --- | --- |
| Potentiometry | potentiometric titration |
| Conductometry | conductometric titration |
| Voltammetry | amperometric titration |
| Coulometry | coulometric titration |
| Electrogravimetry | - |

The aggregate of methods of qualitative and quantitative analysis based on electrochemical phenomena occurring within a medium or at the phase boundary and related to changes in the structure, chemical composition, or concentration of the compound being analyzed. These methods are divided into five major groups: potentiometry, voltammetry, coulometry, conductometry, and dielectrometry.

Potentiometry combines methods based on the measurement of the emf of reversible electrochemical circuits, when the potential of the working electrode is close to the equilibrium value. This method includes redox titration, ionometry, and potentiometric titration.

Voltammetry is based on the study of the dependence of polarization current on the voltage applied to an electrochemical cell when the potential of the working electrode differs significantly from the equilibrium value. Voltammetry, with its variety of methods, constitutes the largest group of electrochemical methods of analysis and is commonly used for the determination of compounds in solutions and melts (for example, polarography and amperometry).

Coulometry combines methods of analysis based on the measurement of the amount of material deposited on an electrode in the course of an electrochemical reaction in accordance with Faraday’s laws. In coulometry, the potential of the working electrode differs from the equilibrium value. A distinction is made between coulometry at constant potential and coulometry at constant current. The latter includes both direct and indirect methods, electroanalysis, and coulometric titration.

There are two basic categories of coulometric techniques. Potentiostatic coulometry involves holding the electric potential constant during the reaction using a potentiostat. The other, called coulometric titration or amperostatic coulometry, keeps the current (measured in amperes) constant using an amperostat.

| Coulometry |  |
| --- | --- |
| at constant potential | at direct current |
| potentiostatic coulometry | amperostatic coulometry |

Dynamic electrochemical methods, such as coulometry, voltammetry, and amperometry, in which current passes through the electrochemical cell, also are important analytical techniques. In this section we consider coulometric methods of analysis.

Coulometric methods of analysis are based on an exhaustive electrolysis of the analyte. By exhaustive we mean that the analyte is quantitatively oxidized or reduced at the working electrode or reacts quantitatively with a reagent generated at the working electrode. There are two forms of coulometry: controlled-potential coulometry, in which a constant potential is applied to the electrochemical cell, and controlled-current coulometry, in which a constant current is passed through the electrochemical cell.

Potentiostatic coulometry

Potentiostatic coulometry is a technique most commonly referred to as "bulk electrolysis". The working electrode is kept at a constant potential and the current that flows through the circuit is measured. This constant potential is applied long enough to fully reduce or oxidize all of the substrate in a given solution.

Electrolysis cells for poentionstatic coulometry: Working electrode:

a)    Platinum gauze (b) Mercury pool

As the substrate is consumed, the current also decreases, approaching zero when the conversion is complete. The sample mass, molecular mass, number of electrons in the electrode reaction, and number of electrons passed during the experiment are all related by Faraday's laws. It follows that, if three of the values are known, then the fourth can be calculated.

Conductometry encompasses methods in which the electrical conductivity of electrolytes (aqueous and nonaqueous solutions, colloid systems, melts, and solids) is measured. It is based on the change in the concentration of a compound or the chemical composition of a medium in the interelectrode space; it is not linked with the electrode potential, which is usually close to the equilibrium value. Conductometry includes both direct analytical methods (used, for example, in salinometers) and indirect analytical methods (for example, in gas analysis) using either direct or alternating current (low-or high-frequency current). It also includes chrono-conductometry and low-frequency and high-frequency titration.

Direct conductometry

- qualitative analysis is used for definition any ions

- quantative analysis is used for definition of electrolytes concentration

Usage  of direct conductometry: for definition of individual electrolytes in solution; for definition of electrolytes in mix when impurities concentration don’t change; for continuous control of manufactures; for control of water treatment process; for sewage pollution assessment; for definition of general content of salts in mineral, ocean and fluvial water; for control of operations filter washing and ion-exchange material regeneration; for definition of cleanliness slightly soluble precipitate or organic drugs; for definition of dampness of organic solvent, gases, crystal  salts, paper; for detecting in chromatography.

Installation for reception of the cleared water with conductometric gauge for water quality assurance

Conductometric titration

Dielectrometry combines analytical methods based on the measurement of the dielectric constant of a substance resulting from the orientation of particles (molecules or ions) that have a dipole moment in an electric field. These methods are used to monitor the purity of dielectrics, for example, to detect small amounts of moisture. Dielectrometric titration is used to analyze solutions.

LECTURE N 12-13

Physical-chemical methods of determination of fine structures

Plan of the lecture:

1. Ultraviolet–Visible Spectroscopy or Ultraviolet-Visible Spectrophotometry (UV-VIS OR UV/VIS)

2. The UV Detectors. Principle of Ultraviolet-Visible Absorption

3. Atomic Force Microscopy (AFM)

## Ultraviolet–visible spectroscopy or ultraviolet-visible spectrophotometry (UV-Vis or UV/Vis) refers to absorption spectroscopy or reflectance spectroscopy in the ultraviolet-visible spectral region. This means it uses light in the visible and adjacent (near-UV and near-infrared (NIR)) ranges. The absorption or reflectance in the visible range directly affects the perceived color of the chemicals involved. In this region of the electromagnetic spectrum, molecules undergo electronic transitions. This technique is complementary to fluorescence spectroscopy, in that fluorescence deals with transitions from the excited state to the ground state, while absorption measures transitions from the ground state to the excited state.

The UV Detectors

Although over the years a large number of LC detectors have been developed and described, the vast majority of all contemporary LC analyses are carried out using one of four detectors, the UV detector in one of its forms, the electrical conductivity detector, the fluorescence detector and the refractive index detector. In addition, some form of the UV detector probably accounts for 80% of those analyses.

The UV Absorption Detectors

UV absorption detectors respond to those substances that absorb light in the range 180 to 350 nm. Many (but not all) substances absorb light in this wavelength range, including those substances having one or more double bonds (p electrons) and substances having unshared (unbonded) electrons, e.g. all olefins, all aromatics and compounds, for example, containing >C=O, >C=S, –N=N– groups. The sensor of a UV detector consists of a short cylindrical cell having a capacity between 1 ml and 10 ml through which passes the column eluent. UV light is arranged to pass through the cell and fall on a photo–electric cell (or array). The output from the photocell passes to a modifying amplifier and then to a recorder or data acquisition system.

The relationship between the intensity of UV light transmitted through a cell (IT) and the concentration of solute contained by it (c) is given by Beer's Law.

## Principle of Ultraviolet-Visible Absorption

Molecules containing π-electrons or non-bonding electrons (n-electrons) can absorb the energy in the form of ultraviolet or visible light to excite these electrons to higher anti-bonding molecular orbitals. The more easily excited the electrons (i.e. lower energy gap between the HOMO and the LUMO) the longer the wavelength of light it can absorb.

UV/Vis spectroscopy is routinely used in analytical chemistry for the quantitative determination of different analytes, such as transition metal ions, highly conjugated organic compounds, and biological macromolecules. Spectroscopic analysis is commonly carried out in solutions but solids and gases may also be studied.

Solutions of transition metal ions can be colored (i.e., absorb visible light) because d electrons within the metal atoms can be excited from one electronic state to another. The colour of metal ion solutions is strongly affected by the presence of other species, such as certain anions or ligands. For instance, the colour of a dilute solution of copper sulfate is a very light blue; adding ammonia intensifies the colour and changes the wavelength of maximum absorption ().

Organic compounds, especially those with a high degree of conjugation (e.g. DNA, RNA, protein), also absorb light in the UV or visible regions of the electromagnetic spectrum. The solvents for these determinations are often water for water-soluble compounds, or ethanol for organic-soluble compounds. (Organic solvents may have significant UV absorption; not all solvents are suitable for use in UV spectroscopy. Ethanol absorbs very weakly at most wavelengths.) Solvent polarity and pH can affect the absorption spectrum of an organic compound. Tyrosine, for example, increases in absorption maxima and molar extinction coefficient when pH increases from 6 to 13 or when solvent polarity decreases.

While charge transfer complexes also give rise to colours, the colours are often too intense to be used for quantitative measurement.

#### Wavelength error

In liquids, the extinction coefficient usually changes slowly with wavelength. A peak of the absorbance curve (a wavelength where the absorbance reaches a maximum) is where the rate of change in absorbance with wavelength is smallest. Measurements are usually made at a peak to minimize errors produced by errors in wavelength in the instrument, that is errors due to having a different extinction coefficient than assumed.

## Ultraviolet-visible spectrophotometer

The instrument used in ultraviolet-visible spectroscopy is called a UV/Vis spectrophotometer. It measures the intensity of light passing through a sample (I), and compares it to the intensity of light before it passes through the sample (). The ratio is called the transmittance, and is usually expressed as a percentage (%T). The absorbance, , is based on the transmittance:

The UV-visible spectrophotometer can also be configured to measure reflectance. In this case, the spectrophotometer measures the intensity of light reflected from a sample (), and compares it to the intensity of light reflected from a reference material ()(such as a white tile). The ratio is called the reflectance, and is usually expressed as a percentage (%R).

The basic parts of a spectrophotometer are a light source, a holder for the sample, a diffraction grating in a monochromator or a prism to separate the different wavelengths of light, and a detector. The radiation source is often a Tungsten filament (300-2500 nm), a deuterium arc lamp, which is continuous over the ultraviolet region (190-400 nm), Xenon arc lamps, which is continuous from 160-2,000 nm; or more recently, light emitting diodes (LED) [15] for the visible wavelengths. The detector is typically a photomultiplier tube, a photodiode, a photodiode array or a charge-coupled device (CCD). Single photodiode detectors and photomultiplier tubes are used with scanning monochromators, which filter the light so that only light of a single wavelength reaches the detector at one time. The scanning monochromator moves the diffraction grating to "step-through" each wavelength so that its intensity may be measured as a function of wavelength. Fixed monochromators are used with CCDs and photodiode arrays. As both of these devices consist of many detectors grouped into one or two dimensional arrays, they are able to collect light of different wavelengths on different pixels or groups of pixels simultaneously.

Diagram of a single-beam UV/Vis spectrophotometer.

A spectrophotometer can be either single beam or double beam. In a single beam instrument (such as the Spectronic 20), all of the light passes through the sample cell. must be measured by removing the sample. This was the earliest design, but is still in common use in both teaching and industrial labs.

In a double-beam instrument, the light is split into two beams before it reaches the sample. One beam is used as the reference; the other beam passes through the sample. The reference beam intensity is taken as 100% Transmission (or 0 Absorbance), and the measurement displayed is the ratio of the two beam intensities. Some double-beam instruments have two detectors (photodiodes), and the sample and reference beam are measured at the same time. In other instruments, the two beams pass through a beam chopper, which blocks one beam at a time. The detector alternates between measuring the sample beam and the reference beam in synchronism with the chopper. There may also be one or more dark intervals in the chopper cycle. In this case, the measured beam intensities may be corrected by subtracting the intensity measured in the dark interval before the ratio is taken.

Samples for UV/Vis spectrophotometry are most often liquids, although the absorbance of gases and even of solids can also be measured. Samples are typically placed in a transparent cell, known as a cuvette. Cuvettes are typically rectangular in shape, commonly with an internal width of 1 cm. (This width becomes the path length, , in the Beer-Lambert law.) Test tubes can also be used as cuvettes in some instruments. The type of sample container used must allow radiation to pass over the spectral region of interest. The most widely applicable cuvettes are made of high quality fused silica or quartz glass because these are transparent throughout the UV, visible and near infrared regions. Glass and plastic cuvettes are also common, although glass and most plastics absorb in the UV, which limits their usefulness to visible wavelengths.

Specialized instruments have also been made. These include attaching spectrophotometers to telescopes to measure the spectra of astronomical features. UV-visible microspectrophotometers consist of a UV-visible microscope integrated with a UV-visible spectrophotometer.

A complete spectrum of the absorption at all wavelengths of interest can often be produced directly by a more sophisticated spectrophotometer. In simpler instruments the absorption is determined one wavelength at a time and then compiled into a spectrum by the operator. By removing the concentration dependence, the extinction coefficient (ε) can be determined as a function of wavelength.

ATOMIC FORCE MICROSCOPY (AFM)

Atomic force microscopy (AFM) or scanning force microscopy (SFM) is a very high-resolution type of scanning probe microscopy, with demonstrated resolution on the order of fractions of a nanometer, more than 1000 times better than the optical diffraction limit. The precursor to the AFM, the scanning tunneling microscope, was developed by Gerd Binnig and Heinrich Rohrer in the early 1980s at IBM Research - Zurich, a development that earned them the Nobel Prize for Physics in 1986. Binnig, Quate and Gerber invented the first atomic force microscope (also abbreviated as AFM) in 1986. The first commercially available atomic force microscope was introduced in 1989. The AFM is one of the foremost tools for imaging, measuring, and manipulating matter at the nanoscale. The information is gathered by "feeling" the surface with a mechanical probe. Piezoelectric elements that facilitate tiny but accurate and precise movements on (electronic) command enable the very precise scanning. In some variations, electric potentials can also be scanned using conducting cantilevers. In newer more advanced versions, currents can even be passed through the tip to probe the electrical conductivity or transport of the underlying surface, but this is much more challenging with very few research groups reporting consistent data.

Block diagram of atomic force microscope

Basic principles

The AFM consists of a cantilever with a sharp tip (probe) at its end that is used to scan the specimen surface. The cantilever is typically silicon or silicon nitride with a tip radius of curvature on the order of nanometers. When the tip is brought into proximity of a sample surface, forces between the tip and the sample lead to a deflection of the cantilever according to Hooke's law. Depending on the situation, forces that are measured in AFM include mechanical contact force, van der Waals forces, capillary forces, chemical bonding, electrostatic forces, magnetic forces (see magnetic force microscope, MFM), Casimir forces, solvation forces, etc.

Electron micrograph of a used AFM cantilever image width ~100 micrometers.

and ~30 micrometers

Along with force, additional quantities may simultaneously be measured through the use of specialized types of probe (see scanning thermal microscopy, scanning joule expansion microscopy, photothermal microspectroscopy, etc.). Typically, the deflection is measured using a laser spot reflected from the top surface of the cantilever into an array of photodiodes. Other methods that are used include optical interferometry, capacitive sensing or piezoresistive AFM cantilevers. These cantilevers are fabricated with piezoresistive elements that act as a strain gauge. Using a Wheatstone bridge, strain in the AFM cantilever due to deflection can be measured, but this method is not as sensitive as laser deflection or interferometry.

Atomic force microscope topographical scan of a glass surface. The micro and nano-scale features of the glass can be observed, portraying the roughness of the material. The image space is (x,y,z) = (20 µm × 20 µm × 420 nm).

If the tip was scanned at a constant height, a risk would exist that the tip collides with the surface, causing damage. Hence, in most cases a feedback mechanism is employed to adjust the tip-to-sample distance to maintain a constant force between the tip and the sample. Traditionally, the sample is mounted on a piezoelectric tube, that can move the sample in the z direction for maintaining a constant force, and the x and y directions for scanning the sample. Alternatively a 'tripod' configuration of three piezo crystals may be employed, with each responsible for scanning in the x,y and z directions. This eliminates some of the distortion effects seen with a tube scanner. In newer designs, the tip is mounted on a vertical piezo scanner while the sample is being scanned in X and Y using another piezo block. The resulting map of the area z = f(x,y) represents the topography of the sample.

The AFM can be operated in a number of modes, depending on the application. In general, possible imaging modes are divided into static (also called contact) modes and a variety of dynamic (non-contact or "tapping") modes where the cantilever is vibrated.

Advantages and disadvantages

Advantages

AFM has several advantages over the scanning electron microscope (SEM). Unlike the electron microscope which provides a two-dimensional projection or a two-dimensional image of a sample, the AFM provides a three-dimensional surface profile. Additionally, samples viewed by AFM do not require any special treatments (such as metal/carbon coatings) that would irreversibly change or damage the sample, and does not typically suffer from charging artifacts in the final image. While an electron microscope needs an expensive vacuum environment for proper operation, most AFM modes can work perfectly well in ambient air or even a liquid environment. This makes it possible to study biological macromolecules and even living organisms. In principle, AFM can provide higher resolution than SEM. It has been shown to give true atomic resolution in ultra-high vacuum (UHV) and, more recently, in liquid environments. High resolution AFM is comparable in resolution to scanning tunneling microscopy and transmission electron microscopy. AFM can also be combined with a variety of optical microscopy techniques, further expanding its applicability. Combined AFM-optical instruments have been applied primarily in the biological sciences but has also found a niche in some materials applications, especially those involving  photovoltaics research.

Disadvantages

A disadvantage of AFM compared with the scanning electron microscope (SEM) is the single scan image size. In one pass, the SEM can image an area on the order of square millimeters with a depth of field on the order of millimeters, whereas the AFM can only image a maximum height on the order of 10-20 micrometers and a maximum scanning area of about 150×150 micrometers. One method of improving the scanned area size for AFM is by using parallel probes in a fashion similar to that of millipede data storage.

The scanning speed of an AFM is also a limitation. Traditionally, an AFM cannot scan images as fast as a SEM, requiring several minutes for a typical scan, while a SEM is capable of scanning at near real-time, although at relatively low quality. The relatively slow rate of scanning during AFM imaging often leads to thermal drift in the image making the AFM microscope less suited for measuring accurate distances between topographical features on the image. However, several fast-acting designs were suggested to increase microscope scanning productivity including what is being termed video AFM (reasonable quality images are being obtained with video AFM at video rate: faster than the average SEM). To eliminate image distortions induced by thermal drift, several methods have been introduced.

LECTURE N 14

Chromatographic methods of division and cleanings of organic materials

Plan of the lecture:

1. Gas chromatography

2. GC/FID

3. Gas Chromatography–Mass Spectrometry (GC-MS)

4. Liquid Chromatography (LC)

Gas chromatography (GC), is a common type of chromatography used in analytical chemistry for separating and analyzing compounds that can be vaporized without decomposition. Typical uses of GC include testing the purity of a particular substance, or separating the different components of a mixture (the relative amounts of such components can also be determined). In some situations, GC may help in identifying a compound. In preparative chromatography, GC can be used to prepare pure compounds from a mixture.

In gas chromatography, the mobile phase (or "moving phase") is a carrier gas, usually an inert gas such as helium or an unreactive gas such as nitrogen. The stationary phase is a microscopic layer of liquid or polymer on an inert solid support, inside a piece of glass or metal tubing called a column (an homage to the fractionating column used in distillation). The instrument used to perform gas chromatography is called a gas chromatograph (or "aerograph", "gas separator").

The gaseous compounds being analyzed interact with the walls of the column, which is coated with different stationary phases. This causes each compound to elute at a different time, known as the retention time of the compound. The comparison of retention times is what gives GC its analytical usefulness.

Gas chromatography is in principle similar to column chromatography (as well as other forms of chromatography, such as HPLC, TLC), but has several notable differences. Firstly, the process of separating the compounds in a mixture is carried out between a liquid stationary phase and a gas mobile phase, whereas in column chromatography the stationary phase is a solid and the mobile phase is a liquid. (Hence the full name of the procedure is "Gas–liquid chromatography", referring to the mobile and stationary phases, respectively.) Secondly, the column through which the gas phase passes is located in an oven where the temperature of the gas can be controlled, whereas column chromatography (typically) has no such temperature control. Thirdly, the concentration of a compound in the gas phase is solely a function of the vapor pressure of the gas.

Gas chromatography is also similar to fractional distillation, since both processes separate the components of a mixture primarily based on boiling point (or vapor pressure) differences. However, fractional distillation is typically used to separate components of a mixture on a large scale, whereas GC can be used on a much smaller scale (i.e. microscale).

Gas chromatography is also sometimes known as vapor-phase chromatography (VPC), or gas–liquid partition chromatography (GLPC). These alternative names, as well as their respective abbreviations, are frequently used in scientific literature. Strictly speaking, GLPC is the most correct terminology, and is thus preferred by many authors.

GC analysis

A gas chromatograph is a chemical analysis instrument for separating chemicals in a complex sample. A gas chromatograph uses a flow-through narrow tube known as the column, through which different chemical constituents of a sample pass in a gas stream (carrier gas, mobile phase) at different rates depending on their various chemical and physical properties and their interaction with a specific column filling, called the stationary phase. As the chemicals exit the end of the column, they are detected and identified electronically. The function of the stationary phase in the column is to separate different components, causing each one to exit the column at a different time (retention time). Other parameters that can be used to alter the order or time of retention are the carrier gas flow rate, column length and the temperature.

In a GC analysis, a known volume of gaseous or liquid analyte is injected into the "entrance" (head) of the column, usually using a microsyringe (or, solid phase microextraction fibers, or a gas source switching system). As the carrier gas sweeps the analyte molecules through the column, this motion is inhibited by the adsorption of the analyte molecules either onto the column walls or onto packing materials in the column. The rate at which the molecules progress along the column depends on the strength of adsorption, which in turn depends on the type of molecule and on the stationary phase materials. Since each type of molecule has a different rate of progression, the various components of the analyte mixture are separated as they progress along the column and reach the end of the column at different times (retention time). A detector is used to monitor the outlet stream from the column; thus, the time at which each component reaches the outlet and the amount of that component can be determined. Generally, substances are identified (qualitatively) by the order in which they emerge (elute) from the column and by the retention time of the analyte in the column.

Detectors. The most commonly used detectors are the flame ionization detector (FID) and the thermal conductivity detector (TCD). Both are sensitive to a wide range of components, and both work over a wide range of concentrations. While TCDs are essentially universal and can be used to detect any component other than the carrier gas (as long as their thermal conductivities are different from that of the carrier gas, at detector temperature), FIDs are sensitive primarily to hydrocarbons, and are more sensitive to them than TCD. However, an FID cannot detect water. Both detectors are also quite robust. Since TCD is non-destructive, it can be operated in-series before an FID (destructive), thus providing complementary detection of the same analytes.

Other detectors are sensitive only to specific types of substances, or work well only in narrower ranges of concentrations. They include:

- Catalytic combustion detector (CCD), which measures combustible hydrocarbons and hydrogen.

- Discharge ionization detector (DID), which uses a high-voltage electric discharge to produce ions.

- Dry electrolytic conductivity detector (DELCD), which uses an air phase and high temperature (v. Coulsen) to measure chlorinated compounds.

- Electron capture detector (ECD), which uses a radioactive Beta particle (electron) source to measure the degree of electron capture.

- Flame photometric detector (FPD),which uses a photomultiplier tube to detect spectral lines of the compounds as they are burned in a flame.

- Hall electrolytic conductivity detector (ElCD)

- Helium ionization detector (HID)

- Nitrogen phosphorus detector (NPD),a form a thermionic detector where nitrogen and phosphorus alter the work function on a specially coated bead and a resulting current is measured.

- Infrared detector (IRD)

- Mass selective detector (MSD)

- Photo-ionization detector (PID)

- Pulsed discharge ionization detector (PDD)

- Thermionic ionization detector (TID)

Some gas chromatographs are connected to a mass spectrometer which acts as the detector. The combination is known as GC-MS. Some GC-MS are connected to an NMR spectrometer which acts as a backup detector. This combination is known as GC-MS-NMR. Some GC-MS-NMR are connected to an infrared spectrophotometer which acts as a backup detector. This combination is known as GC-MS-NMR-IR. It must, however, be stressed this is very rare as most analyses needed can be concluded via purely GC-MS.

GC/FID. In GC/FID, the FID or flame ionization detector detects analytes by measuring an electrical current generated by electrons from burning carbon particles in the sample.

The flame ionization detector (FID) is a non-selective detector used in conjunction with gas chromatography. Because it is non-selective, there is a potential for many non-target compounds present in samples to interfere with this analysis and for poor resolution especially in complex samples. The FID works by directing the gas phase output from the column into a hydrogen flame. A voltage of 100-200V is applied between the flame and an electrode located away from the flame. The increased current due to electrons emitted by burning carbon particles is then measured. Although the signal current is very small (the ionization efficiency is only 0.0015%) the noise level is also very small (<10-13 amp) and with a well-optimized system, sensitivities of 5 x 10-12 g/ml for n-heptane at a signal/noise ratio of 2 can be easily realized. Except for a very few organic compounds (e.g. carbon monoxide, etc.) the FID detects all carbon containing compounds. The detector also has an extremely wide linear dynamic range that extends over, at least five orders of magnitude with a response index between 0.98-1.02.

Gas Chromatography, or GC, is a separation of compounds in the gas phase based on the same types of interactions as in HPLC. Only volatile organic compounds can be used. Compounds are separated due to differences in their ability to partition, or transfer between the stationary and mobile phase. Usually this partition is based on polarity when doing GC analysis. The analysis is done at high temperature, usually 5-10oC higher than the highest boiling point in the mixture.

FID stands for Flame Ionization Detector. What that means is that as the effluent (carrier gas and any organic compounds) comes out of the column they are ignited in a flame made of hydrogen and air. The compounds produce ions as they burn. These ions conduct electricity. Changes in current within the flame are measured and sent to the computer to be seen as peaks on the chromatogram.

FID is a good general detector for organic compounds, and is able to detect at the nanogram level.

Gas chromatography–mass spectrometry (GC-MS) is a method that combines the features of gas-liquid chromatography and mass spectrometry to identify different substances within a test sample. Applications of GC-MS include drug detection, fire investigation, environmental analysis, explosives investigation, and identification of unknown samples. GC-MS can also be used in airport security to detect substances in luggage or on human beings. Additionally, it can identify trace elements in materials that were previously thought to have disintegrated beyond identification.

GC-MS has been widely heralded as a "gold standard" for forensic substance identification because it is used to perform a specific test. A specific test positively identifies the actual presence of a particular substance in a given sample. A non-specific test merely indicates that a substance falls into a category of substances. Although a non-specific test could statistically suggest the identity of the substance, this could lead to false positive identification.

Example of a GC-MS instrument

Instrumentation

The insides of the GC-MS, with the column of the gas chromatograph in the oven on the right.

The GC-MS is composed of two major building blocks: the gas chromatograph and the mass spectrometer. The gas chromatograph utilizes a capillary column which depends on the column's dimensions (length, diameter, film thickness) as well as the phase properties (e.g. 5% phenyl polysiloxane). The difference in the chemical properties between different molecules in a mixture will separate the molecules as the sample travels the length of the column. The molecules are retained by the column and then elute (come off of) from the column at different times (called the retention time), and this allows the mass spectrometer downstream to capture, ionize, accelerate, deflect, and detect the ionized molecules separately. The mass spectrometer does this by breaking each molecule into ionized fragments and detecting these fragments using their mass to charge ratio.

GC-MS schematic

These two components, used together, allow a much finer degree of substance identification than either unit used separately. It is not possible to make an accurate identification of a particular molecule by gas chromatography or mass spectrometry alone. The mass spectrometry process normally requires a very pure sample while gas chromatography using a traditional detector (e.g. Flame Ionization Detector) cannot differentiate between multiple molecules that happen to take the same amount of time to travel through the column (i.e. have the same retention time) which results in two or more molecules to co-elute. Sometimes two different molecules can also have a similar pattern of ionized fragments in a mass spectrometer (mass spectrum). Combining the two processes reduces the possibility of error, as it is extremely unlikely that two different molecules will behave in the same way in both a gas chromatograph and a mass spectrometer. Therefore, when an identifying mass spectrum appears at a characteristic retention time in a GC-MS analysis, it typically lends to increased certainty that the analyte of interest is in the sample.

Types of mass spectrometer detectors

The most common type of mass spectrometer (MS) associated with a gas chromatograph (GC) is the quadrupole mass spectrometer, sometimes referred to by the Hewlett-Packard (now Agilent) trade name "Mass Selective Detector" (MSD). Another relatively common detector is the ion trap mass spectrometer. Additionally one may find a magnetic sector mass spectrometer, however these particular instruments are expensive and bulky and not typically found in high-throughput service laboratories. Other detectors may be encountered such as time of flight (TOF), tandem quadrupoles (MS-MS) (see below), or in the case of an ion trap MSn where n indicates the number mass spectrometry stages.

Analysis. A mass spectrometer is typically utilized in one of two ways: full scan or selected ion monitoring (SIM). The typical GC-MS instrument is capable of performing both functions either individually or concomitantly, depending on the setup of the particular instrument.

The primary goal of instrument analysis is to quantify an amount of substance. This is done by comparing the relative concentrations among the atomic masses in the generated spectrum. Two kinds of analysis are possible, comparative and original. Comparative analysis essentially compares the given spectrum to a spectrum library to see if its characteristics are present for some sample in the library. This is best performed by a computer because there are a myriad of visual distortions that can take place due to variations in scale. Computers can also simultaneously correlate more data (such as the retention times identified by GC), to more accurately relate certain data.

Another method of analysis measures the peaks in relation to one another. In this method, the tallest peak is assigned 100% of the value, and the other peaks being assigned proportionate values. All values above 3% are assigned. The total mass of the unknown compound is normally indicated by the parent peak. The value of this parent peak can be used to fit with a chemical formula containing the various elements which are believed to be in the compound. The isotope pattern in the spectrum, which is unique for elements that have many isotopes, can also be used to identify the various elements present. Once a chemical formula has been matched to the spectrum, the molecular structure and bonding can be identified, and must be consistent with the characteristics recorded by GC-MS. Typically, this identification done automatically by programs which come with the instrument, given a list of the elements which could be present in the sample.

A “full spectrum” analysis considers all the “peaks” within a spectrum. Conversely, selective ion monitoring (SIM) only monitors selected peaks associated with a specific substance. This is done on the assumption that at a given retention time, a set of ions is characteristic of a certain compound. This is a fast and efficient analysis, especially if the analyst has previous information about a sample or is only looking for a few specific substances. When the amount of information collected about the ions in a given gas chromatographic peak decreases, the sensitivity of the analysis increases. So, SIM analysis allows for a smaller quantity of a compound to be detected and measured, but the degree of certainty about the identity of that compound is reduced.

Applications. Environmental monitoring and cleanup. GC-MS is becoming the tool of choice for tracking organic pollutants in the environment. The cost of GC-MS equipment has decreased significantly, and the reliability has increased at the same time, which has contributed to its increased adoption in environmental studies. There are some compounds for which GC-MS is not sufficiently sensitive, including certain pesticides and herbicides, but for most organic analysis of environmental samples, including many major classes of pesticides, it is very sensitive and effective.

Criminal forensics. GC-MS can analyze the particles from a human body in order to help link a criminal to a crime. The analysis of fire debris using GC-MS is well established, and there is even an established American Society for Testing Materials (ASTM) standard for fire debris analysis. GCMS/MS is especially useful here as samples often contain very complex matrices and results, used in court, need to be highly accurate.

Law enforcement. GC-MS is increasingly used for detection of illegal narcotics, and may eventually supplant drug-sniffing dogs.[1] It is also commonly used in forensic toxicology to find drugs and/or poisons in biological specimens of suspects, victims, or the deceased.

Sports anti-doping analysis.GC-MS is the main tool used in sports anti-doping laboratories to test athletes' urine samples for prohibited performance-enhancing drugs, for example anabolic steroids.

Security. A post–September 11 development, explosive detection systems have become a part of all US airports. These systems run on a host of technologies, many of them based on GC-MS. There are only three manufacturers certified by the FAA to provide these systems, one of which is Thermo Detection (formerly Thermedics), which produces the EGIS, a GC-MS-based line of explosives detectors. The other two manufacturers are Barringer Technologies, now owned by Smith's Detection Systems, and Ion Track Instruments, part of General Electric Infrastructure Security Systems.

Food, beverage and perfume analysis. Foods and beverages contain numerous aromatic compounds, some naturally present in the raw materials and some forming during processing. GC-MS is extensively used for the analysis of these compounds which include esters, fatty acids, alcohols, aldehydes, terpenes etc. It is also used to detect and measure contaminants from spoilage or adulteration which may be harmful and which are often controlled by governmental agencies, for example pesticides.

Astrochemistry. Several GC-MS have left earth. Two were brought to Mars by the Viking program. Venera 11 and 12 and Pioneer Venus analysed the atmosphere of Venus with GC-MS. The Huygens probe of the Cassini-Huygens mission landed one GC-MS on Saturn's largest moon, Titan. The material in the comet 67P/Churyumov-Gerasimenko will be analysed by the Rosetta mission with a chiral GC-MS in 2014.

Medicine. Dozens of congenital metabolic diseases also known as Inborn error of metabolism are now detectable by newborn screening tests, especially the testing using gas chromatography–mass spectrometry. GC-MS can determine compounds in urine even in minor concentration. These compounds are normally not present but appear in individuals suffering with metabolic disorders. This is an increasingly becoming a common way to diagnose IEM for earlier diagnosis and institution of treatment eventually leading to a better outcome. It is now possible to test a newborn for over 100 genetic metabolic disorders by a urine test at birth based on GC-MS.

In combination with isotopic labeling of metabolic compounds, the GC-MS is used for determining metabolic activity. Most applications are based on the use of 13C as the labeling and the measurement of 13C-12C ratios with an isotope ratio mass spectrometer (IRMS); an MS with a detector designed to measure a few select ions and return values as ratios.

Liquid Chromatography (LC). Liquid chromatography (LC) was the first type of chromatography to be discovered and, in the form of liquid-solid chromatography (LSC) was originally used in the late 1890s by the Russian botanist, Tswett (1) to separate and isolate various plant pigments. The colored bands he produced on the adsorbent bed evoked the term chromatography (color writing) for this type of separation. Initially the work of Tswett was not generally accepted, partly due to the original paper being in Russian and thus, at that time, was not readily available to the majority of western chemists and partly due to the condemnation of the method by Willstatter and Stoll (2) in 1913. Willstatter and Stoll repeated Tswett's experiments without heeding his warning not to use too "aggressive" adsorbents as these would cause the chlorophylls to decompose. As a consequence, the experiments of Willstatter et al. failed and their published results, rejecting the work of Tswett, impeded the recognition of chromatography as a useful separation technique for nearly 20 years.

In the late 1930s and early 1940s Martin and Synge introduced a form of liquid-liquid chromatography by supporting the stationary phase, in this case water, on silica gel in the form of a packed bed and used it to separate some acetyl amino acids. They published their work in 1941 (3) and in their paper recommended the replacement of the liquid mobile phase with a suitable gas which would accelerate the transfer between the two phases and provide more efficient separations. Thus, the concept of gas chromatography was born. In the same paper in 1941, Martin and Synge suggested the use of small particles and high pressures in LC to improve the separation which proved to the critical factors that initiated the development of high performance liquid chromatography.

The Basic Liquid Chromatograph

The basic liquid chromatograph consists of six basic units. The mobile phase supply system, the pump and programmer, the sample valve, the column, the detector and finally a means of presenting and processing the results. A block diagram of the basic liquid chromatograph is shown in figure 1.

Applications. Liquid chromatography lends itself particularly to the separation of highly polar and large molecular weight materials that have very low volatility and, thus, cannot be separated by gas chromatography. In addition, however, the technique is also used in trace analysis (e.g., drugs and drug metabolites in blood) where a concentration procedure is necessary and the sample is eventually regenerated in a small volume of liquid that can be injected directly onto an LC column. In general, the sample is passed through a short length of tube packed with an adsorbent that selectively removes the material of interest. The adsorbent is then washed and the adsorbed material extract with a small amount of suitable solvent and the solvent then inject onto the column.

The Basic Liquid Chromatograph

LECTURE N 15

Inductively Coupled Plasma Atomic Emission Spectroscopy (ICP-AES)

Plan of the lecture:

1. Inductively coupled plasma atomic emission spectroscopy

2. FT-IR SPECTROSCOPY

Inductively coupled plasma atomic emission spectroscopy (ICP-AES), also referred to as inductively coupled plasma optical emission spectrometry (ICP-OES), is an analytical technique used for the detection of trace metals. It is a type of emission spectroscopy that uses the inductively coupled plasma to produce excited atoms and ions that emit electromagnetic radiation at wavelengths characteristic of a particular element. The intensity of this emission is indicative of the concentration of the element within the sample.

ICP-OES

CEM microwave digestion USA Corporation Mars 5

Mechanism

ICP Plasma "torch".

The ICP-AES is composed of two parts: the ICP and the optical spectrometer. The ICP torch consists of 3 concentric quartz glass tubes. The output or "work" coil of the radio frequency (RF) generator surrounds part of this quartz torch. Argon gas is typically used to create the plasma.

When the torch is turned on, an intense electromagnetic field is created within the coil by the high power radio frequency signal flowing in the coil. This RF signal is created by the RF generator which is, effectively, a high power radio transmitter driving the "work coil" the same way a typical radio transmitter drives a transmitting antenna. The argon gas flowing through the torch is ignited with a Tesla unit that creates a brief discharge arc through the argon flow to initiate the ionization process. Once the plasma is "ignited", the Tesla unit is turned off.

The argon gas is ionized in the intense electromagnetic field and flows in a particular rotationally symmetrical pattern towards the magnetic field of the RF coil. A stable, high temperature plasma of about 7000 K is then generated as the result of the inelastic collisions created between the neutral argon atoms and the charged particles.

A peristaltic pump delivers an aqueous or organic sample into a nebulizer where it is changed into mist and introduced directly inside the plasma flame. The sample immediately collides with the electrons and charged ions in the plasma and is itself broken down into charged ions. The various molecules break up into their respective atoms which then lose electrons and recombine repeatedly in the plasma, giving off radiation at the characteristic wavelengths of the elements involved.

In some designs, a shear gas, typically nitrogen or dry compressed air is used to 'cut' the plasma at a specific spot. One or two transfer lenses are then used to focus the emitted light on a diffraction grating where it is separated into its component wavelengths in the optical spectrometer. In other designs, the plasma impinges directly upon an optical interface which consists of an orifice from which a constant flow of argon emerges, deflecting the plasma and providing cooling while allowing the emitted light from the plasma to enter the optical chamber. Still other designs use optical fibers to convey some of the light to separate optical chambers.

Within the optical chamber(s), after the light is separated into its different wavelengths (colors), the light intensity is measured with a photomultiplier tube or tubes physically positioned to "view" the specific wavelength(s) for each element line involved, or, in more modern units, the separated colors fall upon an array of semiconductor photodetectors such as charge coupled devices (CCDs). In units using these detector arrays, the intensities of all wavelengths (within the system's range) can be measured simultaneously, allowing the instrument to analyze for every element to which the unit is sensitive all at once. Thus, samples can be analyzed very quickly.

The intensity of each line is then compared to previously measured intensities of known concentrations of the elements, and their concentrations are then computed by interpolation along the calibration lines.

In addition, special software generally corrects for interferences caused by the presence of different elements within a given sample matrix.

Applications

Examples of the application of ICP-AES include the determination of metals in wine, arsenic in food and trace elements bound to proteins.

ICP-OES is widely used in minerals processing to provide the data on grades of various streams, for the construction of mass balances.

In 2008, the technique was used at Liverpool University to demonstrate that a Chi-Rho amulet found in Shepton Mallet and previously believed to be among the earliest evidence of Christianity in England, only dated to the nineteenth century.

ICP-AES is often used for analysis of trace elements in soil, and it is for that reason it is often used in forensics to ascertain the origin of soil samples found at crime scenes or on victims etc. Taking one sample from a control and determining the metal composition and taking the sample obtained from evidence and determine that metal composition allows a comparison to be made. While soil evidence may not stand alone in court it certainly strengthens other evidence.

It is also fast becoming the analytical method choice for the determination of nutrient levels in agricultural soils. This information is then used to calculate the amount of fertiliser required to maximise crop yield and quality.

ICP-AES is used for motor oil analysis. Analyzing used motor oil reveals a great deal about how the engine is operating. Parts that wear in the engine will deposit traces in the oil which can be detected with ICP-AES. ICP-AES analysis can help to determine whether parts are failing. In addition, ICP-AES can determine what amount of certain oil additives remain and therefore indicate how much service life the oil has remaining. Oil analysis is often used by fleet manager or automotive enthusiasts who have an interest in finding out as much about their engine's operation as possible. ICP-AES is also used during the production of motor oils (and other lubricating oils) for quality control and compliance with production and industry specifications.

FT-IR SPECTROSCOPY

Introduction. Mid-Infrared (IR) spectroscopy is an extremely reliable and well recognized fingerprinting method. Many substances can be characterized, identified and also quantified. One of the strengths of IR spectroscopy is its ability as an analytical technique to obtain spectra from a very wide range of solids, liquids and gases. However, in many cases some form of sample preparation is required in order to obtain a good quality spectrum. Traditionally IR spectrometers have been used to analyze solids, liquids and gases by means of transmitting the infrared radiation directly through the sample. Where the sample is in a liquid or solid form the intensity of the spectral features is determined by the thickness of the sample and typically this sample thickness cannot be more than a few tens of microns. Figure 1 displays a typical IR transmission spectrum. The technique of Attenuated Total Reflectance (ATR) has in recent years revolutionized solid and

liquid sample analyses because it combats the most challenging aspects of  infrared analyses, namely sample preparation and spectral reproducibility.

Issues surrounding traditional transmission sample preparation. The two most common forms of sample preparation for solids both involve grinding the material to a fine powder and dispersing it in a matrix. The ground material can be dispersed in a liquid to form a mull. The most commonly used liquid is mineral oil (nujol). Typically no more than 20 mg of solid is ground and then one or two drops of nujol are used to create a paste which is then spread between two Mid-Infrared transparent windows e.g. NaCl, KBr, CaF2. The sample is now ready to be placed in the spectrometer for analysis by transmission. Potassium bromide (KBr) is probably the most widely used matrix material. Between 1 and 3 mg of ground material needs to be Mied thoroughly with about 350 mg of ground KBr. The mixture is now transferred to a die that has a barrel diameter of 13 mm (Figure 2). This is then placed in a suitable press and pressed (evacuation is optional) at around 12,000 psi for one to two minutes. Re-crystallization of the KBr results in a clear glassy disk about 1 mm thick. This disk is now ready to be analyzed by transmission.

Fig.2. Potassium bromide 13 mm die.     Fig. 3. Sealed (l) and demountable (r) liquid cells.

Liquids are traditionally analyzed as thin films in cells (Figure 3), a cell consists of two IR transparent windows. A Teflon® spacer is generally used to produce a film of the desired thickness or pathlength. A constant pathlength is highly desirable when performing quantitative analyses. Overall, sample preparation is easier for liquid transmission studies when compared to solid transmission sampling but both suffer from inevitable reproducibility issues given the complexity of the sample preparation methods. In addition, preparation can be very messy and time consuming and is further complicated by difficulties in getting sample to matrix ratios correct and homogenous throughout the sample.

The materials involved are fragile and hydroscopic and the quality of measurements can be adversely affected if handled or stored incorrectly. The technique of Attenuated Total Reflectance addresses these issues.

Principles of ATR. An attenuated total reflection accessory operates by measuring the changes that occur in a totally internally reflected infrared beam when the beam comes into contact with a sample (indicated in Figure 4). An infrared beam is directed onto an optically dense crystal with a high refractive index at a certain angle. This internal reflectance creates an evanescent wave that extends beyond the surface of the crystal into the sample held in contact with the crystal. It can be easier to think of this evanescent wave as a bubble of infrared that sits on the surface of the crystal. This evanescent wave protrudes only a few microns (0.5 μ - 5 μ) beyond the crystal surface and into the sample. Consequently, there must be good contact between the sample and the crystal surface. In regions of the infrared spectrum where the sample absorbs energy, the evanescent wave will be attenuated or altered. The attenuated energy from each evanescent wave is passed back to the IR beam, which then exits the opposite end of the crystal and is passed to the detector in the IR spectrometer. The system then generates an infrared spectrum. For the technique to be successful, the following two requirements must be met:

• The sample must be in direct contact with the ATR crystal, because the evanescent wave or bubble only extends beyond the crystal 0.5 μ - 5 μ.

• The refractive index of the crystal must be significantly greater than that of the sample or else internal reflectance will not occur – the light will be transmitted rather than internally reflected in the crystal. Typically, ATR crystals have refractive index values between 2.38 and 4.01 at 2000 cm-1. It is safe to assume that the majority of solids and liquids have much lower refractive indices.

Test tasks for students

1. The working range of speсtrometer is

A) 190 - 750 nm

B) 200 - 800 nm

C) 150 - 700 nm

D) 190 - 700 nm

E) 100 - 500 nm

2. Electronic absorption spectrum consists of

A) wide bands and narrow peaks

B) wide bands

C) arcuate narrow bands and peaks

D) narrow peaks and narrow bands

E) wide bands and high peaks

3. The most important characteristic of bands is

A) Wavelength

B) Spectrum

C) Peaks

D) Spectrometer

E) All answers are correct

4. Electronic spectrum depict in the form of graphics of dependence

A) passing lg (Jo/J) of the wavelength

B) passing the lg (Jo/J) of the spectrum

C) spectrum on the wavelength

D) spectrum of the solution and the composition of substance

E) all answers are correct

5. In electron spectroscopy solvents can be used

A) any, but transparent

B) 95% aqueous ethanol

C) absorbing in the UV - range

D) polar

E) all answers are correct

6. In the range of 190 - 750 nm emits

A) Gaseous samples

B) Solid samples

C) Liquid samples

D) Gelatinous samples

E) All answers are correct

7. Which solvent can not be used in electron spectroscopy?

A) Absolute ethanol

B) Any solvents

C) Polar solvents

D) Non-polar solvents

E) All answers are correct

8. Groups, causing the appearance of absorption bands in electronic spectra, is called

A) chromophore

B) spectrum

B) auxochromes

D) effect

D) all answers are correct

9. The atoms or groups, having nonbonding electrons, which orbitals overlap with the orbitals of π - electronic system are called

A) auxochromes

B) chromophores

C) spectrometers

D) effect

E) all answers are correct

10. Conjugation of one chromophore with another cause a shift of the absorption maximum in a more

A) wavelengths

B) negative side

C) positive side

D) Short spectra

E) Peripheral areas

11. Maximum absorption of simple alkenes is on the boundary of

A) Operating range of UV - spectrophotometer

B) Operating range of IR - spectrophotometers

B) Operating range of the visible light

D) Operating range of NMR

D) Operating range of mass spectroscopy

12. The group, absorbing UV - radiation in two ways

A) aliphatic aldehydes and ketones

B) aromatic aldehydes and ketones

B) carbohydrate

D) aliphatic carboxylic acids

D) aromatic carboxylic acids

13. A great influence on nature and intensity of the UV absorption spectrum has a mutual arrangement of

A) chromophores

B) spectra

C) bands

D) substance

E) all answers are correct

14. Using NMR – spectroscopy, approximately ______ isotopic nuclei can be determined

A) 135

B) 140

C) 130

D) 125

E) 120

Glossary for students on specialty 5В060600- Chemistry on the discipline “Examination of organic substances”

| Қазақша | Орысша | Ағылшын |
| --- | --- | --- |
| Анальгетикалық құрал | Анальгезирующие средства | analgesic drugs |
| Алдын ала сынау | Предварительный анализ | preliminary tests |
| Бейтарап орта | Нейтральная среда | Neutral solution |
| Вольтамперметрлік | Вольтамперометрический | voltampermetric |
| Гальвани потенциалы | Потенциал гальвани | Absolute electrode potential |
| Ерігіштік | Растворимость | Solubility |
| Ерітіндінің рН мәні | Значение рН растворов | The рН meaning of solutions |
| Зерттелетін ерітінді тамшысы | капля исследуемого раствора | Drop of testing solution |
| Дақ | Пятно | A stain |
| Дымқыл дақ | влажное пятно | A damp stain |
| Диэлектрометрлік | Диэлектрометрический | Dielectrometric |
| Диафрагма | Диафрагма | Diaphragm |
| Динамикалық электродты потенциал | Динамический электродный потенциал | Dynamic electrode potential |
| Диссоциациялану дәрежесі | Степень диссоциации | Degree of electrolytic dissociation |
| Дендриттер және өсінділер | Дендриты и наросты | Trees and nodules |
| Дәрі-дәрмек | лекарственные средства | Drugs |
| Деполяризатор | Деполяризатор | Depolarizer |
| Детектирлеу | детектирования | Detecting |
| Жабын | Пленка | Film |
| Ионның қозғалғыштығы | Подвижность иона | Mobility of an ion |
| кодеин | кодеин | codeine |
| гидрокодон | гидрокодон | hydroquinone |
| промедол | промедол | promedole |
| Қабынуға қарсы әрекет | Противовоспалительное действие | inflammation action |
| Қышқыл орта | Кислая среда | Acid solution |
| Медицина практикасы | медицинская практика | medical practice |
| Жұқа қабатты хроматография | Тонкослойная хроматография | Thin layer chromatography |
| Сапалық реакция | качественная реакция | Qualitative reaction |
| Сандық талдау | Количественный анализ | Quantatve analyze |
| Сілтілі орта | Щелочная среда | Alkaline solution |
| Спиртті ерітінді | спиртовый раствор | Alcohol solution |
| Сүзгі қағазы | фильтровальная бумага | Filter paper |
| Кеуектер | Поры | Pores |
| Көмірсутектер | Углеводороды | Hydrocarbons |
| Криминалистік зерттеу | Криминалистическое исследование | Criminal research |
| Кристалды дақ | Кристаллическая пятна | Crystal spots |
| Кулонометрлік | кулонометрический | Culonometric |
| Кондуктометрлік | Кондуктометрический | Conductometric |
| Кептірілген пластинка | Высушенная пластинка | The dried up plate |
| Микроскопиялық зерттеу | Микроскопические исследования | Microscopic researches |
| Морфин | морфин | Morphine |
| Қайтымды процесс | Обратимый процесс | Reversible process |
| Қыздыру, ішкі | Нагрев, внутренний | Internal heating |
| Тамшыны тамызу | Нанесение капель | Putting of drops |
| Тамшы пластинасы | капельная пластина | Dropping plate |
| Тамшы пробиркасы | капельная пробирка | Dropping test tube |
| Талдау | Анализ | Analyze |
| Тазарту (кедір-бұдырды тазарту) | Крацевание | Cutting down |
| Тамшылау реакциясы | Капельные реакции | dropping reactions |
| Титриметриялық тәсілдер | Титриметрические методы | titrymetric methods |
| Сілтісіздендіруге арналған ерітінді | Раствор для выщелачивания | Extraction liquor |
| Сутекті көрсеткіш | Водородный показатель | pH value |
| Ток жеткізуші | Токоподвод | Contact conductor (contact electrode) |
| Ток тығыздығы | Плотность тока | Current density |
| Түсті дақ | Цветные пятна | Stain spots |
| Пластина | Пластина | Plate |
| Протолитті реакция | протолитическая реакция | Photolytic reaction |
| Потенциометрлік | Потенциометрический | potenciometric |
| Шыны электрод | Стеклянный электрод | Glass electrode |
| Фармокологиялық белсенділік | фармокологической активности | pharmacological activity |
| Ұнтақ | Порошок | Powder |
| Үлгі | образец | Sample |
| этилморфин | этилморфин | Ethyl morphine |
| Эксплуатациялық сынақ | Эксплуатационное испытание | Service test |

References

1. Полюдек-Фабини Р., БейрихТ. Органический анализ. –Ленинград, -Химия ,1981.

2. Ермакова Т.А., Акатьев В.В. Методы выделения и очистки органических соединений. Методическое пособие. – Волгоград : Изд-во ВолГУ, 2007. – 52 с.

3. Шрайнер Р., Фьюзон Р., Кертин Д., Морилл Т. Идентификация органических соединений. -М.: Мир, 1983.

4. Дмитриев М.Т., Казнина Н.И. Пинигина И.А. Санитарно- химический анализ загрязняющих веществ в окружающей среде. - М., Химия, 1989. 368 с.

5. Судебно-экспертное исследование наркотических средств, психотропных веществ и прекурсоров. Практическое пособие для экспертов. – Алматы, ТОО «Баспа», 2001. – 264с.

6. Тукибаева А.С., Анарбаев А.А. Методические указания к лабораторным занятиям по дисциплине «Экспертиза неорганических и органических веществ». - Шымкент: Южно-Казахстанский Государственный Университет им. М.Ауезова, 2013, 86 с.

7. Tukibayeva A.S., Anarbayev A.A. Methodical instructions to laboratory classes on discipline «Examination of inorganic and organic substances». – Shymkent: South Kazakhstan State University named after M.Auezov, 2013, 76 p.

8. Казицына Л.А., Куплетская Н.Б., УФ-, ИК-, ЯМР- и масс-спекгроскопия в органической химии . -М., МГУ,1999.

9. Лолякова А.А., Хмельницкий Р.А. Масс-спектрометрия в органической химии.- Л.: Химия, 1992, ЗбЗс.

10. Pavia, Donald L., Gary M. Lampman, George S. Kritz, Randall G. Engel (2006). Introduction to Organic Laboratory Techniques (4th Ed.). Thomson Brooks/Cole. pp. 797–817. ISBN 978-0-495-28069-9.

11. "Gas Chromatography". Linde AG. http://hiq.linde-gas.com/international/ web/lg/spg/like35lgspg. nsf/docbyalias/anal_gaschrom. Retrieved 11 March 2012.

12. "Gas Chromatography". ACRF. http://www.gas-chromatography.net/gas-chromatography. php. Retrieved 11 March 2012.

13. Harris, Daniel C. (1999). "24. Gas Chromatography". Quantitative chemical analysis (Chapter) (Fifth ed.). W. H. Freeman and Company. pp. 675–712. ISBN 0-7167-2881-8.

14. "Optimizing the Analysis of Volatile Organic Compounds - Technical Guide" Restek Corporation, Lit. Cat. 59887A

15. Skoog, et al. Principles of Instrumental Analysis. 6th ed. Thomson Brooks/Cole. 2007, 349-351.

16. Skoog, et al. Principles of Instrumental Analysis. 6th ed. Thomson Brooks/Cole. 2007, 351.

17. Skoog, et al. Principles of Instrumental Analysis. 6th ed. Thomson Brooks/Cole. 2007, 169-173.

18. Principle of Ultraviolet-Visible Spectroscopy

19. G. Schitter, M. J. Rost (2008). "Scanning probe microscopy at video-rate" (PDF). Materials Today (UK: Elsevier) 11 (special issue): 40–48. ISSN 1369-7021. http://www.materialstoday.com/view/2194/scanning-probe-microscopy-at-videorate/.

20. V. Y. Yurov, A. N. Klimov (1994). "Scanning tunneling microscope calibration and reconstruction of real image: Drift and slope elimination" (PDF). Review of Scientific Instruments (USA: AIP) 65 (5): 1551–1557. Bibcode 1994RScI...65.1551Y. ISSN 0034-6748. http://rsi.aip.org/resource/1/rsinak/ v65/i5/p1551_s1.

21. Jingyan, L.; Xiaoli, C.; Songbai, T. (2012). "Research on Determination of Total Acid Number of Petroleum Using Mid-infrared Attenuated Total Reflection Spectroscopy". Energy & Fuels 26 (9): 5633

22. Firestone D (May–Jun 1994). "Determination of the iodine value of oils and fats: summary of collaborative study". J AOAC Int. 77 (3): 674–6.

23. https://en.wikipedia.org/wiki/

ТУКИБАЕВА АЙНУР СУЛТАНХАНОВНА

НАЗАРБЕКОВА САУЛЕ ПОЛАТОВНА

EXAMINATION OF ORGANIC SUBSTANCES

Курс лекции

(на английском языке)

Подписано в печать

Формат бумаги Хх Y 1/16

Бумага типографическая. Печать офсетная. Объем 5,75 п.л.

Тираж 500 Заказ №

Издательский центр ЮКГУ им.М.Ауезова, г.Шымкент, пр.Тауке хана, 5