MINISTRY OF EDUCATION AND SCIENCE OF THE REPUBLIC

OF KAZAKHSTAN

M. AUEZOV SOUTH KAZAKHSTAN STATE UNIVERSITY

G.M. Seitmagzimova, Zh.K. Dzhanmuldayeva, R.R.Yakubova

STUDY GUIDE

FOR LABORATORY WORKS ON THE DISCIPLINE

«INDUSTRIAL WATER TREATMENT»

for Students of Specialties

5В072000 (6В07160) –

Chemical Technology of Inorganic Substances

Shymkent 2019

UDK 378(075.8):66

Seitmagzimova G.M., Dzhanmuldayeva Zh.K., Yakubova R.R.  Study Guide for Laboratory Works on the Discipline  “Industrial Water Treatment”. – Shymkent: M. Auezov South Kazakhstan State University, 2019. –  53 p.

The study guide contains theoretical bases of typical technological processes, techniques of lab carrying out, calculation of process indicators and control questions for every laboratory work defense. The study guide is composed according to the contents of the study program for basic elective discipline “Industrial Water Treatment”.

The study guide is designated for students of Specialties 5В072000 (6В07160) - Chemical Technology of Inorganic Substances specialties of any form of training.

Reviewers:

Candidate of Science, professor,
Head of the Department "Ecology"
M. Auezov  SKSU                                                                          Zh. Shingisbayeva

Methodical instructions were considered and recommended for publication by the meeting "Chemical technology of inorganic substances", protocol No. ___ from "____" _____. 20___ y. and the committee on innovative technologies for teaching and metho dological provision of the higher school of chemical engineering and biotechnology, protocol No. __ from ___. ____._ 20___  y.

Methodical instructions were approved at the meeting of the UMS SKSU. M. Auezov (protocol No. ___ of "___" ___ 20___ y.)

©  M. Auezov South  Kazakhstan State University, 2019

TABLE OF CONTENTS

|  | Preface | 4 |
| --- | --- | --- |
| 1 | Aims and tasks of studying the subject | 5 |
| 2 | Recommendations for students to prepare for classes | 5 |
| 3 | Students` knowledge assessment criteria | 6 |
| 4 | General instructions for work | 7 |
| 5 | The goal and objectives of laboratory classes | 7 |
|  | #1 laboratory work “Determination of water quality indicators” | 9 |
|  | #2 laboratory work “Water softening by chemical method” | 15 |
|  | #3 laboratory work “Water softening by ion exchange method” | 21 |
|  | #4 laboratory work “Studying the filtration process for sewage purification” | 26 |
|  | #5 laboratory work “Caustification of soda solution” | 32 |
|  | #6 laboratory work “Methods of corrosion testing” | 45 |
|  | Literature | 53 |

PREFACE

The base elective discipline “Industrial Water Treatment” has the great importance in training bachelors of specialties 5В072000 (6В07160) – Chemical Technology of Inorganic Substances

This discipline consists of a lecture course and laboratory classes. Laboratory classes are a vital part of the discipline studying. Skills of experimental and calculated analysis of technological processes are being developed; general regularities of the process behavior are being learnt and being mastered at lab classes. On this basis optimal conditions of a process are being chosen, general indicators characterizing the technological process efficiency are being calculated.

The study guide covers the whole course content and consists of 6 labs. Each lab description includes the aim of the lab, theoretical data about a process under studying, the plant scheme and description, the technique of work and analysis carrying out, the order of calculation of technological process indicators as well as control questions and safety precautions.

The study guide is composed in accordance with the contents of the study programs on the discipline “Industrial Water Treatment” and according to requirements of the M. Auezov SKSU procedure PR 7.03 – 2015.

The report is being composed according to the requirements of M. Auezov SKSU procedure PR 7.03–2015 and being executed as a manuscript or in А4 printed form.

The report includes a title, a name of the lab, work aims, the technique of experiments and analyses, the lab plant scheme, experimental data, technological calculations of process indicators and product quality and a conclusion concerning research results’ justification.

The report defense includes to prepare and to answer the control questions of knowledge of theoretical bases of the technological processes. The questions are given for every lab. Students receive the report on # 5 lab in the printed form after successful virtual lab program completing.

Methodical instructions for laboratory studies are compiled in accordance with the content of the program of the discipline "Industrial Water Treatment" for students of specialty 5B072000 (6B07160) – "Chemical Technology of Inorganic Substances" and in accordance with the requirements of the Procedure of M. Auezov QMS SKSU  F. 7-03-2015 – "Management of educational and methodological processes."

1 Aims and tasks of studying the subject

The discipline "Industrial Water Treatment" for specialties 5B072000 (6В07160) –  "Chemical technology of inorganic substances" gives students knowledge in the field of properties and composition of natural and contour waters; the main physical and chemical processes that cause corrosion of equipment, the formation of scale and deposits; methods of water treatment and organization of a water-chemical regime, understanding technological features of the treatment of highly saline water and neutralizing wastewater, applying the acquired knowledge to calculate water softening and desalination schemes, determining the rate of formation of deposits and the rate of corrosion processes.

The purpose of teaching the discipline "Industrial Water Treatment" is to study methods of water treatment and means of organizing a water-chemical regime; the acquisition of knowledge about the physicochemical processes taking place in water with various methods of its purification; on technological schemes of water treatment plants used in chemical plants and their hardware design; principles of monitoring the operation of water treatment equipment.

In accordance with this goal, the main tasks of the discipline are to know the characteristics of impurities and the main indicators of water quality; basic methods of water pretreatment, ion exchange technology;
- understand the technological features of the treatment of highly saline water and the disposal of wastewater; be able to apply the acquired knowledge to perform the calculation of water softening and desalination schemes;
- be able to determine the rate of formation of deposits and the rate of corrosion processes; own the methods of calculation and selection of equipment for water treatment plants;
- have the skills of an experimental method for analyzing the technological parameters of water;
- be competent in the field of generalization, analysis, perception of information, goal setting and choice of ways to achieve it; making decisions in the framework of their professional activities; in matters of organizing reliable and economical operation of the main equipment, the implementation of optimal conditions for the water-chemical regime.

2 Recommendations for students to prepare to lab classes

At the first lab class students are acquainted with safety precautions for the work in a chemical laboratory. These precautions must be strictly observed when every lab carrying out. Laboratory works are carried out by groups of 2–3 students after access getting. This access provides for knowledge of the technique of lab carrying out, the plant scheme and the technique of technological calculations. After the lab completing every student calculates required process indicators according to the assignment, makes conclusions of the process efficiency, makes up a report and defends work results.

Most of laboratory works are research ones; while these carrying out the students study the process condition influence on technological indicators and the product quality.  #5 lab is virtual ones and it is performed using computing programs in the “Chemical Technology of Inorganic Substances” department laboratory. There at all parts of the work including tests of an access and work defense are performed in the virtual form.

3 Students` knowledge assessment criteria

The knowledge, skills, experience and competencies of students in all types of control are evaluated by grades of the point-rating alphabetic system, which have a directly proportional ratio.

The "excellent" grade corresponds to score A having a digital equivalent of 4,0 and a percentage of 95–100 % and A- having a digital equivalent of 3,67 and a percentage of 90–94 %.

The given grade is put in a case if the trainee has shown full mastering of a program material and did not make any mistakes, inaccuracies, timely and correctly performed tasks at the practical class and showed original thinking at the same time, in due time and without any mistakes he passed colloquiums and fulfilled his homework, independently used additional scientific literature in the discipline study, was able to systematize independently program information.

The "good" grade corresponds to B+ score with a digital equivalent of 3,33 and a percentage of 85–89 %, B score having a digital equivalent of 3,0 and a percentage of 80–84 % and B– score having a digital equivalent of 2,67 and a percentage of 75 –79 %.

The given grade is put in a case if the student has mastered the program material not less than on 75 % and at the same time did not allow gross mistakes in the response, completed all tasks in time and passed them without fundamental remarks, correctly performed and timely passed homework assignments without any fundamental comments, used additional literature as instructed by the teacher, allowed unprincipled inaccuracies or fundamental mistakes, corrected by the student himself, could to systematize the program material with the help of a teacher.

The "satisfactory" grade corresponds to C+ score having a digital equivalent of 2,33 and a percentage of 70–74 %, C score having a digital equivalent of 2,0 and a percentage of 65-69%, C– score having a digital equivalent of 1,67 and a percentage of 60–64%, D+ score having a digital equivalent of 1,33 and a percentage of 55–59 % and D score having an equivalent of 1,0 and a percentage of 50 to 54 %.

The given grade is put in a case if the student has mastered a program material not less than on 50 % at performance of control and current practical works and homework, if he needed the help of the teacher and at passing colloquium he made inaccuracies and unprincipled mistakes, inaccuracies, did not show activity in research work, limited only to use the educational literature specified by the teacher, experienced big difficulty in systematizing the material.

The "unsatisfactory" grade corresponds to F score having a digital equivalent of 0 and a percentage of 0–49 %.

The given grade is put in a case if the student found gaps in knowledge of the basic knowledge provided by the program, did not master more than half of the discipline program, he made fundamental mistakes in answers, did not execute the separate tasks stipulated by the forms of current, intermediate and final control, did not study all the basic the literature provided by the program.

4 General instructions for work

First-time students should:
- get a safety briefing and internal rules in the laboratory, sign in the briefing journal;
- become familiar with all issues related to the work performed;
- study the experimental setup;
- turning the unit on and off under the supervision of a teacher or laboratory assistant.
Draft observation results are presented to the teacher for review and signature. In the case of a clear discrepancy between the results of individual experiments, the causes should be identified, and if necessary, re-run experiments that have raised doubts.

A work report is compiled individually by each student with an indication of the date. The work report includes:
1 The formulation of the problem to be solved and the method for its solution (including the scheme, sketch, installation description).
2 Results of experiments in the form of protocols, graphs. Graphs are drawn to scale on graph paper.
3 Processing of experimental data in the form of necessary calculations.
Prior to the approval of the report, proceeding with subsequent work without the permission of the teacher, as a rule, is not allowed.

After completing the experiments on the installation, all the equipment is turned off and restored to the state corresponding to the original one. When approving the report, questions are asked to establish that the student is well aware of the experimental setup, the order in which work is performed, and can analyze the physical processes that occur in the work being done.

Familiarization with laboratory work should be carried out in accordance with these recommendations and guidelines, according to lecture notes, study guides and other specialized literature and materials indicated in additional literature.
        All laboratory work is carried out in accordance with existing standards and GOSTs and compliance with safety regulations.

5 The goal and objectives of laboratory classes

The goal of laboratory classes is to solidify and to deepen knowledge of acquired theoretical knowledge in the course of experiments, to master practical skills of laboratory research performance and an analysis of lab results.

Objectives of laboratory classes:

- to master the technique and to acquire an experience of performance of technological process experimental research using up-to-date computer technologies;

- to acquire skill of exploitation of technical means and laboratory equipment;

- to form skill of experimental data treatment, work result execution and presentation;

- to develop creativities and independence at analyses of research results and formulation of conclusions of the process efficiency.

Lab classes are being kept according to the contents of a syllabus and a course program of the discipline and they cover all sections of the “Industrial Water Treatment” course.

Table 1 – Themes of laboratory works

| Lab # | Num-ber of hours | Names of modules and labs | Forms and methods of the lab process | Control form |
| --- | --- | --- | --- | --- |
| Module 1. Characterization and properties of process water in the chemical industry |  |  |  |  |
| 1 | 2 | Determination of water quality indicators | Analytical | Report on the lab and defense |
| 2 | 2 | Water softening by chemical method | Analytical | Report on the lab and defense |
| 3 | 2 | Water softening by ion exchange method | Research | Report on the lab and defense |
| Module 2. Methods and equipment for industrial water treatment |  |  |  |  |
| 4 | 2 | Studying the filtration process for sewage purification | Research | Report on the lab and defense |
| 5 | 2 | Caustification of soda solution | Virtual lab | Computing report |
| 6 | 2 | Methods of corrosion testing | Research | Report on the lab and defense |

# 1 LABORATORY WORK

DETERMINATION OF WATER QUALITY INDICATORS

THE AIM OF THE LAB:

1. Practical acquaintance with standard methods of determination of different type’s water hardness and water oxidation susceptibility.

2. Water quality assessment for different water sources.

1 THEORETICAL INFORMATION

Water is widely used in chemical industry. It is applied as raw materials and a reagent for many chemical reactions. For example, it is used for production of hydrogen, sulphuric and nitric acids, soda ash, alkali sodium as well as in reactions of hydration and hydrolysis. Water has also an application as a solvent for solid, liquid and gaseous compounds in many productions of chemical, metallurgical, food and light industries. It is often used as an absorbent for purification and washing  different gases and solid materials from admixtures. Another direction of water using is enrichment of solid raw materials by means of flotation or hydromechanical method. All above mentioned examples deal with technological aims of water application. In addition water is applied in more large scales as a heat carrier or a cooling agent. Hot reacted flows formed as a result of exothermic reactions are cooled by cold water. Water steam or heated water is used for heating the cold interacting reagents to accelerate the process or to compensate heat expenses in endothermic reactions.

Natural water is divided into three kinds distinguished on admixture content. Atmospheric water is water of rain and snow precipitations. It contains the least amount of admixtures such as dissolved gases (CO2, О2, N2, H2S) and dust.

Surface water is water of open reservoirs, rivers, lakes, seas and channels. This water contains various mineral and organic substances. Sea water contains all chemical elements of Mendeleev's Periodic Table including precious and radioactive metals. Water containing less than 1g of salts per 1kg of water is called as fresh water. If it contains from 1 to 10 g per 1 kg then it is called as saltish water; if this indicator is more than 10 g per 1kg then this water is called as salt water.

Underground water is water of artesian wells, sources and geysers. It is characterized with diversity of dissolved salts’ composition which depends on composition and structure of soil and mining ores through which atmospheric and surface waters are percolated. Filtrating ability of soil and mining ores predetermines high transparence of underground water and absence of organic admixtures in it.

Since water is used in large scales not only as potable or sanitary water, but and for production purposes, then there are stringent specific requirements for water quality. Water quality is determined by such characteristics as transparence, colour, flavour, total salt content, hardness, oxidation susceptibility and water acidity.

Water oxidation susceptibility is an indicator characterizing organic admixtures’ content in water. It is determined by the amount of potassium permanganate necessary for organic compound oxidation. This value for natural water can vary over a wide range from milligram fractions to tens milligrams of oxygen per 1liter of water. Surface water has higher oxidation susceptibility as compared with underground water. Maximal permissible concentration according to permanganate demand for potable water is 5–7 mg/l.

Water acidity is characterized by hydrogen ion concentration and it is determined by means of specific indicator pH.  pH is one of most important indicators of water quality. Natural water acidity is close to neutral reaction (рН  6,8–7,3). Acidity of recycled water depends on process nature and purpose of used water. Water is acidic one if рН value is less than 6,5 and it is alkaline water if рН value is more than 7,5.

Total salt content characterizes presence of mineral and organic impurities in water. The amount of these impurities is determined by dry residual mass (mg/l) after 1liter of water evaporation and solid residual drying up to constant mass at the temperature 110°С.

Water hardness is the main qualitative indicator in many productions. It is predetermined by calcium and magnesium salts’ presence in water. These salts cause precipitate formation on inside surfaces of steam boilers, reactors and heat exchangers. By calcium and magnesium ion content three types of water are distinguished. Soft water contains less than 3mg-eq/l of Са2+ and Mg2+ ions, temperately hard water contains 3–6 mg-eq/l of these ions and hard water contains more than 6 mg-eq/l of calcium and magnesium ions.

Three types of water hardness are distinguished. They are temporary, permanent and total hardness.

Water temporary (carbonate) hardness is predetermined by calcium and magnesium hydrocarbonates content in water. These salts are converted into non-soluble carbonates when boiling. These solid salts precipitate according to the following reaction equati

t

Са(НСО3)2  CaCO3 + H2O + CO2                                            (1.1)

t

2Mg(НСО3)2  MgCO3 ∙ Mg(OH)2 + H2O + 3CO2                     (1.2)

Permanent (non-carbonate) hardness is predetermined by calcium and magnesium chlorides, nitrates and sulphates content in water. These salts aren’t converted into precipitates when boiling. Total hardness is determined as the sum of temporary and permanent hardness. Usually calcium salts determine carbonate water hardness and magnesium salts determine the level of non-carbonate hardness; and their sum forms total water hardness.

The appropriate water treatment precedes water using in the production. It depends on impurities presence in water and production requirements. Technical water shouldn’t contain impurities harmful for a certain reaction, corrode the equipment and form incrustation and sludge in apparatuses and pipelines. Impurities are usually in water in dissolved and colloid form or as coarse dispersions. Basic processes of water preparation are the following ones: water clarification using settling or filtration methods, water softening, in some cases – oxidation, desalting, neutralization, degasification and disinfection. Water clarification or coagulation of colloidal admixtures is performed by Al2(SO4)3, FeSO4, NaAlO2 coagulants addition. When organic compounds or elementary phosphorus occurrence in recycling water, it is necessary to oxidize them.

Water softening consists in complete or partial removal of calcium and magnesium salts from water. Coarse water softening (about to 0.3 mg-eq/l of hardness salts) is carried out by means of soda-lime method, i.e. by addition into water the amount of lime, caustic soda or soda ash required for precipitation of calcium and magnesium carbonate or magnesium hydroxide:

Ca(HCO3)2 + Ca(OH)2  2CaCO3 + 2H2O                                      (1.3)

Mg(NO3)2 + Ca(OH)2  Ca(NO3)2 + Mg(OH)2                               (1.4)

CaSO4 + Na2CO3  CaCO3 +  Na2SO4                                          (1.5)

MgSO4 + Na2CO3  MgCO3 + Na2SO4                                         (1.6)

MgCI2 + 2NaOH  Mg(OH)2 + 2NaCl                                        (1.7)

Lime or lime milk is considered as most accessible and cheap softening agent.  Fine water softening (about to 0,03 mg-eq/l) is reached by phosphate method at tri-sodium phosphate using as the softening agent. It permits to remove water temporary and permanent hardness simultaneously; thereat insoluble calcium and magnesium phosphates are formed:

3Ca (HCO3)2 + 2Na3PO4  Ca3 (PO4)2 + 6NaHCO3                                    (1.8)

3MgCl2 + 2Na3PO4  Mg3(PO4)2 + 6NaCl                                    (1.9)

The most effective method of water softening and demineralization is cation exchange method. The essence of this method consists in that some solid mineral and organic substances of low solubility are capable to extract from solutions certain cations and anions as a result of them exchange into other ones contained in these solutions. Cationites and anionites are used to extract Са2+, Mg2+, Fе3+ ions from water. Sulfonated coal or high-molecular resins containing active groups with Н+, Na+, NH4+ ions are cationites; high-molecular resins containing active groups with ОН–, HCO3– и С032–  ions are anionites. Ion-exchange columns with various design are used for ion exchange water softening.

Water composition, possibility of its direct using for various purposes or necessity its preparation is determined based on technical analysis results. Total water analysis includes a lot of different determinations and it takes long time. The analysis consists in determination of colour, flavour, taste, acidity; content of oxygen, hydrogen sulphide, carbon dioxide, nitrates, nitrides, fluorides, organic substances, hydrocarbonates, etc. However the total analysis conducting is unwanted in many cases; one may be limited with a part of analyses only, and determination of various types of water hardness, oxidation susceptibility and acidity has the largest value.

3 THE TECHNIQUE OF LAB CARRYING OUT

3. 1 The equipment and technical means:

1. Electric closed heater

2. Chemical glassware

3. Titrimeter

4. Water still Liston А 1210

3.2 Determination of water temporary hardness

Determination of water carbonate hardness is based on the direct colour-indicator titration by 0,1 n hydrochloric acid solution.

1. Take 100 ml of water (tap water or from other sources) into a volumetric cylinder and place it into a conical flask.

2. Titrate water in the presence of methyl orange indicator by 0,1 n hydrochloric acid solution up to orange colour transition into pink colour. During titration the neutralization of hydrochloric acid with magnesium and calcium hydrocarbonates takes place, which determines carbonate hardness, according to the reaction equation:

Ca(HCO3)2 + 2HCl = CaCl2 + 2H2O + 2CO2                                                              (1.10)

- Water carbonate hardness Нc (mg-eq/l) is calculated by the formula:

(1.11)

where V1 is  the volume of 0.1n HCl solution spent for titration, ml;

0,0028 is hydrochloric acid titre on CaO (the amount of CaO (mg) matching to 1ml of 0.1n HCl solution);

10000 is coefficient for measurement units recalculation;

20,04 is Са2+ ions content (mg) in 1 litre of water matching to 1 mg-eq/l of hardness salts.

3.3 Determination of water total and permanent hardness

Determination of water total and non-carbonate hardness is based on the analogous titration of excess of Na2CO3 and NaOH equal volumes mixture added to water, that didn’t enter the reaction with magnesium and calcium salts of permanent hardness.

1. Water sample from the first analysis is subjected to boiling for 5–10 minutes for carbon dioxide removal.

2. 25 ml (known excess) of Na2CO3 and NaOH equal volumes mixture is added to water and this solution is subjected to boiling for 5–10 minutes to precipitate magnesium and calcium carbonates and hydroxides formed as a result of reactions:

CaCl2 + Na2CO3 = CaCO3 + 2NaCl                                             (1.12)

MgCl2 + 2NaOH = Mg(OH)2 + 2NaCl                                         (1.13)

MgSO4 + Na2CO3 = MgCO3 + Na2SO4                                                                    (1.14)

3. When cooling is over the solution with precipitates is placed into the 250 ml volumetric flask and it is diluted with distilled water up to the mark. The flask is closed by a rubber stopper and carefully mixed.

4. The precipitate is separated by means of filtration on the funnel with a paper filter. 100 ml aliquot of the purified solution is sampled by a pipette and replaced into the conical flask for titration.

5. Titrate this sample in the presence of methyl orange indicator by 0,1 n hydrochloric acid solution up to orange colour transition into pink colour.

6. Separately take 25 ml of Na2CO3 and NaOH mixture solution (without water addition) and titrate analogously by 0,1 n hydrochloric acid solution.

7. Water total hardness Ht (mg-eq/l) is determined by the formula transformed similar to the formula (1.11):

Ht = 1,4(V3 – 2,5V2)                                         (1.15)

where V3 is volume of 0,1 n HCl solution, spent for titration of 25 ml of Na2CO3 and NaOH mixture solution, ml;

V2 is volume of 0,1 n HCl solution, spent for titration of excess of Na2CO3 and NaOH mixture in testing sample of water, ml;

2,5 is dilution coefficient.

8. Water permanent hardness is determined as a difference of water total and carbonate hardness:  Hn = Ht – Hc

3.4 Determination of water oxidation susceptibility

Data of water oxidation susceptibility allows to judge the amount of oxygen (as KMnO4) necessary for oxidation of organic compounds in water. Redox titration is used for this indicator determination.

1. Take 100 ml of testing water by a volumetric cylinder and place it into a conical flask.

2. Add 5 ml of sulphuric acid (1:3) solution and 10ml of 0,01 n potassium permanganate solution to the water sample.

3. The solution is subjected to boiling for 10 minutes. Add 10 ml of 0,01 n oxalic acid solution to the hot solution. Excess of oxalic acid is titrated by 0,01 n potassium permanganate solution up to weakly pink colour appearance.

4. Water oxidation susceptibility X is expressed in amount of oxygen in one liter of water (mg/l) and it is determined by the formula:

X=(А + В - С)∙0,01∙8∙1000V= (А + В - С)∙80100=(А+В-С)∙0,8  (5.16)

where A is volume of 0,01 n KMnO4 solution, added to water for organic admixture oxidation, ml;

B is volume of 0,01 n KMnO4 solution, spent for titration of oxalic acid excess, ml;

C is volume of 0,01 n oxalic acid (Н2С2О4) solution, ml;

0,01 is normality of potassium permanganate solution, mole/l;

8 is equivalent of oxygen, g/mole;

V is volume of testing water sample, ml.

Based on water analyses results the conclusion about water quality is made.

- SAFETY PRECAUTIONS

1. When hydrochloric, sulphuric, oxalic acids and potassium permanganate solutions using for chemical analyses it is necessary to be extremely attentive and to avoid skin contact with solution and eye damage.

2. When solution boiling on the electric heater it is necessary to observe safety regulations when operating with electric heaters.

3. In a case of mains interruption or one phase breakdown all electric gauges must be immediately switched off.

4. In a case of wires or electric gauges firing it is necessary to disconnect them immediately and to extinguish with dry carbon dioxide fire extinguisher or with the asbestos cloth.

5. At electric trauma it is necessary to switch off a knife switch of an electric board.

CONTROL QUESTIONS

- Water application in chemical industry.

- Comparative characteristic of natural water and its composition.

- Basic indicators of water quality.

- Water classification by hardness. Water hardness characteristic.

5. Methods of industrial water treatment. Sewage purification from mechanical and chemical admixtures.

6. The characteristic and essence of methods of water softening.

# 2 LABORATORY WORK

WATER SOFTENING BY CHEMICAL METHOD

THE AIM OF THE LAB:

1. Practical acquaintance with soda-lime method of water softening.

2. Determination of degree of water softening and water quality after softening.

2 THEORETICAL INFORMATION

2.1 Sewage characteristics

Industrial sewage disposal influences negatively on the environment. It causes pollution of underground and surface natural water, soil, underflooding near-by territories and destruction of natural balance of water sources. Deterioration of natural water quality caused by industrial and household sewage disposal in natural reservoirs is an urgent problem. Harmful influence of impurities in sewage appears only in a case of exceeding maximal permissible concentration (MPC) of these toxic impurities in reservoirs. Water quality in reservoirs is in direct correlation with disposed impurities’ quality and quantity.

Following kinds of sewage may be formed at modern industrial enterprises:

- water from equipment cooling, causing heat pollution of the natural water;

- water polluted with petroleum products and other toxic organic admixtures;

- water containing hardness salts and other mineral salts leading to boiler and heat exchanger incrustation formation;

- water with subacidity or superacidity, i.e. corrosion-active acidic or alkaline water;

- water containing mechanical admixtures as suspended solids – clay, sand, coal dust, precipitated hardness salts causing blockage and incrustation of equipment, such as apparatuses, pipelines, heat exchangers, and boiler-utilizers;

- steam condensate polluted with phenols and other organic substances as a result of thermal processing of coals and other solid raw materials;

- washing water from solid waste washing-out to increase maximally main liquid product output;

- absorption water from wet purification of industrial exhaust gases;

- water formed during operation of vacuum pumps, mixing barometric condensers and washing equipment, package and workplaces.

To reduce water consumption and to prevent natural reservoir pollution the wasteless discharge schemes with circulation water supply system are used in modern industrial productions. Salts and gases dissolved in water harm to water circulation system since they cause incrustation formation and metal surface destruction due to corrosion processes. To obtain closed-loop water circulation the system of water purification is provided using different methods of sewage cleaning and its components’ utilization. Depending on pollution kind, polluted substance concentration and required purification degree the various methods of sewage purification are applied.

Sewage purification degree is expressed by the generalized formula:

(2.1)

where с1 и с2 are concentrations of polluted substances in water before and after purification.

2.2 Industrial methods of sewage purification

Water applied in industrial processes must not contain harmful impurities, corrode equipment and form incrustation and insoluble sludge (as calcium and magnesium carbonates and magnesium hydroxide) in apparatuses and pipelines.

Hydromechanical, chemical, physical-chemical, physical and thermal methods of sewage purification are used in industry. Hydromechanical methods are based on difference in liquid and solid phase densities or on difference in pressures in front of and behind the filter baffle. They are settling-out and filtration. Chemical methods are used to neutralize acidic water and to soften water by some ion transition in insoluble compounds, to oxidize or to reduce toxic organic and inorganic impurities. These methods are also called as reagent methods since to separate impurities the special chemical reagents are added to water.

Flotation, extraction, electrochemical, coagulation and sorption are called physical-chemical methods. Most widely used sorption methods are adsorption and ion exchange used for sewage purification from fine, colloid and dissolved substances. Physical methods include precipitation in an electric and magnetic fields, acoustic coagulation, sewage evaporation etc. Nowadays membrane technologies (nanofiltration and reverse osmosis) are successfully used in industrial water preparation.

Water hardness (mg-eq/l) is the main qualitative indicator in majority productions. It is predetermined by soluble calcium and magnesium salts’ presence in water. Three types of water hardness are distinguished. They are temporary, permanent and total hardness.

Water temporary (carbonate) hardness is predetermined by calcium and magnesium hydrocarbonates Са(НСО3)2 and Mg(НСО3)2 content in water. These salts are converted into non-soluble carbonates when boiling. They precipitate as a dense deposit according to the reaction equations:

t

Са(НСО3)2  CaCO3 + H2O + CO2                                            (2.2)

t

2 Mg(НСО3)2  MgCO3∙Mg(OH)2 + H2O + 3CO2                       (2.3)

Permanent (non-carbonate) hardness is predetermined by calcium and magnesium chlorides, nitrates and sulphates content in water. These salts aren’t converted into precipitates when boiling. Total hardness is determined as the sum of temporary and permanent hardness.

Water softening consists in complete or partial removal of calcium and magnesium ions Са2+ and Mg2+ from water by chemical or physical-chemical methods. Coarse water softening (about to 0,3 mg-eq/l of hardness salts) is carried out by means of reagent soda-lime method, i.e. by lime (lime milk), caustic soda or soda ash addition into water with precipitation of insoluble calcium and magnesium salts.

Water lime pretreatment is carried out at the first step. It is used to decrease the carbonate hardness and to fix СО2; herewith total salt content as well as concentration of coarse admixtures and iron compounds decrease simultaneously. Reagents for this process are slaked lime Ca(OH)2 as a water suspension – lime milk or quick lime CaO as a fine powder. The process of water lime pretreatment is described by following reaction equations:

Ca(HCO3)2 + Ca(OH)2  2CaCO3 + 2H2O                                (2.4)

Mg(HCO3)2 + 2Ca(OH)2  2CaCO3 + Mg(OH)2 + 2H2O          (2.5)

FeSO4 + Ca(OH)2 → Fe(OH)2↓ + CaSO4↓                                    (2.6)

CO2 + Ca(OH)2 → CaCO3↓+ H2O                                              (2.7)

At the second step water is subjected to treatment by soda ash to remove permanent hardness; thereat following reactions proceed:

MgSO4 + Na2CO3  MgCO3 + Na2SO4                                (2.8)

MgCI2 + Na2CO3  MgCO3 + 2NaCl                                   (2.9)

CaSO4 + Na2CO3  CaCO3 + Na2SO4                                 (2.10)

These processes are usually combined in industrial conditions and conducted simultaneously in the same apparatus – a clarifier. Increasing the softening temperature and stirring using accelerates processes of hardness salts’ precipitation and formed precipitate settling-out. 5–10 % lime excess is usually used to provide high degree of water purification. At lime pretreatment some part of calcium transits from lime to water, therefore to calculate soda ash consumption for water softening it is necessary take into account calcium salts newly input into water and to use soda ash solution in 10–15 % excess. Final water purification from the precipitate is carried out by means of filtration or settling-out.

Fine water softening (to 0,03 mg-eq/l) is reached when phosphate method using at tri-sodium phosphate action as the softening agent. It permits to remove water temporary and permanent hardness simultaneously; thereat insoluble calcium and magnesium phosphates are formed according to reaction equations:

3Ca(HCO3)2 + 2Na3PO4   Ca3(PO4)2 + 6NaHCO3                              (2.11)

3MgCl2 + 2Na3PO4   Mg3(PO4)2 + 6NaCl                                 (2.12)

Solubility of calcium and magnesium phosphates is negligibly small; it provides high effectiveness of the phosphate method.

3 THE TECHNIQUE OF LAB CARRYING OUT

3. 1 The equipment and technical means:

1. Electric closed heater

2. Chemical glassware

3. Titrimeter

4. Water still Liston А 1210

5. Analytical balance ВЛТЭ-150

3.2 The order of lab carrying out

Water softening by soda-lime method

- Carry out preliminary water chemical analysis and determine temporary, permanent and total hardness according to the technique described in the # 1 lab. Calculate indicators of water hardness by the formulas (2.13–2.15).

Water carbonate hardness Hc (mg-eq/l) is determined by the formula:

(2.13)

where V1 is  the volume of 0,1 n HCl solution spent for titration, ml;

0,0028 is hydrochloric acid titre on CaO;

10000 is coefficient for measurement units’ recalculation;

20,04 is Са2+ ions content (mg) in 1 litre of water matching to 1 mg-eq/l of hardness salts.

The total hardness Ht (mg-eq/l) is determined by the formula:

Ht = 1,4∙(V3 – 2,5V2)                                  (2.14)

where V3 is volume of 0,1 n HCl solution, spent for titration of 25 ml of Na2CO3 and NaOH mixture solution, ml;

V2 is volume of 0,1 n HCl solution, spent for titration of excess of Na2CO3 and NaOH mixture in the testing sample of water, ml;

2,5 is dilution coefficient.

Water permanent hardness is determined as a difference of water total and carbonate hardness:

Hn = Ht – Hc                                       (2.15)

- Based on obtained results calculate the amount of lime or lime milk and soda ash for water softening. Interaction of reagents with hardness salts in water is described by reaction equations (2.4–2.10).

Consumption of slaked lime mCa(OH)2 (mg/l of water) for carbonate hardness removal is calculated by the expression:

mCa(OH)2= 1,05∙Нc ∙37                                 (2.16)

where 37 is equivalent of Ca(OH)2,

1,05 is coefficient taking into account 5 % lime excess.

If dry lime is used it is necessary to recalculate into CaO, i.e. mCaO = mCa(OH)2 ∙56/74.

Consumption of soda ash mNa2CO3 (mg/l of water) for non-carbonate hardness removal is calculated by the expression:

mNa2CO3 = 1,1∙ Нn∙53                                  (2.17)

where 53 is equivalent of Na2CO3,

1,1 is coefficient taking into account 10% lime excess.

If less water volume is taken for its softening, for example 250 ml instead of 1 liter, then consumption of lime and soda ash is recalculated fro given water volume, i.e. mCaO1 = mCaO ∙250/1000 and  mNa2CO31 = mNa2CO3∙250/1000.

- Weigh calculated amount of lime and soda ash on the analytical balance with accuracy to 0,01 g. Place 250 ml of analyzed water into 500 ml conical flask, heat up to the temperature 40–50 0С and dissolve in it consecutively reagent samples - at first lime and then soda ash. The mix is stirred for 4–5 minutes. Then settle and filtrate it on the paper filter and throw off first portions of the filtrate.

4. Analyze purified water and determine carbonate Нc1 and total Ht1 hardness by methods and formulas described in # 1 lab (formulas 2.13–2.15.).

5. Calculate water softening degree by the formula:

(2.18)

6. Make a conclusion about effectiveness of water softening by reagent soda-lime method.

4 SAFETY PRECAUTIONS

1. Be careful when acid, alkalis and salt solutions preparation: avoid to contact with skin.

2. In a case of acid contact with skin it is necessary to wash off it by plenty of water or  by soda solution.

3. When water and solution boiling on the electric heater it is necessary to observe safety regulations when operating with electric heaters.

4. At electric trauma it is necessary to switch off a knife switch of an electric board.

CONTROL QUESTIONS

- Characteristic of industrial sewage.

- Basic indicators of water quality.

- Methods of industrial sewage purification.

- Concept of water hardness. Kinds of water hardness.

5. Chemical methods of water softening.

6. Technique of determination of water softening degree.

# 3 LABORATORY WORK

WATER SOFTENING BY ION EXCHANGE METHOD

THE AIM OF THE LAB:

1. Practical acquaintance with ion exchange method of water softening.

2. Determination of degree of water softening and water quality after softening.

2 THEORETICAL INFORMATION

2.1 Characteristics of methods of sewage purification

Nowadays large volumes of sewage are formed in industrial productions. It contains various chemical and mechanical impurities and influences negatively on the environment causing pollution of underground and surface natural water and destruction of natural balance of water sources. To eliminate harmful influence of industrial sewage disposal, to reduce water consumption and to prevent natural reservoir pollution the wasteless discharge schemes with circulation water supply system are used in modern industrial productions.

Salts and gases dissolved in water harm to water circulation system since they cause incrustation formation and metal surface destruction due to corrosion processes. To obtain closed-loop water circulation the system of water purification is provided using different methods of sewage cleaning.

Sewage purification degree is expressed by the generalized formula:

(3.1)

where с1 и с2 are concentrations of polluted substances in water before and after purification.

Water applied in industrial processes must not contain harmful impurities, corrode equipment and form incrustation and insoluble sludge in apparatuses and pipelines. Various methods are used for industrial sewage purification depending on pollution kind, concentration of polluted substances, required purification degree and modes of impurities formation.

They are hydromechanical, chemical, physical-chemical, physical and thermal methods. Hydromechanical methods are based on difference in liquid and solid phase densities or on difference in pressures in front of and behind the filter baffle. Most widely used methods of water purification from mechanical admixtures are settling-out and filtration.

Chemical methods are used to neutralize acidic water and to soften water by some ion transition in insoluble compounds, to oxidize or to reduce toxic organic and inorganic impurities. These methods are also called as reagent methods since to separate impurities the special chemical reagents are added to water. Flotation, extraction, electrochemical, coagulation and sorption are called physical-chemical methods. Coagulation of colloid impurities is used for coarse microphase formation as floccules by means of coagulating agents – iron and aluminum sulphates addition to water with following solid phase precipitation. Formed flocculated mass consisting mainly of iron and aluminum hydroxides and impurities are separated from water in settlers or in special clarifiers. Most widely used sorption methods are adsorption and ion exchange used for sewage purification from fine, colloid and dissolved substances.

2.2 Essence of ion exchange method of sewage purification

Water hardness is the main qualitative indicator of industrial sewage. It is predetermined by calcium and magnesium salts’ presence in water. To use the water circulation system it is necessary to remove hardness by water softening.  Water softening consists in complete or partial removal of dissolved calcium and magnesium salts from water by chemical or physical-chemical methods. Coarse water softening (about to 0,3 mg-eq/l of hardness salts) is carried out by means of soda-lime method, i.e. by addition of lime, caustic soda or soda ash into water with precipitation of insoluble calcium and magnesium salts.

Fine water softening (to 0,03 mg-eq/l) is reached by phosphate method at tri-sodium phosphate addition as the softening agent. It permits to remove water temporary and permanent hardness simultaneously. Nowadays a complex method of water softening and demineralization is often used in industrial water preparation. This method represents chemical and physical-chemical ion exchange methods combination.

The most effective method of water softening and demineralization is ion exchange method. The essence of this method consists in that some solid mineral and organic substances of low solubility are capable to extract from solutions certain cations and anions as a result of them exchange into other ones contained in these solutions. Cationites and anionites are used to extract Са2+, Mg2+, Fе3+ ions from water. Sulfonated coal or high-molecular resins containing active groups with Н+, Na+, NH4+ ions are cationites; high-molecular resins containing active groups with ОН–, HCO3– и С032– ions are anionites.

Cationites of H+ and Na+ forms are usually used for water softening. Na-cationites used in industrial water preparation are alum silicates: glauconitic, zeolite, permutite, etc. Sulfonated coal and synthetic resins are used as H-cationites. OH-anionites are represented by artificial resins of complex composition, for example, carbamide resins.

Ion exchange between solutions and ionites is of heterogeneous chemical reaction nature. It should be noted that impurities removed from water by ion exchange method don’t form a precipitate; such treatment doesn’t require continuous component dosing. The important characteristic of ionites is an exchange capacity showing the ionite ability to adsorb a certain number of ions in given conditions. Adsorptive capacity (exchange capacity) E (g-eq/m3 of ionite) is expressed as the amount of equivalents of calcium and magnesium cations which can be adsorbed by a unit of ionite mass or volume. So Е = 1000 g-eq/m3 for sulfonated coal and Е = 850 g-eq/m3 for alumosilicates.

The basis of cation softening is a reaction of exchange of sodium and hydrogen ions of cationites for Са2+ and Mg2+ ions. Exchange of sodium ions is called as Na-cationization and hydrogen ions – as H-cationization. The process of Na-cationization is described by reaction equations:

2R/Na+ + Ca2+ ↔ R2/Ca2+ + 2Na+                                              (3.2)

2R/Na+ + Mg2+ ↔R2/Mg2+ + 2Na+                                            (3.3)

where R is complex of a matrix and a functional group which doesn’t participate in the ion exchange (it is assumed to be monovalent). The cation exchange at H-cationization proceeds according to reaction equations:

2R/H+ + Ca2+ ↔ R2/Ca2+ + 2H+                                              (3.4)

2R/H+ + Mg2+ ↔ R2/Mg2+ + 2H+                                             (3.5)

Reactions of ion exchange are reversible ones, and when reaching the required limit of ionite exchange capacity they are regenerated by washing with sodium chloride solution or with diluted sulphuric acid. Na-cationite regeneration is carried out by 6-8% sodium chloride solution, and H-cationite regeneration is carried out by acid solutions, for example 1,0–1,5% sulphuric acid solution. NaCl application for this purpose is traditional one; it is predetermined by table salt wide-spreading and low cost. Anionites are regenerated by washing with diluted alkaline solutions, sodium carbonate or hydrocarbonate solutions, more often 4% NaOH solution.

The process of cationite regeneration with sodium chloride solution is described by following reaction equations:

R2/Ca2+ + nNa+ → 2R/Na+ + Ca2+ + (n – 2) Na+                          (3.6)

R2/Mg2+ + nNa+ → 2R/Na+ + Mg2+ + (n – 2) Na+                                        (3.7)

3 THE TECHNIQUE OF LAB CARRYING OUT

3. 1 The equipment and technical means:

1. Electric closed heater

2. Chemical glassware

3. Titrimeter

4. Water still Liston А 1210

5. Cation-exchange column

6. Analytical balance ВЛТЭ-150

3.2 Description of the plant for water softening by ion exchange method

The scheme of the lab plant for water hardness removal by ion exchange method is imaged in Fig. 1. It consists of a flask 5 for purified water collection, a loading funnel 6 and an ion exchange column 1, fixed at a stand 7. The cation-exchange column represents a separating funnel of 4-5cm diameter and 20 cm height, 60–70 % full of Na-cationite 2 and equipped with a cock 4 for treated water discharge. The cationite is placed on a glass fibre layer 3 in the column bottom.

1– separating funnel, 2– cationite, 3– grid, 4– cock, 5– water collecting flask, 6– loading funnel, 7– stand Fig. 1. Scheme of the lab plant for cationite water softening

3.3 The order of lab carrying out

1. Prepare ion exchange column for the work. Prepare 250–300 ml of 6–8 % sodium chloride solution and pass it through the column for cationite regeneration after previous experiments when exchange capacity limit reaching. The salt excess is washed-out with 300–400 ml of distilled water.

2. Pass through the cationite 100–150 ml of tap water of known hardness Ht (by the analyses results of # 1 lab) with the outflow velocity 1 drop per second.

3. Collected softened water after the cation-exchange column is subjected to the chemical analysis to determine carbonate and total hardness Ht2 by the technique of # 1 lab.

4. Calculate water softening degree by the formula:

(3.8)

5. Make a conclusion of effectiveness of water softening by ion exchange method.

4 SAFETY PRECAUTIONS

1. Be careful when acid, alkalis and salt solutions preparation: avoid to contact with skin.

2. In a case of acid contact with skin it is necessary to wash off it by plenty of water or by soda solution.

3. When water and solution boiling on the electric heater it is necessary to observe safety regulations when operating with electric heaters.

4. At electric trauma it is necessary to switch off a knife switch of an electric board.

CONTROL QUESTIONS

- Characteristic of industrial sewage.

- Methods of industrial sewage purification.

- Concept of water hardness. Kinds of water hardness.

- Essence of ion exchange method of water softening.

- Kinds of used cationites and anionites.

- Technique of determination of water softening degree.

6. Design and the operation principle of ion exchange column.

7. Full exchange capacity, its determination.

# 4 LABORATORY WORK

STUDYING THE FILTRATION PROCESS FOR SEWAGE PURIFICATION

THE AIM OF THE LAB:

1. Practical studying the process of suspension separation by means of filtration.

2. Determination of filtration productivity and degree of sewage purification from mechanical impurities.

2 THEORETICAL INFORMATION

2.1 Characteristic of filtration processes

Filtration refers to hydro-mechanical processes used for separation of heterogeneous systems like liquid–solid, gas–solid. These processes are used for target liquid product separation from suspension, for example in wet-process phosphoric acid production, and also for industrial sewage purification from suspended solids or for waste gases cleaning from dust. In the course of suspension separation the solid phase particles dwell on hard filtering membrane and the liquid phase passes through the layer of formed precipitate and through pores of the filtering baffle. As a result of filtration the suspension separation into solid phase – wet precipitate and liquid phase – filtrate takes place.

The suspension filtration provides for almost complete liquid decontamination from suspended solids which are deposited as a precipitate on the filtering surface or inside the filter and gradually blind the pores. Accordingly filtration with filtercake formation and filtration with baffle pores’ blinding. Filtration with filtercake formation proceeds on the filtering baffle; herewith solid particles hardly penetrate inside the baffle. In a case of filtration with baffle pores’ blinding the solid particles hold off inside pores, and a filtercake isn’t formed on the filtering surface.

The driving force of the filtration process is pressure difference on both sides of the filtering baffle. It can be created by means of three methods: by suspension feed under the increased pressure to 1,5 MPa (high-pressure filter and filter press) using fluid pumps, by creation the vacuum to 0,1 MPa behind the filtering baffle using vacuum pumps (vacuum filter) or due to the centrifugal force (filtering centrifuge). In addition, hydrostatic pressure of the layer of poured suspension may be used for that.

Various filtering materials are used; they are cotton, wool, and synthetic textiles, wire gauzes, porous metals, ceramics or metal-ceramics, and also bulk materials (coal, sand, gravel). Proper operation of the filter depends to a large extent on the filtering baffle properties. The filtering baffle selection is determined by porosity, chemical resistance, mechanical durability and thermal resistance and depends on filtration conditions.

Depending on filters’ purposes the production and cleaning filtration is distinguished. If the solid product or semi-product is separated as a result of filtration, for example, sodium hydrocarbonate in soda ash production, then such filtration is called as production one. If the goal of the filtration is to separate the liquid product and solid impurities, then such filtration is called as cleaning one. In particular the cleaning filtration is used for industrial sewage purification from mechanical admixtures – suspended solids of clay, sand and coal dust.

  - The rate of suspension filtration

The rate of suspension filtration depends essentially on solids’ physical properties and fineness. Suspensions are divided by solid particle size into:

- coarse suspension (particle size more than 100 microns);

- fine  suspension (particle size from 0,5 to 100 microns);

- turbidity (liquids with solid particle size from 0,1 to 0,5 microns);

- colloid solution (solid particle size less than 0,1 microns).

In practice all these kinds of suspensions occur, and mainly with different size particles, i.e. polydisperse systems. It is impossible to separate turbidities and colloid solutions by means of filtration because of high dispersion ability and low separation rate. That’s why they are separated by coagulation and flocculated collapse settling methods. Filtration is most effective method of coarse and fine suspensions separation.

The rate of suspension filtration is described by a kinetic equation of filtration, which expresses the filtrate volume separated in infinitesimal time interval from a unit of a filtering surface:

w=dVFdτ=∆Pμ(Rfc+Rfb)                                    (4.1)

where V is filtrate volume, m3;

F is filtering surface, m2;

τ is filtration time, sec;

∆Р is pressure difference on the filter, Pa;

μ is dynamic-viscosity coefficient, Pa∙с;

R = Rfc+ Rfb is filtration resistance, calculated as a sum of filtercake resistance Rfc  and filtering baffle resistance Rfb.

The kinetic equation of filtration defines factors affecting the filtration rate. The filtration rate is in direct proportion to pressure difference in front of and behind the filtering baffle and in reverse proportion to the filtering surface and to filtration resistance. According to this dependence it is expedient to filtrate the suspension in hot state, i.e. at the chemical process temperature to decrease filtrate viscosity and thereby to increase the filtration rate.

Suspension filterability depends on filtering baffle pores’ size as well. The filter can fully hold off the precipitate provided pores’ size is smaller than the size of the smallest precipitate particles. At counter this condition the filtrating liquid is turbid. At the same time the filtering material shouldn’t be too fine-pored: the denser precipitate is, the smaller material pores’ size is, the more it resists to the liquid flow and therefore the smaller filtration rate is.

The precipitate nature has a great impact on the filtration rate. As a rule amorphous and fine-cristalline precipitates are filtrated hardly, because firstly they need in fine-porous filtering materials using, and secondly they are affected to form a dense layer on the filter, which creates significant additional resistance to the liquid flow. To decrease precipitate resistance the conditions of coarse solid phase formation are selected. The key to success is slow crystallization conducting; it provides more coarse-crystalline precipitate formation.

Basic technological indicators of suspension filtration are productivity of filtration equipment, moisture content of dewatered precipitate and separated filtrate purity. The precipitate moisture content is in reverse dependence on the size of suspension dispersed phase, i.e. the larger solid phase particles are, the easier they are filtrated, washed-out of included solid phase, and the precipitate has less moisture content and therefore it is dried easier (if need). The specific productivity of filtration equipment depends mainly on the specific resistance of solid phase particles, and also on technological, hydrodynamic and physical-chemical conditions. Productivity of the filter Pf can be expressed as conditional average filtration rate which is defined as the ratio of mass or volume of filtrate or precipitate obtained from a unit of filtration surface in a unit of time; it is expressed by the formula:

Pf=GS∙τ                                               (4.2)

where G is mass of filtrate or precipitate, kg;

S is filtration surface, m2;

τ is filtration time, h.

Knowing productivity of the filter one can estimate an effectiveness of suspension separation by means of filtration and select optimal conditions of a process. Purity of obtained liquid product, for example, sewage filtrated from mechanical impurities is determined by purification degree calculated by the formula:

(4.3)

where G is mass of polluting substance in 100 g of water before purification, g;

(G-Gdp) is mass of the polluting substance in 100 g of water after purification, g;

Gdp is mass of dry precipitate, g.

3 THE TECHNIQUE OF LAB CARRYING OUT

3.1 The equipment and technical means:

1. Bunsen flask

2. Buchner funnel

3. Chemical glassware

4. Vacuum pump

5. Buffer capacity

6. Analytical balance ВЛТЭ-150

7. Rough balance

8. Filter cloth

9. Dryer ШС-80

3.2 Laboratory plant description

The scheme of laboratory plant for filtration process studying is imaged in Fig. 2. It represents vacuum-filtration plant including a Bunsen flask 1 hermetically connected with a Buchner funnel 4, a vacuum meter 2, cocks 3 and 6, a buffer capacity 5, hermetically connected with a vacuum pump.

1– Bunsen flask, 2– vacuum meter, 3,6– cocks, 4– Buchner funnel, 5– buffer capacity Fig. 2. Scheme of vacuum-filtration plant

3.3 The order of lab carrying out

1. Prepare water suspension of composition approximately imitating the sewage polluted with impurities of sand, clay and coal dust. Place 100 ml of water into a conical flask and add a sample G of sand and clay mix weighed on the analytical balance with accuracy to 0,1 g. The sample mass has to match to suspension composition with liquid to solid phase ratio L:S = 10:1, 15:1 or 20:1 according to the assignment.

2. Weigh separately a Buchner funnel and a Bunsen flask on the rough balance. Take the filter cloth of a circle shape with size equal to the funnel square. Place the weighed filter cloth into the Buchner funnel to cover completely funnel’s holes. Determine the filtration surface based on the funnel diameter.

3. Set the vacuum-filtration plant (Fig. 14). Switch on the vacuum pump and by cock 6 at switched-off cock 3 set 0,05–0,06 MPa vacuum of the filtration plant. The vacuum is measured by a vacuum meter.

4. Stir up the suspension and pour it in the funnel up to completely filling and simultaneously open the cock 3. Keep filtration start time with stop watch     while the first filtrate drops’ appearance. Pour out well-stirred retained suspension into the funnel and filtrate it up to complete stop of liquid drops’ separation from the funnel to the flask. Note suspension filtration time and then switch off the vacuum pump.

5. Separate the funnel and the flask on the morrow of filtration and weigh separately the funnel with filter cloth and solid phase and the flask with liquid phase on the rough balance. Determine mass of filtrate and precipitate with the filter cloth.

6. Extract the precipitate with the filter cloth from the funnel and place in the porcelain cup; then place it into a dryer and dry for 1 hour up to constant mass at temperature 105–110 0C. Control drying is carried out for 30 minutes.

7. Weigh the cooled precipitate with the filter cloth and calculate mass of dry and wet precipitate. Determine precipitate moisture content W by the formula:

(4.4)

where ΔG is precipitate mass change after drying, g;

ΔG = Gwp – Gdp, g;

Gwp is mass of wet precipitate, g.

8. Calculate filtration productivity by filtrate and by wet and dry precipitate by the formula (9.2).

9. Determine purification degree of water from admixtures by the formula (9.3) taking into account that solid phase mass in water after purification can be calculated as a difference of mass of solid substance sample and mass of dry solid precipitate separated by filtration.

10. Make a conclusion of effectiveness of sewage filtration and purification from mechanical admixtures. Tabulate results of calculations in Table 2.

Table 2 –  Results of water suspension filtration

| Ratio of L:T in sus-pension | Mass of solid substance, g |  |  | Filtration surface S, m2 | Precipitate moisture content W, % | Filtration productivity, kg/m2∙h |  |  | Water purifycation α, % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | in water before purification G | wet precipitate on a funnel, Gwp | dry precipitate on a funnel, Gdp |  |  | by filtrate Pf | by wet precipitate Pwp | by dry precipitate Pdp |  |

4 SAFETY PRECAUTIONS

1. Check the set plant for tightness.

2. In a case of mains interruption the vacuum pump and the dryer must be immediately switched off.

3. The vacuum pump must needs to be grounded.

4. It is prohibited to work at the vacuum-filtration plant without a protective cover of the Bunsen flask and the Buffer capacity.

5. Check the truth of the dryer hook up into the electrical network.

6. In a case of wires or electric gauges firing it is necessary to disconnect them immediately and to extinguish with dry carbon dioxide fire extinguisher or with the asbestos cloth.

CONTROL QUESTIONS

1. The concept of filtration process. Purpose and types of filtration.

2. Driving force of the filtration.

3. Methods of pressure difference creating on both sides of the filtering baffle.

4. Definition of the filtration rate. Factors influencing on the filtration rate.

5. What are components of the filtration resistance?

6. Technological indicators of suspension filtration.

7. The technique of calculation of filtration productivity and purification degree of water from mechanical admixtures.

# 5 LABORATORY WORK

CAUSTIFICATION OF SODA SOLUTION

THE AIM OF THE LAB:

1. Acquaintance with the process of soda solution caustification.

2. Experimental and virtual studying the different parameters effect on caustification degree of soda solution.

3. Master skills of virtual lab carrying out on the computer program.

2 THEORETICAL INFORMATION

2.1 Chemical method of caustic soda production

Caustification of soda solution is a main stage of caustic soda production by means of lime method. In addition caustification is one of stages of cellulose production by sulphate method (with regeneration of cooking liquor), in aluminum production using wet alkaline method and others.

Caustification refers to typical heterogeneous non-catalytic processes proceeding under low temperature. This process is also used for water softening by lime-soda method. To increase sizes of particles of formed solid phase and therefore to increase the rate of slime settling the combined reagent method of water pretreatment is often used. The method consists in preliminary mixing and heating the precipitation agents, i.e. soda solution and lime milk which are injected then into water for softening. Herewith calcium carbonate precipitate is formed as a result of caustification:

Na2CO3 + Ca(OH)2  ↔  CaCO3↓ + 2NaOH + Q                                            (5.1)

The same method of caustification is used for preliminary purification of sodium chloride raw brine from hardness salts in soda ash production by Solvay method.

In caustic soda production the soda solution obtained by crude sodium bicarbonate decarbonization and by soda ash dissolution, is treated with lime or lime milk forming precipitate CaCO3 according to reaction equation (5.1).

Using lime instead of lime milk in the caustification process allows using the heat of CaO slaking as an exothermic process. Thereat more concentrated caustic soda solution is formed due to partial evaporation of water from solution and removal of water entering with the lime milk. The process of soda solution caustification is a typical example of reversible heterogeneous interaction taking place in the kinetic region in liquid-solid (L–S) system. The (5.1) reaction path depends mainly on the ratio of solubility of the least soluble components Ca(OH)2 and CaCO3, i.e. on concentrations of OH– and CO32– ions in the solution.

In the process beginning the equilibrium of (5.1) reaction is displaced to the right because CaCO3 solubility is less than Ca(OH)2 solubility. For example, under 100 °C Ca(OH)2 solubility in water is 0,07 %, and CaCO3 solubility is only 0,00002 %. In addition, there is big amount of CO32– ions in the initial solution, which decrease already low solubility of CaCO3. In the course of  caustification OH– ions are accumulated in the solution, and the number of CO32–  ions decreases. Therefore CaCO3 solubility increases, and Ca(OH)2 solubility decreases. Equilibrium is established when both salts reach the same solubility.

The equilibrium constant of  (2.1) reversible reaction is described in general form by the following expression:

(5.2)

Since during caustification calcium hydroxide and carbonate in solid phase are always present in the reaction mix, then values of [Ca(OH)2] and [CaCO3] are constant and they can be included in the equilibrium constant value, i.e.

(5.3)

Then the expression for equilibrium constant depending on solubility of sodium hydroxide and sodium carbonate takes the form:

(5.4)

We can see from (5.4) expression that the equilibrium in the given system is determined exceptionally by the ratio of sodium hydroxide and sodium carbonate solubility. NaOH equilibrium output called as the caustification degree is defined as the ratio of factual and theoretical amounts of the obtained product:

(5.5)

Based on this ratio one can determine following ways to increase NaOH equilibrium output.

2.2 Methods of increasing of soda solution caustification degree

The equilibrium caustification degree (i.e. the degree of  Na2CO3 conversion into NaOH in equilibrium state) increases with decreasing Na2CO3 content in the initial solution. Thereat concentration of CO32– ions decreases in the equilibrium causticized solution and ratio increases, and therefore the caustification degree increases. With that water content in the causticized solution increases; it results in increasing water steam consumption for following evaporation of weak liquors. Therefore the choice of optimal soda concentration in the initial solution is determined not only by the caustification degree, but also by the concentration of obtained NaOH solution. In practice, 10–15 % Na2CO3 solution (2–3 n) is used. On average the caustification degree reaches about 90%, and liquor containing 100–120 g/dm3 of NaOH is obtained. Low concentration of caustic soda in liquors sent for evaporation is the main disadvantage of the lime method.

Temperature influence on the caustification degree is also ambiguous. Temperature increasing shifts equilibrium of this reversible exothermic reaction to the left and thereby decreases the equilibrium constant and the equilibrium caustification degree as a consequence of CaCO3 solubility increase. On the other hand temperature rising increases the rate of (5.1) heterogeneous reaction taking place in the kinetic region. In addition to that temperature increase promotes to decreasing solution super saturation by CaCO3; it leads to formation of large crystals of calcium carbonate. In turn it increases the rate of sludge settling due to solution viscosity decrease. Large crystals not only are faster precipitated but and better washed out of NaOH and Na2CO3 residue with less amount of water.

That is why caustification is performed under increased temperature 80-90°C in a causticer-reactor heated with direct or indirect steam using coils in which steam circulates. Lime slaking with soda solution in a drum slaker results in formation of suspension which is fed to the causticer. Then the suspension is sent to settlers. Clarified weak caustic liquor is decanted and fed for evaporation into triple-effect vacuum-evaporator installation and then for melting and formation of solid product - flake or granular caustic soda.

Sludge, consisting mainly of CaCO3, undergoes multi-stage countercurrent washing by water and weak bypass solutions in order to extract caustic soda completely. This washing takes place in a battery of washers-decanters with stirring mechanisms, which solidify sludge in the lower part of the apparatus. Clarified solution is drained off from the upper part of the decanter and then it is sent for salts dissolution into the evaporation section. Washed sludge is separated in a drum vacuum-filter and is removed into the dump.

3 THE TECHNIQUE OF LAB CARRYING OUT

3. 1 The equipment and technical means:

1. Laboratory plant for caustification

2. Chemical glassware

3. Titrimeter

4. Water still Liston А 1210

5. Analytical balance ВЛТЭ-150

6. Vacuum-filtration plant

3.2 Laboratory plant description

The scheme of laboratory plant for soda solution caustification is shown in Fig. 3. It consists of a thermostat 1, filled with water which is heated by an electric heater 2 and is stirred with a stirring mechanism 4. A causticer 5 represents a china glass with a cover and a stirring mechanism 6 passed through the cover opening. The causticer is submerged into the water in the thermostat. Temperature in the thermostat is controlled with the control thermometer 7 and is regulated using a resistance thermometer 3 included into the automatic regulation scheme.

3.3 Calculations of lime consumption for caustification

1. To carry out the experiment, three samples of initial soda solution containing Na2CO3 in interval 5–20 % are taken. It is impossible to prepare a solution with concentration higher than 22 % under temperature of 20 °C, because such concentration is higher than Na2CO3 solubility in water.

2. The theoretical amount of lime CaO is calculated according to reaction equation (2.1) for specified mass of initial soda solution with known concentration. In order to do this first of all Na2CO3 content in the initial solution is determined by the solution titration with 1n solution of hydrochloric acid.

3. Take 10 ml of the analyzing soda solution by a pipette and place it into the conical flask.  Add 40–50 ml of distilled water and 2–3 drops of methyl orange indicator and titrate with 1n hydrochloric acid solution until color transition into pink color. The volume of 1n HCl solution (ml) spent for titration is equivalent to the amount of Na2CO3 in the solution.

The example of calculation of soda solution composition.

Assume that 20 ml of 1n HCl solution is spent for titration of 10 ml of initial soda solution. Concentration of Na2CO3 in the solution is determined by the formula:

СNa2CO3 =                                        (5.6)

where υ is volume of 1n HCl solution spent for sample  titration, ml;

υs.s. is volume of soda solution sample subjected to titration, ml;

К is correction factor for the titre of 1n hydrochloric acid solution;

53 is g-eq of Na2CO3.

The correction factor for the titre of 1n HCl solution exactly K = 0,95. Then solution concentration is

СNa2CO3 =

Na2CO3 mass in given volume (V = 200 ml) of initial soda solution is calculated through a ratio:

4. Consumption coefficient b (g) of CaO for each m gram of the soda solution with concentration c (%) is determined using the formula:

,                                                           (5.7)

where 56 and 106 are molar masses of CaO and Na2CO3 accordingly.

5. Then the amount of lime with 5% excess over stoichiometric amount is determined by the formula:

a  = 1,05 b                                                           (5.8)

Usually when caustification carrying out in lab conditions fine-divided non-slaked lime and 100 or 200 grams of soda solution samples of three different concentrations are used to determine the dependence of caustification degree on soda solution composition.

3.4 The order of lab carrying out

1. The set amount (100–200 g) of initial soda solution with different concentrations is poured into china glass-causticer 5. The causticer is placed into the thermostat previously heated to the required temperature. Temperature is regulated automatically.

1– thermostat, 2– heater, 3– contact thermometer, 4,6– stirring mechanism, 5– causticer, 7– control thermometer, 8– funnel for CaO loading Fig. 3. Scheme of the lab plant for caustification of soda solution

2. The solution is heated up to 80 °C under the switched stirring mechanism inside the causticer. After 80 °C reaching the fine-divided lime is added in small portions to the soda solution during 5–10 minutes.

3. After the whole amount of lime is loaded, the experiment start time is recorded. Caustification proceeds during 40 minutes. Caustification temperature is kept constant 80 °C during the entire process.

4. At the experiment end the stirring mechanism and heating is switched off and the causticer is taken out of the thermostat. In order to determine the caustification degree, the suspension is filtered under vacuum of 0,06 MPa using a Bunsen flask and a Buchner funnel. The filtrate is replaced into the conical flask. The precipitate is washed by hot water, and the sludge is also filtered. Washing water is collected as well.

5. The content of NaOH and Na2CO3 is separately determined in the filtrate and the washing water, and their total amount is determined.

6. Using the obtained data the caustification degree X is determined for each experiment as the ratio of NaOH mass in the filtrate and in the precipitate to the total mass of NaOH and Na2CO3 (recalculated into NaOH) in the filtrate and the precipitate.

3.5 The technique of virtual lab carrying out

A computer version of the “Caustification of soda solution” lab includes several stages. At first students choose the language of virtual lab performance (Fig. 4). Then they should make acquaintance with theoretical bases of the process and the technique of virtual lab carrying out (Fig. 5). Then they must answer the qualification test questions:

- Reagents for caustic soda production by chemical method…

- Optimal concentration of soda solution fed for the caustification…

3. Caustification of the soda solution with lime is described by the reaction equation…

- Caustification of the soda solution with lime milk is described by the reaction equation…

- The temperature of soda solution caustification…

- Na2CO3 content in the solution is determined by the titration with…

- The slime formed in the caustification…

- Caustification degree of soda solution is determined by…

- The separation of suspension is carried out by the method of…

10. The lime input is carried out by...

Fig. 4. Interface of the virtual lab

Having chosen the correct answer, they accept it with the (OK) button and move on to the next question. Having answered 10 questions correctly out of 10 offered ones, students pass to the lab performance (“Begin work” button). In a case of even one incorrect answer students must return to the beginning of the program and to take the qualification test again.

Fig. 5. The second window of the virtual lab carrying out

Next students start the caustification process (Fig. 6): they choose soda solution mass given by the instructor (100 or 200 grams) and specify 3 different solution concentrations.

Fig. 6. Window for the first stage of the work carrying out

– caustification of soda solution

If concentrations are entered correctly, then based on these values students must calculate consumption coefficients for lime on the basis of  reaction equation (5.1). Coefficients are calculated using the stoichiometric ratio b taking into account 5 % reagent excess a. Then students enter the obtained results into corresponding windows. In the case of incorrectly entered concentrations or incorrect calculation of b and a values, the mistake that needs to be corrected is pointed out after pressing the “turn on” button. When all parameters are entered correctly, the student can begin the lab.

In order to carry out the work, buttons of operational regulation of the process “lime input”, “turn off”, “temperature” and “timer” are used. If the technological mode of soda solution caustification is disturbed, the mistake is pointed out to the student as well.

If the student makes more than three mistakes, he gets an “unsatisfactory” mark and he is returned to the qualification test. If caustification is carried out properly students start (Fig. 5, 6) the process of suspension filtration and precipitate washing using buttons “turn on” and “turn off”. Obtained masses of filtrate, precipitate and washing water are shown in “work result” windows. Using total values of NaOH amount in filtrate and precipitate and Na2CO3 amount (recalculated to NaOH) in filtrate and precipitate, students have to calculate caustification degrees and enter the values into corresponding windows.

Fig. 7. Window for the second stage of the work carrying out -

suspension filtration

If the calculation is performed correctly, the program builds a graphic dependence of caustification degree on soda solution concentration based on which students make a conclusion for the work. To evaluate the student’s knowledge of theoretical bases of caustic soda production, the work defense test is provided including following 20 questions:

- The advantage of lime method of caustic soda production in comparison the electrochemical one.

- The decreasing of solution supersaturation of CaCO3 in reached by means of…

- Caustification carrying out with 5–10 % lime excess using promotes to…

- The disadvantage of chemical method of caustic soda production…

- The disadvantage of electrochemical method of caustic soda production…

- Why is the caustification carried out under high temperature?

- The heterogeneous process takes place in the kinetic region if…

- How does the temperature increasing influence on the rate of the process taking place in kinetic region?

- How does caustification degree change when soda solution concentration increases?

- How does increasing the solid phase dispersion influence on the rate of the process taking place in kinetic region?

- The advantage of lime using for soda solution caustification is…

- The advantage of lime using for soda solution caustification is…

- What is the region of heterogeneous process of soda solution caustification?

- What is the disadvantage of the lime method of caustic soda production?

- What is the disadvantage of the lime method of caustic soda production?

- What influences the lower limit of Na2CO3 concentration in the solution?

- What influences the lower limit of Na2CO3 concentration in the solution?

- What influences the upper limit of Na2CO3 concentration in the solution?

- Why is the caustification carried out under high temperature?

- What stage follows after the first caustification in industrial conditions?

After test successful completion students get a mark: when answering 19–20 questions – “excellent”, with 2–3 incorrect answers – “good”, with 4–5 incorrect answers – “satisfactory”. If students answered less than 15 questions the work is considered as unfulfilled and it must be performed again. Summary mark for the virtual lab is given taking into account mistakes made during caustification and filtration process performance and caustification degree calculation.

Fig. 8. Window for the third stage of the work carrying out

– precipitate washing

3.6 The order of analyses carrying out

Filtrates and washing water are analyzed to determine the content of NaOH and Na2CO3. The method of BaCO3 precipitation is used and it is based on the following principle. The total alkalinity (NaOH + Na2CO3) is determined in one sample of testing solution by means of its titration with hydrochloric acid solution in methyl orange indicator presence.

The filtrate is separated from the slime; then filtrate volume V1 is noted and 10 ml filtrate aliquot is sampled and is placed into 250 ml conical flask. Add 50 ml of water and 2–3 drops of methyl orange and titrate with 1 n HCl solution up to yellow colour transition into pink colour. The amount of 1n HCl solution (ml) 1 spent for titration corresponds to the total alkalinity.

Another sample of testing solution is subjected to Na2CO3 precipitation by barium chloride to determine NaOH content by solution titration with hydrochloric acid solution in phenolphthalein indicator presence. For that 10ml filtrate sample is placed into 250 ml conical flask, then diluted with 50 ml of water and add barium chloride solution excess (30 ml of 10 % BaCl2 solution). Herewith barium hydroxide and insoluble barium carbonate precipitate is formed according to reaction equations:

Na2CO3 + BaCl2 = 2NaCl + BaCO3↓                                         (5.9)

2NaOH + BaCl2 ↔ 2NaCl + Ba(OH)2                                      (5.10)

After precipitation 2–3 drops of phenolphthalein is added to the sample and immediately titrate solution with 1n hydrochloric acid solution. The volume of 1n HCl (ml) 2 spent for titration corresponds to NaOH content in the sample.  NaOH и Na2CO3 content in the filtrate is calculated by formulas:

(5.11)

(5.12)

where  40 and 53 are g-equivalents of NaOH и Na2CO3 in match;

К is correction factor for 1 n HCl solution titre.

Washing water is analyzed by the same method but 0,1 n HCl solution is used for titration. Washing water volume V2  is measured and two samples of 20 ml are sampled to determine total alkalinity and NaOH content.

4 CALCULATIONS OF PROCESS TECHNOLOGICAL INDICATORS

Caustification degree Х is the main indicator characterizing effectiveness of caustic soda production by chemical method. It is determined by the formula (5.5), where Gfact is the factual mass of NaOH and Gtheor is the (theoretical) total mass of NaOH and Na2CO3 (in recalculation into NaOH) in the filtrate and in washing water.

The example of caustification degree calculation.

To titrate 10 ml of the filtrate 25 ml of 1 n HCl solution is spent, and to titrate the same volume of the filtrate after Na2CO3 precipitation with barium chloride 21 ml of 1 n HCl solution is spent. Then NaOH and Na2CO3 contents in the solution are determined by formulas (5.11) and (5.12):

The whole filtrate volume (V1 = 300ml) contains:

m2=

To determine the total alkalinity of washing water (sample of 20 ml volume) 22 ml of 0,1 n HCl solution is spent. To determine NaOH content in washing water (sample of 20 ml volume) 18 ml of 0,1 n HCl solution is spent. Then NaOH and Na2CO3 contents in washing water are determined:

The whole washing water volume (V2 = 200ml) contains:

m4=

Total mass of NaOH obtained as a result of caustification is

m1+ m3 = 23.94 +  0,72 = 24.66г.

Mass of unused soda is m2 + m4 = 6,04 + 0,21 = 6,25g   or in recalculation into NaOH 6,25∙80/106 = 4,72 g.

All obtained data are summarized in Tables 3 and 4.

Determine caustification degree of the soda solution:

Then the graphic dependence of caustification degree on concentration of initial soda solution is built and a conclusion is made.

Table 3 – Results of filtrate analyses

| Initial solution |  |  | Volume of 1n HCl solution, ml |  | Analysis of filtrate |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Volume V, ml | Na2CO3 content |  |  |  | Volume V1, ml | Na2CO3 content |  | NaOH content |  |
|  | g/l | g | 1 | 2 |  | g/l | g | g/l | g |

Table 4 – Results of washing water analyses

| Na2CO3 content in soda solution, g/l | Volume of 0.1n HCl solution, ml |  | Analysis of washing water |  |  |  |  | Caustification degree Х, % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Volume V2, ml | Na2CO3 content |  | NaOH content |  |  |
|  | 1 | 2 |  | g/l | g | g/l | g |  |

- SAFETY PRECAUTIONS

1. Check the integrity of wires, plugs, and outlets when heating and a stirrer switching on.

2. In a case of mains interruption or one phase breakdown the heating and motor engine must be immediately switched off.

3. In a case of wires or electric gauges firing it is necessary to disconnect them immediately and to extinguish with dry carbon dioxide fire extinguisher or with the asbestos cloth.

4. You must not bend over the thermostat to avoid hair twist on rotating stirrers.

5. When the work is over it is necessary to switch off electric gauges, to clean workplaces and to give them to the laboratory assistant.

CONTROL QUESTIONS

1. Characteristics of chemical methods of caustic soda production (lime and ferrite ones).

2. Physical-chemical bases of caustic soda production by chemical method.

3. Main technological indicators of chemical production effectiveness.

4. Choice and justification of basic parameters (concentration and temperature of soda solution) of soda solution caustification.

5. Advantages and disadvantages of chemical and electrochemical methods of caustic soda production.

6. Basic stages of caustic soda production by chemical method.

7. Determine optimal conditions of soda solution caustification based on experimental data analysis.

# 6 LABORATORY WORK

METHODS OF CORROSION TESTING

THE AIM OF THE LAB:

1. Acquaintance with methods of qualitative and quantitative assessment of metal corrosion resistance.

2. Determination of corrosion resistance of the metal under investigation.

2 THEORETICAL INFORMATION

2.1 Characteristic of corrosion processes

Requirements for constructive materials in chemical technology significantly differ of these in mechanical technology. Materials used in production of machine parts for mechanical treatment of materials, must possess mainly properties like durability, hardness and strength, i.e. only mechanical properties are taken into account. As a rule simple ferrous metals such as cast iron and steel satisfy to these requirements. In construction of apparatuses for chemical processes as well as for raw materials and products transportation and storage in chemical industry one of main requirements is material chemical resistance. Chemical resistance is so important, that for this strong decrease of material mechanical properties is often ignored. So, for example, steel is substituted by less strong, non-hard and non-elastic lead or by less thermal resistant materials or, at last, comparatively friable ceramic materials.

The metal corrosion is material destruction as a result of chemical or electrochemical interaction with corrosive medium. A metal is corrosion resistant when it resists to outer corrosive medium effect, or, by other words, if a corrosion rate is small. The less corrosion is, the higher metal corrosion resistance is. The measure of corrosion resistance is the corrosion rate in given medium and in given conditions. Corrosion rate is often expressed as mass of destructed metal converted into corrosion products in a unit of time on unit metal surface (kg/ m2∙h). The amount of destructed metal can be expressed as well by a thickness of a metal layer, converted into corrosion products in a unit of time (mm/year).

Corrosion products can be separated in solid, liquid and gaseous state. Solid products (oxides, salts) can form a continuous film on the metal surface and thus keep it from further aggressive medium effect. Artificial creating such protective films is called passivation. It is often used as one of methods of material chemical protection.

By a character of metal destruction uniform and local corrosion is distinguished. In a case of uniform corrosion corrosive destructions are comparatively uniformly spread on entire metal surface. Local (nonequal) corrosion takes place when the considerable part of metal surface is free of corrosion and the corrosion is concentrated only on separate areas as dots, spots, pits. The specific kind of local corrosion is intercrystallite one, which is characterized by that the interlayer between large granules (crystallites) or outer layers of granules with different composition than granules in their mass are subjected to corrosion. Corrosion cracks appear at simultaneous aggressive medium effect and mechanical strength. This kind of corrosion is especially dangerous, because surface appearance stays often almost invariable at strong degradation of mechanical properties.

By the character of the process itself, metal corrosion can be divided into two big classes: chemical and electrochemical corrosion.

Chemical corrosion is the process of metal direct contact with medium aggressive components. Usually red-ox process takes place, in which medium aggressive component is an oxidizer. Oxides (MemOn) and metalorganic compounds can be corrosion products. Typical chemical corrosion is metal corrosion by aggressive gases at high temperatures, for example, oxidation by air oxygen with formation of oxide film. In addition, the action of inorganic waste gases of chemical productions (SO2, NO, NO2, HF, HCl) cause chemical corrosion with metal destruction. Chemical corrosion is also observed in liquids, which are not electrolytes, for example, in anhydrous alcohols, benzene, gasoline, kerosene etc.

By destruction character the chemical corrosion is uniform one. Usually the growth of corrosion product layer on the metal surface takes place in gaseous phase, and corrosion product peeling or falling-off from metals or its dissolution is possible in liquid phase. Chemical corrosion process is subjected to regularities of heterogeneous chemical processes, i.e. a corrosion rate is expressed by the formula:

(6.1)

where Gм  is amount of corroded metal or obtained corrosion product, g;

is corrosion time;

KM is corrosion rate constant;

ΔС is corrosion driving force, expressed in grams of the aggressive component on 1m3 of medium (gas, liquid) on the boundary with metal, g/m3.

For constant corrosion driving force or for determining its average value in corrosion period this formula can be changed into the integral form:

G = KM  F  C           		                  	             (6.2)

Electrochemical corrosion proceeds under the action of electrolyte solutions on metals. It takes place because of thermodynamic non-stability of metals in electrolyte solutions. The surface of the metal under corrosion can be imagined as a system of micro- and macrogalvanic pairs. Such pair’s appearance is explained by presence in metals admixture granules of other metals, surface pollution with more or less electrode potential, structural non-uniformity of internal tensions and metal deformation, by difference in electrolyte concentrations boarded with metal different parts, etc. In all this cases metal different areas are distinguished in the value of electrode potentials. Areas with less electrode potential (more electronegative) become anodes in electrolytes, and more positive ones are cathodes. Accordingly anode and cathode corrosion processes take place. The anode process consists in transition of metal ions into solution (metal dissolution), for example:

Ме0  Ме+2 + 2e                                                                              (6.3)

and electrons stay on the metal surface. On the cathode cations are discharged for example, hydrogen ions:

2H+ + 2e  H2                                                                              (6.4)

and oxidizer reduction takes place, for example, oxygen transition into hydroxide ions:

O2 + 2H2O + 4e  4OH–                                                                          (6.5)

(6.4) reaction is observed in acidic solutions and (6.5) reaction takes place in neutral and alkaline solutions. Within metals the electron flow from an anode to a cathode is formed, which is called as corrosive current. As a result of electrochemical corrosion on the place of metal anode areas corrosion spots and pits appear; this corrosion is nonequal one.

Electrochemical corrosion takes place according to electrolysis laws; therefore the amount of dissolved metal can be determined by formulas:

(6.6)

(6.7)

where A is metal atomic mass;

F is Faraday’s number; 26,8 а-h/g-eq;

n is metal valency;

I is strength of current, a;

is time of electrolysis, h;

E is electrochemical equivalent, g/a∙h;

(6.8)

There are many methods of metal protection from corrosion depending on specific conditions. Most radical solution is selection of such constructive metal which would meet physical-mechanical requirements and herewith not corrode in an aggressive medium; however it is not always possible. Therefore combination of different materials is used for apparatus construction; part of materials take a mechanical load and the second serves as a protector from corrosion.

All methods of equipment preservation from aggressive component effect can be divided into following groups:

1. Using corrosion resistant metals.

- using metallic protective coatings.

3. Using nonmetallic inorganic materials as basic constructive materials or for metal construction protection.

4. Using corrosion resistant organic nonmetallic materials as basic constructive materials or for metal construction protection.

5. Chemical protection of metals by formation of protective films by interaction of the metal with medium (oxide and salt films) or by inhibitor using, or by medium composition regulation.

6. Electrochemical protection by anode protector or constant current source using.

2.2 The essence of methods of metal corrosion testing

Qualitative and quantitative methods are used for metal corrosion testing. Qualitative methods don’t give full characteristic of metal resistance and therefore they are additional ones. Quantitative methods enable to determine the rate of metal corrosion in different medium.

Qualitative methods of metals corrosion resistance assessment include:

1. Visual observation; the following change is defined thereat:

a) change of metal surface appearance;

b) appearance of corrosion products, their character and spreading; color and view is registered;

c) change of corrosion medium is registered: change of solution colour is fixed.

2. Macroscopic method is the study corroded and corroding areas by means of relatively small electronic magnification.

3. Microscopic investigations enable to study local and selective character of corrosion and intercrystallite corrosion.

4. Indicated method is based on determination of location of anode and cathode parts on the surface of corroding metal through formed colored compounds by certain reagent interreaction with corrosion products.

Quantative methods enable to determine metal corrosion rate in different medium. Weight, potentiometric and hydrogen-volumetric methods are more widely used.

1. Weight method is based on determination of sample mass change as a result of corrosion testing. Depending on the nature of formed corrosion products the sample mass loss is observed when the corrosion product is removed from metal surface. If formed corrosion products stay on the metal surface then sample mass increase takes place. Mass change is generally expressed in grams per a unit of metal surface in a unit of time (g/m2∙h).  However metal corrosion rate is easier to express as metal thickness loss L (mm/year), by the formula:

(6.9)

where Km1  is sample mass change after testing, g/m2·h;

8760 is the number of hours in 1 year, h;

is metal density, g/cm3.

According to GOST-5272, 10-grade scale of metal corrosion resistance (Table 5) is used. For manufacturing apparatuses designated to the contact with aggressive medium it is necessary to use metals with the corrosion rate in this medium less than 1mm/year.

Table 5 – The scale of metal corrosion resistance (iron, aluminum, copper, nickel and their alloys)

| № | Corrosion resistance group | Corrosion rate, mm/year | Corrosion resistance, grade |
| --- | --- | --- | --- |
| 1. | 1. Absolutely resistant | Less than 0.001 | 1 |
| 2. | 2. Highly resistant | from 0.001 to 0.005 | 2 |
| 3. | 3. Highly resistant | from 0.005 to 0.01 | 3 |
| 4. | 4. Resistant | from 0.01 to 0.05 | 4 |
| 5. | Resistant | from 0.05 to 0.1 | 5 |
| 6. | 5. Lower - resistant | from 0.1 to 0.5 | 6 |
| 7. | Lower - resistant | from 0.5 to 1.0 | 7 |
| 8. | 6. Low - resistant | from 1.0 to 5.0 | 8 |
| 9. | Low - resistant | from 5.0 to 10.0 | 9 |
| 10. | 7. Non - resistant | More than 10.0 | 10 |

An advantage of the weight method is simplicity and reliability of obtained data, a disadvantage is necessity to perform long-term testing (for several months).

2. Potentiometric method is based on the potential creation for a sample in the corrosion medium and strength of current measurement between work electrodes. The value of current density is used to determine the corrosion process rate. This method differs in reliability and accuracy of obtained data.

3. Hydrogen-volumetric method.

It is known that metals and alloys with negative electrode potentials including aluminum, magnesium and their alloys interact with neutral salt solutions, for example with 5 % NaCl solution, and herewith they are subjected to corrosion forming hydrogen. The mass of metal passed into a solution is equivalent to the volume of emitted hydrogen. Hence this amount can be a measure of metal corrosion resistance.

Advantages of hydrogen-volumetric method are high sensibility, capability to obtain “corrosion rate – time” curve, simplicity and safety of measuring equipment; the method isn’t connected with corrosion product removal.

3 THE TECHNIQUE OF LAB CARRYING OUT

3.1 The equipment and technical means:

1. Laboratory plant for corrosion testing

2. Chemical glassware

3. Analytical balance ВЛТЭ-150

4. Dryer ШС-80

5. Water still Liston А 1210

3.2 Laboratory plant description

Experimental determination of metal corrosion resistance is carried out by weight and hydrogen-volumetric method.

1– burette, 2– stand, 3– cock, 4– rubber pipe, 5– rubber vessel, 6– testing sample, 7– glass, 8– thermo regulator, 9– thermometer Fig. 9. Scheme of the lab plant for corrosion testing

Hydrogen-corrosion testing plant (Fig. 9) is used to determine metal corrosion resistance. It consists of a graduated gas burette 1 fixed at the stand 2. A burette bottom part is funnel-ended; the top part is equipped with a cock 3. A rubber tube 4 with a rubber pear 5 is connected with the burette top.

A testing sample 6 is hanged under the funnel, and then dips with the burette in a glass 7 with acid or salt solution. Before the test the solution is sucked into the burette from the glass up to the zero mark by means of the rubber pear. Formed hydrogen rises up to the burette and lower the solution level. Metal corrosion resistance is calculated based on the replaced hydrogen volume matched to changing number of burette divisions.

3.3 The order of lab carrying out

The lab essence is to determine corrosion resistance of aluminum plate in hydrochloric acid solution or magnesium alloy in sodium chloride solution.

1. Prepare the metal sample to the testing. Purify the sample surface by means of mechanical and chemical treatment using abrasive paper and defat it with alcohol, ester or gasoline.

2. Define the sample sizes and calculate the ware surface. Weigh the prepared metal ware on the analytical balance with accuracy to 0,001 g.

3. Hang the prepared sample on a hook under the burette funnel; then dip the burette into solution in the glass such the sample doesn’t touch a glass bottom and fix it with a clip on the stand.

4. Suck solution into the burette up to the zero mark by means of the rubber pear and fix this level using a cock.

5. Formed hydrogen rises up to the burette and lower the solution level. Register change of solution level every five minutes within the hour. The volume of extracted hydrogen is equal to change of solution volume in the burette.

6. After testing completing dry the metal sample in the dryer and weigh it on the analytical balance with accuracy to 0,001 g. Determine the sample mass change. Tabulate testing results into the Table 6.

The following corrosion medium is used: 5% hydrochloric acid solution for aluminum plate and 5% sodium chloride solution for magnesium alloy.

4 CALCULATIONS OF CORROSION PROCESS INDICATORS

Table 6 – Results of corrosion testing

| No | Mass of initial sample G1, g | Sample mass after testing G2, g | Sample mass change , g | Sample surface S, cm2 | Corrosion time , min | Hydrogen volume VH2, cm3 | Corrosion rate on hydrogen, cm3/cm2min |
| --- | --- | --- | --- | --- | --- | --- | --- |

Metal corrosion resistance is determined by the amount of emitted hydrogen and metal mass change after testing. Based on obtained data the following indicators of metal corrosion resistance are calculated:

1. Corrosion rate on sample mass change, g/m2·h:

(6.10)

where ΔG =  G1 – G2 is metal mass change after testing, g;

S is the ware surface subjected to corrosion, m2;

is corrosion time, h.

2. Corrosion rate on hydrogen, cm3/cm2min:

(6.11)

where VH2 is volume of emitted hydrogen, cm3;

S is the ware surface subjected to corrosion, cm2;

is corrosion time, min.

Based on this value of corrosion rate the kinetic curve of corrosion КН2 = f(τ) is generated.

3. Loss in metal mass on hydrogen, g/cm2min:

(6.12)

where A is metal atomic mass, g;

23,8·10–3 is volume of 1g-mole of hydrogen at temperature 17 0С and pressure 0,1 MPa.

4. Loss in metal thickness L, mm/year, as a result of corrosion is calculated by the formula (8.9) taking into account metal density Al  = 2,71 g/cm3, Mg = 1,74 g/cm3.

5. Determine metal corrosion resistance due to the scale of corrosion resistance on the basis of calculated loss in metal thickness.

6. Tabulate results of corrosion indicators calculation into the table 7.

Table 7 – Results of calculation of corrosion process indicators

| Indicator of corrosion process | Unit of measurement | Value |
| --- | --- | --- |
| 1 | 2 | 3 |
| 1. Corrosion rate on mass change, Кm1 | g/m2·h |  |
| 2. Average corrosion rate on hydrogen, Кн2 | cm3/cm2·min |  |
| 3. Loss in metal mass on hydrogen, Кm2 | g/cm2·min |  |
| 4. Loss in metal thickness, L | mm/year |  |
| 5. Corrosion resistance, resistance group | grade |  |

- SAFETY PRECAUTIONS

1. Be careful when hydrochloric acid solution preparation: it is necessary to pour an acid into water but not vice versa.

2. In a case of hydrochloric acid contact with skin it is necessary to wash off it by plenty amount of water, and then to neutralize it by weak soda solution.

3. Check the truth of the plant assembling before the work start. Check the integrity of wires, plugs, and outlets when heating switching on.

4. When the work is over it is necessary to switch off electric gauges, to clean workplaces and to give them to the laboratory assistant.

CONTROL QUESTIONS

- Concept of corrosion and metal corrosion resistance.

- General characteristic of corrosion processes. Corrosion products.

- Chemical corrosion. Rate of chemical corrosion.

- Electrochemical corrosion essence.

- Qualitative methods of determination of metal corrosion resistance.

6. Quantitative methods of determination of metal corrosion resistance. Essence of hydrogen-volumetric method.

- Methods of metal protection from corrosion.

REFERENCES

- Лабораторный практикум по общей химической технологии. / Учебное пособие под ред. В.С. Бескова. – М.: БИНОМ. – Лаборатория знаний, 2010. – 279 с.

- Сейтмагзимова Г.М., Джанмулдаева Ж.К. Лабораторный практикум по дисциплине «Физико-химические методы подготовки воды»/Учебно-методическое пособие. – Шымкент: Южно-Казахстанский государственный университет им. М.Ауэзова, 2013. – 60 с.

- Бесков В.С. Общая химическая технология. Учебник для вузов. М.: ИКЦ "Академкнига", 2005. - 452 с.

- Игнатенков В.И., Бесков В.С. Примеры и задачи по общей химической технологии. Учебное пособие для вузов. М.: ИКЦ "Академкнига", 2005. - 198 с.

- Соколов Р.С. Химическая технология. – М.: Владос, 2000., т.1,2 – 448с., 480с.

- Кондауров Б.П., Александров В.И., Артемов А.В. Общая химическая технология. – М.: Академия,  2005 – 336 с.

- Общая химическая технология и основы промышленной экологии // Под ред.В.И.Ксензенко. – М.: Колоc, 2003. – 328 с.

- Бесков В.С., Сафронов В.С. Общая химическая технология и основы промышленной экологии. – М.: Химия, 1999. – 472 с.

- Бугенов Е.Б., Джусипбеков У.Ж.. Теоретические основы химической технологии. – Алматы, 2003. – 244 с.

- Бесков В.С., Сучкова Е.В. и др. Физико-химические закономерности химических процессов. –  М., 1999 – 37 с.

- Белан Ф.И. Водоподготовка: Расчеты, примеры, задачи. – М.: Энергия, 1980. – 256 б.

- Стерман Л.С., Покровский В.Н. Физические и химические методы обработки воды на ТЭС: Учебник для вузов. – М.: Энергоатомиздат, 1991. – 328 с.

- Александров А.А., Григорьев Б.А. Таблица теплофизических свойств воды и водяного пара. – М.: МЭИ, 2006. – 108 с.

- Seitmagzimova G.M. General chemical technology. – Shymkent: M.Auezov SKSU, 2005. – 74p.

Галина Мануиловна Сейтмагзимова

Жаныл Кемаладиновна Джанмулдаева

Раиса Ривкатовна Якубова

Study Guide for Laboratory Works

on the Discipline  “Industrial Water Treatment”

for Students of Specialties

5В072000 (6В07160) –

Chemical Technology of Inorganic Substances

Редактор Сейтмагзимова Г.М.

Подписано в печать

Формат бумаги XxY 1/16

Бумага типографская. Печать офсетная. Объем  6,25 п.л.

Тираж 50 экз. Заказ №     .

© Издание Южно-Казахстанского государственного университета  им.М.Ауезова

Издательский центр ЮКГУ им.М.Ауезова, г.Шымкент, пр.Тауке хана, 5