Ф.7.03.-03

Kenzhekhanova Mereke Batyrkhanovna

Kaldybayeva Botagoz Myrzahmetovna

«ACCREDITATION OF CERTIFICATION BODIES AND TEST CENTERS»

METHODICAL INSTRUCTIONS

to practical studies

Shymkent 2021

MINISTRY OF EDUCATION AND SCIENCE OF THE REPUBLIC OF KAZAKHSTAN

M.AUZOV SOUTH KAZAKHSTAN UNIVERSITY

Chair: "Standardization and Certification"

Kenzhekhanova Mereke Batyrkhanovna

Kaldybayeva Botagoz Myrzahmetovna

METHODICAL INSTRUCTIONS

to practical training in discipline
« Accreditation of certification bodies and testing centers »

for students of specialty

6В07510-Standardization and certification

Shymkent – 2021у.

UDC  389.6 (574)

Compilers: Kenzhekhanova M.B., Kaldybayeva B.M. Methodical instructions to practical lessons on discipline Accreditation of certification bodies and testing centers -Shymkent: SKU them. M.Auezov, 2021 -__с

Methodical  instructions  are compiled in accordance with the requirements of the curriculum and the program of the discipline "Accreditation of certification bodies and testing centers" and includes all the necessary information on the implementation of the practical lessons of the course.

Methodical instructions are intended for students of specialty 6В07510 -

"Standardization  and certification".

The guidelines provide the basis for the formation, design and implementation of accreditation procedures for bodies to verify the conformity of products, processes, services, personnel and quality systems, testing and calibration laboratories. The methods for conducting state control of conformity assessment bodies, test, calibration and calibration laboratories, methodology for determining the cost of works on accreditation are given. The documentation of the accreditation body and the documents of the expert auditors are studied when attesting to the right to work in a certain field and direction of activity.

Reviewers:

Eshankulov A.A.  –– Cand.Tech. Scien., assistant professor,  of the chair  "Standardization and certification", M.Auezov SKU

It is considered and is recommended for printing faculty meeting «Standardization and certification»

(Minute № ___ from «___» ___________20__ ).

The methodical commission of faculty «Mechanics and oil and gas business» (Minute № ___ from «___» ___________20___ ).

It is recommended to the edition Educational and methodical council of         M. Auezov SKU, Minute № ___ from «___» ___________20___ .

© M.Auezov South Kazakhstan University, 2021

Responsible for the release of  Kenzhekhanova M.B.

Content

Introduction.............................................................................................................6

1. The documents of the certification body (certification bodies (OPS) provided with accreditation ................…………………………………………………………………7

2. Paperwork OPS for accreditation ......………………………………….........……...11

3. The procedure for accreditation OPS ………………………………...................….20

4. The documents testing laboratory provided with accreditation…………...………..22

5. Execution of documents for accreditation of testing laboratories ………..………...28

6. Procedure for accreditation of testing laboratory (center) IL (D).…………….……34

7. The documents calibration laboratories, provided for accreditation for the right calibration of measuring instruments.............................................................................40

8. Paperwork KL for accreditation ………………………………………..........……..44

9. Arrangements for the accreditation of KL ……………………...................……….50

10. Documentation of the accreditation body……………………..………………….55

11. The methodology of the state control of accredited certification bodies (OPS) and testing laboratories (centers).…………… …………………………..………………..77

12. Method of determining the cost of work on an expert assessment-testing laboratory…...................................................................................................................85

13. Method of determining the cost of work on an expert assessment of the certification body (OPS).……….........……………………………………………………………...88

14. Paperwork expert auditors to certify the right to work in a particular area and activities.…………………………....................................……………………………91

15. Work on an expert assessment-testing laboratory…................................................85

Criteria of assessment of students' knowledge...............................................................97

Literature......................................................................................................................100

Introduction

Methodical instructions for the implementation of practical tasks are designed for students in the field of "Standardization, Metrology and Certification" in the field of accreditation of certification bodies (conformity assessment bodies) and testing centers (laboratories).

When examining specific accreditation procedures, their effectiveness is analyzed and the tasks of forming the documents for accreditation, the procedure for accreditation of certification bodies, testing centers (laboratories), calibration laboratories and the basics of the national accreditation system, its criteria, accreditation procedure, rights and specificities of bodies accreditation, accreditation and expertise.

In the guidelines, along with the organizational, legislative and legal bases for accreditation, the methods for determining the cost of work on the expert assessment of the testing laboratory, the cost of works on the expert assessment of the certification body, the methodology for conducting state control of accredited certification bodies and testing centers (laboratories)

Thus, the decision of practical classes allows developing cognitive abilities, independent thinking and creative activity in the field of accreditation for confirming compliance of work performed by certification ovens and testing centers (laboratories).

Practical  lesson №1

The documents of the certification body (certification bodies (OPS) provided with accreditation

Goals and objectives of the lesson: The goal of the task is to form the list of documents of the certification body provided during the accreditation procedure with the decision of the main task - accreditation of the certification body (conformity assessment body).

The content

According to the law of the Republic of Kazakhstan "On accreditation in the field of conformity assessment" approved on July 5. 2008, certification bodies are defined as conformity assessment bodies (hereinafter referred to as TSA), ie they are legal entities that perform work to verify the conformity of products, processes, services, management systems or personnel.

Accreditation participants are the authorized body, the applicant, the accreditation subjects, the commission for reviewing the accreditation materials, the expert auditors, who are guided by the normative legal acts and normative documents of the GTSR approved in the established procedure.

The accreditation procedure for the conformity assessment bodies is carried out in accordance with the Accreditation Rules approved by the Government Decree No. 800 of 01.08.05 and includes the following procedures:

1. Forming the list of documents provided for accreditation.

2. Conduct an expert assessment by the accreditation body.

3. Conduct of the accreditation procedure itself.

The TSO must have and submit, upon accreditation:

- documents confirming in accordance with the legislation  Republic of Kazakhstan the status of a legal entity;

-Documents that define the organizational structure and functions organization;

- Normative documents of the accreditation system that establish

rules and procedures for the certification of groups of homogeneous products (services),

entering into the field of accreditation;

-the current quality system

The TSO should have a system for monitoring the documentation used in the system and ensure:

-availability of existing NDs in the workplace;

-timely update of NDs used for certification;

-timely introduction of changes and additions to the documents of the system of quality with the purpose of carrying out urgent measures to eliminate the deficiencies revealed during its state control;

- removal of obsolete documentation in all structural subdivisions of the OS.

The TSO should have and follow in its activity the following documents:

-normative legal acts of the Republic of Kazakhstan on issues of standardization, metrology and certification;

-ND, which determine the requirements for products (services) and methods

their tests in accordance with the field of accreditation. NDs should be approved or recognized for use in the Republic of  Kazakhstan in the order established by the State system of standardization of the Republic of Kazakhstan;

-fundamental ND for standardization, certification, metrology and accreditation;

-organizational and methodological documents that determine the system of quality OPS.

Recommended documents:

-national standards in the field of certification;

-international and national NDs of foreign countries, defining requirements for specific types of products (services);

-international  and European  standards;

ISO/IECguidelines for certification.

Requirements for the OS system:

The following basic documents should be included in the set of documents on the OS system of quality:

-Quality quide;

- job descriptions for each category of personnel;

- ND, instructions, etc .;

- documents confirming the attestation of employees.

The order of the lesson

1. Documents submitted by the applicant:

- application for accreditation;

- Regulation on OPS

- Guide   quality;

- conclusion based on the results of the expert evaluation;

- copies of documents that establish legal status, notarized

Requirements for applications

1.The applicant submits to the accreditation body (OA) an application for accreditation, in accordance with the form of Annex 1 of the Order of the Minister of Industry and Trade of the Republic of Kazakhstan No. 322 of August 22, 2008, (hereinafter - the order of the Minister of the Ministry of Information Technologies of the Republic of Kazakhstan) including the following:

1)the name of the applicant of the legal entity;

2)designation of the normative document for compliance, which is accredited;

3) the direction of the applicant's activities or the products for testing and types of measurement;

4)legal status of the applicant: name, founders, governing body of the legal entity, location, telephone, fax, e-mail address, website, account, TRN;

5)last name, first name, patronymic of the head of the applicant organization;

6)last name, first name, middle name, telephone number of the person responsible for communication with the accreditation body.

7)the series and number of the accreditation certificate with its reaccreditation;

8)is certified by the signature and seal of the head of the applicant organization.

2.The applicant shall attach to the application a set of accreditation materials in accordance with the Law of the Republic of Kazakhstan "On Accreditation in the Field of Conformity Assessment", and additionally other documents stipulated by regulatory documents for compliance with which shall be accredited, and the scope of accreditation and the passport of the laboratory (center) on an electronic medium.

3.Applications for the expansion and updating of accreditation materials and the re-registration of the accreditation certificate shall be made in accordance with the established form, with the attachment of documents in accordance with the order of the Minister of the Ministry of Information Technologies of the Republic of Kazakhstan.

Note: One set of accreditation materials is attached to the application for examination and conclusion of the contract.

Requirements for the cover letter

1.Applications and documents are sent to the OA with a cover letter for accreditation work.

2. The cover letter is drawn up:

1) in the form on the applicant's letterhead;

2) indicating the normative document to which compliance is accredited;

3) requisites of the applicant organization; and

4) is certified by the signature of the head of the applicant organization.

3.In the cover letter, the applicant agrees to meet accreditation requirements and obligations to the OA.

Applications for accreditation with a set of documents are sent to the Secretariat, where the availability of incoming documents on the application is checked, the completeness of the submitted accreditation materials and the correctness of their registration in accordance with the forms approved by the order of the Minister of MIT RK, as well as the availability of documents in

electronic form (accreditation area and passport).

If the application and / or documents attached to it do not comply with the requirements of the Law of the Republic of Kazakhstan "On accreditation in the field of conformity assessment" or documents are not fully submitted, the secretariat of the OA returns an application specifying the reasons for return within five working days, calculated from the day its receipt, signed by the head of the body.

Accreditation materials set

The applicant submits to the accreditation body a set of accreditation materials for the Commission for the examination of accreditation materials containing the following:

1)the application, with the incoming registration number of the accreditation body, assigned at the stage of admission, consideration of the application and submitted documents.

2)the declared scope of accreditation;

3)information about the personnel performing the work on conformity

assessment (for the conformity assessment bodies);

4)Quality manual;

5)Position;

6)notarized copies of documents establishing the legal status of the

applicant (charter, regulations on the branch, certificate of state registration                      (re-registration) of the legal entity, certificate of account registration                           (re-registration) of the branch, statistical card).

Depending on the declared area of ​​accreditation, the applicant shall

submit other documents necessary for accreditation in accordance with regulatory documents.

Note:

1.The field of accreditation is presented on an electronic medium.

2.The set of accreditation materials is prepared in two copies for the final inspection and upon submission to the Commission for review of accreditation materials in accordance with the Law of the Republic of Kazakhstan "On accreditation in the field of conformity assessment".

Tasks for practical studies:

1. Forming the list of documents of the certification body for the confirmation of the conformity of products

2. Formation of the list of documents of the certification body to confirm the conformity of processes

3. Formation of the list of documents of the certification body on the confirmation of the conformity of services

4. Formation of the list of documents of the certification body for the confirmation of compliance of management systems

5. Formation of the list of documents of the certification body on the confirmation of the staff's compliance

Control questions (in writing):

1. Define the notions of the conformity assessment body, the applicant, the subjects of accreditation, the auditors' experts;

2. The list of documents submitted by the applicant in accordance with the declared scope of accreditation;

3. Requirements to the application;

4. Requirements for the cover letter;

5. What does the term "accreditation area" mean?

List of sources used:

1.Law of RK "On accreditation in the field of conformity assessment", 2008.

2. ST RK ISO / IEC 65-2001 General requirements for product certification bodies

3.ST RK ISO / IEC 62-2001 General requirements for bodies that perform evaluation and certification / registration of quality systems.

4.ST RK ISO / IEC 66-2002 General requirements for bodies conducting assessment and certification / registration of environmental management systems;

5.OLSAS ISO 18000 / ST RK 1348-2005 General requirements for the OSH management system in the organization.

Practical  lesson №2

Paperwork OPS for accreditation

Goals and objectives of the lesson: The purpose of the lesson is to prepare the certification body's documents for accreditation. The task of the lesson is to confirm the compliance of the activity of the body to confirm compliance with the requirements of the accreditation body.

The content

The prerequisite for trading on an equal footing is the fact that products (including services) formally adopted in one economic system should also be free to use in other such systems without having to undergo comprehensive re-testing, control, certification, etc. In modern society, it is often necessary to confirm and declare the conformity of products (including services) with specified requirements. Conformity assessment bodies - conformity assessment bodies and laboratories (OCS) can objectively state such compliance by passing the accreditation procedure. The activities of conformity assessment bodies include certification, monitoring, testing and calibration.

For the buyer, government regulators and the public, it is important to know that the TSOs are competent. For this reason, the need for objective confirmation of their competence is growing. Such confirmation is entrusted to the accreditation authorities, which are objective both with respect to the TSO and their clients, and in accordance with international practice, accreditation bodies are usually non-profit organizations.

The system of accreditation of services for the assessment of compliance with the TSO, should inspire confidence among buyers, government agencies and organizations. Such a system should promote international trade, as the state regulators and trade organizations aspire to. The ultimate goal is to obtain accreditation and conduct conformity assessment of products in one place.

A system that facilitates international trade can work well if accreditation bodies and OPS function according to internationally accepted requirements under uniform rules, taking into account the interests of all parties.

The order of the lesson

1. Application for accreditation according to

Annex 1._________________________

(name of company)

Application

1. Please accredit ____________________________________________________

(name of the applicant or its structural unit)

in the system of accreditation of the Republic of Kazakhstan as __________________________________________________________________

(the body for confirming the conformity of products, processes, services, management systems, personnel, testing, calibration, calibration laboratory (center) or a legal entity that performs metrological certification of measurement techniques)

for compliance ______________________________________________________

(name of the normative document) according to the declared field of accreditation.

2.Legal status of the applicant: __________________________________________________________________

(name, founders (participants), governing body of a legal entity, location, telephone, fax, e-mail address, website, account,  TRN, BIC)

3._________________________________________________________________

(surname, name, patronymic of the head of the applicant or the accredited structural unit)

4_________________________________________________________________

(surname, name, patronymic, telephone of the officer responsible for communication with the accreditation body)

5.Series, number of the certificate of accreditation _______________________

The head of the applicant   __________________________________________

(name of the applicant)   (signature)  (initials, surname)

(place of seal)

«____» ______________ g.

(date)

Note.

Paragraph 5 of the application is filled in the case of re-accreditation.

2. Registration of the form of the declared area

|  | I approve ____________________________________ (position, initials, surname, signature head of the accreditation body) "____" __________ 20___ г. |
| --- | --- |
|  | Annex to the accreditation certificate No. __ from "___" ___ 200_ on ___ pages |

Scope of accreditation of the conformity assessment body

________________________________________________________________

(name and address of the conformity assessment body)

| Name of the product (object) | Code KP Foreign trade activities | Code TN VED EURASEC | Designation of normative legal acts, normative documents, on which confirmation of conformity is carried out | Determined characteristics (indicators) of production (object) | Designation of normative documents for methods |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |

Notes:

1. The last sheet of the field of accreditation must be signed by the authorized person of the conformity assessment body and certified by the seal of the legal entity.

2. Each sheet of the field of accreditation must be certified by the seal of the accreditation body.

3. Branches of the conformity assessment body shall formalize the field of accreditation in accordance with this form.

|  | I approve ____________________________________ (position, initials, surname, signature head of the accreditation body) "____" __________ 20___ г. |
| --- | --- |
|  | Annex to the accreditation certificate No. __ from "___" ___ 200_ on ___ pages |

Area of accreditation of the body for the confirmation of the conformity of the management system

__________________________________________________________________

(name and address of the conformity assessment body)

| Name management systems | Code KP Foreign trade activities | Scope of the management system | The designation of normative legal acts, normative documents, according to which the conformity assessment is carried out | Designation of normative documents for conformity methods for determining characteristics (indicators) |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |

Notes:

1.The last sheet of the field of accreditation must be signed by the authorized person of the conformity assessment body and certified by the seal of the legal entity.

2.Each sheet of the field of accreditation must be certified by the seal of the accreditation body.

3.Branches of the conformity assessment body shall formalize the field of accreditation in accordance with this form.

|  | I approve ____________________________________ (position, initials, surname, signature head of the accreditation body) "____" __________ 20___ г. |
| --- | --- |
|  | Annex to the accreditation certificate No. ___ from "___" ___ 200_ on ___ pages |

Area of accreditation of the body for the confirmation of staff

_______________________________________________________________

(name and address of the conformity assessment body)

| The name of the service (facility) | Direction (type) of activity | Designation of normative documents for activities | Designation of documents establishing the procedure and (or) the method of assessment |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |

Notes:

1. The last sheet of the field of accreditation must be signed by the authorized person of the conformity assessment body and certified by the seal of the legal entity.

2. Each sheet of the field of accreditation must be certified by the seal of the accreditation body.

3. Branches of the conformity assessment body shall formalize the field of accreditation in accordance with this form.

3. Registration of the form of the cover letter

to CEO

National

Accreditation

Center LLP

Full name

___________________________ send you an application and material

(name of company)

accreditation for compliance _______________________________________

choose the necessary (ST RK ISO / IEC 17025-2007 (ST RK ISO / IE -2001, ST RK ISO / IEC 65-2001, ST RK ISO / IEC 66-2002, ST RK 1349-2005, ST RK 1348-2005, ST RK 1179-2003, ST RK ISO 22000-2006, ST RK 7.6-2000).

We undertake to fulfill the accreditation requirements and obligations to the Accreditation Body.

Requisites of the organization on __ page in __eks.

Appendix: The list of documents in accordance with the Law of the Republic of Kazakhstan "On accreditation in the field of conformity assessment"

4. Regulation on OPS

Form 1 of the Regulations on the certification body

APPROVED

Head of

name of the certification body

signature initials, surname

200     g.

POSITION

about the certification body

name of the certification body

General Provisions

1.1 Certification Body

(products, services)  is an,

the name and legal form of the legal entity, the place of location with the record of the full postal address, information on the founders of the legal entity, data on state registration (re-registration) with the judicial authorities, information about the license (if necessary), telephone, fax, E -mail, bank details

accredited by the Committee for those. regulation and metrology of the Republic of Kazakhstan registration number and date of the accreditation certificate   for certification  (products, services)

in accordance with the scope of accreditation specified in the annex to  certificate of accreditation, operates on the basis of this Regulation, normative documents of the State Certification System of the Republic of Kazakhstan.

Accreditation systems _______________ the name of the main regulatory documents, rules and certification procedures  as well as an order for from "" 200 g. name (enterprise) of the organization

1.2 The OS excludes the provision of administrative, commercial, financial or other influence on it, which is capable of influencing  on the results of certification.

1.3 The OS has a permanent (staff) staff, headed by a manager specify the position and surname, name, patronymic

1.4 The admission and dismissal of employees of the OS and the establishment of their mandatory salaries produces designate an officer

Direct dependence of staff salaries on OS revenue is excluded.

1.5 The distribution of duties between employees of the OS and the approval of job descriptions produces executive

1.6 OS ensures the confidentiality of information received in the process of certification; has a Quality Manual and documented procedures for ensuring the quality system established by the accreditation system; has rules for handling complaints during certification.

1.7 OS has its own IL, which allows testing by__________________________________________________________

(types of products and services are indicated)

IL is accredited in the State Certification System of the Republic of Kazakhstan. Accreditation system, accreditation certificate

No. of "__" 200_

The functions, rights, duties and responsibilities of IL are established in the Regulations on IL.

1.8 The OS has contracts with accredited ILs for conducting the following types of tests:

(specify types of tests)

1.9 Scope of work performed by another organization or non-standard

staff is limited.

1.10 Certification works, regardless of the results obtained, are paid by the applicant on the basis of contracts.

2 Main goals

2.1 Certification of products (services, manufactures), registration and issuance of certificates of conformity, permits for marking products by the mark of conformity.

2.2 Inspection of certified products

(services), if such control is provided by the certification scheme.

2.3 Cooperation on certification issues with the Committee, its territorial subdivisions for state supervision, other accredited OS and IL.

3 Organizational structure and functions

3.1 The OS has and is presenting at accreditation and state control:

- an organizational chart that defines the structure of the OS and ensures the performance of works in the declared area of ​​accreditation;

- the scheme of interaction with IL and other participants of the State system of certification of the Republic of Kazakhstan. Accreditation systems;

- rules and certification procedures approved in accordance with the procedure established in the State Certification System of the Republic of Kazakhstan. Accreditation system;

- documentation that establishes the status of a legal entity.

3.2 The organizational structure of the OS includes:

- Head of the OS;

- The Governing Council;

- Division of the OS;

- accredited IL (s).

3.3 The Governing Council is established with the aim of ensuring impartiality and objectivity in the conduct of certification work and preventing discrimination against certification participants in any form. The Managing Board is headed by the head of the OS - the chairman of the Governing Council.

The structure of the Governing Board includes heads of structural subdivisions of the OS and responsible for the quality system.

Governing Board:

- forms the OS policy and exercises control over its implementation;

- controls the determination of the cost of works on certification;

- determines, if necessary, the composition of non-specialist specialists

on certification, which entrusts the execution of works on certification;

-organizes interaction with Gosstandart and other organizations on certification issues;

- develops proposals for expanding the scope of accreditation of the OS;

- develops proposals for improving the operation of the OS;

selects accredited IL and OS for subcontract work.

3.4 OS subdivisions carry out:

- acceptance and consideration of applications for certification, preparation of decisions on him;

- certification work;

- registration of certificates of conformity, issuance of permits for

the right of marking products by the mark of conformity;

- carrying out inspection control over the stability of the characteristics of certified products (services);

- approval of the plan for the manufacturer (seller) to perform corrective actions, if the detected causes of non-compliance

can be eliminated;

- Establishment of time for implementation of corrective actions under the

Suspension of issued certificates and / or permits for

marking of products by the mark of conformity and control over their implementation;

- preparation of proposals for the cancellation or suspension of actions

issued certificates and / or product labeling permits

A sign of conformity;

- formation, maintenance, updating of the ND fund used

at certification;

- Development of the Manual on the quality of OS and compliance with its requirements;

- organization of interaction with accredited IL;

- publication of information on the results of product certification;

- Maintenance of business records and current financial activities of the OS;

- organization of training, attestation and further training

OS staff, accounting of information on qualifications, training and professional experience of each employee;

- submission of reports to the State Standard on the work carried out.

4. Staff

4.1 The OS staff has the necessary competence to perform their duties.

4.2. The personnel of the OS are guided by this Regulation and job descriptions that determine their rights, direct service subordination, duties and related liability.

4.3 Personnel of the OS, carrying out an assessment of the conformity of objects

certification, testing, inspection control of certified products (services) is an expert auditors in the field corresponding to the field of accreditation of the OS.

4.4 Personnel of the organization involved in subcontracting meet the requirements of the State Certification System of the Republic of Kazakhstan. Accreditation systems.

5. Quality manual

When developing the "Quality Manual" take into account the guidance of the standard ST RK ISO 10013. It should, as a rule, contain the following:

- name, purpose and scope;

- table of contents;

- presence of the official responsible for the operation

OS quality system;

- Conducting periodic audits of the functioning of the quality system;

- analysis and evaluation of the effectiveness of the quality system;

- development and implementation of measures to improve the quality system

The quality manual contains:

- an introductory part, including information about the organization and the manual, a brief description of the legal status of the OS;

- the policy and objectives of the organization in the field of quality;

- description of the organizational structure, responsibility and authority, data on qualifications, practical experience of work and authority of the head and staff (including those working under contracts), job descriptions for each category of personnel;

- information on the professional development of personnel engaged in the field of certification and certification tests;

- a description of the elements of the quality system and references to documented procedures of the quality system;

- Procedures for conducting the stages of certification of products (services) or

references to the procedures set out in the existing regulatory documents of the accreditation system;

- procedure for evaluating the results of product testing in the course of certification and inspection control of certified products

(services);

- the procedure for ensuring the quality of certification work performed under a subcontract;

- information about the ND Fund and their actualization;

- Procedures for suspension of action, cancellation of certificates of conformity of products (services);

- the procedure for filing and reviewing appeals;

- procedures for ensuring the confidentiality of information;

- the procedure for conducting internal audits of the OS;

- the procedure for maintaining archives;

- procedures for carrying out quality system reviews;

- procedure for suspension of activities under the decision of the Committee for Technical Regulation and Metrology of the Republic of Kazakhstan;

- procedures for termination of activities on its own initiative or in accordance with a court decision to annul a certificate

accreditation.

If necessary, the quality manual may include other procedures and information.

Issue of the Quality Manual should be approved by the head of the TSO.

Tasks for practical studies:

1. Conduct formalization of documents for the accreditation of the body for confirming the conformity of products

2. Conduct formalization of documents for the accreditation of the body for the confirmation of the conformity of services

3. Conduct formalization of documents for the accreditation of the body that certifies the conformity of the quality management system

4. Conduct formalization of documents for the accreditation of the body for the confirmation of compliance of staff

Control questions (in writing):

1. Objects of certification

2. Give the definition of a certificate of conformity

3. Legislative basis of the State Certification System of the Republic of Kazakhstan

4. Sequence of works on certification

List of sources used:

1. Law of RK "On accreditation in the field of conformity assessment", 2008.

2 ST RK ISO / IEC 65-2001 General requirements for product certification bodies

3. F.A. Amirjanyants, B.S. Migachev et al "Methods for assessing the effectiveness of certification", Moscow: Izd-vo standards, 2002.

4.Isaev LK, Malinsky V.D. "Quality assurance, measurement uniformity, standardization and conformity assessment" M .: IPK Publishing Standards, 2002.

Practical lesson №3

The procedure for accreditation OPS

Goals  and objectives of the lesson: The purpose of the lesson is to study the procedure for accreditation of certification bodies with the decision to assess the subject of accreditation based on the results of accreditation for compliance with the declared requirements of the accreditation area.

The content

According to the law of the Republic of Kazakhstan "On accreditation in the field of conformity assessment", the stages of accreditation include the following procedures:

Accreditation is the procedure for the official recognition by the accreditation body of the applicant's competence to perform work in a certain area of ​​conformity assessment.

1) reception, consideration of the application and submitted documents;

2) conclusion of a pre-accreditation agreement;

3) examination of submitted documents;

4) the applicant's survey at the location;

5) decision-making on accreditation or refusal of accreditation;

6) conclusion of a post-accreditation agreement, approval of the accreditation area and issuance of an accreditation certificate or termination of a pre-accreditation agreement.

2.Re-accreditation is carried out without observing the steps provided for in subparagraphs 2) and 3).

For the passage of the accreditation procedure, the OPS must meet the following requirements:

OPS can be accredited for work in the field of compulsory and / or voluntary confirmation of the conformity of products (services), management systems, environmental management systems

The conformity assessment bodies must comply with ST RK ISO / IEC 62-2001, ST RK ISO / IEC 65-2001, ST RK ISO / IEC 66-2002) and fulfill the following requirements:

1. Availability of services

2. The non-discriminatory nature of the procedures

3. Assessment of the applicant's activities according to established standards or other NDs

4. Quality Management System

5. The OPS for products, their branches and representative offices should have in their structure ILs (ICs) accredited for the right to carry out tests to verify compliance in the declared area of ​​accreditation in accordance with the requirements of ST RK ISO / IEC 17025-2001

The order of the lesson

Stage 1: Reception, examination of application and submitted documents

The conformity assessment body prepares the application in the prescribed form, complements the list of required documents and sends it to the accreditation body - the National Center for Accreditation of the Republic of Kazakhstan (NCA).

The NCA considers the application, verifies the availability and completeness of the submitted documents.

Stage 2: Conclusion of pre-accreditation agreement. The pre-accreditation agreement is concluded between the accreditation body and the applicant. Essential terms of the pre-accreditation agreement are:

1. The Subject of the Agreement;

2. Rights and Obligations of the parties;

3) cost of work;

4) responsibility of the parties.

A standard pre-accreditation agreement is approved by the authorized body.

Pre-accreditation agreement is terminated in the following cases:

1) liquidation of a legal entity;

2) termination of the contract in accordance with the civil legislation of the Republic of Kazakhstan;

3) non-elimination of the period of inconsistencies determined by the accreditation body, revealed in the examination of documents or examination of the applicant at the location;

4) detection by the accreditation body when re-examining documents or when re-examining the location of the applicant for the inconsistencies indicated in the initial opinion of the accreditation expert or the report of the survey team, respectively;

5) the decision by the accreditation body to refuse accreditation

Stage 3: Examination of submitted documents

Examination of the submitted documents is carried out within a period of no more than thirty working days, calculated from the moment of the conclusion of the contract.

To conduct the examination, the accreditation body appoints an expert-auditor for accreditation.

The expert-auditor's opinion on accreditation should contain:

1)an assessment of the compliance of the submitted documents with the accreditation criteria;

2)indications of non-compliance of documents on specific criteria (in the presence of inconsistencies);

3)recommendations for adjusting the submitted documents (if necessary) and the procedure for confirming the implementation of these recommendations by the applicant;

4) conclusions on the compliance or non-compliance of the submitted documents with the criteria for accreditation.

Based on the conclusion of the accreditation expert-auditor, the accreditation body takes one of the following decisions:

1) on the applicant's survey at the location;

2) on the applicant's elimination of the identified non-conformities. A copy of the decision is sent to the applicant.

The Applicant within thirty working days from the moment of receipt of the copy of the decision eliminates the revealed discrepancies and notifies the accreditation body about it. The accreditation body conducts a second examination of the documents within seven days from the receipt of the notice.

The deadline for the elimination of nonconformities is extended by the accreditation body upon a written application of the applicant, in which he indicates the reasons, but not more than two months.

Stage 4: Applicant's location survey

The applicant's survey at the location is conducted in order to assess the applicant's competence, compliance of information provided in the documents with the actual state.

The survey is carried out by the survey team formed by the accreditation body.

The survey team should consist of at least three people, the team leader is appointed expert-auditor for accreditation, who conducted the examination of documents.

The survey team may be included as agreed upon:

- experts in the field of ensuring the uniformity of measurements;

- experts-auditors on conformity assessment, technical experts, specialists of state bodies and other organizations on the declared area of ​​accreditation.

The survey period should not exceed ten working days, calculated from the date of adoption of this decision.

Based on the results of its work, the survey team compiles a report that must include an assessment of the applicant's compliance with the accreditation criteria.

The report is prepared by the team leader, taking into account all the comments of its members in duplicate and signed by all members of the group. One copy of the report is handed to the applicant.

In case of disagreement with the report of the survey team, the applicant can submit his comments in writing to the accreditation body.

Based on the report of the survey team and taking into account the applicant's comments (if any), the accreditation body takes one of the following decisions within a period of not more than five working days:

1) consideration of collected accreditation materials;

2) on the applicant's elimination of the identified inconsistencies.

A copy of the decision is sent to the applicant.

The applicant shall, within twenty working days from the receipt of a copy of the decision, eliminate the discrepancies identified in the survey and notify the accreditation body of their elimination, after which the accreditation body shall conduct a re-examination. The survey period should not exceed five working days, calculated from the moment of arrival of the group on

Control questions (in writing):

1. The main stages of the accreditation procedure;

2. What is included in the essential conditions of the pre-accreditation agreement;

3. In what cases does the pre-accreditation contract terminate?

4. Terms of examination of submitted documents;

5. The main purpose of the applicant's survey at the location;

6. The composition of the survey team;

7. The content of the post-accreditation agreement.

List of sources use:

1. Law of RK "On accreditation in the field of conformity assessment", 2008.

2. ST RK ISO / IEC 65-2001 General requirements for product certification bodies

3. ST RK ISO / IEC 17025-2001 "General requirements for the competence of testing and calibration laboratories".

4. ST RK 7.18 -2008 Accreditation system. Inspection inspections of subjects of accreditation. General requirements.

5. СТ РК 7.21-2008. Accreditation system of the Republic of Kazakhstan. Evaluation of bodies to confirm the conformity of management systems.

6.ST RK ISO / IEC 28-2007. Conformity assessment. Management of work on the system of certification of products by a third party.

7. F.A. Amirjanyants, B.S. Migachev et al "Methods for assessing the effectiveness of certification", Moscow: Izd-vo standards, 2002.

Practical lesson №4

The documents testing laboratory provided with accreditation

Goals and objectives of the lesson: The purpose of the assignment is to form a list of test laboratory documents provided during the accreditation procedure

The content

Improving the quality of products is impossible without strict control of its quality and safety. Compliance with the quality and safety of products throughout the world, especially in developed countries is a special task of public policy.

The control of safety indicators does not exclude the need for basic quality indicators, since they determine the consumer properties of products and are the basis for its identification.

In addition to the normative documents establishing the requirements for products and services, it is necessary to proceed to the practical application of international standards that establish the requirements for laboratories.

For this purpose, since September 1, 2005, the IL accreditation is carried out only in accordance with the international standard accepted as the state ST RK ISO / IEC 17025-2001 "General requirements for the competence of testing and calibration laboratories". It includes the requirements that test and calibration laboratories must meet if they are to demonstrate the effectiveness of the quality system, technical competence and the provision of technically reliable results.

The advantage of implementing this standard is that the development of this document lays the foundation for the recognition of laboratory performance at the international level.

The standard sets forth a number of additional requirements for IL, which are stipulated in the previous standard: these are documented procedures - purchase of services and stocks, management of testing and / or calibration work that does not comply with the established requirements, management of data recording, management review .

All work on the confirmation of compliance in the Republic of Kazakhstan is carried out by accredited bodies in accordance with the established procedure to confirm compliance. The network of accredited bodies and testing laboratories is expanding every year. At present, there are about 160 conformity assessment bodies and their branches and 401 testing laboratories in the country.

The quality of products entering the market depends largely on its quality control during production, the accuracy and reliability of the tests conducted.

For further improvement and development of the test base of the Republic of Kazakhstan it is necessary:

1) to pass to the international standards establishing requirements for

to experimental laboratories:

2) solve the problem of technical support of the test base with modern equipment, modern test methods;

3) develop a network of testing laboratories, including new ones directions.

The order of the lesson

In accordance with the rules, the following documents are formed:

- Application for accreditation in accordance with the established form;

- Accreditation area in 2 copies in the established form

- the passport of the testing laboratory (center);

- a copy of the Regulations on the testing laboratory (center);

- Quality manual in accordance with the standard

- an act of independent expert assessment of the metrological service of the legal

person, compiled by the service provider in preparation for accreditation;

- a copy of a notarized certificate of state registration of a legal entity.

Requirements for applications

1. The applicant submits to the accreditation body (OA) an application for accreditation, in accordance with the form of Annex 1 of the Order of the Minister of Industry and Trade of the Republic of Kazakhstan No. 322 of August 22, 2008, (hereinafter - the order of the Minister of the Ministry of Information Technologies of the Republic of Kazakhstan) including the following:

1) the name of the applicant of the legal entity;

2) designation of the normative document for compliance, which is accredited;

3) the direction of the applicant's activities or the products for testing and types of measurement;

4) legal status of the applicant: name, founders, governing body of the legal entity, location, telephone, fax, e-mail address, website, account, TRN;

5)last name, first name, patronymic of the head of the applicant organization;

6)last name, first name, middle name, telephone number of the person responsible for communication with the accreditation body.

7)the series and number of the accreditation certificate with its reaccreditation;

8)is certified by the signature and seal of the head of the applicant organization.

2.The applicant shall attach to the application a set of accreditation materials in accordance with the Law of the Republic of Kazakhstan "On Accreditation in the Field of Conformity Assessment", and additionally other documents stipulated by regulatory documents for compliance with which shall be accredited, and the scope of accreditation and the passport of the laboratory (center) on an electronic medium.

3.Applications for the expansion and updating of accreditation materials and the re-registration of the accreditation certificate shall be made in accordance with the established form, with the attachment of documents in accordance with the order of the Minister of the Ministry of Information Technologies of the Republic of Kazakhstan.

Note: One set of accreditation materials is attached to the application for examination and conclusion of the contract.

Accreditation materials set

The applicant submits to the accreditation body a set of accreditation materials for the Commission for the examination of accreditation materials containing the following:

1)the application, with the incoming registration number of the accreditation body, assigned at the stage of admission, consideration of the application and submitted documents.

2) the declared scope of accreditation;

3) the passport of the testing laboratory;

4) Quality manual;

5) Position;

6)notarized copies of documents establishing the legal status of the

applicant  (charter, regulations on the branch, certificate of state registration (re

registration) of the legal entity, certificate of account registration (re

registration) of the branch, statistical card).

Depending on the declared area of ​​accreditation, the applicant shall submit

other documents necessary for accreditation in accordance with regulatory documents.

Note:

1. The field of accreditation is presented on an electronic medium.

2. The set of accreditation materials is prepared in two copies for the final inspection and upon submission to the Commission for review of accreditation materials in accordance with the Law of the Republic of Kazakhstan "On accreditation in the field of conformity assessment".

Requirements for the passport of the testing laboratory

The passport of the testing laboratory is one of the main documents provided for the accreditation of IL (IC). The form of the IL form is approved by the authorized body in the field of conformity assessment. The passport should include 6 tables.

For the first table, it is necessary to cite data on the equipment of the laboratory (center) with the test equipment (hereinafter - the IO, the test equipment means a technical means that reproduces the normalized external factors and (or) loads.): Determined characteristics (indices) of the product, testing equipment, type (brand), manufacturer, factory and inventory numbers, basic technical characteristics of the EUT, year of commissioning the EO, date and number of the certificate document the periodicity of verification.

For the second table, information on measuring instruments (hereinafter SI) for testing products in the laboratory (center) is collected: SI designation, SI name, type (brand), manufacturing plant, factory and inventory numbers, main metrological characteristics of SI, year of commissioning operation of the SI, date, number of the certificate (certificate) of verification or certification, the frequency of verification.

For the third table, the following data are given on the equipment of the laboratory (center) with standard samples of the composition and properties of substances and materials (hereinafter referred to as "CO") in the course of analytical testing: the designation of the used CO (calibration of instruments, control of the accuracy of measurement results, certification of other categories), designation and designation ND, in which the procedure for the application of JI is established, the name and number of the JI, by whom and when the JI, the certificate of approval for the type of JI (certificate), the certified characteristics of the CO, Establishment of certified characteristics

CO, the expiration date of a specimen of CO.

In the fourth table it is necessary to include a list of normative documents used in the tests: the designation of the normative document, the name of the normative document, when and by whom, the number of the resolution (order) of the organization that approved the document, the date of introduction.

The fifth table gathers information about the staff of the laboratory (center): Name, first name, patronymic, position, education, diploma, experience in the specialty in the laboratory (center), test types, date and number of the certification report, periodicity, information on advanced training.

For the sixth table, information on the state of the laboratory (center) production facilities is collected: the purpose of the room (including the types of tests conducted), special or adapted, area, m2, temperature, 0С, illumination at workplaces, lx, gas level, mg / m3, noise level, dB, availability of special equipment (ventilation, interference protection, etc.), conditions for acceptance and storage of samples.

Tasks for practical studies

1.To form the list of documents of the testing laboratory (IC) provided for accreditation;

Control questions (in writing)

1.Define the term "test equipment"

2.What do you mean by standard samples of the composition and properties of substances and materials (CO) under analytical control

3.What is the level of approval of COs?

4.What documents are attached to confirm the table 6 The state of the industrial premises of the laboratory (center);

5.Based on which international standard is accredited testing laboratory (center)

List of sources used

1. Law of RK "On accreditation in the field of conformity assessment", 2008.

2. ST RK 7.13-2008 Accreditation system. Estimation of uncertainty of measurement results during calibration.

3. ST RK ISO / IEC 17025-2001 "General requirements for the competence of testing and calibration laboratories".

4. ST RK 7.18 -2008 Accreditation system. Inspection inspections of subjects of accreditation. General requirements.

5.ST RK 7.19 -2000 Accreditation system of the Republic of Kazakhstan. Accreditation of laboratories. Scope and range of accreditation.

6.ST RK ISO / IEC 28-2007. Conformity assessment. Management of work on the system of certification of products by a third party.

7.ST RK ISO / IEC 43-1-2002. Competency testing through interlaboratory comparisons. Part 1. Development and application of programs for testing the competence of laboratories.

8.ST RK ISO / IEC 43-2-2002. Competency testing through interlaboratory comparisons. Part 2. Selection and use of competence testing programs by the laboratory accreditation body.

Practical lesson №5

Execution of documents for accreditation of testing laboratories

Goals and objectives of the lesson: The procedure for processing the documents of the testing laboratory provided for accreditation. The task of the lesson is to confirm the compliance of the activities of the testing laboratory with the requirements of the accreditation body.

The content

The development of the State system of technical regulation of the Republic of Kazakhstan can not be considered in isolation from the improvement of the testing base. To date, it is necessary to re-equip the testing laboratories with modern equipment that can solve the testing problems at the level of modern international requirements.

In some cases, public services control the same indicator, in the same interval according to different methods. various metrological characteristics. As a result, there are often mutual claims, especially when performing control at a level close to the maximum permissible concentrations.

To resolve such a situation, it is advisable to carry out measures that include the unification of methods, their certification in accordance with the established procedure and the use of all monitoring services.

Instrumental methods are the most important means of obtaining a reliable result. At present, modern equipment makes it possible to investigate the presence of microimpurities of harmful substances.

The analysis of the residual contents of toxic substances and impurities of pollutants for the sake of public health is reduced to the determination of trace amounts and microimpurities, which requires specialists to possess modern methods of analysis.

In the practice of accreditation of testing laboratories in accordance with the requirements of the document ST RK ISO / IEC 17025-2001 "General requirements for the competence of testing and calibration laboratories", applicants face a number of problems that can be solved only with the active participation of metrologists of the Republic.

One of them is the evaluation and expression of the uncertainty of the results of measurements.

It is now generally accepted that when all known or suspected components of the error are estimated and corrected, there is still uncertainty as to the truth of the result, i. The question is how accurately the measurement result represents the value of the measured value.

The word "uncertainty" means doubt, and thus, in its broadest sense, "measurement uncertainty" means a doubt about the validity of a measurement result.

In accordance with the requirements of ISO / IEC 17025, an obligatory condition for the accreditation of test and measurement laboratories is the introduction of an uncertainty assessment method. A serious obstacle to the introduction of modern statistical methods with the use of uncertainties in the results of measurements at enterprises and organizations of the republic will remain a virtually complete absence of scientific and educational-methodical literature on the issue under consideration.

ST RK ISO / IEC 17025 and comply with its provisions.One of the sections of the standard 17025 "Traceability of measurements" requires demonstrating and proving that the unit of measurement used in the results of measurement (tests) can be traced to a unit of national and international standards. In fact, in the documents issued by the verification laboratories on the basis of verification of the means of measurements (standards) of laboratories, there is no information on the compatibility of the standards of the verification laboratories with national standards, not to mention the fact that uncertainty is not indicated.

It is necessary to point out the uncertainty in the preparation of certificates for verification and calibration of measuring instruments, which in practice is absent and introduces additional difficulties in assessing the uncertainty of measurement results (tests) by laboratories.

Periodically, in order to control the quality of test results, the laboratory should take part in interlaboratory comparative tests, applying the provisions of GOST ISO 5725- (1-6) -2002 "Accuracy (accuracy and precision) of measurement methods and results". The introduction of ISO / IEC 5725 in the practical activities of laboratories means mastering the rules of planning and conducting interlaboratory experiments applied in international practice to assess the accuracy of methods and measurement results (tests).

The order of the lesson

- . Registration of an application for accreditation according to

Annex 1.

_____________________

(name of company)

Application

1.Please accredit__________________________________________

(name of the applicant or its structural unit)

in the system of accreditation of the Republic of Kazakhstan as ________________

____________________________________________________________________

(the body for confirming the conformity of products, processes, services, management systems, personnel, testing, calibration, calibration laboratory (center) or a legal entity that performs metrological certification of measurement techniques)

for  compliance ______________________________________________________

(name of the normative document)

According  to  the  declared field of accreditation.

2. Legal status of the applicant: ___________________________________________

____________________________________________________________________

(name, founders (members), governing body of a legal entity, location, telephone, fax, e-mail address, website, account, TRN, BIC)

3.___________________________________________________________________

(surname, name, patronymic of the head of the applicant or the accredited structural unit)

4.___________________________________________________________________(surname, name, patronymic, telephone of the officer responsible for communication with the accreditation body)

5.Series, number of the certificate of accreditation _______________________________________

The head of the applicant ___________________ ___________________________

(name of the applicant)   (signature)  (initials, surname)

(place of seal)

«____» ______________ g.

(date)

Note.

Point 5 of the application is filled in the case of re-accreditation.

2. Registration of the form of the declared area of the testing laboratory

|  | I approve _______________________ (position, initials, surname, signature head of the accreditation body) "____" __________ 20___ g. |
| --- | --- |
|  | Annex to the accreditation certificate No. __ from "___" ___ 20__ on ___ pages |

Scope of accreditation of the testing laboratory (center)

____________________________________________________________________

(name and address of the testing laboratory (center)

| Name of the product (object) | Code KP Foreign trade activities | Code TN VED EURASEC | Designation of normative legal acts, normative documents for products (object) | Determined characteristics (indicators) of production (object) | Designation of normative documents for test methods for determining characteristics (indicators) |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |

Notes:

1 The last sheet of the field of accreditation must be signed by an authorized person of the testing laboratory (center) and certified by the seal of the legal entity.

2 Each sheet of the field of accreditation must be certified by the seal of the accreditation body.

3 .Registration of the form of the cover letter

to CEO

National Accreditation Center LLP

Full name

___________________________ send you an application and material

(name of company)

accreditation for compliance _______________________________________

(choose the necessary)

(ST RK ISO / IEC 17025-2007 (ST RK ISO / IEC 62-2001, ST RK ISO / IEC 65-2001, ST RK ISO / IEC 66-2002, ST RK 1349-2005, ST RK 1348-2005, ST RK 1179-2003, ST RK ISO 22000-2006, ST RK 7.6-2000).

We undertake to fulfill the accreditation requirements and obligations to the Accreditation Body.

Requisites of the organization on __ page in __eks.

Appendix: The list of documents in accordance with the Law of the Republic of Kazakhstan "On accreditation in the field of conformity assessment"

4. Form of passport test laboratory

|  | I approve Head of the testing laboratory (center) ____________________________________ (the name of the testing laboratory (center), the initials, the name of the head, the signature) "____" __________ 20___ g. |
| --- | --- |

Passport of the testing laboratory (center)

_________________________________________________________________

(name of testing laboratory (center))

Surname, name, patronymic, position, telephone of the head of the laboratory (center)___________________________________________________________

Mailing address of the laboratory (center)______________________________________________________

The postal address of the legal entity, which includes a laboratory (center)  _______

___________________________________________________________________

Phone, fax, email, lab website (center)_______________________________

The passport includes 6 tables.

Table 1. The equipment of the laboratory (center) with testing equipment (hereinafter - IO)

| Defined characteristics (indicators) | The name of the testing equipment, type (brand), manufacturer, factory and inventory number | Main technical characteristics of the IO |
| --- | --- | --- |
| 1 | 2 | 3 |

Continuation of the table 1.

| Year of commissioning | Date and number of the document on certification IO, periodicity | Note |
| --- | --- | --- |
| 4 | 5 | 6 |

Note. A test equipment means a means of reproducing normalized external factors and (or) loads.

Table 2. Information on measuring instruments (hereinafter - SI) for testing products in the laboratory (center)

| Name of determined characteristics (parameters) of products Purpose of the SI | Name of SI, type (brand), manufacturer, factory and inventory number | Basic metrological characteristics |
| --- | --- | --- |
| 1 | 2 | 3 |

Continuation of the table 2.

| Year of commissioning | Date, number of certificate (certificate) on verification or certification, frequency | additional information |
| --- | --- | --- |
| 4 | 5 | 6 |

Table 3. The equipment of the laboratory (center) with standard samples of the composition and properties of substances and materials (hereinafter - CO) under analytical control

| The purpose of the applied CO (calibration of instruments, control of the correctness of measurement results, certification of samples of other categories) | The designation and name of the ND, in which the procedure for applying CO | Name and number of CO | By whom and when |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |

Continuation of Table 3.

| Certificate No. of approval of type of SO (certificate) | Certified characteristics of CO | The error in establishing certified characteristics CO | The period of validity of the specimen of CO | Note |
| --- | --- | --- | --- | --- |
| 5 | 6 | 7 | 8 | 9 |

Notes:

1. CO refers to a means of measurement in the form of a certain amount of a substance or material designed to reproduce and store the sizes of quantities characterizing the composition or properties of this substance (material), the values ​​of which are established as a result of metrological certification, used to transfer the unit size during testing and research production, verification, calibration and calibration of measuring instruments, certification of test methods, studies, measurements and approved as a standard th sample in the prescribed manner.

2. Column 4 indicates the level of approval of the SO (interstate, state, industry, enterprise). For SB enterprises indicate when it is approved by the head of the organization.

3. Column 9 provides information on the registration of JI at the state level.

Table 4. List of regulatory documents used in testing

| Designation of normative document | Name of normative document | When and by whom it is approved, No. of the decision (order) of the organization that approved the document, the date of introduction |
| --- | --- | --- |
| 1 | 2 | 3 |

Table 5. Information about the personnel of the laboratory (center)

| Full Name | Position | Education, diploma, work experience by specialty in the laboratory (center) | Types of tests | Date and number of the certification report, periodicity. Information on professional development | Note |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |

Note. In the table, in addition to the staff of the laboratory (center), it is necessary to indicate the employees of other units involved in the trials (this is done in column 6).

Table 6. The state of industrial premises of the laboratory (center)

| The purpose of the room (including the types of tests conducted) | Special or adapted | Area, m2 | Temperature,, 0С | Illumination at workplaces, lx | The level of gassing, мг/м3 |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |

Note. The table is filled on the basis of the protocols for measuring the levels of production factors performed by specialists of the organizations of the sanitary and epidemiological service. A form must necessarily be enclosed with a conclusion on the conformity of production facilities with sanitary rules and hygienic standards, signed by the head of the organization of the sanitary and epidemiological service.

Tasks for practical studies

1. To issue an application for accreditation of a testing laboratory (testing center).

2 Obtain to the applicant the area of the testing laboratory (testing center);

3. To issue the passport of the testing laboratory (testing center).

The choice of the test laboratory should be carried out according to the registry of IL (IC).

Control questions (in writing):

1. By whom and by what order the forms of the application, the field of accreditation, the passport of the testing laboratory (IC) were approved;

2. What is the area of ​​accreditation of the testing laboratory (IC);

3. Based on which standards the confirmation of the conformity of the testing laboratory is made;

4. What characteristics of measuring instruments are related to metrological.

5. What information about the personnel of the laboratory (center) is provided to the accreditation body

6. What changes are made to the practice of testing laboratories with the introduction of the ST ST RK ISO / IEC 17025

7. How do you understand the evaluation and expression of the uncertainty of the results of measurements.

List of sources used

1. Law of RK "On accreditation in the field of conformity assessment", 2008.

2.ST RK 7.13-2008 Accreditation system. Estimation of uncertainty of measurement results during calibration.

3.ST RK ISO / IEC 17025-2001 "General requirements for the competence of testing and calibration laboratories".

4.ST RK 7.18 -2008 Accreditation system. Inspection inspections of subjects of accreditation. General requirements.

5. ST RK 7.19 -2000 Accreditation system of the Republic of Kazakhstan. Accreditation of laboratories. Scope and range of accreditation.

6.ST RK ISO / IEC 28-2007. Conformity assessment. Management of work on the system of certification of products by a third party.

7.ST RK ISO / IEC 43-1-2002. Competency testing through interlaboratory comparisons. Part 1. Development and application of programs for testing the competence of laboratories.

8.ST RK ISO / IEC 43-2-2002. Competency testing through interlaboratory comparisons. Part 2. Selection and use of competence testing programs by the laboratory accreditation body.

Practical lesson №6

Procedure for accreditation of testing laboratory (center) IL (D)

Goals and objectives of the lesson: The purpose of the lesson is to study the procedure for accrediting the testing laboratory (IC) with the task of assessing the subject of accreditation based on the results of accreditation for compliance with the declared requirements of the accreditation area.

The content

In the practice of accreditation of testing laboratories in accordance with the requirements of the document ST RK ISO / IEC 17025-2001 "General requirements for the competence of testing and calibration laboratories", applicants face a number of problems that can be solved only with the active participation of metrologists of the Republic.

One of them is the evaluation and expression of the uncertainty of the results of measurements.

It is now generally accepted that when all known or suspected components of the error are estimated and corrected, there is still uncertainty as to the truth of the result, i. The question is how accurately the measurement result represents the value of the measured value.

The word "uncertainty" means doubt, and thus, in its broadest sense, "measurement uncertainty" means a doubt about the validity of a measurement result.

In accordance with the requirements of ISO / IEC 17025, an obligatory condition for the accreditation of test and measurement laboratories is the introduction of an uncertainty assessment method. A serious obstacle to the introduction of modern statistical methods with the use of uncertainties in the results of measurements at enterprises and organizations of the republic will remain the almost complete absence of scientific and educational-methodical literature on the issue under consideration.

ST RK ISO / IEC 17025 and comply with its provisions.

One of the sections of the standard 17025 "Traceability of measurements" requires demonstrating and proving that the unit of measurement used in the results of the measurement (tests) can be traced to one

national and international standards. In fact, in the documents issued by the verification laboratories on the basis of verification of the means of measurements (standards) of laboratories, there is no information on the compatibility of the standards of the verification laboratories with national standards, not to mention the fact that uncertainty is not indicated.

It is necessary to point out the uncertainty in the preparation of certificates for verification and calibration of measuring instruments, which in practice is absent and introduces additional difficulties in assessing the uncertainty of measurement results (tests) by laboratories.

Periodically, in order to control the quality of test results, the laboratory should take part in interlaboratory comparative tests, applying the provisions of GOST ISO 5725- (1-6) -2002 "Accuracy (accuracy and precision) of measurement methods and results". The introduction of ISO / IEC 5725 in the practical activities of laboratories means mastering the rules of planning and conducting interlaboratory experiments applied in international practice in assessing the accuracy of methods and measurement results (tests).

The order of the assignment

Stage 1: Reception, examination of application and submitted documents

The testing laboratory (testing center) prepares the application in the prescribed form, complements the list of required documents and sends it to the accreditation body - the National Center for Accreditation of the Republic of Kazakhstan (NCA).

The NCA considers the application, verifies the availability and completeness of the submitted documents.

Stage 2: Conclusion of pre-accreditation agreement

Pre-accreditation agreement is concluded between the accreditation body and the applicant (testing laboratory).

Essential terms of the pre-accreditation agreement are:

1. The Subject of the Agreement;

2. Rights and Obligations of the parties;

3) cost of work;

4) responsibility of the parties.

A standard pre-accreditation agreement is approved by the authorized body.

Pre-accreditation agreement is terminated in the following cases:

1) liquidation of a legal entity;

2) termination of the contract in accordance with the civil legislation of the Republic of Kazakhstan;

3) non-elimination of the period of inconsistencies determined by the accreditation body, revealed in the examination of documents or examination of the applicant at the location;

4) detection by the accreditation body when re-examining documents or when re-examining the location of the applicant for the inconsistencies indicated in the initial opinion of the accreditation expert or the report of the survey team, respectively;

5) the decision by the accreditation body to refuse accreditation

Stage 3: Examination of submitted documents

Examination of the submitted documents is carried out within a period of no more than thirty working days, calculated from the moment of the conclusion of the contract.

To conduct the examination, the accreditation body appoints an expert-auditor for accreditation.

The expert-auditor's opinion on accreditation should contain:

1) an assessment of the compliance of the submitted documents with the accreditation criteria;

2) indications of non-compliance of documents on specific criteria (in the presence of inconsistencies);

3) recommendations for adjusting the submitted documents (if necessary) and the procedure for confirming the implementation of these recommendations by the applicant;

4) conclusions on the compliance or non-compliance of the submitted documents with the criteria for accreditation.

Based on the conclusion of the accreditation expert-auditor, the accreditation body takes one of the following decisions:

1) on the applicant's survey at the location;

2) on the applicant's elimination of the identified inconsistencies. A copy of the decision is sent to the applicant.

The Applicant within thirty working days from the moment of receipt of the copy of the decision eliminates the revealed discrepancies and notifies the accreditation body about it. The accreditation body conducts a second examination of the documents within seven days from the receipt of the notice.

The deadline for the elimination of nonconformities is extended by the accreditation body upon a written application of the applicant, in which he indicates the reasons, but not more than two months.

Stage 4: Applicant's location survey

The applicant's survey at the location is conducted in order to assess the applicant's competence, compliance of information provided in the documents with the actual state.

The survey is carried out by the survey team formed by the accreditation body.

The survey team should consist of at least three people, the team leader is appointed expert-auditor for accreditation, who conducted the examination of documents.

The survey team may be included as agreed upon:

- experts in the field of ensuring the uniformity of measurements;

- experts-auditors on conformity assessment, technical experts, specialists of state bodies and other organizations on the declared area of ​​accreditation.

The survey period should not exceed ten working days, calculated from the date of adoption of this decision.

Based on the results of its work, the survey team compiles a report that must include an assessment of the applicant's compliance with the accreditation criteria.

The report is prepared by the team leader, taking into account all the comments of its members in duplicate and signed by all members of the group. One copy of the report is handed to the applicant.

In case of disagreement with the report of the survey team, the applicant can submit his comments in writing to the accreditation body.

Based on the report of the survey team and taking into account the applicant's comments (if any), the accreditation body takes one of the following decisions within a period of not more than five working days:

1) consideration of collected accreditation materials;

2) on the applicant's elimination of the identified inconsistencies.

A copy of the decision is sent to the applicant.

The applicant shall, within twenty working days from the receipt of a copy of the decision, eliminate the discrepancies identified in the survey and notify the accreditation body of their elimination, after which the accreditation body shall conduct a re-examination. The survey period should not exceed five working days.

Tasks for practical studies:

1.Conduct 1 stage of accreditation of the testing laboratory - acceptance, consideration of the application and submitted documents;

2. To carry out the 2nd stage of accreditation of the testing laboratory - to issue a pre-accreditation agreement between the accreditation body and the testing laboratory;

3 Conduct the 3rd stage of accreditation of the testing laboratory - examination of the submitted documents

4. Conduct 4 stage of accreditation of the testing laboratory - examination of the applicant by location

5. Conduct 5 stage of accreditation of the testing laboratory - decision on accreditation or refusal of accreditation

6. Conduct the 6th stage of accreditation of the testing laboratory - complete the post-accreditation agreement

Control questions (in writing):

1. What documents are considered by the accreditation body when the application of the testing laboratory for accreditation is submitted;

2. What conditions are necessary to conclude a pre-accreditation agreement;

3. In what cases does the pre-accreditation contract terminate?

4. Who reviews the submitted documents. Terms of conducting;

5.What should be contained in the conclusion of the expert-auditor on accreditation in the examination of documents;

6.What decisions are made by the accreditation body after receiving the conclusion of an expert auditor

7. What is the purpose of the applicant's survey at the location?

8. Composition of the applicant's survey team at the location;

9. What is contained in the report of the applicant's survey team at the location;

10. Timing for the elimination of inconsistencies identified by the applicant at the location;

11. In which cases a decision is made to deny the applicant accreditation, to take a decision on accreditation;

12. Basic conditions for concluding a post-accreditation agreement.

List of sources used:

1. Law of RK "On accreditation in the field of conformity assessment", 2008.

2.ST RK 7.17 -2000 Accreditation system of the Republic of Kazakhstan. Structure and procedure for keeping the register of accreditation subjects.

3. ST RK 7.13-2008 Accreditation system. Estimation of uncertainty of measurement results during calibration.

4. ST RK ISO / IEC 17025-2001 "General requirements for the competence of testing and calibration laboratories".

5. ST RK 7.18 -2008 Accreditation system. Inspection inspections of subjects of accreditation. General requirements.

6. ST  RK 7.19 -2000 Accreditation system of the Republic of  Kazakhstan. Accreditation  of  laboratories. Scope  and  range of  accreditation.

7. ST  RK ISO / IEC 28-2007. Conformity  assessment. Management of work on the system  of certification of products by a third party.

8. ST  RK ISO / IEC 43-1-2002. Competency  testing  through interla boratory comparisons. Part 1.  Development  and  application  of  programs for testing the competence  of  laboratories.

9.ST  RK  ISO / IEC 43-2-2002. Competency  testing  through  interla boratory comparisons.  Part 2.  Selection and use of  competence  testing  programs  by the laboratory accreditation body.

Practical lesson №7

The documents calibration laboratories, provided for accreditation for the right calibration of measuring instruments

Goals and objectives of the lesson: The goal of the task is to form a list of calibration laboratory documents that are provided for accreditation for the right to calibrate measuring instruments with the solution of the main task - accreditation of a calibration laboratory.

The content

According to the law of the Republic of Kazakhstan "On accreditation in the field of conformity assessment", the calibration laboratory (center) is a legal entity or structural subdivision of a legal entity acting on its behalf, calibrating measuring instruments;

Accreditation for the right to calibrate measuring instruments is an official recognition by an authorized state body for standardization, metrology and certification of competence and authority of the metrological service of a legal entity to calibrate the means of measurement.

Calibration of measuring instruments (calibration works) is a set of operations that establish the relationship between the values ​​obtained by means of this measuring instrument and the corresponding value determined by means of a standard in order to determine the actual metrological characteristics of the measuring instrument and (or) the suitability for using the measuring instrument , not subject to state metrological control and supervision.

The quality of calibration of measuring instruments is a set of calibration characteristics that determine its ability to meet the claimed (established) requirements in terms of methods, means, error and calibration conditions.

Quality Manual (Guidance on the quality of organization and performance of calibration work) is a document establishing the goals, methods and procedures that allow the metrological service to perform tasks related to the calibration of measuring instruments.

Calibration means are standards and other measuring instruments used for calibration in accordance with calibration procedures.

Requirements for calibration laboratories

The calibration laboratory must have the status of a legal entity or be a division of a legal entity and meet the following requirements:

-have the appropriate rights to make an independent decision in the calibration of measuring instruments;

-to have a metrological service with a permanent staff of employees ensuring the performance of the assigned duties, the head of the chief metrologist responsible for performing the calibration and making decisions on the results of the calibration;

- specialists should have appropriate education, training, experience;

- have a room that provides the required calibration conditions;

-have, the appropriate technical base, including calibration tools (standards, equipment, auxiliary tools necessary for calibration of measuring instruments);

-have regulatory documents governing the organization and procedure for conducting calibration;

- have a documented quality system for organizing and performing calibration work.

The requirements for the performance of calibration work should be established by the "Guidelines for the quality of the organization and the performance of calibration work".

The quality manual should be drawn up in accordance with established rules.

The order of the assignment

In accordance with the rules, the following documents are formed:

- Application for accreditation in accordance with the established form;

- Accreditation area in 2 copies in the established form

- passport of the calibration laboratory (center);

- a copy of the Regulations on the testing laboratory (center);

- Quality manual in accordance with the standard

- an act of independent expert assessment of the calibration laboratory, compiled by the service provider in preparation for accreditation;

- a copy of a notarized certificate of state registration of a legal entity.

Requirements for applications

1.The applicant submits to the accreditation body (OA) an application for accreditation, in accordance with the form of Annex 1 of the Order of the Minister of Industry and Trade of the Republic of Kazakhstan No. 322 of August 22, 2008, (hereinafter - the order of the Minister of the Ministry of Information Technologies of the Republic of Kazakhstan) including the following:

1) the name of the applicant of the legal entity;

2) designation of the normative document for compliance, which is accredited;

3) the direction of the applicant's activities or the products for testing and types of measurement;

4) legal status of the applicant: name, founders, governing body of the legal entity, location, telephone, fax, e-mail address, website, account, TRN;

5) last name, first name, patronymic of the head of the applicant organization;

6) last name, first name, middle name, telephone number of the person responsible for communication with the accreditation body.

7) the series and number of the accreditation certificate with its reaccreditation;

8) is certified by the signature and seal of the head of the applicant organization.

2.The applicant shall attach to the application a set of accreditation materials in accordance with the Law of the Republic of Kazakhstan "On Accreditation in the Field of Conformity Assessment", and additionally other documents stipulated by regulatory documents for compliance with which shall be accredited, and the scope of accreditation and the passport of the laboratory (center) on an electronic medium.

3.Applications for the expansion and updating of accreditation materials and the re-registration of the accreditation certificate shall be made in accordance with the established form, with the attachment of documents in accordance with the order of the Minister of the Ministry of Information Technologies of the Republic of Kazakhstan.

Note:

One set of accreditation materials is attached to the application for examination and conclusion of the contract.Комплект материалов аккредитации

The applicant submits to the accreditation body a set of accreditation materials for the Commission for the examination of accreditation materials containing the following:

1) the application, with the incoming registration number of the accreditation body, assigned at the stage of admission, consideration of the application and submitted documents.

2) the declared scope of accreditation;

3) the passport of the calibration laboratory;

4) Quality manual;

5) Position;

6) notarized copies of documents establishing the legal status of the applicant (charter, regulations on the branch, certificate of state registration (re-registration) of the legal entity, certificate of account registration (re-registration) of the branch, statistical card).

Depending on the declared area of ​​accreditation, the applicant shall submit other documents necessary for accreditation in accordance with regulatory documents.

Note:

1. The field of accreditation is presented on an electronic medium.

2. The set of accreditation materials is prepared in two copies for the final inspection and upon submission to the Commission for review of accreditation materials in accordance with the Law of the Republic of Kazakhstan "On accreditation in the field of conformity assessment".

Requirements for the passport of the calibration laboratory

The passport of the calibration laboratory is one of the main documents provided for the accreditation of TC. The form of the passport form of the KL is approved by the authorized body in the field of conformity assessment. The passport should include 6 tables.

For the first table, data on the activity area (by groups of measuring instruments) of the calibration laboratory are collected - a code for the type of measurements; the name of a group of calibrated measuring instruments; metrological characteristics, including the range of measurements, discharge, accuracy class, error, extended uncertainty; normative documents for calibration methods (designation and name); means of calibration used.

The second table is formed by the following data of the personnel composition of the calibration laboratory staff: surname, name, patronymic, position, education, specialty, work experience in the field of metrology, information on the completion of refresher courses (document number, validity, type of measurement), specialization for groups of calibrated measuring instruments

The third table - the list of standards used, includes: the name of the standard, type, serial number, inventory number, measurement range, accuracy class, discharge, error, extended uncertainty, verification document (calibration)

or metrological certification (No., validity), year of commissioning, designation according to the accreditation area.

The fourth table includes data on measuring accessories-their name, type, serial number, inventory number, measurement range, accuracy class, discharge, error, verification document or metrological certification (No., validity), year of commissioning according to the accreditation area .	The fifth table generates data on the equipment of special vehicles - Name, type or brand, year of commissioning, quantity, pieces, purpose.

The sixth table includes data on the condition of the production premises - the name of the applicant's premises; appointment of premises

(special / adapted); temperature of premises, oC - norm and fact, relative humidity,% - norm and fact; illumination of workplaces, lk -norm and fact, noise level, dB - norm and fact, level of electromagnetic interference, A / m -norm and fact, gas level,% - norm and fact; the name of the body (number, validity period

certificate of accreditation) No., date of confinement

Tasks for practical studies:

1.To create the set of the calibration laboratory document for the accreditation procedure;

2. Fill in the passport of the calibration laboratory;

Control questions (in writing):

1. What data is collected in the field of activity of the calibration laboratory;

2.What is given for completing Table 2 of the TC's passport on personnel composition of personnel;

3.What characteristics are listed in the section of the CR passport in the list of standards used;

4. What are the measuring accessories of the CL;

5. What is the state of the data? Production facilities of KL;

6. Define the terms - calibration laboratory, SI calibration, calibration tools;

7.Requirements for calibration laboratories during the accreditation procedure.Список использованных источников

List of sources used:

1. Law of RK "On accreditation in the field of conformity assessment", 2008.

2. ST RK ISO / IEC 17025-2001 "General requirements for the competence of testing and calibration laboratories".

3. ST RK 7.18 -2008 Accreditation system. Inspection inspections of subjects of accreditation. General requirements.

4.ST RK 7.19 -2000 Accreditation system of the Republic of Kazakhstan. Accreditation of laboratories. Scope and range of accreditation.

5.ST RK ISO / IEC 28-2007. Conformity assessment. Management of work on the system of certification of products by a third party.

6.ST RK ISO / IEC 43-1-2002. Competency testing through interlaboratory comparisons. Part 1. Development and application of programs for testing the competence of laboratories.

7.ST RK ISO / IEC 43-2-2002. Competency testing through interlaboratory comparisons. Part 2. Selection and use of competence testing programs by the laboratory accreditation body.

8.ST RK 7.17 -2000 Accreditation system of the Republic of Kazakhstan. Structure and procedure for keeping the register of accreditation subjects.

9.ST RK 7.13-2008 Accreditation system. Estimation of uncertainty of measurement results during calibration.

Practical lesson №8

Paperwork KL for accreditation

Goals and objectives of the lesson: Registration of documents of the calibration laboratory provided for accreditation. The task of the lesson is to confirm the compliance of the activity of the calibration laboratory with the requirements of the accreditation body.

The content

The calibration laboratory must have the status of a legal entity or be a division of a legal entity and meet the following requirements:

-have the appropriate rights to make an independent decision in the calibration of measuring instruments;

-to have a metrological service with a permanent staff of employees ensuring the performance of the assigned duties, the head of the chief metrologist responsible for performing the calibration and making decisions on the results of the calibration;

-specialists should have appropriate education, training, experience;

-have a room that provides the required calibration conditions;

-have, the appropriate technical base, including calibration tools (standards, equipment, auxiliary tools necessary for calibration of measuring instruments);

-have regulatory documents governing the organization and procedure for conducting calibration;

-have a documented quality system for organizing and performing calibration work.

The requirements for the performance of calibration work should be established by the "Guidelines for the quality of the organization and the performance of calibration work".

The quality manual should be drawn up in accordance with established rules.

The order of the lesson

- Application processing

_________________________

(name of company)

Application

1. Please accredit ____________________________________________________

(name of the applicant or its structural unit)

in the system of accreditation of the Republic of Kazakhstan as ____________________________________________________________________

(the body for confirming the conformity of products, processes, services, management systems, personnel, testing, calibration, calibration laboratory (center) or a legal entity that performs metrological certification of measurement techniques)

For  compliance ______________________________________________________

(name of the normative document) according to the declared field of accreditation.

2.Legal status of the applicant: ____________________________________________________________________

(name, founders (members), governing body of a legal entity, location, telephone, fax, e-mail address, website, account, TRN, BIC)

3.__________________________________________________________________

(surname, name, patronymic of the head of the applicant or the accredited structural unit)

4___________________________________________________________________

(surname, name, patronymic, telephone of the officer responsible for communication with the accreditation body)

5.Series, number of the certificate of accreditation_ __________________________________

The head of the applicant________________________________________________

(name of the applicant)   (signature)  (initials, surname)

(place of seal)

«____» ______________ g.

(date)

Note.

Paragraph 5 of the application is filled in the case of re-accreditation.

2 . Filling the shape of the area

|  | I approve __________________________________ (position, initials, surname, signature head of the accreditation body) "____" __________ 20___ g. |
| --- | --- |
|  | Annex to the accreditation certificate No. ___ from "___" ___ 200_ on pages |

Scope of accreditation verification (calibration) laboratory (center)

____________________________________________________________________

(name and address of the calibration (calibration) laboratory (center))

| Measurement Type Code | Name of the group of verified (calibrated) measuring instruments | Type of measuring instruments | Metrological characteristics |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | measuring range | discharge, accuracy class, error | expanded uncertainty |
| 1 | 2 | 3 | 4 | 5 | 6 |

Notes:

1. The last sheet of the field of accreditation must be signed by the head and certified by the seal of the legal entity.

2. Each sheet of the field of accreditation must be certified by the seal of the accreditation body.

3. Structural subdivisions of legal entities make out the scope of accreditation in accordance with this form.

3 Filling in the passport of the calibration laboratory

Annex 9

to the order of the Minister of Industry and Trade

Republic of Kazakhstan

from 29.10.2008 year № 430

|  | APPROVED Head of a legal entity or structural unit of a legal entity ____________________________________ (name of the legal entity or structural subdivision of the legal entity, initials and surname of the head, signature) "____" __________ 200__ g |
| --- | --- |

PASSPORT

calibration laboratory(center)

____________________________________________________________________

(the name of a legal entity or a structural unit of a legal entity)

Surname, name, patronymic, position, telephone number of the head of a legal entity or structural subdivision of a legal entity ____________________________________________________________________

____________________________________________________________________

Postal address of a legal entity or structural unit of a legal entity________________________________________________________________

Telephone, fax, e-mail of a legal entity or structural subdivision of a legal entity________________

Surname, name, patronymic, position of the head of metrological service ________________________________________________________________________________

Surname, name, patronymic, position of the head of the calibration laboratory (center)__________________________________________________________________________

The passport includes 6 tables.

Table 1. Scope of activity (by groups of measuring instruments)

| Measurement Type Code | Name of the group of calibrated measuring instruments | Metrological characteristics |  |  | Regulatory documents for calibration methods (designation and name) | Used calibration tools |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | measuring range | discharge, accuracy class, error | expanded uncertainty |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |

Table 2. Staffing

| Full Name | Position | Education, specialty | Work experience in the field of metrology | Information on the completion of refresher courses (Document number, expiration date, type of measurement) | Specialization in groups of calibrated measuring instruments |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |

Table 3. List of reference standards used

| Name | A type | Factory number | Inventory number | Measurement range | Accuracy class, discharge, error, extended uncertainty | Verification (calibration) document or metrological certification (№, validity period) | Year of commissioning | Appointment according to the field of accreditation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |

Table 4. Measuring accessories

| Наименование | Тип | Заводской номер | Инвентарный номер | Диапазон измерений | Класс точности, разряд, погрешность | Документ о поверке или метрологической аттестации (№, срок действия) | Год ввода в эксплуатацию | Назначение согласно области аккредитации |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |

Table 5. Special transport equipment

| Name, type or brand | Year of commissioning | Number, pcs. | Appointment |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |

Table 6. Condition of industrial premises

| Name of premises of the applicant | Appointment of premises (special / adapted) | Area, м2 | Temperature, оС |  | Relative humidity, % |  | Illumination of workplaces |  | Noise level, dB |  | Level of electromagnetic interference, А/м |  | Gassing level, % |  | The name of the body (No., validity period of the accreditation certificate) No., date of imprisonment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | norm | fact | norm | fact | norm | fact | norm | fact | norm | fact | norm | fact |  |
| 1 | 2 | 3 | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |

Tasks for practical studies

1. Fill in the application for accreditation of the calibration laboratory;

2. Fill in the accreditation area of the calibration laboratory;

3 Fill in the passport of the calibration laboratory;

Data for filling in the above documents are taken from the register of registered calibration laboratories.

Control questions (in writing):

1. What is the measurement type code. Give examples;

2. List the metrological characteristics of calibrated measuring instruments;

3. What are the standards for calibration labs for?

4.What data is needed to characterize the condition of production facilities;

List of sources used

1. Law of RK "On accreditation in the field of conformity assessment", 2008.

2 ST RK ISO / IEC 17025-2001 "General requirements for the competence of testing and calibration laboratories".

3 ST RK 7.18 -2008 Accreditation system. Inspection inspections of subjects of accreditation. General requirements.

4 ST RK 7.19 -2000 Accreditation system of the Republic of Kazakhstan. Accreditation of laboratories. Scope and range of accreditation.

5 ST RK ISO / IEC 28-2007. Conformity assessment. Management of work on the system of certification of products by a third party.

6 ST RK ISO / IEC 43-1-2002. Competency testing through interlaboratory comparisons. Part 1. Development and application of programs for testing the competence of laboratories.

7 ST RK ISO / IEC 43-2-2002. Competency testing through interlaboratory comparisons. Part 2. Selection and use of competence testing programs by the laboratory accreditation body.

8 ST RK 7.17 -2000 Accreditation system of the Republic of Kazakhstan. Structure and procedure for keeping the register of accreditation subjects.

9 ST RK 7.13-2008 Accreditation system. Estimation of uncertainty of measurement results during calibration.

Practical lesson №9

Arrangements for the accreditation of KL

Goals and objectives of the lesson: The purpose of the lesson is to study the procedure for accrediting the calibration laboratory (CR) with the decision of the task of assessing the subject of accreditation based on the results of accreditation for compliance with the declared requirements of the accreditation area.

The content

According to the Law of RK "On accreditation of conformity assessment" calibration laboratories (centers) shall ensure the traceability of measurements by obtaining the size of units of measurements of the state standards of units in accordance with the legislation of the Republic of Kazakhstan on ensuring uniformity of measurements, in case of their absence - of national standards of units values ​​of other countries.

Calibration - a set of operations performed to determine the actual values ​​of metrological characteristics.

The introduction of the calibration activity is dictated by:

- Accession to the Mutual Recognition Agreement for equivalent standards, calibration and measurement certificates;

- harmonization of national and international requirements;

- the need to fulfill the requirements of ISO / IEC 17025, ISO / IEC 9001;

- transition to the direct application of international standards.

One of the conditions for accreditation is the fulfillment of the requirements of the TC of the standard ISO / IEC 17025: 2005 General requirements for the competence of testing and calibration laboratories. For this it is necessary that the laboratory:

1.It is the responsibility of the laboratory to perform tests and calibrations in such a way that the requirements of this standard are met and the requirements of the customer are met, as well as the requirements of regulatory authorities or organizations that are officially recognized.

2.The laboratory should develop, implement and maintain a management system in accordance with its field of activity. The laboratory must document its policies, systems, programs, procedures and instructions to the extent necessary to ensure the quality of the test results and calibration. The documentation of the system should be brought to the attention of the relevant personnel, understood by them, accessible to him and carried out by him.

3.The laboratory shall establish and maintain procedures for the management of all documents that are part of the management system that are developed within the laboratory or come from outside. Managed documentation is:

 Guidance on the quality of the policy statement and the purpose of the management system

 Regulations, standards, other normative documents

 Instructions, manuals, test methods and / or calibrations, tables, graphs, drawings, plans, software, etc.

4. Analysis of requests, proposals and contracts - analyzes should be recorded

- The analysis should cover the work carried out by subcontractors

- The customer should be acquainted with any deviations

- If the contract needs to be amended after the commencement of work, the analysis should be supplemented and all stakeholders should be familiarized with the amendment

5.Subcontracting tests and calibrations - to provide competent subcontractors, maintain their registration and have a certificate of compliance of their activities with the standard. ISO / IEC 17025: 2005, to notify the customer of subcontracting and get his approval, preferably in writing, bear the responsibility for the work performed by a subcontractor, except in cases where the subcontractor chosen by the customer or regulatory authorities

6.Acquisition of services and supplies - procedures for the acquisition, receipt and storage of reagents and materials, control or other verification of equipment, chemical reagents and consumables for compliance with standard specifications or requirements established by methods

7.customer service - laboratory should willingly cooperate with customers or their representatives with a view to clarifying the customer's request and monitor the activity of the laboratory in regard to the work performed, provided that the laboratory ensures confidentiality to other customers.

Communication with the customer should be maintained throughout the work and it is necessary to notify the customer of any delays or significant deviations in the test. and / or caliber. It is necessary to establish feedback with customers, which should be analyzed and used to improve the management system, as well as improve customer service.

8.Work management for test or calibration, do not meet the trebovaniyam- in the laboratory should be developed methods and procedures resorted to in cases where any aspect of the test or calibration, or the results of this work do not correspond to its own procedures or the agreed customer requirements. These methods and procedures should ensure that:

a) the duties and authorities for non-compliant work have been identified, and if such work has been identified - appropriate actions have been taken (including suspension of work and, if necessary, suspension of the test reports and calibration certificates)

c) the significance of the non-conforming work

(c) Immediate remedial measures are taken, along with the adoption of a decision regarding the admissibility of non-compliance with the established requirements

The order of the lessons

Stage 1: Reception, examination of application and submitted documents

The calibration laboratory (center) prepares the application in the prescribed form, complements the list of required documents and sends it to the accreditation body - the National Center for Accreditation of the Republic of Kazakhstan (NCA).

The NCA considers the application, verifies the availability and completeness of the submitted documents.

Stage 2: Conclusion of pre-accreditation agreement

Pre accreditation agreement is concluded between the accreditation body and the applicant (testing laboratory).

Essential conditions for an accreditation agreement are:

1. The Subject of the Agreement;

2. Rights and Obligations of the parties;

3) cost of work;

4) responsibility of the parties.

A standard pre-accreditation agreement is approved by the authorized body.

Pre-accreditation agreement is terminated in the following cases:

1) liquidation of a legal entity;

2) termination of the contract in accordance with the civil legislation of the Republic of Kazakhstan;

3) non-elimination of the period of inconsistencies determined by the accreditation body, revealed in the examination of documents or examination of the applicant at the location;

4) detection by the accreditation body when re-examining documents or when re-examining the location of the applicant for the inconsistencies indicated in the initial opinion of the accreditation expert or the report of the survey team, respectively

5) the decision by the accreditation body to refuse accreditation

Stage 3: Examination of submitted documents

Examination of the submitted documents is carried out within a period of no more than thirty working days, calculated from the moment of the conclusion of the contract.

To conduct the examination, the accreditation body appoints an expert-auditor for accreditation.

The expert-auditor's opinion on accreditation should contain

1)an assessment of the compliance of the submitted documents with the accreditation criteria;

2)indications of non-compliance of documents on specific criteria (in the presence of inconsistencies);

3)recommendations for adjusting the submitted documents (if necessary) and the procedure for confirming the implementation of these recommendations by the applicant;

4)conclusions on the compliance or non-compliance of the submitted documents with the criteria for accreditation.

Based on the conclusion of the accreditation expert-auditor, the accreditation body takes one of the following decisions:

1) on the applicant's survey at the location;

2) on the applicant's elimination of the identified inconsistencies. A copy of the decision is sent to the applicant.

The Applicant within thirty working days from the moment of receipt of the copy of the decision eliminates the revealed discrepancies and notifies the accreditation body about it. The accreditation body conducts a second examination of the documents within seven days from the receipt of the notice.

The deadline for the elimination of nonconformities is extended by the accreditation body upon a written application of the applicant, in which he indicates the reasons, but not more than two months.

Stage 4: Applicant's location survey

The applicant's survey at the location is conducted in order to assess the applicant's competence, compliance of information provided in the documents with the actual state.

The survey is carried out by the survey team formed by the accreditation body.

The survey team should consist of at least three people, the team leader is appointed expert-auditor for accreditation, who conducted the examination of documents.

The survey team may be included as agreed upon:

- experts in the field of ensuring the uniformity of measurements;

- experts-auditors on conformity assessment, technical experts, specialists of state bodies and other organizations on the declared area of ​​accreditation.

The survey period should not exceed ten working days, calculated from the date of adoption of this decision.

Based on the results of its work, the survey team compiles a report that must include an assessment of the applicant's compliance with the accreditation criteria.

The report is prepared by the team leader, taking into account all the comments of its members in duplicate and signed by all members of the group. One copy of the report is handed to the applicant.

In case of disagreement with the report of the survey team, the applicant can submit his comments in writing to the accreditation body.

Based on the report of the survey team and taking into account the applicant's comments (if any), the accreditation body takes one of the following decisions within a period of not more than five working days:

1) consideration of collected accreditation materials;

2) on the applicant's elimination of the identified inconsistencies.

A copy of the decision is sent to the applicant.

The applicant shall, within twenty working days from the receipt of a copy of the decision, eliminate the discrepancies identified in the survey and notify the accreditation body of their elimination, after which the accreditation body shall conduct a re-examination. The survey should not exceed five

Tasks for practical studies:

1.Fill in the application form for accreditation of the calibration laboratory in accordance with the established form;

2.Fill in the form of the pre-accreditation agreement between the accreditation body and the organization that applied for accreditation;

3.Conduct an examination of the materials of the calibration laboratory that applied for accreditation;

4.Conduct an evaluation of the Quality Management System of the calibration laboratory;

Control questions (in writing):

1. Stages of accreditation of the calibration laboratory;

2. Define the notion of calibration of measuring instruments;

3. In which cases the quality system of the calibration laboratory is recognized as conforming to the ISO / IEC 17025: 2005 standard;

4. Draw up a plan for preventive and corrective actions in case of discrepancies in the calibration laboratory.

5.Explain the main provisions of ISO / IEC 17025: 2005 "Requirements for the competence of testing and calibration laboratories".

List of sources used:

1. Law of RK "On accreditation in the field of conformity assessment", 2008.

2 ST RK ISO / IEC 17025-2001 "General requirements for the competence of testing and calibration laboratories".

3 ST RK 7.18 -2008 Accreditation system. Inspection inspections of subjects of accreditation. General requirements.

4 ST RK 7.19 -2000 Accreditation system of the Republic of Kazakhstan. Accreditation of laboratories. Scope and range of accreditation.

5 ST RK ISO / IEC 28-2007. Conformity assessment. Management of work on the system of certification of products by a third party.

6 ST RK ISO / IEC 43-1-2002. Competency testing through interlaboratory comparisons. Part 1. Development and application of programs for testing the competence of laboratories.

7 ST RK ISO / IEC 43-2-2002. Competency testing through interlaboratory comparisons. Part 2. Selection and use of competence testing programs by the laboratory accreditation body.

8 ST RK 7.17 -2000 Accreditation system of the Republic of Kazakhstan. Structure and procedure for keeping the register of accreditation subjects.

9 ST RK 7.13-2008 Accreditation system. Estimation of uncertainty of measurement results during calibration.

Practical lesson №10

Documentation of the accreditation body

Goals and objectives of the lesson: The main purpose of the lesson is to study the documentation of the accreditation body.

The content

The accreditation body is a legal entity determined by the Government of the Republic of Kazakhstan and carrying out accreditation activities. The accreditation body is a legal entity in the organizational and legal form of a joint-stock company or an economic partnership, shares or stakes in the authorized capital of which are state-owned. The right to own and use shares or stakes in the authorized capital shall be exercised by the authorized body.

Accreditation body:

1) has the right:

to attract expert auditors on accreditation, to confirm compliance, in the field of ensuring the uniformity of measurements, technical experts and other professionals to participate in the work on accreditation;

participate in the work of international (regional) non-governmental and non-governmental organizations for accreditation;

organize comparative tests and comparisons of calibration and calibration results;

carry out an inspection check;

2) must:

establish the forms of the accreditation certificate, attachments to accreditation certificates, accreditation mark;

carry out work on accreditation;

Do not allow the disclosure of information constituting a commercial or other secret protected by law, which became known during the work on accreditation;

maintain a register of accreditation subjects;

conduct an Internet resource, officially publish on it the register of subjects of accreditation and place regulatory legal acts on accreditation in the field of conformity assessment;

to examine complaints of the subjects of accreditation and take decisions on them;

in case of withdrawal of the certificate of accreditation or termination of the post-accreditation agreement within three working days in writing to notify the authorized body;

to consider applications for renewal of the certificate of accreditation, updating of accreditation materials;

withdraw, return an accreditation certificate and apply to the court with a request for the cancellation of the certificate of accreditation on the grounds and in the order provided by this Law.

To review the materials of accreditation and take decisions on them, the head of the accreditation body creates a permanent commission to review accreditation materials. Decisions of the commission are of an advisory nature.

The quantitative composition of the commission should be odd, consist of at least three people and include at least one expert-auditor for accreditation.

The accreditation body acts on the basis of the Regulation approved by the authorized body and in its activities is governed by the requirements of the international standard ISO / IEC 17011: 2004

The accreditation body must ensure the competence, objectivity and impartiality of the accreditation activities that it carries out, including:

- ensure compliance with the requirements of regulatory legal acts and regulatory documents in the field of technical regulation on accreditation issues;

- have certified accreditation experts in the relevant areas of accreditation;

- have a documented quality management system;

- to have normative and technical documentation, corresponding area of ​​accreditation provided.

The accreditation body carries out the functions established by the relevant regulatory legal acts.

The accreditation body may engage subcontractors for accreditation work and have a policy that describes the terms of such subcontracting. The corresponding documented agreement should fully reflect the interests and responsibility of the parties.

In the Republic of Kazakhstan, the accreditation body is the National Accreditation Center (NCA).

The main goals and tasks of the NCA

Purpose: Creation of conditions for the recognition of test reports and certificates of compliance abroad and facilitating the promotion of Kazakhstani exports

Objectives: -Transition to the international accreditation system

- Development of a network of laboratories and conformity assessment bodies that meet the requirements of international standards

- Admission of full members to international accreditation organizations ILAC, IAF

Structure

The National Accreditation Center - the Accreditation Body

GENERAL   DIRECTOR

Department  of legal

and staffing

Deputy

The Director-General

Secretariat

First   deputy

The   Director-General

Department of Financial Analysis and Accounting

Department

evaluation of the OS

Department

estimates of submarines and aircraft

Almaty branch

The educational center

Department of International Cooperation

Monitoring and Information Department

Department

evaluation of IL

The order of the lessons

The accreditation body carries out its activities on the basis of the Regulation on the accreditation body approved by the authorized body and in its activity is governed by the requirements of the international standard ISO / IEC 17011: 2004. Conformity assessment - General requirements for accreditation bodies that accredit conformity assessment organizations

In the field of regulation, government agencies enforce laws regarding the approval of products (including services), in terms of safety, health, environmental protection, fraud prevention and market equity. In the field of economics, many industries, both nationally and globally, are organizing systems for assessing and approving compliance, aimed at providing a minimum of technical level, comparability, and competition at equal levels. The prerequisite for trading at different levels is that any product, including services formally adopted in one economic system, should be able to circulate freely in other economic systems without the need to undergo large-scale repeated inspections, tests, certifications, and so on. This is how the case should be, regardless of whether the genus of the regulation sphere is covered in whole or in part by the product (including services).

In modern society, it is often necessary to objectively establish the conformity of products (services) to the requirements. The conformity assessment organizations (hereinafter referred to as the CAB) can objectively confirm such compliance. These CABs carry out conformity assessment activities, including certification, verification, testing and, in the context of this International Standard, calibration.

For the consumer, regulator and the public, it is important to know that these CABs are competent to perform these tasks. Therefore, there is a constant need for an objective confirmation of their competence. Such confirmation is carried out by organizations of official accreditation, independent of neither the EPO nor their clients, and which normally operate as non-profit organizations.

The system for the accreditation of the CAB conformity assessment service should inspire confidence in both the consumer and the regulatory body. Such a system should facilitate trade between countries, led by trade leaders and organizers. The ultimate goal is to achieve a one-time accreditation and a one-time conformity assessment. A system that facilitates cross-border trade can work well if all accrediting bodies and environmental protection bodies meet globally accepted requirements equally and take into account the interests of all interested parties.

This International Standard defines general requirements for accrediting bodies. At the regional and international levels, peer evaluation mechanisms have been established that ensure that the accrediting bodies act in accordance with this International Standard. Organizations that have passed this assessment may receive the status of mutual recognition. Constant compliance with the requirements of this standard is achieved through regular repeated assessments.

Organizations with the status of mutual recognition contribute to a one-time process by recognizing, using and accepting accredited conformity assessments from each other. This means that each individual DUS in any economic system does not need more than one accreditation for one area from different accrediting bodies.

1 area of ​​use

This International Standard specifies the general requirements for accreditation bodies that assess and accredit the conformity assessment organizations (EOs). It is also applicable as a requirement document for a peer-reviewed process for a mutual recognition scheme between accrediting bodies.

The accrediting bodies operating in accordance with this International Standard are not obliged to offer accreditation to all types of environmental protection. For the purposes of this International Standard, CABs are organizations that provide

the following services for conformity assessment: testing, verification, certification of the management system, personnel certification, product certification and, within the framework of this International Standard, calibration.

3 Terms and definitions

For the purposes of this document, the terms and definitions given in ISO / IEC 17000 and following are used. Where terms and definitions are not included in this document or in ISO / IEC17000, the terms and definitions of ISO 9000 or the International Basic and General Vocabulary Dictionary in Metrology [VIM] are used. If different definitions of specific metrological terms are given, VIM definitions are preferred.

3.1 Accreditation

Certification conducted by a third party related to the organization of conformity assessment, which gives an official confirmation of the competence of the organization for carrying out specific tasks for conformity assessment

3.2 The accreditation body is the official body that conducts accreditation. The official status of the accrediting body is usually recognized by the government.

3.3 The logo of the accrediting body [accreditation body logo] - The logo used for self-identification

3.4 Accreditation certificate - An official document or series of documents establishing that accreditation is given for a specific area

13.5 Accreditation symbol - The symbol assigned by the accreditation body to accredited environmental protection as a sign of their accredited status

3.6 Appeal [appeal] - A request from the CAB to review any adverse decision made by the accreditation body and relating to the desired status of accreditation

Adverse decisions include

- refusal to accept the application,

- refusal to consider the application,

- requirements for remedial actions,

- changes in the field of accreditation,

- decisions on refusal, suspension or cancellation of accreditation, and

- any other action that hinders the achievement of accreditation.

3.7 Assessment - The process undertaken by the accreditation body to assess the competence of any CAB based on specific standards and / or other regulatory documents, and for a specific area of ​​accreditation. Evaluation of the competence of the DUS includes an assessment of the competence of all DUS activities, including the competence of personnel, the reliability of the conformity assessment methodology and the reliability of the results of conformity assessment.

3.8 The assessor is the person appointed by the accreditation body to conduct, either alone or as part of the assessment team,

3.9 Complaint [complaint] -Expression of dissatisfaction, other than an appeal, from any person or organization to the accreditation body, related to the activity of this accreditation body or accredited DUS, from which a response is expected

3.10 Organization of conformity assessment [conformity assessment body, CAB] - An organization that performs conformity assessment services, which may be subject to accreditation. When the word "OOS" is used in the text, it is attached both to "applicants" and to "accredited" EPs, unless otherwise specified.

3.11 Consultancy [consultation] -participation in any activity of the CAB subject to accreditation

EXAMPLES:

- preparation or creation of manuals or techniques for any CAB;

- participation in the activities or management of a system of any environmental protection;

- providing specific advice or specific training for the development of the system

management and / or competence of any DUS; providing specific advice or specific training for the development and application of

working methods in any environment.

3.12 Expert - A person appointed by the accreditation body to apply special knowledge or expertise in the field of accreditation to be evaluated

3.13 Extending accreditation - The process of increasing the scope of accreditation

3.14 Interested parties - Parties with direct or indirect interest in accreditation

3.15 Lead assessor - Assessor, who is fully responsible for the specified evaluation actions

3.16 Narrowing of accreditation - the process of revocation of accreditation for some part of the field of accreditation

3.17 Scope of accreditation - Specific conformity assessment services for which accreditation is desirable, or has already been given

3.18 Supervision [surveillance] - A number of actions, other than reassessment, to monitor the continuing compliance with accredited environmental requirements for accreditation

Supervision includes both on-site supervision and other oversight activities as follows:

a) requests from the accreditation body to the DUS regarding issues related to accreditation;

b) reviewing the DUS statements regarding what is covered by the accreditation;

c) requirements to the DUS for the provision of documents and protocols (for example,

the results of internal quality control to confirm the correctness of the

the nature of environmental protection services, protocols of complaints, management audit reports);

d) overseeing the level of DUS activities (such as the results of participation in the verification of experience-tivity).

3.19 Suspension accreditation - The process of temporary cancellation of accreditation, in whole or in part of the field of accreditation

3.20 Cancellation of accreditation [withdrawing accreditation] - The process of cancellation of accreditation in full

3.21 [witnessing] witnessing - Monitoring of the performance of DUS of its conformity assessment services within its area  accreditation

4 Accreditation body

4.1 Legal Liability

The accrediting body must be a registered legal entity

Governmental accreditation bodies are considered legal entities on

based on their government status. Where the government accreditation body is part of a larger government organization, the government is responsible for identifying the accrediting body that will rule out potential conflicts of interest with government environmental protection. This accrediting body is considered a "registered legal entity" under this International Standard.

4.2 Structure

4.2.1 The structure and activities of the accreditation body should be such as to inspire confidence in its accreditation.

4.2.2 The accreditation body should have the authority and responsibility for its decisions regarding accreditation, including the issuance, preservation, expansion, temporary cancellation and cancellation of accreditation.

4.2.3 The accreditation body should have a description of its legal status, including the names of its owners, if applicable, and, if this is another case, the names of the persons controlling it.

4.2.4 The accreditation body should document the duties, responsibilities and powers of the top management and other personnel associated with the accreditation body that could influence the quality of accreditation.

4.2.5 The accreditation body shall identify the top management with general authority and responsibility for each item from the following:

a) development of rules relating to the work of the accreditation body;

b) overseeing the implementation of rules and procedures;

c) overseeing the finances of the accreditation body;

d) making decisions on accreditation;

e) contractual agreements;

(f) Delegation of authority to committees and individuals, as required for certain actions on behalf of senior management.

4.2.6 The accreditation body must have access to the necessary expertise to inform

the accreditation body on matters directly related to accreditation.

Access to the necessary expertise can be obtained through one or more con-

(either temporary, special, or permanent), where everyone is responsible within his own area.

4.2.7 The accreditation body must have formal rules for the appointment, conditions of participation and work of the committees participating in the accreditation process and should identify the parties involved.

4.2.8 The accreditation body should have a documented structure showing the hierarchical order of authority and responsibility.

4.3 Impartiality

4.3.1 The accreditation body should be organized and act to ensure objectivity and impartiality in its work.

4.3.2 In order to ensure impartiality and the development and maintenance of the principles and working rules of its accreditation system, the accreditation body shall document and develop a structure that ensures the possibility of effective stakeholder participation. The accreditation body should ensure a balanced representation of stakeholders without the benefit of any of them.

4.3.3 The rules and procedures of the accreditation body should not be discriminatory and should be carried out without discrimination. The accreditation body should make its services available to all applicants whose requests for accreditation are within its authority

4.3.4 All personnel and committees that can influence the accreditation process must act objectively and be free from any unlawful commercial, financial or other pressures that could destroy impartiality.

4.3.5 The accreditation body should ensure that each decision on accreditation is made by competent persons (persons) or by committees (committee) that did not participate in the evaluation.

4.3.6 The accreditation body shall not offer or provide any services that may affect its impartiality, such as:

a) Conformity assessment services conducted by the CAB, or

(b) Counseling.

Activities of the accreditation body should not be presented as being related to counseling. Nothing should be said or implied, which might give the impression that accreditation could be simpler, easier, faster or cheaper if some particular person (s) or counseling were used.

4.3.7 The accreditation body must ensure that the actions of its affiliated organizations do not compromise the confidentiality, objectivity and impartiality of its accreditations.

A related organization, however, may offer advice or provide those conformity assessment services accredited by the accreditation body, provided that this related organization has (in relation to the accreditation body):

a) other top management for the activities described in 4.2.5,

(b) Staff other than those who participated in the accreditation decision processes,

c) there is no possibility to influence the result of the assessment for accreditation, and

d) other clearly distinguishable names, logos and symbols.

The accreditation body, with the participation of interested parties, as described in 4.3.2, should identify, analyze and document these links with related organizations in order to determine the potential for conflict of interest, regardless of whether they arise within the accreditation body or as a result of actions by related organizations . So, where a conflict is identified, appropriate measures must be taken.

1 A related organization is a separate legal entity that is linked to

common ownership or contractual agreements with the accreditation body, as described in 2 A separate part of the government, outside the government accreditation body, as

described in 4.1, is considered as a related organization.

4.4 Confidentiality

The accreditation body should have adequate mechanisms to ensure the confidentiality of information obtained through the accreditation process at all levels of the accreditation body, including committees and external organizations or persons acting on its behalf. The accreditation body should not disclose confidential information about any DUS outside the accreditation body without the written consent of the CAB, except when the law requires disclosure of such information without such consent.

4.5 Financial responsibility and financing

4.5.1 The accreditation body should have mechanisms to cover the financial

responsibility arising from his actions.

4.5.2 The accreditation body must have financial resources, demonstrated by the protocols and / or documents necessary to carry out its activities. The accreditation body should have a description of its source (s) of income.

4.6 Accrediting Activities

4.6.1 The accreditation body should have a clear description of its accreditation activities, correlated with relevant International Standards, Guidelines or other normative documents.

4.6.2 The accreditation body may create a statement or guidance documents and / or participate in their development. The accreditation body shall ensure that such documents are formulated by committees or persons having the necessary competence and, where appropriate, with the participation of interested parties. Where there is international application or guidance documents, they should be used.

4.6.3 The accreditation body shall establish procedures to expand its activities and respond to the requirements of the parties concerned. Possible elements that can be included in the procedure are:

a) analysis of its current competence, expediency of expansion, resources, etc. in a new field,

b) access and use of expertise from other third-party sources,

(c) Assessing the need for a statement or guidance documents,

(d) The initial selection and training of assessors,

(e) Training of accreditation body staff in this new area.

5 Management

5.1 General

5.1.1 The accreditation body shall organize, use and maintain the management system and continuously improve its effectiveness in accordance with the requirements of this International Standard. The requirements for a management system that take into account the specific nature of accreditation bodies are set out in paragraphs 5.2 to 5.9.

5.1.2 Where this International Standard requires the accreditation body to have the existence or development of procedures, this means that they must be documented, implemented and maintained, and that they should be based on the formulated rules wherever possible.

5.2 Control system

5.2.1 The top management of the accreditation body should identify and document policies and objectives, including quality policy, in its activities and it must demonstrate its commitment to maintaining quality and meeting the requirements of this International Standard. Management should ensure that the needs of interested parties are effectively taken into account.

Management should also ensure that its policies are understood, implemented and maintained at all levels of the accreditation body. Goals should be proportionate and should be consistent with the policy of the accreditation body.

Those accreditation bodies that are participants in the mechanism of mutual

recognition, may in their policy turn to obligations arising from mutual recognition.

5.2.2 The accreditation body shall apply a management system that meets the type, range and amount of work performed. All applicable requirements of this International Standard shall be reflected either in the relevant manual or in related documents. The accreditation body should ensure the accessibility of this manual or related documents to personnel, and should ensure the effective implementation of the procedures of this system.

5.2.3 The top management of the accreditation body shall appoint a member of the management who, irrespective of other duties, must be responsible and have the authority to:

a) ensure the development of procedures necessary for the management system, and

b) inform senior management about the operation of the management system and the possible need

improvements.

5.6 Preventive measures

The accreditation body should establish procedures to identify opportunities for improvement and to carry out preventive measures to eliminate the causes of potential non-conformities.

The preventive measures taken must be consistent with the impact of these potential problems. The procedures for carrying out these preventive actions should determine the requirements for

a) identification of potential inconsistencies and their causes,

b) identifying and implementing the necessary preventive actions,

c) document the results of the actions taken, and

d) analysis of the effectiveness of the preventive actions taken.

5.7 Internal audits

5.7.1 The accreditation body shall establish procedures for internal audits to verify that they meet the requirements of this International Standard and whether this management system is implemented and maintained.

ISO 19011 provides guidance for the conduct of internal audits. Comrade.

5.7.2 Internal audits should normally be conducted at least once a year. The frequency of these inspections can be reduced if the accreditation body can prove that its management system works effectively under this International Standard and has shown its stability. The audit program should be planned taking into account the importance of the audited processes and sites, as well as the results of previous audits.

5.7.3 The accreditation body shall ensure that

a) internal audits were conducted by qualified personnel familiar with accreditation,

audit and the requirements of this International Standard,

b) internal audits were conducted by other personnel not working in the audited area

(c) The personnel responsible for the site under inspection were informed of the results of the audit,

d) the actions were carried out in a timely and appropriate manner, and

e) any opportunities for improvement were identified.

5.8 Management Checks

5.8.1 The senior management of the accreditation body shall establish procedures for the verification of the management system as scheduled, in order to ensure its continued competence and effectiveness in meeting the relevant requirements, including this International Standard and the stated strategy and objectives. These checks should normally be conducted at least once a year.

5.8.2 Input information for management reviews should include, where possible, data on ongoing work and improvement opportunities related to the following:

a) results of audits;

b) the results of rank ranks, if any;

(c) Participation in international activities, where relevant;

d) feedback from stakeholders;

e) new areas of accreditation;

(f) The tendency for violations;

g) situation with preventive and corrective actions;

h) control over the results of previous management reviews;

i) the achievement of objectives;

j) changes that may affect the management system;

(k) Appeals;

l) analysis of complaints.

5.8.3 Outgoing information from the management review should include actions related to:

a) improving the management system and its processes,

b) improving the services and accreditation process in accordance with relevant standards and expectations of stakeholders,

c) the need for resources, and

d) the definition or new formulation of the strategy, immediate and remote goals.

5.9 Complaints

The accreditation body should establish procedures for handling complaints. Accreditation body

a) must determine the validity of the complaint,

b) should, where possible, ensure the submission of a complaint concerning the accredited CAB,

first in this environment,

(c) Take appropriate measures and assess their effectiveness,

d) must register all complaints and responses, and

e) Respond to the complainant.

6 Human Resources

6.1 Personnel associated with the accreditation body

6.1.1 The accreditation body must have a sufficient number of competent personnel (full-time, part-time, or permanent, full-time or part-time) with education, training, technical knowledge, skills and experience necessary to perform the type, range and scope of its work.

6.1.2 The accreditation body should have a sufficient number of assessors, including leading ones, and experts, to cover all of its activities.

6.1.3 The accreditation body should clearly define the scope and boundaries of responsibilities, responsibilities and authorities for each participating specialist.

6.1.4 The accreditation body shall require all personnel of an official obligation, with a personal signature or the like, to comply with all rules established by the accreditation body. This obligation should concern aspects of confidentiality and independence from commercial and other interests and any existing or past links with the CABs to be verified.

6.2 Personnel involved in the accreditation process

6.2.1 The accreditation body should describe for each activity in the accreditation process

a) the required qualifications, experience and competence, and

b) the required initial and continuing training.

6.2.2 The accreditation body shall develop rules for the selection, preparation and formal approval of assessors and experts used in the accreditation process.

6.2.3 The accreditation body should identify specific areas in which each assessor and expert has demonstrated his competence for evaluation.

6.2.4 The accreditation body must ensure that assessors and, where necessary, experts

a) were familiar with accreditation procedures, accreditation criteria and other necessary requirements,

b) have been adequately trained for accreditation assessors.

c) had full knowledge of appropriate accreditation methods,

d) be able to fluently own, in writing and verbally, the right languages, and

f) had corresponding personal qualities.

Instructions on personal qualities can be found in publications as ISO 19011.

6.3 Control

6.3.1 The accreditation body shall ensure that the assessment and the decision-making process for accreditation are carried out satisfactorily by monitoring the work and competence of the participating staff. In particular, the accreditation body should check the work and competence of its personnel in order to identify training needs.

6.3.2 The accreditation body should carry out monitoring (for example, by field observations, or

using other methods such as checking evaluation reports, feedback from the CAB and peer-to-peer assessors) to evaluate the performance of a particular assessor and recommend appropriate follow-up monitoring to improve its performance. Each assessor should be regularly observed on the ground, normally, every three years, unless there is convincing evidence that the assessor is still working at the right level.

6.4 Personal files

6.4.1 The accreditation body should conduct personal files concerning the necessary qualifications, training, work experience and control, for each employee participating in the accreditation process. Records on training, work experience and control should be maintained to this day.

6.4.2 The accreditation body should maintain daily records of assessors and experts consisting, at a minimum, of the following:

a) surname and address;

b) position held for both external assessors and experts, position in their own organization;

c) educational qualifications and professional status;

d) work experience;

(e) Training in management, evaluation and conformity assessment activities;

(f) Competence in specific assessment tasks;

g) experience in the evaluation and the results of their regular monitoring.

7 Accreditation process

7.1 Criteria and information on accreditation

7.1.1 The general criteria for accreditation of the EPs should be those set forth in the relevant regulatory documents, such as this International Standard and the Guidelines for Environmental Protection.

7.1.2 The accreditation body should be widely available, and update the data after a specified time, as follows:

a) detailed information on their assessment and accreditation processes, including rules for the issuance, preservation, expansion, reduction, suspension and cancellation of accreditation;

b) a document or regulations containing requirements for accreditation, including technical requirements specific to each accreditation area, where applicable;

c) general information on the fee for accreditation;

d) a description of the rights and duties of the CAB;

e) information on accredited CABs, as described in 8.2.1;

f) information on the rules for the filing and processing of complaints and appeals;

g) information on the authority structure under which the accreditation program operates;

h) a description of her rights and responsibilities:

i) general information on how to obtain financial support;

j) information on its activities and restrictions on its activities;

k) information on related organizations, as described in 4.3.7, if applicable.

7.2 Request for accreditation

7.2.1 The accreditation body shall require that a duly authorized representative of the applicant's DUS submit an official request that includes the following:

a) a general description of the DUS, including the corporate unit, name, addresses, legal status, and human and technical resources;

b) general information on the DUS, how its activities, its position in the corporate

system, if any, and the addresses of all places of its physical location covered by the accreditation area;

c) a clearly defined scope of accreditation;

d) agreeing to meet the requirements for accreditation and other obligations of this DUS as described in 8.1.

7.2.2 The accreditation body shall require the DUS applicant to submit, at a minimum, the following information pertaining to accreditation, before the assessment process begins:

a) a description of the conformity assessment services that this DUS complies with, and a list of standards, methods or procedures for which the CAB is seeking accreditation, including limits on the scope, where applicable;

b) a copy (paper or electronic) of the quality manual of this DUS and relevant related documents, such as information on participation in the verification of experience, as described in 7.15, where applicable.

7.2.3 The accreditation body shall verify the reliability of the information provided by the CAB.

7.3 Checking Resources

7.3.1 The accreditation body should analyze its ability to assess the Applicant's DUS in terms of its own strategy, its competence and the availability of suitable assessors and experts.

7.3.2 This verification should also address the ability of the accreditation body to conduct an initial assessment in a timely manner.

7.4 Subcontracting the evaluation

7.4.1 Normally, the accreditation body itself must conduct the evaluation on which accreditation is based. The accreditation body should not subcontract a decision. If the accreditation body subcontracts to the evaluation, it must have a strategy describing the conditions under which this can take place. A properly documented agreement covering all parties, including confidentiality and conflicts of interest, should be drawn up.

Contracts using third-party individual assessors and experts are not

should be considered as subcontracts.

7.4.2 The accreditation body

a) must assume full responsibility for all subcontracting assessments and must itself have the competence to make a decision.

b) must continue to bear its responsibility for the granting of the preservation, extension, reduction, suspension or cancellation of accreditation,

(c) Ensure that this body and its personnel participating in the evaluation process in which the evaluation is the subject of subcontracting are competent and subject to the relevant requirements of this International Contract and any conditions and standards given by the subcontracting accreditation body and

d) must obtain the written consent of the CAB for the use of a particular subcontractor.

7.4.3 The accreditation body must have a list of subcontractors that it uses for evaluation and must have the means to assess and monitor their competence and to record the results.

7.5 Preparation for evaluation

7.5.1 Prior to the initial evaluation, a preliminary visit with the consent

OOS. As a result, it may reveal shortcomings in the system of the applicant's DUS or its dignity. The accreditation body must have clear rules and make every effort to avoid counseling during this.

7.5.2 The accreditation body should formally appoint a team for evaluation, consisting of a lead assessor and, where appropriate, an appropriate number of assessors and / or experts for each particular field. When selecting a team for evaluation, the accreditation body should ensure that the examination for each assignment is appropriate. In particular, the team as a whole

a) must have sufficient knowledge of the specific area in which accreditation is sought, and

b) must have sufficient understanding to obtain a reliable assessment of the competence of the DUS to operate within its area of ​​accreditation.

7.5.3 The accreditation body shall ensure that the members of the team act impartially

and without discrimination. Especially,

a) the assessment team members should not have given prior consultations for the DUS, which could compromise the accreditation process and the decision, and

b) in accordance with 6.1.4, the team members must inform the accreditation body, prior to the evaluation, of any existing, former or planned communication or competitive position between themselves or their organization and subject to an evaluation of the CAB.

7.5.4 The accreditation body shall inform the EO in advance of the names of the members of the evaluation team and the organization to which they belong so that the EP can object to the appointment of an assessor or an expert. The accreditation body must have rules for action in this situation.

7.5.5 The accreditation body should clearly define the assignment given to the evaluation team. The task of the appraisal team is to check the documents collected in the environmental appraisal and conduct an on-site assessment.

7.5.6 The accreditation body shall develop rules for sampling (where necessary) where the scope of the CAB covers a number of specific conformity assessment services. These rules should ensure that the assessment team analyzes a representative number of examples that ensure a proper assessment of the competence of the CAB.

7.5.7 For initial assessments, except for a visit to the main or head office, all other HSE office premises should be visited, from which one or more key activities are carried out and which are included in the scope of accreditation.

Key activities include formulation of the strategy, development

process and / or procedure, and, if necessary, contract monitoring, planning for conformity assessment, monitoring, approval and decisions on conformity assessment results.

7.5.8 For surveillance and reevaluation, where the CAB operates in different offices, the accreditation body should develop procedures for sampling to ensure that the evaluation is correct. All office premises in which one or more key activities are carried out, should be assessed within the prescribed time limit.

7.5.9 The accreditation body shall agree, jointly with the CAB and the designated evaluation team, the date and plan for the evaluation. However, the responsibility of the accreditation body remains the choice of the date, which is in accordance with the plan of supervision and re-evaluation.

7.5.10 The accreditation body shall ensure that the evaluation team is provided with documents on relevant criteria, protocols of prior assessments and all relevant documents and protocols of the CAB.

7.6 Checking documents and protocols

7.6.1 The evaluation team should verify all relevant documents and protocols,

(as described in 7.2.1 and 7.2.2) in order to evaluate its system, as reflected in the documents, for compliance with relevant standards and other requirements for accreditation.

7.6.2 The accreditation body may decide not to continue the assessment on the spot, based on the inconsistencies found in the verification of documents and protocols. In such cases, inconsistencies must be reported in writing to the EP.

7.7 On-site evaluation

7.7.1 The evaluation team should begin on-site evaluation from an open meeting, which clearly defines the purpose of the evaluation and the accreditation criteria, and also confirms the evaluation schedule and its scope.

7.7.2 The assessment team should evaluate the CABs for conformity assessment in DUS premises where one or more of its key activities is carried out and, where appropriate, the team should conduct monitoring in other locations where the CAB operates in order to collect objective data that in the declared field of environmental protection is competent and meets the requirements of relevant standards and other requirements for accreditation.

7.7.3 The evaluation team should check the quality of the work of a representative number of staff members of the environment in order to gain confidence in the competence of the DUS in the whole field of accreditation.

7.8 Data analysis and assessment report

7.8.1 The assessment team should review all relevant information and data collected during the verification of documents and protocols and on-site assessment. This analysis should be sufficient to allow the team to determine the degree of competence and compliance of the DUS with the requirements for accreditation. Observations of the brigade over areas where improvements are possible can also be submitted to the EP. However, counseling is not permissible.

7.8.2 Where the assessment team can not come to a consensus, the team should return to the accreditation body for clarification.

7.8.3 The rules of the accreditation body for the preparation of reports should ensure that the following requirements are fulfilled.

a) Before the departure from the assessment site, a meeting of the assessment team and the EP should be held. At this meeting, the assessment team should submit a written and / or oral report on the results obtained by them in the analysis (see 7.8.1). The EPO should be able to ask questions about the findings, including inconsistencies, if any, and their causes.

b) A written report on the result of the evaluation shall be immediately submitted to the attention of the CAB. This assessment report should contain comments on competence and compliance, and should indicate inconsistencies, if any, that need to be addressed in order to achieve compliance with the requirements for accreditation.

(c) The CAB should be invited to respond to the evaluation report and describe the specific actions it has taken or planned to take, within a certain time, to eliminate any identified non-conformities.

7.8.4 The accreditation body shall remain responsible for the content of the evaluation report, including non-conformances, even if the lead assessor is not a permanent staff member of the accreditation body.

7.8.5 The accreditation body shall ensure that the DUS responses regarding the correction of non-conformities are monitored for the adequacy and effectiveness of these actions. If it is found that the OOS reaction is inadequate, further information should be requested. In addition, confirmation of the effective implementation of such actions may be required, or a follow-up control evaluation may be conducted to confirm the effective implementation of remedial measures.

7.8.6 Information supplied to persons making a decision on accreditation should include, at a minimum, the following:

a) unique designation of the EP;

b) the date (s) of the on-site evaluation;

c) surname (s) of the assessor (s) and / or experts involved in the evaluation;

d) the unique designations of all evaluated office space;

e) the proposed scope of accreditation that has been assessed;

(f) Evaluation report;

g) a statement on the adequacy of the internal organization and procedures adopted by the DUS to confirm its competence, as determined by its compliance with the requirements for accreditation;

h) information on the elimination of all non-conformities;

(i) Any additional information that may assist in determining compliance with the requirements and competence of the CAB;

j) where applicable, a summary of the results of the validation or other comparisons carried out by the CAB and any actions taken as a result of the audit;

(k) Where appropriate, recommendations for the issuance, reduction or expansion of accreditation for the proposed field.

7.9 Decision-making and issuance of accreditations

7.9.1 The accreditation body must, before making a decision, be fully convinced that the information (see 7.8.6) is sufficient to decide that the requirements for accreditation have been met.

7.9.2 The accreditation body shall decide, without delay, whether to grant or extend accreditation based on an assessment of the information received (see 7.8.6) or any other relevant information.

7.9.3 Where an accreditation body uses the results of an evaluation already conducted by another accreditation body, it must have the assurance that another accreditation body has acted in accordance with the requirements of this International Standard.

7.9.4 The accreditation body must issue an accredited accreditation certificate to an accredited environmental body. This accreditation certificate should indicate (if possible, on the first page) the following:

a) the designation and logo of the accreditation body;

b) the unique designation of the accredited CAB;

(c) The addresses of all office premises where one or more key activities are carried out

and which are covered by accreditation;

d) the unique accreditation number of the accredited CAB;

e) the date of issuance of accreditation, and (if applicable) the date of its completion;

f) a brief indication or reference to the field of accreditation;

g) a statement of compliance and a reference to the standard (s) or other regulatory documents, including the release or revised edition used to evaluate the CAB.

7.9.5 The accreditation certificate should also state the following:

a) for certification bodies:

1) type of certification,

2) standards or regulations, or regulatory requirements or their types

certificates certifying products, personnel, services or management systems.

tion,

3) sectors of industry, where necessary,

4) product categories, where necessary, and

5) the category of personnel, where necessary.

(b) for inspection bodies:

1) the type of inspection body (eg, as defined in ISO / IEC 17020),

2) the scope and range of the inspection for which accreditation is granted, and

3) rules, standards or specifications or their types containing requirements that

must be inspected.

c) for calibration laboratories:

1) calibration, including the types of measurements carried out, the measurement limits and the best possible

Measurement capacity [IUD] or equivalent1;

d) for testing laboratories:

1) tests conducted or types of tests and tested materials or products, and,

where appropriate, the methods used.

7.10 Appeals

7.10.1 The accreditation body shall establish procedures for sending appeals on behalf of the CAB.

7.10.2 The accreditation body

a) must appoint a person or group of persons to examine the appeal, which are competent and do not depend on the subject of the appeal,

b) decide on the validity of the appeal,

c) must notify the CAB of the final decision (s) of the accreditation body,

d) carry out subsequent additional monitoring, where necessary, and

e) must keep a record of all appeals, final decisions and subsequent follow-up control.

7.11 Reassessment and Supervision

7.11.1 The reassessment is similar to the initial assessment, as described in 7.5 to 7.9, except that experience from previous assessments will be taken into account. Supervisory evaluations in place are less meaningful than repeated ones.

7.11.2 The accreditation body shall develop procedures and plans for on-site periodic on-site supervisory assessments, other oversight activities and re-evaluations at fairly short intervals to monitor the continued implementation of accreditation requirements in an accredited CAB.

7.11.3 The accreditation body shall develop its plan for reassessing and supervising each accredited CAB so that representative samples from the field of accreditation are evaluated regularly.

The interval between on-site assessments-repeated or supervisory-depends on the proven stability achieved by the environmental services.

Accreditation bodies should rely either on only repeated assessments, or on a combination of reassessment and supervision, as follows:

a) if based only on re-evaluation, then it should occur at intervals of not more than 2 years; or

(b) If relying on a combination of reassessment and supervision, the accreditation body should reevaluate at least every five years. However, the interval between supervisory evaluations in the field should not exceed 2 years.

However, it is recommended that the first on-site supervisory review be conducted no later than 12 months from the date of the first accreditation.

7.11.4 Supervisory evaluations in the field should be planned taking into account other supervisory actions.

7.11.5 If, at the time of surveillance or reassessment, non-conformities are identified, the accreditation body must establish strict deadlines for their elimination.

7.11.6 The accreditation body must confirm the continuation of accreditation, or decide on the renewal of accreditation based on the results of the above surveillance and reassessments.

7.11.7 The accreditation body may conduct unscheduled evaluations as a result of complaints or changes (see 8.1.2), etc. The accreditation body should warn all environmental protection authorities about this possibility.

7.12 Expansion of accreditation

The accreditation body must, in response to the request for an extension of this area of ​​accreditation, take the necessary actions to determine whether it is possible or impossible to resolve such an extension. Where necessary, evaluation and issuance procedures should comply with the definitions in 7.5 to 7.9.

7.13 Suspension, cancellation or reduction of accreditation

7.13.1 The accreditation body shall establish procedures for the suspension, cancellation or narrowing of the scope of accreditation.

Depending on the type of conformity assessment, the rules established by the

lending may vary.

7.13.2 The accreditation body shall decide on the suspension and / or cancellation of accreditation if the accredited Environmental Protection Agency does not always meet the accreditation requirements or does not comply with the rules for accreditation.

The EP itself can request suspension or cancellation of accreditation.

7.13.3 The accreditation body shall decide on the narrowing of the scope of accreditation of the CAB in order to exclude those parts in which the DUS does not always meet the requirements for accreditation, including competence.

The EOS itself can ask about the narrowing of its field of accreditation.

7.14 Protocols on environmental protection

7.14.1 The accreditation body shall keep the DUS protocols to show that the requirements for accreditation, including competence, are effectively met.

7.14.2 The accreditation body must safely store the DUS protocols to ensure confidentiality. Protocols on environmental protection should be conducted as described in 5.4.

7.14.3 DUS Protocols should include

a) relevant correspondence,

(b) Evaluation protocols and reports,

(c) minutes of discussions in the committees, if necessary, and decisions on accreditation, and

d) copies of certificates of accreditation.

7.15 Verification of experience and other comparisons for laboratories

7.15.1 The accreditation body shall establish accounting procedures, during the evaluation and decision-making process, participation and the results of the laboratory experience audits

7.15.2 The accreditation body itself may arrange for verification of the experience or other comparisons, or may connect another body deemed competent. The accreditation body should maintain a list of relevant audits of experience and other comparison programs.

Guidelines for the conduct and selection of performance audits and related

documents are available in ISO / IEC Guide 43-1.

7.15.3 The accreditation body shall ensure that its accredited laboratories participate in performance tests or other comparison programs, where possible and appropriate, and that correction measures are carried out if necessary. The minimum number of audits and the frequency of participation should be clarified with stakeholders and should be in line with other oversight activities.

NOTE 1 It is recognized that there are special areas where verification of experience is impracticable.

NOTE 2 Experience testing can also be used in many types of inspections.

tion. Paragraph 7.15 should be read in this sense.

8. Areas of responsibility of the accreditation body and environmental protection

8.1 Duties of the environment

8.1.1 The accreditation body shall require the DUS to comply with the following.

a) The CAB must undertake to continuously comply with the accreditation requirements put forward by the accreditation body for the areas where accreditation is requested or already granted. This includes agreeing to accept changes in the requirements for accreditation, as formulated in 8.2.4.

b) In response to a claim, the CAB must provide the necessary conditions and cooperation so that the accreditation body can verify its compliance with the requirements for accreditation. This applies to all locations of the firm where the conformity assessment services are provided.

(c) The CAB should provide access to the information, documents and protocols necessary to evaluate and continue accreditation.

(d) The CAB should provide access to documents to determine the level of independence and impartiality of the DUS in relation to the bodies associated with it, where possible.

e) The CAB should ensure that the CAB is familiarized with the services at the request of the accrediting body.

f) The CAB should indicate the availability of accreditation only in relation to the area where it was accredited.

g) The CAB should not use its accreditation in a way that may compromise the accreditation body.

h) The CAB must pay the fee, as determined by the accreditation body.

8.1.2 The accreditation body shall require that the accredited CAB immediately inform it of the important changes concerning its accreditation in any part of its status or activities relating to

a) its legal, commercial, organizational or property rights,

(b) The organization, senior management and key personnel,

(c) The main strategy,

(d) Resources and office space,

f) areas of accreditation, and

f) other similar issues that may affect the ability of the EP to fulfill the requirements for accreditation.

8.2 Obligations of the accreditation body

8.2.1 The accreditation body must have open information about the current state of accreditation issued to them by the EP. This information should be updated regularly. It should include the following:

a) the name and address of each accredited CAB;

b) the date of issuance of accreditation and, where applicable, its termination after the expiry of the validity period;

c) areas of accreditation, in a concise or complete form. If only compressed information about the area is given, it should be indicated where to obtain the complete information.

8.2.2 The accreditation body shall provide the CAB with information on how to trace the results of measurements with respect to the area for which accreditation is given.

8.2.3 The accreditation body shall, where applicable, provide information on international agreements in which it participates.

8.2.4 The accreditation body must at all times notify all changes in its accreditation requirements. It must take into account the views expressed by the parties concerned, before,

making a decision on the exact form of the effective date of these changes. After the decision and publication of the changed requirements, he must make sure that each accredited organization takes into account the necessary changes.

8.3. The reference to the accreditation and use of symbols

8.3.1 The accreditation body, as the owner of the accreditation symbol intended for use by its accredited CABs, must have rules concerning its protection and application. The accreditation symbol must have, or be accompanied by a clear indication indicating which activities (as mentioned in Paragraph 1) are accredited. An accredited CAB has the right to use this symbol on its protocols or certificates issued within its area of ​​accreditation.

8.3.2 The accreditation body shall take effective measures to ensure that the accredited DUS

a) fully meets the requirements of the accreditation body when declaring its status of accreditation, referring to it in the media as the Internet, documents, brochures or advertising,

b) used accreditation symbols only for DUS premises that are specifically included in the accreditation,

c) made no statements regarding its accreditation, which could be considered by the accreditation body as misleading or unauthorized,

d) take due care to ensure that no protocol or certificate, or part thereof, is used in a misleading manner,

e) after the suspension or cancellation of its accreditation (regardless of the definition), ceased to use all advertising materials containing any references to its accreditation status and

f) did not allow the use of fact of its accreditation to create the impression that the product, process, system or person was approved by the accreditation body.

8.3.3 The accreditation body should take appropriate measures against incorrect references to the status of accreditation, or misleading use of accreditation symbols found in advertising, catalogs, etc.

NOTE Corresponding measures include requirements for corrective actions, cancellation of accreditation, publication of violations of the law and, if necessary, lawsuits.

Tasks for practical studies:

1. Check out the "Scope of Application" section of the Accreditation Body Regulations;

2. Develop the organizational structure and activities of the accreditation body;

3. Develop procedures for the control of all documents (internal and external) relating to accreditation activities;

4. Develop rules for the designation, collection, indexing, means of access, cataloging, storage, preservation and liquidation of its documentation

5. Develop preventive and corrective actions to prevent and correction of identified non-compliances in the activities of the accreditation body

6. Develop procedures for internal audits in accordance with the requirements.International Standard and Implementation and Maintenance of the System management of the accreditation body

7. Develop procedures for handling complaints

8. Describe the algorithm of the accreditation process

Control questions (in writing):

1. The main goals and objectives of NCA RK;

2. Tell us about the structure of the National Accreditation Center of Kazakhstan;

2. International standard ISO / IEC 17011: 2004. The main provisions;

3. Define the term appeal and what is included in the term "adverse decisions"

4. What is included in the authority and responsibility of the accreditation body

5. Key elements of the procedure for expanding the activities of the accreditation body

6. Tell us about the system of accreditation body accreditation and its main documents

7. What are the requirements for the logo of the accreditation body

8. What are the procedures for identifying inconsistencies in the work of the accreditation body

9. Tell us about such a concept as subcontracting the evaluation

10. Evaluation and examination procedure

11. Obligations of the conformity assessment bodyСписок использованных источников

List of sources used:

1. Law of RK "On accreditation in the field of conformity assessment", 2008.

2. ST RK ISO / IEC 17025-2001 "General requirements for the competence of testing and calibration laboratories".

3. ST RK 7.18 -2008 Accreditation system. Inspection inspections of subjects of accreditation. General requirements.

4. ST RK 7.19 -2000 Accreditation system of the Republic of Kazakhstan. Accreditation of laboratories. Scope and range of accreditation.

5. ST RK ISO / IEC 28-2007. Conformity assessment. Management of work on the system of certification of products by a third party.

6. ST RK ISO / IEC 43-1-2002. Competency testing through interlaboratory comparisons. Part 1. Development and application of programs for testing the competence of laboratories.

7. ST RK ISO / IEC 43-2-2002. Competency testing through interlaboratory comparisons. Part 2. Selection and use of competence testing programs by the laboratory accreditation body.

8. ST RK 7.17 -2000 Accreditation system of the Republic of Kazakhstan. Structure and procedure for keeping the register of accreditation subjects.

9.ST RK 7.13-2008 Accreditation system. Estimation of uncertainty of measurement results during calibration.

Practical  lesson №11

The methodology of the state control of accredited certification bodies (OPS) and testing laboratories (centers)

Goals and objectives of the lesson: The purpose of the assignment is to study the methodology for conducting state control of accredited certification bodies (bodies for the confirmation of compliance) and testing centers (laboratories) with the main task - accreditation of the certification body (conformity assessment body).

The content

The state control over compliance by the accreditation body with the legislation of the Republic of Kazakhstan on accreditation in the field of conformity assessment is carried out in the form of verification.

The audit is carried out in accordance with the Law of the Republic of Kazakhstan "On Private Entrepreneurship".

The state control over compliance by the subjects of accreditation with the legislation of the Republic of Kazakhstan on accreditation in the field of conformity assessment is carried out in the form of an unscheduled audit in accordance with the Law of the Republic of Kazakhstan "On Private Entrepreneurship".

Based on the results of the verification of the accreditation body, the authorized body has the right to apply to the Government of the Republic of Kazakhstan with a proposal to forfeit the status of the accreditation body.

The state control over the activities of accredited certification bodies (OS) and testing laboratories (IL) is carried out in accordance with ST RK 1.16-2000 and ST RK 1.17-2000 in order to determine the compliance of their activities with the requirements for which they were accredited, as well as to verify compliance with them requirements of the state certification system of the Republic of Kazakhstan.

Organization of work on state control of FSO and IL (IC)

The state control over the activities of the TSO (IL) includes:

- systematic analysis of information on the activities of TSO and IL;

- immediate testing of OPS and IL.

Collection and analysis of information on the activities of the TSO and IL are carried out by the territorial subdivisions of the Committee for Technical Regulation and Metrology of the              Republic of Kazakhstan for state supervision by examination:

- the corresponding questionnaires compiled by the TSO and IL;

- data not of anonymous nature, received in the unit and registered in accordance with the established procedure from consumer protection companies, other legal entities and individuals;

- results of inspections conducted through state supervision.

The basis for organizing an unscheduled audit can be:

- information from state supervision bodies;

- the statement (complaint) of consumers is not anonymous;

- availability of complaints for the activities of the TSO (IL), including those received from outside the Republic of Kazakhstan.

To verify the territorial department for state supervision, a commission of at least 3 persons is formed, approves its composition and terms of verification, if it is intended to check the IL, or submit proposals on the composition of the commission and the timing of the verification for approval by order of the Committee, if an OPS check is expected.

In order to ensure objectivity in the conduct of state control, the commission usually includes specialists from other supervisory bodies and management bodies, research and public organizations.

The commission may include expert auditors, certified in the State system of technical regulation of the RK and candidates for expert auditors.

The head of the commission is appointed representative of the Committee or its territorial department for state supervision. Obligations of the participants in the audit

Participants of the inspection are obliged:

- act in accordance with the legislation of the Republic of Kazakhstan and ethical standards;

- to be objective;

- explain the purpose of the audit to the management and the personnel of the audited organization;

- maintain in order and safety documents related to the audit.

The head of the commission controls the audit.

The order of the lesson

1 Conducting an audit of the OPS

Upon arrival in the audited TSO and handing over to the head of the TSO the tasks for verification in accordance with SCR 1.16, the commission starts the audit.

The Commission needs:

Analyze the information available at the time of verification of the OPS:

- Quarterly questionnaires - questionnaires;

- Report data on issued certificates;

- information on the received forms of certificates and their copies;

- results of state supervision for the previous period;

- officially received and registered complaints of consumers.

To check the status of the TSO, organizational structure, location and independence from the moment of accreditation.

Check the presence of a certificate of registration of the OPS in the justice bodies, the number of cards, changes in the staff of the TSO.

To establish the timeliness of amending the materials of accreditation and notifying them about the Committee for Technical Regulation and Metrology of the Republic of Kazakhstan

Check compliance with the established requirements for staff.

- timeliness of the certification of specialists,

- availability of expert auditors,

- availability and performance of job descriptions by specialists, knowledge of normative legal acts and normative documents on issues of standardization, metrology and certification.

When checking, methods are used to analyze the documents submitted and methods for conducting selective testing, individual interviews with specialists, and "business games."

Check the availability of a stock of normative documents (ND) for the products and test methods specified in the field of accreditation, the state of their accounting and storage, the timeliness of the update.

Check for documented certification procedures conducted by the OS under test.

Check the existence of contracts for cooperation with organizations involved in certification procedures conducted by the audited NSO, their implementation.

Verify the correctness of accepting and reviewing applications for certification and making decisions on them. The presence of a system for recording and tracing the work; organization of sampling, their identification, product testing; conducting surveys of industries.

To check the correctness of registration and registration of certificates of conformity in the       Register of TSOs, the availability of a system for accounting for the used forms of certificates and their copies. Correctness of issue of certificates of conformity and their copies.

Check the organization of inspection control over certified products and correctness of taking corrective measures based on its results, including the cancellation or suspension of issued certificates of conformity, bringing this information to the appropriate

services.

Check the organization of the internal audit (the availability of an order, a schedule, a program for its conduct, the registration and registration of inspection results, and the adoption of corrective measures for verification tokens.)

The check is carried out for compliance with ST RK 3.0; ST RK 3.2; ST RK 3.4 and other documents of the state systems of certification, standardization and ensuring the uniformity of measurements of the Committee for Technical Regulation and Metrology of the Republic of Kazakhstan.

They are checked both through documentary analysis of previously performed work, and by checking compliance with certification procedures in the presence of commission members.2

Conducting an audit of the activities of IL (IC)

Upon arrival in checked IL (IC) and handing it over to the head of the task for verification in accordance with ST RK 1.16, the commission proceeds to the verification.

The Commission needs:

Analyze what is available at the time of verification

information on the work of IL:

- quarterly questionnaires; questionnaires;

- customer complaints;

- results of previous inspections.

Verify the preservation of the status of IL, its independence, organizational structure, location, administrative subordination, staff IL staff.

To establish the timeliness of making changes in the materials of accreditation and notifying them of the Committee;

Analyze the work of IL with subcontractors

(availability of a contract for work, availability of documents,

confirming the competence of the subcontractor, the ratio

the volume of subcontractor tests).

Verify compliance with the requirements established in the Regulation on an accredited laboratory, adherence to special rules regarding the conduct of certification tests.

In the absence of special rules, verify compliance with the requirements of regulatory documents for products in terms of mandatory requirements for conducting certification tests.

Check the compliance of the qualification level of the staff with the established requirements, the availability and performance of job descriptions by specialists, knowledge of regulatory documents for products and methods of testing it, the forms of professional development used, timeliness of certification of specialists.

Check for the presence of an employee appointed by the administration, endowed with the right to sign test reports and to monitor the reliability of the tests and measurements carried out and calculations on them.

Check the availability of a stock of normative documents for products and test methods specified in the field of accreditation, the state of their accounting and storage, the timeliness of updating.

Check for the existence of documented procedures for organizing specimen collection, identification, storage, testing, recovery (disposal) of samples after testing in the IL.

Check the presence and observance of the conditions ensuring the normal functioning of the IL (the condition of the premises, the availability of necessary reagents, standard samples, the availability of the necessary test equipment for testing in accordance with the declared area of ​​accreditation, its placement in accordance with the current safety standards for life, human health and environmental protection, availability of maintenance instructions).

Check the condition of the test equipment and measuring instruments (their accounting system, the availability of verification and certification procedures, the availability of calibration charts, their compliance, the correct application of standard samples and chemicals).

Check the presence and observance of the registration procedures and the passage of samples (samples) of products, the correctness of testing samples of products and the formulation of their results.

Analyze the status and results of internal quality control of tests and internal inspections of the quality management system of IL, record the results of these inspections, and take corrective actions based on the results of the audit.

The above points are checked for compliance with ST RK 3.0, ST RK 3.3, ST RK 3.4 and other documents of state certification systems, standardization and ensuring the uniformity of measurements.

The condition of the testing equipment and measuring instruments, the availability and observance of the procedures for registration and passage of samples (samples) of products, the correctness of the testing of product samples and registration of their results, the condition and results of internal quality control of tests and internal inspections of the quality management system IL is verified both through documentary analysis performed works, and by conducting control tests.

For control tests, control samples should be used in the form of specially prepared encrypted samples (certified mixtures) or control samples stored in IL after previous certification tests. In this case, they must also be pre-encrypted by the members of the commission.

For IL according to the instructions of the Committee for Technical Regulation and Metrology, the conduct of diagnostic tests can be organized, the results of which are used to analyze the activity of IL. Distinctive tests are conducted in accordance with the procedure established by the Committee. Carrying out of the test can replace the testing of the activities of the IL under the full program.

3. Execution of inspection materials and decision-making on its results According to the results of the inspection, an act in the form is made, containing:

- results of verification for each item of the program;

- a general assessment of the compliance of the OPS (IL) with the established requirements;

- instructions and suggestions on the results of the inspection for the TSO (IL).

The overall assessment of the compliance of the OPS (IL) with the established requirements can be expressed as follows:

- OPS (IL) meets the established requirements;

-OPS (IL) does not meet the established requirements (list the main inconsistencies, indicating the points of the normative document whose requirements are not observed;

-OPS (IL) complies with the established requirements, but some violations have been committed (list).

Individual violations can be attributed to those violations that were eliminated during the audit or that can be eliminated by corrective measures in a short period of time (not more than a month).

In identifying the deficiencies in the act, the types of corrective actions that the TSO (IL) needs to carry out to eliminate remarks with an indication of the timing of their implementation should be indicated.

One copy of the verification report signed by all participants of the audit is handed to the head of the FSO (IL); the second copy, with a list of measures taken in accordance with the current legislation by the territorial unit for state supervision:

- issuing instructions on the elimination of violations: the issuance of orders for the withdrawal of unsuitable measuring instruments from applications; the use of fines;

and proposals to the decision of the Committee on the results of the audit shall be sent to the Committee within 10 days from the date of signing the verification report;

the third copy of the act is kept in the case of the department for state supervision that conducted the audit.

Based on the results of the audit, the following proposals can be submitted for the decision on verification issued by the Committee:

- set a deadline for the elimination of violations;

-to suspend the validity of the accreditation certificate for a certain period, but not more than 6 months;

- Send the audit materials to the judicial authorities to resolve the issue of cancellation of the accreditation certificate.

Based on the results of the inspection, the OPS (IL) draws up a plan of corrective measures and brings it to the attention of the territorial body of state supervision, informing them of their implementation.

The territorial department for state supervision analyzes the submitted information, and, if necessary, conducts an express check of compliance with the issued regulations

The express check is made out by the act of the arbitrary form in which data on check of the executed actions and data on conformity (discrepancy) ОПС (IL) to the established requirements are specified.

If during the verification of the FSO the facts of unjustified issuance of a certificate of conformity to any applicant were established, the territorial department for state supervision plans and conducts a check of compliance with the requirements of regulatory documents for certified products and compliance with the rules of mandatory certification for this applicant.

QUESTIONNAIRE - QUESTIONNAIRE

Activity data

(name of OPS)
	behind	quarter 20_ g.

1 The person responsible for filling

this questionnaire

phone

2.	Number of registered applications, incl. on serial production

- Number of issued certificates

- Number of applications denied certificates

Reasons for refusing to issue certificates     compliance:

| Name of product | Name of the enterprise (applicant) | Reasons for failure | Taken measures |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |

6.List of IL, test reports, which are used when issuing certificates_________ ___________________________________________________________________

7. Changes made to the status and structure of the OPS after  accreditation (described in an arbitrary  form) _________________________________________________

8. Changes in  the  personal composition of the OPS:

8.1 Total number of OPS staff ___________________________________________

Of these, expert  auditors _____________________________________________

The number of employees discharged from the OPS from those who worked at the time of accreditation _____________________________________

- Number of new employees ___________________________________________

8.4 Number of employees who have improved their qualifications _______________

9 . Data on the results of inspection control of certified products carried out by the TSO:

Number of products by which:

inspections were carried out _________________________________

violations ______________________________________________

suspended action __________________________________________

certificates of conformity _________________________________________

10. The number of registered claims related to

with the OPS _______________________________________________

(if available, attach copies of these claim statements)

- . Carrying out of internal audit

11. Information, which the SEO considers it necessary to bring to

information of the Committee

Head of OPS ______________  __________________________________

подпись              инициалы, фамилия

Tasks for practical studies:

1. Stages of conducting state control of bodies for the confirmation of conformity of products

2. Conduct a state audit of the bodies for the confirmation of the conformity of services

3. Conduct a state audit of the staff conformity assessment bodies

4. Conduct a state audit of the bodies for the confirmation of the conformity of quality management systems

5. Carry out a state inspection of the testing laboratory (testing center)

Control questions

1. The main goals and tasks of state control over the activities of TSO and IL (IC)

2. Types of state control

3. Obligations of the participants in the audit

4. What information about the work of the TSO is analyzed by the commission at the time of the audit

5. What is checked for staff requirements

6. What methods are used to analyze the documents submitted?

7. What are the distinctive features of the state audit between the TSO and IL

8. What data is given in the act on the results of state. verification

9. When are corrective measures taken?

10. In what cases is the accreditation certificate suspended, the validity of the accreditation certificate is terminated and canceled

Literature

1. Law of RK "On accreditation in the field of conformity assessment", 2008.

2. ST RK 1.17-2000 Methodology for conducting state control of the activities of accredited certification bodies and testing laboratories (centers)

3. ST RK 7.18 -2008 Accreditation system. Inspection inspections of subjects of accreditation. General requirements.

4. ST RK 7.19 -2000 Accreditation system of the Republic of Kazakhstan. Accreditation of laboratories. Scope and range of accreditation.

5. ST RK ISO / IEC 28-2007. Conformity assessment. Management of work on the system of certification of products by a third party.

6. ST RK ISO / IEC 43-1-2002. Competency testing through interlaboratory comparisons. Part 1. Development and application of programs for testing the competence of laboratories.

7. ST RK ISO / IEC 43-2-2002. Competency testing through interlaboratory comparisons. Part 2. Selection and use of competence testing programs by the laboratory accreditation body.

Practical  lesson №12

Method of determining the cost of work on an expert assessment-testing laboratory

Goals and objectives of the lesson: The purpose of the assignment is to study the methodology for determining the cost of works for the expert evaluation of the testing laboratory

The content

The work on the expert evaluation of the applicant organization includes the following stages of work:

- examination of application documents;

-Exploratory survey;

- attestation examination.

The complexity of the work on the expert assessment is carried out using the basic standards of time, regulated by ST RK 7.9-2003 "Time limits for the performance of work to prepare for accreditation of bodies for certification of products, processes, works and services and testing laboratories (centers)."

The time norms given in this standard are determined by the amount of time spent at each stage of the work and are the limiting. The cost of services is calculated based on actual labor costs.

1. Determination of the cost of works for the examination of application documents:

n

Сэ=Тб*∑К1 *Тст*Rн*Кн, where

0,78

Тб-; the basic laboriousness for the examination of application materials is normatively taken at the rate of 152 norm-hour [1]

n

∑К1 - Corrective examination coefficient accepted [2]

0,78

Тст - labor intensity of the unit of work of the expert-auditor in value terms, determined on the basis of the average annual costs per unit of person-time of the expert-auditor, including overhead costs;

Rн – normative profitability of the enterprise;

Кн – coefficient of tax deductions accepted as equal 1,14.

2. Determining the cost of work on the preliminary survey:

- for the testing laboratory:

ил   n

Сby= Тб* ∑К2*К3*Тст*Rн*Кн, where

0,79

Тб - the basic complexity for conducting a preliminary survey is normatively taken at the rate of 100 norm-hr;

n

∑К2 - the correction factor for the preliminary examination, taken 0.79 Reference [3];

К3- corrective coefficient of complexity of the test equipment, taken equal to:

1,0- for testing equipment of medium complexity;

1,2-. for automated testing equipment

3. Determination of the cost of works for conducting the certification examination

- for the testing laboratory:

ил  n

Сао= Тб* ∑К2*К3*Тст*Rн*Кн, where

0,79

ил

Тб -; the basic laboriousness for carrying out the certification examination, is normatively accepted at the rate of 136 norm-hour

4. Determination of the cost of works on the expert evaluation

-: for the testing laboratory

ил         ил

Сил = ∑ (Сэ+Спо + Сао )

The cost of work may increase by the amount of travel expenses in the event that the applicant organization is located outside of Astana. In the cost can provide for no more than 2 trips of one performer (an expert - an auditor).

The order of the lesson

Example 1. Determination of the cost of works on the expert evaluation of testing laboratory A with the following parameters:

- number of employees - 18;

- number of typical test methods (programs) - 52;

- the average amount of ND attributable to 1 type of product - 4;

- the number of products that define the scope of accreditation - 15;

- The complexity of the test equipment is medium.

The labor-consuming unit of work of the expert-auditor is conditionally determined 1000 tenge / person-hour.

The normative profitability is conditionally defined as 1.1.

Calculation:

Cost of works on the examination of application documents:

C = 152.0 * 1.13 * 1000 * 1.1 * 1.14 = 215 387.04 KZT, where

K1 = 1.13

Cost of works for the preliminary examination:

ooze

Spot = 100,0 * 1,7 * 1,0 * 1000 * 1,1 * 1,14 = 213,180.0 tenge, where

K2 = 1.7, K3 = 1.0

The cost of works for conducting a certification examination:

ooze

The price of the goods is: Sao = 136.0 * 1.7 * 1.0 * 1000 * 1.1 * 1.14 = 289 924.8 tenge

The total cost of works for the expert evaluation of the testing laboratory A:

Force = (215 387.04 + 213 180.0 + 289 924.8) = 718 491.84 tenge

Tasks for practical studies:

1. Calculate the cost of works for the accreditation of a testing laboratory

2. Calculate the cost of accreditation work for the calibration laboratory

Data for a testing or calibration laboratory should be taken from the Register of Qualified ILs (KL) of the Republic of Kazakhstan

Control questions:

1. By what standard is the calculation of the time required for the procedure carried out  accreditation

2. How is the correction factor determined for the procedure for examination of application documents

3. The norm of the basic labor intensity for the performance appraisal examination

4. How is the complexity of the unit of work of the expert-auditor in terms of value determined

5. How is the normative profitability of an enterprise determined?

Literature:

1. SТ RК 7.9-2008 The state system of technical regulation of the Republic of Kazakhstan. Accreditation system of the Republic of Kazakhstan. Time limits for the preparation of accreditation bodies for conformity assessment, testing laboratories (centers) and metrological services for the right to verify, calibrate and validate measurement procedures

2. ST RK ISO / IEC 60-2006. Evaluation (confirmation) of conformity. Code of established practice.

3. ST RK ISO / IEC 62-2001. General requirements for bodies that perform evaluation and certification / registration of quality systems.

4. ST RK ISO / IEC 62-2000. General requirements for bodies that perform evaluation and certification / registration of quality systems.

5. ST RK 7.21-2008. Accreditation system of the Republic of Kazakhstan. Evaluation of bodies to confirm the conformity of management systems.

Practical lesson №13

Method of determining the cost of work on an expert assessment of the certification body (OPS)

Goals and objectives of the lesson: The purpose of the assignment is to study the methodology for determining the cost of works for the expert assessment of the certification body with the decision to assign labor costs for the accreditation of TSOs.

The content

The time norms given in this standard are determined by the amount of time spent at each stage of the work and are the limiting. The cost of services is calculated based on actual labor costs.

1. Determination of the cost of works for the examination of application documents:

n

Сэ=Тб*∑К1 *Тст*Rн*Кн, where

0,78

Тб- the basic laboriousness for the examination of application materials is normatively taken at the rate of 152 norm-hour [1];

n

∑К1 - - Corrective examination coefficient, taken Reference [2]

0,78

Тст - labor intensity of the unit of work of the expert-auditor in value terms, determined on the basis of the average annual costs per unit of person-time of the expert-auditor, including overhead costs;

Rн – normative profitability of the enterprise;

Кн – the coefficient of tax deductions assumed to be 1.14.

2. Determining the cost of work on the preliminary survey.:

- for conformity assessment bodies:

опс       n               i

Сby= Тб* ∑К1* ∑К4*Тст*Rн*Кн, where

0,78        при n

Тб  - the basic complexity for conducting a preliminary survey, is normatively adopted at the rate of 72 norm-hour;

К4 - correction factor of the preliminary survey, determined by the formula:

К4 = 1+0,2*n, where

n- number of product classes. When n<3 К4 =1,0.

3. Determination of the cost of works for conducting the certification examination

- for conformity assessment bodies:

опс  n         i

Сао= Тб* ∑К1* ∑К4*Тст*Rн*Кн, where

0,78     when n

Тпо  - the basic complexity for conducting a preliminary survey, is normatively accepted at the rate of 116 norm-hour.

4. Determination of the cost of works on the expert evaluation

- for conformity assessment bodies:

опс       опс

Сил = ∑ (Сэ+ Спо + Сао )

The order of the lesson

Example 1. Determination of the cost of works for the expert assessment of the conformity assessment body B with the following parameters:

- the average amount of ND attributable to 1 type of product - 5;

- the number of products that define the scope of accreditation - 22;

- the number of product classes included in the accreditation area (n) -3.

The labor-consuming unit of work of the expert-auditor is conditionally determined 1000 tenge / person-hour.

The normative profitability is conditionally defined as 1.1.

Calculation:

Cost of works on the examination of application documents:

C = 152.0 * 1.49 * 1000 * 1.1 * 1.14 = 284,005.92 tenge, where

K1 = 1.02

Cost of works for the preliminary examination:

ops

SpO = 72 * 1.49 * 1.0 * 1000 * 1.1 * 1.14 = 134,529.12 KZT, where

K4 = 1.0 for n = 3

The cost of works for conducting a certification examination:

ops

Sao = 116.0 * 1.49 * 1.0 * 1000 * 1.1 * 1.14 = 216,741.36 Tenge

The cost of works on the expert assessment of the confirmation body

correspondence B:

Force = (284 005.92 + 134 529.12 + 216 741.36) = 635 276.40 tenge.

[1] The standard values of the basic labor intensiveness are applied in accordance with ST RK 7.9-2003 "Time limits for the performance of work on preparation for accreditation of product certification bodies, processes, works and services and testing laboratories (centers)".

Tasks for practical studies:

1. Carry out the calculation of the cost of works on accreditation of the body for the confirmation of the conformity of products

2. Carry out the calculation of the cost of works on accreditation of the body for the confirmation of the conformity of services

3. To carry out the calculation of the cost of works on the accreditation of the body for the confirmation of the staff's compliance

4. Carry out a calculation of the cost of works on the accreditation of the body for confirming the conformity of the quality management system

The data for the conformity assessment bodies should be taken from the Register of Qualified OPS of the Republic of Kazakhstan

Control questions:

1. What determines the coefficient Tb in determining the cost of works for the examination of application documents

2. On what parameters is the cost of works on the expert assessment of the conformity assessment body

3 Give the cost formula for the preliminary examination

4. What is the ratio of tax deductions for the examination of application documents

5. What is the basic laboriousness for conducting a preliminary survey

Literature:

1.ST RK 7.9-2008 State system of technical regulation of the Republic of Kazakhstan. Accreditation system of the Republic of Kazakhstan. Time limits for the preparation of accreditation bodies for conformity assessment, testing laboratories (centers) and metrological services for the right to verify, calibrate and validate measurement procedures

2.ST RK ISO / IEC 60-2006. Evaluation (confirmation) of conformity. Code of established practice.

3.ST RK ISO / IEC 62-2001. General requirements for bodies that perform evaluation and certification / registration of quality systems.

4.ST RK ISO / IEC 62-2000. General requirements for bodies that perform evaluation and certification / registration of quality systems.

5.ST RK 7.21-2008. Accreditation system of the Republic of Kazakhstan. Evaluation of bodies to confirm the conformity of management systems.

Practical lesson №14

Paperwork expert auditors to certify the right to work in a particular area and activities

Goals and objectives of the lesson: Execution of documents of experts-auditors for attestation of the right to work in a certain field and field of activity

The content

Experts-auditors can be specialists who meet the requirements of the standard ST RK 1.26-2006, certified by a special commission of the authorized state body for standardization, metrology and certification (hereinafter - the Commission) and received the Attestat of the established form.

Certification of experts-auditors is carried out in the following areas of activity:

- standardization;

- confirmation of the conformity of products (services, production processes);

-Certification of quality management systems, environmental management systems (environmental management), health and safety;

- Accreditation of conformity assessment bodies and testing laboratories (centers);

- determination of the country of origin of the goods;

- training and advanced training in the field of standardization, certification, accreditation, determination of the country of origin of goods.

Specific directions of activity of experts-auditors on certification of products and services are recommended to be determined in accordance with the established form.

If necessary, perhaps, their unification, and if there is a need for economic sectors, the introduction of other activities in the preparation of expert auditors.

Depending on the theoretical course mastered by specialists and the internships that have been completed, the expert auditor can be certified in one or several areas of activity.

Training of expert auditors should include:

- theoretical training;

-Progress of practical training (hereinafter referred to as the job title)

Theoretical training and internships are conducted applying to the sphere of activity of specialists who claim to be an expert-auditor in a certain area of ​​activity.

The costs associated with the training and retraining of exporter-auditors, including theoretical training, internships and evaluation of their results, are paid by the applicant.

Requirements for the competence of expert auditors

The expert-auditor must have a higher education, confirmed by a state document, to undergo theoretical training and internships. Basic education, work experience, theoretical training and internships should correspond to the declared field of activity.

The work experience by specialty must be at least 5 years, practical work in the declared field of activity is not less than:

in area

-standardization - 5 years;

-certification, including quality management and environmental

management, accreditation, audit - 4 years;

-determination of the country of origin of goods 2 years;

-experiments - 2 years,

- training and further training - 5 years.

The order of the lessons

1 Form of report on the internship with a recall-characteristic

REPORT №

on passing an internship as a candidate for _____________________________________

(experts-auditors)

by__________________________________________________________________               (direction and (or) area of activity)

(full name, first name. patronymic of the candidate-trainee)

*) _______________________________________________________________________

(report text)

Trainee

(signature )	(initials, surname)

Feedback - characteristics of the head of the internship:

| Scope of Assessment | Evaluation (satisfactory, unsatisfactory) |
| --- | --- |
| Knowledge: |  |
| - bases of legislation of the Republic of Kazakhstan |  |
| -- normative documents on standardization, metrology, certification, accreditation, origin of goods |  |
| - methods and procedures for carrying out works and inspections, characteristics of the objects to be inspected, methods and methods for their evaluation, preparation of reports, necessary documents and conclusion on the results of work |  |
| -Ability to apply knowledge practically |  |
| - Realization of personal qualities |  |
| - Overall rating |  |

Head of Internship,____________________________________________________

(,Expert-auditor, head of the enterprise, specialist)

Full Name; registration N of the certificate, direction   of activity,______________________

position, place of work, work experience________________________________________________

(signature, decryption of a signature)

*) The report indicates:

- the date (s) of the internship, at which body, the organization for standardization, certification, accreditation (the certificate number of the accreditation of an organ or organization registered in the State Register - during the internship on certification of products and accreditation); the address of the organization in which the training took place;

- the internship was conducted according to documents and materials on ststandardization (certification, including certification of origin of goods, quality management and environmental management, accreditation, audit)

(name and address of the organization being audited)

- in accordance with which documents defining the rules and procedures, work was carried out;

- Conclusion of the certification procedure, the number of test reports and other documents, on the basis of which a decision was made on the conformity (inconsistency) of the verified object of verification;

- the decision to issue (not issue) a certificate

2. Form of a personal card of an expert-auditor (candidate for expert auditors

A place

for a photo

Personal card

expert-auditor (candidate for expert auditors)

the name of the system in which the specialist is certified (State system of standardization, State system of certification)

by__________________________________________________________________

(area and direction of activity)

Date of completion

B.1 Personal data

Surname	Name	Middle name

Year of birth	Education

Name of the school

Year of ending		     № diploma

Special item on diploma _

Qualification and diploma

Academic degree

Certificate _______________________________________(expert-auditor)

№	_ " extradited	"	200	g.

Date of re-certification

Place of work

Position  _	Tel. working

Home address of tel. home

Н.2 Production activity

|  | date | Organization | Basic |
| --- | --- | --- | --- |
| start | graduation | position | duties |

В.З Participation in works on standardization, certification, examination of documentation for the purpose of determining the origin of goods, accreditation, internal audit, state and inspection control, development and examination of standards, technical regulations, government plans, programs and concepts in the field of standardization, accreditation, standards and documents on standardization, examination of documents in determining the country of origin of goods

| Name and address of the inspected | date | View | Customer |
| --- | --- | --- | --- |
| enterprises (organization) | verification | verification | of work |
| name of the performed work | (implementation of) | (of work) |  |

В.4 Training

date            Type of training              Specialization                              N testimonies

_____________________      ____________________________________________

Signature                                                  expert-auditor. Full name  (candidate for experts)

Tasks for practical studies

1. To issue an application from a candidate for audit experts

2. To issue an application for re-certification of an expert auditor

3. Fill out the report on the internship with the recall-characteristic

4. Fill in the personal card of the expert-auditor (candidate for expert auditors

5. Fill in the summary information of the candidate and experts-auditors

Control questions:

1. The requirements of which standard should be met by experts-auditors in the field of standardization, conformity assessment, determination of the country of origin of goods

2. In which areas of activity are conducted the certification of audit experts

3. What should be included in the training of expert auditors

4. Requirements for the competence of expert auditors

5 .Procedure for attestation of audit experts

6. List of documents for the recognition and registration of certificates (certificates) of expert auditors

7. In which cases are issued or denied the issuance of a certificate (certificate). Appeal procedure.

8. Theoretical training of audit experts - content, duration, training, curriculum, assessment of knowledge

Literature:

1. Law of RK "On accreditation in the field of conformity assessment", 2008

2. ST RK 3.8-200 GSK RK. Experts are auditors. Qualification requirements, the order of preparation and attestation.

3. ST RK ISO / IEC 43-1-2002. Competency testing through interlaboratory comparisons. Part 1. Development and application of programs for testing the competence of laboratories.

4. ST RK ISO / IEC 43-2-2002. Competency testing through interlaboratory comparisons. Part 2. Selection and use of competence testing programs by the laboratory accreditation body.

5. ST RK ISO / IEC 60-2006. Evaluation (confirmation) of conformity. Code of established practice.

Practical  lesson №15

Work on an expert assessment-testing laboratory

Goals and objectives of the lesson: The purpose of the assignment is to study the methodology for determining the cost of works for the expert evaluation of the testing laboratory

The content

The work on the expert evaluation of the applicant organization includes the following stages of work:

- examination of application documents;

-Exploratory survey;

- attestation examination.

The complexity of the work on the expert assessment is carried out using the basic standards of time, regulated by ST RK 7.9-2003 "Time limits for the performance of work to prepare for accreditation of bodies for certification of products, processes, works and services and testing laboratories (centers)."

The cost of work may increase by the amount of travel expenses in the event that the applicant organization is located outside of Astana. In the cost can provide for no more than 2 trips of one performer (an expert - an auditor).

The order of the lesson

Example 1. Determination of the cost of works on the expert evaluation of testing laboratory A with the following parameters:

- number of employees - 18;

- number of typical test methods (programs) - 52;

- the average amount of ND attributable to 1 type of product - 4;

- the number of products that define the scope of accreditation - 15;

- The complexity of the test equipment is medium.

The labor-consuming unit of work of the expert-auditor is conditionally determined 1000 tenge / person-hour.

The normative profitability is conditionally defined as 1.1.

Tasks for practical studies:

1. Calculate the cost of works for the accreditation of a testing laboratory

2. Calculate the cost of accreditation work for the calibration laboratory

Data for a testing or calibration laboratory should be taken from the Register of Qualified ILs (KL) of the Republic of Kazakhstan

Control questions:

1. By what standard is the calculation of the time required for the procedure carried out  accreditation

2. How is the correction factor determined for the procedure for examination of application documents

3. The norm of the basic labor intensity for the performance appraisal examination

4. How is the complexity of the unit of work of the expert-auditor in terms of value determined

5. How is the normative profitability of an enterprise determined?

Literature:

1. SТ RК 7.9-2008 The state system of technical regulation of the Republic of Kazakhstan. Accreditation system of the Republic of Kazakhstan. Time limits for the preparation of accreditation bodies for conformity assessment, testing laboratories (centers) and metrological services for the right to verify, calibrate and validate measurement procedures

2. ST RK ISO / IEC 60-2006. Evaluation (confirmation) of conformity. Code of established practice.

3. ST RK ISO / IEC 62-2001. General requirements for bodies that perform evaluation and certification / registration of quality systems.

4. ST RK ISO / IEC 62-2000. General requirements for bodies that perform evaluation and certification / registration of quality systems.

5. ST RK 7.21-2008. Accreditation system of the Republic of Kazakhstan. Evaluation of bodies to confirm the conformity of management systems.

Criteria of assessment of students' knowledge

| Alphabetic Score | Quantity of honey points | % indicator | Traditional estimates | Criteria of assessment of students' knowledge |
| --- | --- | --- | --- | --- |
| А | 4,0 | 95-100 | Very good | The student showed: - to indicate the types and formats of the cost information, - setting the basic requirements for the cost information, - Describing general and specific requirements for the labeling requirements, - to define the list of all the criteria that must be taken into account when marking the products, |
| А- | 3,67 | 90-94 |  | The student showed: Description of the legal framework of responsibility for falsification of marks - description of the main means and methods of labeling of products, - identification of the information needed, |
| В+ | 3,33 | 85-89 | Good | The student showed: Description of the legal framework of responsibility for falsification of marks - description of the main means and methods of labeling of products, - identification of the information needed, |
| В | 3,0 | 80-84 |  | The student showed: - Evaluation of the correct labeling, - marking of all groups of food products, - Identification of a mismatch; |
| В- | 2,67 | 75-79 |  | The student showed: according to the requirements of the regulatory documents - the study of labeling of various products, - Determining the causes and consequences of falsification of food and non-food products, - studying of the main reasons of improper marking in accordance with the requirements of regulatory documents; |
| С+ | 2,33 | 70-74 |  | The student showed: Identification of products labeling, written and oral presentation of the solution of complex issues of product labeling, identification of the basic criteria of the chosen method of marking; |
| С | 2,0 | 65-69 | satisfactory | The student showed: - assessment of validity of marking, definition of purpose and purpose of marking. |
| С- | 1,67 | 60-64 |  | The student showed: - Regulatory documents governing the marking of trademarks and trademarks. Requirements for trademarks master the basic material; - ability to correct mistakes made by the teacher; - Removal of errors on all types of orders. |
| D+ | 1,33 | 55-59 |  | The student showed: - mastering the main material in separate sections; - misunderstanding of responses on all types of assignments; - lack of confusion in the materials presented; - The existence of difficulties in self-fulfillment of practical problems; - individual approach to practical problems |
| D | 1,0 | 50-54 |  | The student showed: - Understand the concept of all assignments; - The presence of chaos during the story; - failure to conclude individual sections of the training materials; - The teacher has difficulties in correcting the errors; - Incomplete repairs of errors made on all orders. |
| F | 0 | 0-49 | unsatisfactory | The student showed: - Failure to know the program material, - serious errors in all types of assignments; - Absence of individual approach to performance of tasks; - Failure to perform tasks on the types of control, check and final control |

Literature

1 Law of RK "On accreditation in the field of conformity assessment", 2008.

2 СТ РК 3.8-200 ГСС РК. Эксперты –аудиторы. Квалификационные требования, порядок подготовки и аттестации.

3 СТ РК ИСО/МЭК 43-1-2002. Проверка компетентности путем межлабораторных сравнений. Часть 1. Разработка и применение программ проверок компетентности лабораторий.

4 СТ РК ИСО/МЭК 43-2-2002. Проверка компетентности путем межлабораторных сравнений. Часть 2. Выбор и использование программ проверок компетентности органом по аккредитации лабораторий.

5  СТ РК ИСО/МЭК 60-2006. Оценка (подтверждение) соответствия. Кодекс установившейся практики.

6 ST RK ISO / IEC 65-2001 General requirements for product certification bodies

7 ST RK ISO / IEC 62-2001 General requirements for bodies that perform evaluation and certification / registration of quality systems.

8 ST RK ISO / IEC 66-2002 General requirements for bodies conducting assessment and certification / registration of environmental management systems;

9 OLSAS ISO 18000 / ST RK 1348-2005 General requirements for the OSH management system in the organization.

Kenzhekhanova Mereke Batyrkhanovna

Kaldybayeva Botagoz Myrzahmetovna

Methodical instructions to a practical training on discipline

«ACCREDITATION OF CERTIFICATION BODIES  AND THE TEST CENTERS»

Signed in print
Paper Size XX Y 1/16
Paper printing. offset printing
Circulation

© Publication of  M.Auezov South Kazakhstan University

Publishing centre of  M.Auezov SKU, Shymkent, avenue Tauke Khan, 5