Ф.7.03-03

Isa A.B, Tasanbaeva N.E, Sakybaeva S.A., Bymbetova G.

Methodological guidelines

for laboratory works on the discipline

"Chemistry and Physics of Organic Substances"

part 1

Shymkent, 2013

MINISTRY OF EDUCATION AND SCIENCE OF

THE REPUBLIC OF KAZAKHSTAN

M. Auezov South Kazakhstan State University

"Technology of oil, gas and polymers" department

Isa A.B, Tasanbaeva N.E, Sakybaeva S.A., Bymbetova G.

Methodological guidelines

for laboratory works on the discipline

"Chemistry and Physics of Organic Substances"

part 1

Shymkent 2013

УДК 541.6 (075.5)

ББК 24.7 Я73

Compiled by Isa A.B, Tasanbaeva N.E, Sakybaeva S.A., Bymbetova G. Methodological guidelines for laboratory works on the discipline "Chemistry and physics of organic substances" for students of the specialty 5B072100 - "Chemical technology of organic substances." Part 1. Shymkent: M. Auezov SKSU., 2012y. – 40p.

Methodological guidelines worked out in accordance with the requirements of the curriculum and program course "Chemistry and physics of organic substances" and include all the necessary information to implement the laboratory course.

Each laboratory is preceded by a theoretical part, which allows a deep and detailed study of the most difficult categories of course and instill students with the skills techniques study the properties of crude oil and petroleum products.

Rewiers:

O.K.Beysenbayev –professor of the department “Technology of oil, gas and        polymers”, SKSU.

S.K. Iskakova -     associate professor of the department “Chemistry”, SKSU

The guidelines was considered on the «Oil, gas and polymers technology" department meeting

Minutes № __ ,                   __,   2013

Head of the department                        Sakibaeva S.

The guidelines was recommended  by Methodical Committee  of Chemical technological faculty

(Minutes ___ , ______________ , 2013)

Chairman of MC                      Seitmagsimova G.M.

© M.Auezov South Kazakhstan State University, 2013.

GENERAL OBJECTIVE TO IMPLEMENTATION

LABORATORIAL WORKS

The aim of the guidlines is the laboratory study of basic properties and composition of petroleum, petroleum products, plastics, natural-stay radical polymerization, polycondensation and the properties of the obtained polymers. Before taking laboratory course, students should be introduced to the theoretical part and the methods of determining the composition and properties of crude oil and petroleum products, monomers, and the major methods of polymerization, polycondensation and hardware design. In addition, prior to each work, students should examine the contents of the device hardware or device to perform the necessary calculations and read with the rules of safety.

After a conversation with the teacher, it should be clear for student from which it follows that the student the purpose and objectives of the work, the method of its examination then should be familiarized with the device, it is allowed to work independently. In the course of implementation of the student with the teacher discusses the results for each section of the work. Upon completion of the report is made in laboratory notebook and provides conclusions, after which the student is allowed to protect.

1 METHODS ADJECTIVES AND ALLOCATION

UNSATURATED HYDROCARBONS

Unsaturated compounds are formed in refining processes and they are an essential raw material for the petrochemical and fundamental organic synthesis.

Supplier of unsaturated compounds are thermal (coking, pyrolysis) and catalytic (cracking, reforming, polymerization) processes. The volume content of unsaturated compounds in the gases of thermal cracking (470 º C, 2-5MPa) is approximately 10%, in the pyrolysis gases (670-900 º C, 0.1 MPa - 30-50%). Ethylene and propylene are in alkenes of thermal processes dominated and present in smaller numbers in butenes and butadienes. Alkenes-containing gases in the catalytic cracking plan consist of mainly of propylene and butenes.

Unsaturated hydrocarbons are contained in the liquid products of the destructive processes: thermal and catalytic processing. Thus, content the weight of unsaturated compounds in the gasoline liquid-phase thermal cracking of 30-35%, gasoline steam cracking of 40-45%, and gasoline catalytic cracking of 10%.

Alkenes are very reactive compounds, so they can easily enter into an addition reaction of hydrogen oxidation, polymerization, alkylation, sulfation, and etc.

The addition of hydrogen:

RSH = CH2 + H2 → RSH2SH2

Hydrogen is added to alkenes at room temperature in the presence of finely divided platinum or palladium. The reaction has analytical value. Arenas in these conditions are undergone to hydrogenation, and thus can determine the content of alkenes, such as cracking gasoline.

Alkenes reactions with mercury acetate (1) and sulfur chloride(2) also have an analytical significance.

Addition mercuric acetate (1):

С = С + Нg(ООССН3)2 + СН3ОН → С      С	    + СНзСООН

|           |

СН3О   НgООССН3

The method allows separating alkenes from other hydrocarbons and obtain them in a pure form.

Addition sulfur chloride (2):

С1					  СН2 СН2С1

S= S		+ 2СН2= СН2 → S= S

С1					СН2 СН2С1

This reaction also allows to quantitatively distinguish alkenes from petroleum products.

Oxidation and ozonation of alkenes. These reactions allow to determine the position of the double bond according to composition of forming products:

[О]

СНзСООН + НООССН2СН3

→

[Н]

СН3 СН=СНСН2СН3		        О     О

[О3]

→ СН3СН 	       СНСН2СН3

О

→ СН3СНО + ОНССН2СН3

Polymerization of alkenes till low molecular weight oligomers (dimers, trimers, tetramers) is an industrial method of producing C6-C15, as well as high-octane gasoline component

Н3РО4

4С3Н6                   С12Н24

Halogenation (Сl, Вr,J)

С1

СН2=СН2                                 (СН2С1СН2С1)                    СН2=СНС1

At the addition of  the sulfuric acid to the higher alkenes (sulfation) form acid esters of sulfuric acid - alkyl sulfates, are formed used for the production of synthetic detergents:

ОSО2ОН

|

СН3(СН2)nСН=СН2 + Н2SО4	→ СН3(СН2)nСНСН3

During the storage of petroleum products, these unsaturated compounds take place in a variety of reactions and change the characteristics of petroleum products. Therefore, quantitative methods content of alkenes of determining the based on the reactions of halogen at the place of the multiple bonds. Except halogens (iodine, bromine, chlorine) sulfuric acid, halfchloride sulfur, hydrogen, acetic acid, mercury, nitrogen oxides and other substances are used also.

Bromine or iodine number is the number of grams of bromine (iodine) to join the 100 grams of the substance.

Laboratory work № 1

Determination of unsaturated hydrocarbons

in gasoline secondary origin

Purpose. Determination of unsaturated hydrocarbons in the light oil by destructive processes by the method of impaction petroleum solution of iodine in alcohol, titration free iodine with sodium thiosulfate solution and determining the iodine value, expressed in grams of iodine, acceding to the 100 grams of oil products.

Apparatus                                                     Reagents

Weighing bottles or cups                                 Ethanol

Conical flask of 250 ml                                   alcoholic solution of iodine (20 g

in 1 liter)

Graduated cylinders 25 and 100 ml                  0.1 n sodium thiosulfate solution

Potassium iodide, 20% solution

Starch aqueous 0.5 solution

Distilled water

Carrying out the test

In a glass to place a sample of the test weighing petroleum products to the nearest 0.0001 g, in the following amounts (as a function of the estimated iodine number): 2-4g - estimated at a value of up to 5g of iodine per 100 g of oil products and 0.2 -0.4 g - when the value of the iodine number greater than 5 g.

In a conical flask pour 15 ml of ethyl alcohol from a dropper cast 13-15 drops of oil product again weighed dropper and determine the magnitude of the difference in sample.

Then poured into the flask from the burette 25 ml ethanol solution of iodine, close tightly stopper flask, pre-moistened with a solution of potassium iodide, and gently shake the bottle. Tidal content in a flask with 150 ml of distilled water, closed flask stopper, shake for 5 minutes and leave to rest for 5 minutes, then plug and bulb wall wash a small amount of distilled water. The flask is titrated with 0.1 N sodium thiosulfate solutions. When the liquid in the flask takes a light yellow color, pour 1-2ml of starch solution and continue to titrate to the disappearance of blue-violet approx.

In the analysis of the T-1 fuel before the titration flask with the test solution is poured 25 ml of potassium iodide.

To calculate the iodine value as a control experiment carried out as described above, but without the oil and used in parallel with petroleum products.

The order of calculation

Iodine value of oil (IV) is calculated using the formula:

(V1 –V2))◦ Т

IV =                                              100,

С

Where:  V1 - volume of 0.1 n sodium thiosulfate solution that used to the titration

in the control experiment, ml.

V2-volume of 0.1 n sodium thiosulfate solution that used to the titration

of the test petroleum, ml.

T - titer of 0.1 n sodium thiosulfate solution, expressed in grams of iodine, equal to 0.01209.

C - Linkage of the test oil product, the

Iodine value of refined products is tested in two parallel linkage and take average.

The content in the tested oil product of unsaturated hydrocarbons in weight percent (Hb) was calculated under the formula:

IV◦ М

Нb =                 % weight

254

IV - iodine value of the test oil product g I2 / 100 g of oil products

M - the average molecular weight of unsaturated hydrocarbons in the test of petroleum products;

For aviation gasoline average molecular weight shall be taken by at 100, and the fuel TS-1 and T-2 - 175, fuel T-1 - 175.

254 - molecular weight of iodine.

The difference between two parallel determinations iodine value should not exceed 10% of the lesser of the results. The difference between two parallel determinations of the content of unsaturated hydrocarbons does not exceed 0.3%.

Control questions to laboratory work № 1

1. In which petroleum product alkenes usually contain?

2. What is the content of alkenes in the products of thermal and catalytic processes?

3. What is the effect on the properties of unsaturated hydrocarbons petroleum product?

4. How is it possible to determine the iodine value of oil?

5. What is called the iodine value?

2 DEFINITION GROUP AND INDIVIDUAL COMPOSITION BENZINE STRAIGHT RUSH

Light fractions oil hydrocarbons

Alkanes from C5 to C9, are part of naphtha, in normal circumstances are fluid. Based on the analysis of individual hydrocarbons, oils extracted from 10 CIS countries, found that the gasoline fractions of petroleum, mainly compounds are presented with simple substituent. Exception of the constituent Anastasievskye oil fields and oil stones, which are isomers with long side chains.

Analysis of the data on the content of individual alkanes in new gasoline boiling range fractions of the same (average of 77 various oils CIS and the world) has shown that the most abundant is the simplest hydrocarbon, and the following one isomer is usually the methyl-substituted in position 2 or 3.

We find all five isomers of hexane, heptanes of 9 - 7 out of the 18 isomers of octane - 16.

In the study of various oils combined gasoline-thermal method was defined as 90% of hydrocarbons – alkanes, cycloloalkanes C5 and C6 and arenas. In the distribution of hydrocarbons in gasoline some regularity depends on the type of oil. Gasoline of different oils contains about the same on then taking on hydrocarbons, but in different amounts, with 10 hydrocarbons present in gasoline, are the most abundant.

Alkanes are saturated with hydrogen and hydrocarbons compared to other classes have a minimum density and refractive indices, which is used for analytical purposes.

The total content in many petroleum naphthenes predominates over the other classes give hydrocarbons. On average in the various oils are present from 25 to 75% polymethylene hydrocarbons of all types. Naphthenes are part of all oils and presences exist in all fractions and only in the most high-boiling oily fractions, it decreases by increasing the content of aromatic structures. Particularly rich in Baku and cycloalkanes emben-cal oil - 40-60%, and in some fractions to 60-80% based on oil. Oils of the eastern regions of the CIS are much less. Their content usually increases with worsening faction. The most stable of five and six-membered rings. At elevated temperatures and in the presence of various catalysts naphthenes decaying, and isomerized change the number of carbon atoms in the ring.

Cycloalkanes distribution by type of structures determined by the composition of oils and boiling temperature limits. So, monocyclic cycloalkanes disappear in fractions 300-350 º C, bi-cyclic contained in fractions of 160 to 500 º C, and the number of them significantly decreases after 400 º C. Tricyclics is the fractions above 350-400 º C. This distribution is subject to some eye-fluctuations, depending on the type of oil. Naphthenic hydrocarbons make up a significant portion of high-boiling fractions of oil.

At the individual level is difficult to identify the number huge structural and spatial isomers naphthenes. Therefore, in their study extensive used of structural-group methods.

The content of aromatic hydrocarbons in the middle fractions,  is always higher than in the gasoline fraction of the same oil, and varies between 15-35%. In higher petroleum fractions found in more complex polycyclic aromatic hydrocarbons with three, four and five fused benzene rings.

Arenas are in petroleum benzene and its homologues and derivatives of bi-and polycyclic hydrocarbons. In the oil fields contain hydrocarbons and hybrid containing not only aromatic and alkane chain, but also saturated cycles.

Arena studied oil better than other classes of hydrocarbons. Many individual arenas were isolated from petroleum fractions using methods based on the use of elevated reactivity, selective adsorption, solubility in polar solvents, high temperatures melting arenes.

Arenas have a much higher density and refractive index than the alkanes and cycloalkanes.

Crystallization temperature (melting point), is the higher the more symmetrical molecules and smaller than they can pack in the crystal form.

The boiling point’s of isomeric arenes significantly different. Highest boiling point are isomers with alkyl groups (o-xylene, hemi-mellitol, prenitol) having the largest dipole moments.

The viscosity and density of alkylbenzenes increases with the number of methyl groups and viscosity index decreases. Polymetil derivatives density of benzene is also higher than alkylbenzenes with the same number of carbon atoms, because of their high molecular interactions.

The presence of aromatic hydrocarbons in gasoline is highly desirable, since they have high octane numbers. Their presence in large numbers in the diesel fuel deterioration decreases the combustion process. Polycyclic aromatic hydrocarbons with short side chains should be removed in the cleaning process, as their presence is detrimental to the exploitation as lubricating oils.

Arena characterized worst flammability, low-high values ​​of cetane numbers. Thus, the cetane number of 1-methylnaphthalene is zero. Therefore, the fuel high-speed diesel engines in arenes are not applicable.

Laboratory work № 2

Objective: To determine the group composition of gasoline (ie, determine the quantity of methane in it, naphthenic and aromatic hydrocarbons) in the present work is carried out by aniline points.

The use of aniline point in determining quantitative hydrocarbons in the fraction of gasoline based on the fact that aniline point’s are very different for methane, naphtha-O, aromatic hydrocarbons boiling in the range of one and the same temperatures. Therefore the value of aniline point, defined as the temperature mutual dissolution of the oil and aniline, together with the refractive index, density, etc., is one of the characteristics of hydrocarbons. The lighter hydrocarbons dissolved in aniline, the lower the aniline point. The presence of aromatic hydrocarbons in gasoline reduces the amount of aniline point compared to gasoline dearomatised that is gasoline containing less methane and naphthenic hydrocarbons.

Apparatus                                                         Reagents

Standard device "Tube                                        gasolines straight race

in a test tube with a rubber sleeve, "                    Sulfuric acid conc.

Stirrer, thermometer at 150 º C                            Aniline

Stove, sulfator

500ml glasses for chemical                                  solvent

DETERMINATION OF ANILINE POINTS BY METHODS EQUAL VOLUMES

Aromatic content is calculated from the dissolution temperature depression of gasoline in aniline (aniline point) to T1 and after removal of aromatic hydrocarbons and T2 ratio of aniline to the value of which is determined experimentally. According to this method are taken equal volumes of the investigated gasoline and aniline. Removal of aromatic hydrocarbons produced by sulfonation and with liquid - adsorption chromatography (adsorbent – siliсa-gel brand ASK). The calculation of the percentage of aromatic hydrocarbons pro-usual formula

A = K • (T2 – T1)

where K - aniline ratio equal percentage of aromatic hydrocarbons, aniline point causes a decrease by 1 ° C.

The value of the aniline ratio depends on the following factors:

1) the nature of aromatic hydrocarbons,

2) the fractional composition of gasoline,

3) the chemical composition of the non-aromatic fractions

4) The concentration of aromatic hydrocarbons.

To find out the effect of the first factors determining the group composition of gasoline should be conducted to narrow fractions, the boiling point of which correspond to individual fire close to an aromatic hydrocarbon composition. Therefore, in determining the group composition of gasoline distilled into narrow fractions corresponding to the boiling point of individual aromatic hydrocarbons. These fractions have a certain value of the coefficient K (Table 1)

Table 1

| Fraction | Coefficient К for concentration aromatic hydrocarbons |  |
| --- | --- | --- |
|  | to 20% | 20-40% |
| 60-95 (benzene) 95 -122 (toluene) 122 -150 (xylene) | 1,15 1,20 1,26 | 1,14 1,18 1,22 |

After removal of the gasoline fraction of aromatic hydrocarbons percentage of naphthenes determined by aniline-hand point of the non-aromatic (T2). In the calculations use of table, in which each point of the aniline paraffinnaftenic hour-minute fraction meets certain content naphthenes. The content of methane hydrocarbons are on the difference (Table 2).

DEFINITION ANILINE POINT OF PETROLEUM FRACTIONS

Into the inner tube device pour 2 ml fresh distil and dried aniline and 2 ml fractions were investigated, tightly stoppered and strengthen the glass. Water in the glass is heated slowly with continuous stirring with a stirrer. Note the temperature of complete mixing liquids (clear solution), stop the heat and allow the water to cool slowly. When in vitro there are first signs of separation of the two phases (turbidity), again start mixing. Initially, the solution turbidity disappears, but then comes the moment of general turbidity. Aniline point for taking the temperature at which clouding stirring disappears. Temperature of complete mixing and general turbidity may not be higher than 0,1°C.

REMOVING OF AROMATIC HYDROCARBONS

The method of sulfonation

In sulfator through a funnel with a long stem Kattvinkelya pour mixture (a mixture of concentrated sulfuric acid and phosphoric anhydride) to the level of "0". There are also pour 10 ml of the test fraction. Then, close the glass stopper sulfator, all containing it is transferred to the upper slope of a large bowl and mix thoroughly with the mixture is shaken for 15 minutes. Next, put in sulfator stand upright, to stand for 30 minutes, then count the change in the volume of sulfuric acid, which corresponds to the content of aromatic hydrocarbons. Sulfuric acid is drained and washed with water, dried over calcium chloride, and only then determine aniline point dearomatised fraction (P2). Content in the test gasoline aromatics in volume percent is found by

V1 - the amount of fuel taken on sulfonation,

V2 - the amount of gasoline after sulfonation.

FORMOLITY REACTION

On a watch glass or porcelain cup pour 4 drops of chemically pure, completely colorless concentrated sulfuric acid, then add the same amount of formaldehyde and 2 - 3 drops of the tested product. In the absence of aromatic hydrocarbon mixture is a colorless or slightly yellow. Bright and often precipitate indicate the presence of aromatic hydrocarbons. If the reaction was "unclear", in the end you can add 2-3 drops of sulfuric acid.

CALCULATION OF THE FRACTION OF GROUP

a) determination of aromatic hydrocarbons

A% = R (T2-T1) (K - are on the table 2)

b) determination of naphthenes in dearomatised parts by T2.

In determining the percentage of the original oil products account for aromatic hydrocarbons.

Recalculate according to the ratio:

where

X1 - naphthenes content in the initial fractions, wt%

X - naphthenes content in fractions dearomatised

A - content in the aromatic hydrocarbon fraction, wt%

Paraffin content in the studied fractions, weight%

Table 2

| aniline point | % naphthenic hydrocarbons in the fraction |  |
| --- | --- | --- |
|  | 60 -95°С | 95 -122°С |
| 60 59 58 57 56 55 54 53 52 51 50 49 48 47 46 45 44 43 42 41 39 38 36 35 | 33 36 39 42 44 47 50 52 55 56 61 64 67 70 73 75 77 80 82 85 90 92 95 100 | 42 45 49 53 56 60 63 67 70 74 74 79 84 87 90 93 97 100 - |

Control questions to laboratory work №2

1. What hydrocarbons are parts of the gasoline fraction?

2. What is the difference of gasoline hydrocarbons from other light hydrocarbon fractions?

3. What is called aniline point?

4. What reaction occurs with aromatic hydrocarbons in the interaction of the sulfuric acid?

5. What methods of determining the group composition of gasolines are there?

3 SULFUR COMPOUNDS OF OIL

All oils contain sulfur in its composition, but the distillation of crude oil its compounds evenly distributed on its fractions. With increasing temperature boiling range fraction of their content increases.

The main part of the sulfur compounds has a high molecular weight and a high boiling point. Therefore, from 70 to 90% of the sulfur-containing compounds are concentrated in oil-fired and tar.

Sulfur compounds varied oil: sulfur solution or colloidal, dissolved hydrogen sulfide, mercaptans (thiols), sulfides (thioethers), polysulfides, cyclic sulfides, thiophene derivatives. In addition, in oils, especially in resin-asphaltene parts are very complex compounds, including sulfur, nitrogen and oxygen. Depending of quantity of sulfur compounds can be divided into low-sulfur oil (up 0.5%), sulfur (0.5-2.0%) and sour (2% and above). Koch-ray Ukrainian oil contains up to 5.6% sulfur oil in Uzbekistan from 3.2 to 6.3%, oil field Hetzel (Germany) to 9.6% of sulfur.

Mercaptans are found mostly in gasoline and kerosene-O fractions. Their content in oil is small. They have a structure-set RSN. Have a strong odor and is used in the practice of gas supply to cities, to prevent malfunction gas pipelines.

Aliphatic sulfides have a structure RSR1. This liquid substance with an unpleasant odor, sulfides C2-C7 are low temperature boiling (37-150 ºC) and the distillation of gasoline fall into a new distillate.

Sulfides contained in gasoline, kerosene and diesel fractions in the range of 50 to 80% of the sulfur-containing compounds.

Monocyclic sulfides found in oils, represented a saturated five- and six-membered hetaera compounds with a sulfur atom (thiophane and pentametilensulfid, thiophene and its homology).

Polycyclic sulfur compounds fall into kerosene and oil distillates (benzothiophene, benztiofan, thionaphthene, dibenztiofen, naftotiofen). Connections to the more complex structure found in fuel oil and tar, which account for 70-90% of the sulfur-containing compounds of oil.

Sulfur compounds in the crude oil refining are thecause corrosion and wears equipment, and when used as a fuel strongly degrade the quality of the environment and disturb. Annual world emissions of SO2 from the burning of petroleum products (oil, petrol) are about 8000 ˙ 104 tons. To avoid getting sulfur compounds in petroleum trade, use a variety of catalytic hydrotreating of sulfur compounds, resulting in increased stability petroleum products, and the saturation of unsaturated and aromatic compounds.

At present, the treatment of hydrocarbon fractions from sulfur-bearing compounds are developed and used oil-refining plants the following processes:

- Alkaline cleaning gas and light oil from the hydrogen sulfide and thiols;

- Sulfuric acid treatment;

- Amine purification of gases from hydrogen sulfide and CO2;

- Klaus percent for processing acid gases (H2 and CO2) with the obtained free of sulfur;

- Demercaptanization (processes "Merox" and "VNIIUS-12")

- Adsorption treatment;

- Selective treatment oil fractions by solvents;

- Distillate fractions hydrotreating (gasoline, kerosene, reactive and diesel fuel, vacuum gas oil);

- Oils and waxes hydrotreating;

- Hydrotreating and hydrocracking residues.

When heated, sour oil, condensate and natural bitumen in the decomposition of volatile sulfur-containing compounds are produced and secreted hydrogen sulfide, thiols and sulfides. The lowest temperature at which the hydrogen sulfide have been specified, called the threshold of the thermal stability of oil. Amount of hydrogen sulfide and sulfur thiol (mg) that produce on heating oil to 100 g for 1 hour at 300 ºC, is called hydrogen sulfide number of oil.

There are two methods of quantitative determination of the content of the sulfur in the oil and oil lamp for light petroleum method and the method of sample burning oil or heavy fractions (oil, tar) in the tube. In both cases, formed by burning sulfur-containing gases is trapped solution and titrated.

Laboratory work №3a

Determination of sulfur by tube

(State Standard 19121-73)

Objective: Quantitative determination of sulfur in light petroleum products (gasoline, kerosene, diesel fuel) by compressible in the lamp.

Apparatus                                                              Reagents

Standard instrument for determining                     Hydrochloric acid, 0.05 N

sulfur burning in the lamp                                      titrated solution

Na2CO3 3%                                                             aqueous solution

Flask of chemical                                                    solution of methyl orange

Glasses for 100, 500ml,                                          petroleum ether

Cylinders at 10,50,100 ml                                       nonsulfurous benzene

Burette titration                                                        ethanol

Test’s carrying out

Preparation for analysis. Gather the plant, as shown in Figure 1. Light 2 - flat-bottomed cone of thin glass, closed with a cork stopper hole glass wick tube through which missed one wick of cotton-no children. Before assembly, installation, all parts of it must be thoroughly rinsed with distilled water, fuses and bulbs dry thoroughly. Large vessels to fill the absorber 4 ⅔ Glass-mi sticks or beads, washed in distilled water, absorber from the burette is filled with 10 ml of sodium carbonate and 10 ml of distilled water.

|  | Fig. 1 Apparatus for sulfur test burning in the lamp: 1 - mist eliminator; 2 — absorber; .3 —chimney; 4 — lamp; 5 — wick. |
| --- | --- |

Analysis

The bulb is filled with subjects collected installation of petroleum products as follows. Petroleum, burning sootless flames poured into a clean, dry bulb without the prior weighing in excess of 4-5ml. In the case of low-sulfur low smoking  products (sulfur content 0.05%) and 1.5-3 ml (depending on the sulfur content), in the case of sulfur (sulfur content greater than 0.05%) and high smoking  products (gasoline, kerosene and etc.) and stopper with a wick. The lower end of the wick is placed around the circumference of the bottom of the bulb. Once the wick is saturated with petroleum product under test, external co-Finally it is cut at the top of the wick tube, the bulb is lit, set the flame height of 5-6 mm, and then extinguish the flame, cover with a special glass bulb cap to prevent evaporation losses and weighed on an analytical scale accurate to 0.0004 g

In the same way a light bulb filled with product second, and third. Fill the ethyl alcohol (no weighting).

Petroleum products, which when burned in pure form strong soot (ie, having a high content of aromatic and unsaturated hydrocarbons and high smoking  prod-ucts), pour in the amount of 1-2 ml in a previously weighed along with the wick and cap clean and dry bulb, and then weighed to the nearest 0.0004 g

After weighing the bulb is added sulfur-diesel (sulfur content it should not exceed 0.005%) in the ratio of 1:1, 1:2, 1:3 (by volume), the mixture burned in a bulb without soot. The total volume of the mixture should be 4-5 ml. In the same way UT-filled bulb, and the third - pour sulfur-free gasoline (without weighted).

The flask Bunsen connected by vacuum tube with a water pump and is inserted into the neck of the flask through a rubber tube process three diversion glass spider. Spider-end of unifying with the vacuum tube with liquid trap 6, of the latter is connected to the four absorbers mounted on wooden base, and finally, absorbers combined with chimney 3. The rubber tube between the bulb Bunsen pump and liquid trap between a spider and put on screw terminals. Gathering installation, including vacuum pump, light the wick flame, free from sulfur (application matches banned), and adjust the length of the wick, the flame height and speed soakage air so that the edge of the wick tubes are not more than 8 mm above the bottom of the tube glasses. The definition should be carried out in clean air. The flame height should be 6-8 mm. The test is considered complete when the burn down the tested product.

After burning the diluted product in a light bulb again filled 1-2ml no sulfurous gasoline, which is completely burned. After that light extinguish, cover their caps and after 3-5 minutes, turn off the pump. Then dismantle the plant, mist eliminator, tube tops and glass absorber thoroughly washed with a jet of distilled water from a wash, washing, collecting water appropriate flask. For flushing each unit spends 50-70 ml of distilled water. A solution in the absorber added 1-2ml methyl-orange indicator and titrate unreacted sodium carbonate 0.05 N hydrochloric acid, mixing contents cones shaking.

The first titrated solution from the absorber control experiment and the solution from the absorber after combustion of petroleum product. The end of the titration is the time when painting will titrate pink color identical titration of control solution.

The discrepancy between the results of the titration of control solution before and after the burning sample of ethyl alcohol or nonsulfurous gasoline must not exceed 0.05 ml. Otherwise; the experiment was repeated again, because large quantities differences attest to the indoor air pollution with sulfur.

The undiluted sample of burnt oil product calculated by the difference between the weighted bulb before and the after combustion product. The combustion of diluted product sample weight was calculated as the difference between the mass of bulbs with the portion of the product and clean the dry bulb, weighed before the test.

The mass fraction of sulfur (S) in the tested oil product,%, can be calculated using the formula:

S = (V - V1) ּ K ּ 0.0008 ּ 100 / C,

where V - volume of solution HCl, who had gone to titrate the controlling solution, ml;

_V1 - HCl solution of that went to the titration of the solution after the absorption of the combustion products of the first test subjects petroleum, ml.;

K - correction factor to the titer of 0.05 N solution of hydrochloric acid;

0.0008 - the mass of sulfur, equivalent to a mass of 1 ml of 0.05 N hydrochloric acid, g / ml;

C - mass of burnt oil product test, city

Content of sulfur is calculated as the average of two parallel determinations, the difference between them does not exceed 5% of the lower result.

Laboratory work № 3b

Determination of total sulfur

Objective: To determine the total sulfur in the oil and heavy oil products by burning them in a quartz or porcelain tube in the presence of atmospheric oxygen to form oxides of sulfur (SO2 and SO3) and subsequent absorption and quantitative op-determination.

Apparatus                                                                           Reagents

Standard instrument for determining                    0.02 n aqueous solution of NaOH

hydrogen peroxide burning sulfur in the tube      0.02 n aqueous solution H2SO4

Chemical flasks                                                         Mixed indicator:

Glasses for 100, 500ml                                        (methyl red + methylene new blue)

Cylinders at 10,50,100 ml

Burettes per 100ml

Wash bottle

1 - bottle of potassium permanganate, 2 - bottle with 40% solution of NaOH;

3 - bottle with absorbent cotton, 4 - quartz tube;

5 - boat 6 - electric 7 - TC 8 - quartz knee;

9 - breather pipe, 10 - Receiver

Fig. 2 Apparatus for the rapid determination of sulfur

Preparation for analysis

Gather the installation according to the diagram in Figure 2. Wash bottle 1-3, which serve to clear the air is filled by about half, the first bottle - potassium permanganate solution (0.1 mol / L KMnO4), the second - 40% solution of sodium hydroxide (NaOH), the third - with cotton . At the receiver (absorber) 8 pour 150 ml of distilled water, 5 ml of hydrogen peroxide (H2O2), 7 ml of 0.02 N sulfuric acid solution. Close the receiver with a rubber stopper fitted with a quartz knee outlet tube 7 and 9. Knee 4 attached by thin section of a quartz tube, which estab-lished in the oven. The other end of the quartz tube is closed with a rubber stopper, a quartz tube through the side-band process with a system of bottles to clean the air.

The assembled unit is checked for leaks.

Analysis

Turn up the furnace and heat it up gradually 900-950 º C. The temperature of the heating furnace controlled and measured using auto-transformers and thermocouples.

The analyzed oil or oil weighed with an accuracy of up to 0.0002 g in a porcelain or quartz boat, evenly distributing it throughout the boat. The mass of sample taken from the expected sulfur content in oil (mineral oil).

| Sulphur content,% | 0 – 2,0 | 2,0 – 5,0 |
| --- | --- | --- |
| Weight of sample, g | 0,2 – 0,1 | 0,1 – 0,05 |

If a test of oil (petroleum) contains more than 5% of sulfur, its pre-diluted sulfur-medical or any low-viscosity mineral oil.

Weighed in the boat gently crushed and poured a preliminary calcined chamotte clay. Then the boat is inserted into the quartz tube before entering the last in the oven. Quickly cover the hole quartz tube and include a vacuum pump, adjusting speed soakage system air (about 5 l / min). When the oven is heated to 900-950 º C, begins burning, gradually re-move the boat to the middle of the oven, preventing oil product self-reproduction of the flame. For complete combustion of oil sample requires at least 30-40 minutes. The tube is then placed in a boat to the center, the most fiery of the oven and heated for 15 minutes.

At the end of burning disconnect the vacuum pump back down the furnace and disconnect the receiver. Quartz connecting knee washed with 25 ml of distilled water, and the water poured into the receivers. Then the contents of the receiver titrated burette 0.02 N sodium hydroxide solution in the presence of 8 drops mixed ion indicator to go violet solution through crossing the color green. Similarly titrated the controlling samples obtained in the experiment without the oil (petroleum).

Mass fraction of sulfur %, calculated from:

S% + 0,032 ּ (V1 - V2) / Mì ּ 100,

where 0.032 - sulfur corresponding to exactly 1 ml of 0.02 N of a solution of sodium hydroxide. g;

V1 - volume of just 0.02 N sodium hydroxide solution, use up-consistent for the titration in the control experiment, Jr.;

V2 - volume exactly 0.02 N sodium hydroxide solution, use up-consistent for the titration of the target experience, ml;

Mì - mass of sample of oil (petroleum), Mr.

Test questions for laboratory work №3a, 3b

1. Classification of oils on the sulfur content in them.

2. Types of sulfur compounds in petroleum and petroleum products.

3. What processes are provided at the refinery desulfurization?

4. What is the threshold of the thermal stability and hydrogen sulfide number?

5. What are the methods of qualitative and quantitative determination of sulfur-containing compounds are known at the present time?

4. OIL OXYGEN COMPOUNDS

(Determination of acid value for light petroleum)

Oxygen compounds contained in natural oils in the form of a fatty acid and oil, phenols, and, finally, resinous extraction and asphaltic substances. All acidic substances extracted from oil by alkali added into oil acid parts are naphthenic acids.

Other oxygen compounds, such as aldehydes, alcohols, etc. in natural oils are not contained. They are found only in specific types of products, crude oil processing, for example, the products of oxidative cracking.

Pure naphthenic acids are colorless or lightly colored liquid or dense mass. Their density is smaller of the unit. They are poorly soluble in water, but readily soluble in hydrocarbons and many organic solvents. Naphthenic acids viscosity increases with increasing molecular weight.

The chemical properties of these acids are similar to carboxylic acids. They readily form esters, acid chlorides and amides, easily react with lead, zinc, copper, tin. More detail study of the structure of naphthenic acids studied N.D. Zelinsky, A.E.Chichibabin. Proved that most of the naphthenic acids in various oils, are not derived cyclohexane. Further studies have shown that in the series of naphthenic acids between the carboxyl group and ali-cyclic ring is paraffin chain. To study the structure of the side chain of naphthenic acids are known from the literature methods:

a) amidochlorine

b) amidoolefine

c) laktan

d) the gradual degradation.

At present, the result of various studies was proved the following:

- Naphthenic acid of various oils are cyclic carboxylic acids: cyclic part of the molecules naphtha-new acids are mainly pentamethylene cycle

CH2-COOH

2. among the investigated naphthenic acids found in the absence of both monocyclic and bicyclic systems.

3. the carboxyl group of naphthenic acids in almost all of you are separated by oil naphthenic acids are not connected directly to the cyclic part of the molecules, and removed from it by one or more methyl group.

The simplest preparative method of individual naphthalene Tenova acids designed N.D. Zelinsky Synthesis hexanehydrobenzeneacids flows under the scheme:

J

(C2H5)2O

MgJ

CO2

COOMgJ

HCl

COOH

I

Mg     +                 + (C2 H5 )2 O

Cl

Laboratory work № 4

Determination of acid value of oil

Purpose. Determine the content of oxygen compounds in the research fractions.

Apparatus                                                                       Reagents

Support                                                                                    Ethanol

50ml conical flasks                                                       Indicator (Nigrosine yellow)

Burette                                                                          oil products (benzine,

Electric stove                                                                 kerosene, diesel fuel, oil)

Acid number is the number of milligrams of potassium caustically the required to neutralize 1g of the test substance.

The study of the chemical composition of crude oil and petroleum products acid number is determined by:

1. in the study of the properties of naphthenic acids

2. in exploration of the quality of light oil

3. in exploration of the quality of dark oil products

Realization of experience

In a conical flask 100 ml, weighed on analytical scales take petroleum weighed 8-10g up to 0.01 g

In another flask place 50 ml of 96% rectified ethyl alcohol, closed with a cork stuck in her reflux and boil contents for 5 minutes.

By boiling alcohol removes dissolved carbonate-one boiled alcohol in hot neutralized with continuous stirring with 0.05N alcoholic solution of potassium hydroxide. In the presence of 0.5 ml (4.5 drops) solution of alkali blue or yellow to nigrosines color change of the solution in the red colors. Neutralized alcohol was poured into the flask with the sample prior to titration.

When tested light oil in the flask to neutralize bathrooms hot alcohol is poured into the flask with the portion of the first test subject of petroleum product. The flask was then stoppered and boils for 5 minutes, constantly shaking the flask. After boiling the mixture titrated of hot 0.05N alcoholic solution of potassium hydroxide-set in the presence of 0.5 ml of alkali blue color of the solution changes to a reddish color. In this case, we have the following reaction:

KOH + H O + RSN2 SOON RSN2 SOOK

The acidity of the test oil in mg KOH per 100 ml calculated by the formula:

V ּ Т ּ 100

К =                          ,

50

where V -  volume of 0.05 N KOH, that went to the titration, ml

T - titer of 0.05 N KOH solution, expressed as mg

100 - to bring the ratio of acidity to 100 ml

50 - volume of oil product, taken for testing,ml .

Acid number of test oil in mg KOH per 1 g (K) is calculated by the formula:

K = V ּ T / C,

where V - volume of 0.05 N KOH solution that went to the titration, ml

T - titer of 0.05 N KOH solution, expressed as mg

C - linkage of the test oil product g

Acid number of test petroleum calculated as an average of the results of two parallel determinations.

Control questions to laboratory work № 4

1 What are the components of crude oil and petroleum products have the character sour?

2 What is the purpose determine the acid number?

3 What is called the acid number of the sample?

4 How is the acid number in the work?

5 Why in determining the acid number titration usual method-tion is carried out in an alcohol solution?

5. ASPHALTIC-RESINOUS SUBSTANCES OF OIL

The least explored parts of oil are resinous and ashaltic-resinous substance. More difficult to study their the molecular weight and amorphous nature. Therefore, our ideas about the nature of the resin and asphalting substances are limited mainly to data on their physical properties. In physical-sky properties resin-asphalting substances are divided into:

1. Neutral resins - they are readily soluble in petroleum distillates, benzene, chloroform, carbon disulfide, and completely non-soluble in acid and alkali.

2. Asphaltenes- neutral substances insoluble in lay-com gasoline, but also as these resins are completely soluble in benzene, chloroform, carbon disulfide. In appearance asphaltenes are dark brown or black powder.

3. Asphaltogenic acid - like tar, but differ from them acidic. Asphaltogenic acid dissolves in alkalis, alcohol, chloroform, but slightly soluble in gasoline. The main components of tar and asphalt oil substances are neutral resins and asphaltenes. There is a connection between the neutral resins, asphaltenes and high molecular weight polycyclic hydrocarbons. Thus, the oxidation of heavy oil containing high molecular polycyclic hydrocarbons formed neutral resins and subsequent oxidation of neutral resins are asphaltenes. It is assumed that the tar and asphalt materials are fused ring structure, consisting of aromatic, naphthenic and heterocyclic rings with several aliphatic side chains. In addition to carbon and hydrogen, they contain oxygen, sulfur and nitrogen. Separate condensed rings connected by short aliphatic bridges and heteroatomic components, such as:

S

R1

R2

R1

R2

Separation of the major groups of asphalt-resinous substances and their quantification was based on the different solubility of the components of asphalt-resinous substances in different solvents and, in particular, on the basis of the pronounced differences solubility their main components (resins and asphaltenes new) in the lower homologs of methane.

Separation and quantification of resin-asphalt substances in natural and artificial asphalts, residues from the distillation, distillates lubricants and other products carried by the method max Markusson (adsorption method).

There is a second method for determining the asphalt-resinous substances - sulfuric acid (excise) way.

This method of tar based on the interaction of sulfuric acid with resinous compound-tions solution gasoline and oil products.

As a result of these processes, we obtain as the products of the reaction acid sludge, settles to the bottom of the reaction liquid. This method is very approximate, since sulfuric acid in acid sludge translates not only resinous substances, but also the other hydrocarbons. Despite these shortcomings, the sulfuric acid contributes own-use because of the simple and rapid determination.

Laboratory work №5

Determination of asphaltic-resinous substances

Objective: Quantification of resinous substances by reacting concentrated sulfuric acid with a solution of resinous compounds gasoline oil and petroleum products and loss of acid sludge.

Apparatus                                                                Reagents

Separating funnel (sump)                                      Oil residue from the distillation of

or cylinders for 150ml, 50ml, 10ml                                           oil distillate

Measuring glass for 100ml, 50ml                                           gasoline, kerosene

stirring rod                                                                                Thinner

portable lamp                                                                     Concentrated sulfuric acid

support bracket

Test’s carrying out

The test is conducted as follows: in the sump with a division poured 10 cm3 of pure sulfuric acid (density 1.84 g/cm3 ). Sulfuric acid is careful not to splash the walls poured, and close a glass stopper.

Then into a graduated cylinder with a glass stopper capacitance up to an 150 cm3 50 cm3 poured gasoline (density 0.740 g/cm3), then 50 cm3 of dried test the oil and gasoline topped up to the mark, that is still 50 cm3 petrol (total volume 150 cm3 ).

If the product is somehow unable to dry thoroughly, then for its dehydration do so: poured into a separate cylinder 50 cm3 of gasoline and petroleum products, throw in a mixture of about 5g of anhydrous calcium chloride, a few minutes, the mixture is stirred and allowed to settle. Then carefully decanted into another cylinder capacity of 150 cm3 , avoiding the pieces of calcium chloride. Then rinse the first cylinder gasoline 3-4 (7-10 cm3 each) and rinsing is drained in the second cylinder, where the mixture, then top up the second cylinder gasoline to mark 150 cm3.

Having dealt with the preparation of a gasoline product solution, opened decanter stopper and carefully poured into the wall of the acid mixture in the cylinder. The cylinder is rinsed several times benzene, then used gasoline poured into the sump. For that close-sump plug, remove it from the stand and strongly shaken 2 times. After each shaking to caution and carefully open the stopper to release the gases formed by evaporation light parts gasoline, because the action of sulfuric acid is warming up.

Sump plug must always be open, because the generated gases can dislodge it. Then, holding the sump in horizontal position, the mixture is stirred vigorously for three minutes. During the operations, without stopping any, should rotate sump. After the end of shaking establish settler in the state, while trying to give it a strictly vertical position for a bundle formed resinous substances from a gasoline product solution. After one hour counts the number of cubic centimeters, were added to the previous level of acid and black gum (acid sludge). This number is multiplied by 2, corresponding percentage of tar found on excise method.

It is often poorly differentiated layers. To parity to define the boundary between the upper and lower layers, carefully pour the walls of the engine sump or any other oil (medical, turbine). Oil forms a layer between the acid sludge and the remaining asphalt tar compounds and shows a picture. Count then is simple.

If the product contains a lot of tar (20 to 50%), it was diluted in a ratio of 1:1 with kerosene, poured into the cylinder 50 cm3 of this mixture, which, therefore, contains 23 cm3 of the product and are working on the above method. For finding-firmed percentage tar, obtained by counting the number of cubic centimeters of acid sludge must be multiplied by 4.

When the content of the product is above 50% of resinous substances, using petroleum diluted with kerosene in the ratio of 1:2. To find the percentage of tar, obtained by counting the number of cm3 of acid sludge must be multiplied by 6. Amount of asphalt tar on the anhydrous product recalculate the formula

(V2 – V1) ּ П

Х% =                                100

V3

where (V2 - V1) - the increase of the lower layer, ml;

V3 - the amount of petroleum taken to determine, ml;

P - the multiplicity of diluting gasoline;

100 - number of excise resin in anhydrous petroleum product,%.

Discrepancies between tests should not exceed one fission grading sump that is 0.4-0.5%.

After the end of determining the contents poured into a decanter specially designated utensils and rinse sump with petrol, for so-dried.

Control questions lab № 5

1 What are the resin-asphalt material with oil composition and structure?

2 Explain the principle of division of asphalt-resinous substances in fractions?

3 What is a resin and methods of their determination?

4. Properties of tar oil and the possibility of their use?

5. Asphaltenes, their composition, properties and applications.

6 How is the resin-asphalt substance?

6 ANALYSIS OF HYDROCARBONIC COMPOSITION OF EASY FRACTIONS OF OIL RAW MATERIALS BY HROMATOGRAPHIC METHOD

Chromatography - physical-chemical method for the separation and analysis based on the distribution of components between the two phases - the fixed and mobile, continuously flowing through the stationary phase.

The idea of ​​the chromatographic method belongs to the Russian botanist M.S.Tsvetu, who in 1903 formulated the principle of the method and the possibility of its practical implementation in the form of liquid-adsorption separation of chlorophyll pigments in the leaves of different color components. Hence the name is chromatography, ie photography. The color was later proved that the method is also applicable to non-colored components.

Types of chromatography and analysis techniques

Depending on the nature of the phenomena underlying the separation, distinguish adsorption, distribution and sediment chromatography. On basis of adsorption chromatography - using unequal absorbability shared substances on solid adsorbent surface.

Table 3 Classification of chromatographic methods of aggregation of stationary and mobile phases

| Stationary phase | Movable phase | Name and и receiptin designation | Versions of chromatography |  |
| --- | --- | --- | --- | --- |
| Liquid (solvent) | Gas (carrier gas) | gas-liquid (GLC) | columnar, capillary, with programming of temperature |  |
|  | Liquid | Liquid - Liquid (LLC) | columnar, paper |  |
| Solid (adsorbent) | Gas (carrier-gas) | Gas adsorption (GAC) |  | columnar, capillary, with programming of temperature |
|  | Liquid | Liquid - adsorption (LAC) |  | Ion-exchange, columnar, thin-layer, gradient- elution |

The basis of partition chromatography  is absorption components separated liquid, the differences in solubility, distribution coefficients between the two coexisting liquid or liquid and gas phases.

In sedimentary chromatography used the phenomenon of formation of insoluble compounds by chemical reactions with the reagent substances shared-precipitant.

Separation of the components can be made in the columns of sedimentary type (column chromatography), capillaries filled with the stationary phase (capillary chromatography) on filtered paper (paper chromatography), a thin layer of sorbent, for the bearing of a glass plate (thin layer chromatography) . Divide the mixture can be at a constant temperature and pressure, or with programming, ie with a gradual increase in temperature for a given program or the pressure of the carrier gas. All options are molecular chromatography and liquid-adsorption chromatography and ion exchange can be, implemented in the exchange-ions separated components from the surface ion-exchange adsorbent.

Gas - liquid chromatography

Gas - liquid chromatography, which opened in 1952 and A.Dzheymsom A.Martinom, the most widely used in the petrochemical and refining, compared to the other options chromatography, as well as with all the other physical, chemical and physical methods of analysis. This is due to the following advantages of the method:

1) high separating capability - no other method will not so quickly (within 0.5-1 hours) to analyze the fraction of oil, consisting of tens or hundreds of components, the marginal efficiency of columns reached in GLC is about 106 theoretical plates;

2) high sensitivity is the method allows to determine the concentration of a trace to 10-10%, the sensitivity of detection of gases by several orders of magnitude higher than in liquid chromatography;

3) The speed of analysis is the rate of diffusion of gases approximately 1000 times higher than in liquids, so the column quickly, equilibrium is reached and the high specific performance;

4) The small size of the sample needed for analysis (up to tenth-whether milligram);

5) relatively high accuracy of the analysis is average The relative error of measurement of concentrations of 5%, and the chromatography of high class with a more thorough stabilization of the main parameters of 2% (relative);

6) the relative simplicity of equipment design.

Laboratory work № 6

Objective: To determine the composition of the individual gas or petroleum-derived gasoline

Schematic diagram of a gas chromatograph is shown in figure 3. When gas - liquid chromatography column filled with immobile phase - inert divided solid carrier, UT starting current of the carrier gas, which is introduced by a micro syringe test portion. The analyzed mixture is evaporated in the evaporator heated to a temperature above the final boiling point fractions, and then separated by column chromatography.

Of column flow of carrier gas containing a pair of separated components of the mixture passes through one of the chambers of the detector. After comparing the detector chamber passed a clean carrier gas (helium, argon, nitrogen). The principle of the detector can be different. For example, in katharometer is widely used as detectors in gas chromatography are used in a variety of thermal conductivity of the carrier gas and analyzed fix components. The difference of thermal conductivity of the gas in the chamber katharometer passing through one of these components leads to a mixture of the temperature difference and electric heating filaments, inside the camera, and the result - unbalancing Wheatstone bridge, the signal is amplified katharometer potentiometer recorder and recorded in the chromatogram as peaks in the component.

Widely distributed in the GC also exchange-ionization detectors, has a higher sensitivity compared to katharometer, sometimes and special detectors (electron capture, microcoulombmeter, infrared, etc.), highly selective with respect to certain groups of compounds.

1 - container with carrier gas, 2 - gearbox, 3 - fine regulating valve;

4 - drier, 5 - pressure gauge, 6 - heater, 7 - the injection site, 8 - detector, 9 - chromatographic column, 10 - thermostat 11 - meter flow rate, 12 - electronic potentiometer.

Figure 3 Schematic diagram of a gas chromatograph

Type of adsorption chromatography experiment

Washed and dried well burette interferes in the clutch, and assembled a column set vertically in the hold tripod. In burette put a layer of cotton wool, which poured 15 g of silica gel. Silica gel evenly tamped taps the column while turning. In the column through a funnel with a long stem pour 15 ml of the tested product, the column stopper with pressure-tube.

Once the product is completely absorbed by silica gel column to fill up a layer of silica gel (1-2cm) and pour the liquid displace - first ethanol (7 ml.). After its absorption of 1-2cm back to bed of silica gel, and then pour the distilled water 16 ml.

The amount of water is taken such that a layer of water on silica gel Lemma stayed until the end of the experiment. Once the alcohol enters the silica gel, between alcohol and hydrocarbon layer usually comes sharp boundary in the form of a yellow ring, went down to the extent of displacement of the product with alcohol or water. When an abnormal displacement of the ring takes the wrong shape, and it appears breaks. In this case, the experience should be repeated.

Leakage of fluid enters the column in a graduated cylinder. The column was first derived from paraffinic and naphthenic hydrocarbons - typically at a rate of 1 ml per 3 minutes. 1 ml of the product selected, make formolity reaction if formolity reaction is negative, select another 1 ml and determine aniline point.

Control questions to laboratory work № 6

1. What are types of chromatography?

2. Which two gases – media is used?

3. What is chromatography?

4. What types of detectors are used?

5. What authentication methods are available?

6. How much is the percentage of the individual components?

References

- Надиров Н.К. Нефть и газ Казахстана. В 2-х ч.- Алматы:Ғылым, 1995.-320с.

- Надиров Н.К. Нефть: вчера, сегодня, завтра. –Алма–Ата: Казахстан, 1983.-216с.

- Химия нефти. Богомолов А.И., Гайле А.А., Громова В.В. и др. /Под ред.   В.А. Проскурякова, А.Е. Драбкина.- Л.: Химия, 1989. - 424с.

- Смидович Е.В. Технология нефти и газа. – М.: Химия, 1980.-232 с.

- Калечиц И.В. Химия гидрогенизационных процессов в переработке топлив. – М.: Химия, 1973.- 278с.

- Гуревич И.Л. Технология переработки нефти и газа. ч 1.- М.: Химия,  1972.-360с.

- Эрих В.Н., Расина А.Г. Химия и технология нефти и газа. - Л.: Химия,  1985.- 407с.

- Орочко Д.И., Сулимов А.Д., Осипов Л.М. Гидрогенизационные процессы в переработке нефти. - Л.: Химия, 1971.-192с.

- Омаралиев Т.О. Каталитический крекинг газойлевых фракций нефтей Западного Казахстана. - Алматы: Наука, 1988.-176с.

- Омаралиев Т.О., Айтымбетов Н.Ш. Катализ в переработке нефти и газа. - Алматы: РИК, 1999.-137с.

- Омаралиев Т.О. Химия и технология переработки нефти и газа. ч1.  Недеструктивные процессы. - Алматы: Білім, 2001.-399с.

- Омаралиев Т.О. Химия и технология переработки нефти и газа. ч2. Деструктивные процессы. - Алматы: Білім, 2001.-278с.

- Оболенцев Р.Д., Машкина А.О. Гидрогенолиз сероорганических соединений нефти. - М.: Гостоптехиздат, 1961.-362с.

CONTENTS                                                                p

| GENERAL OBJECTIVE TO IMPLEMENTATION LABORATORIAL WORKS | 3 |
| --- | --- |
| 1 METHODS ADJECTIVES AND ALLOCATION UNSATURATED HYDROCARBONS | 3 |
| Laboratory work № 1 Determination of unsaturated hydrocarbons in gasoline secondary origin | 6 |
| 2 DEFINITION GROUP AND INDIVIDUAL COMPOSITION BENZINE STRAIGHT RUSH Light fractions oil hydrocarbons | 9 |
| Laboratory work № 2 | 11 |
| Determination of aniline points by methods equal volumes | 12 |
| Removing of aromatic hydrocarbons | 13 |
| Formolity reaction | 14 |
| 3 SULFUR COMPOUNDS OF OIL | 16 |
| Laboratory work № 3a Determination of sulfur by tube (State Standard 19121-73) | 18 |
| Laboratory work № 3b Determination of total sulfur | 21 |
| 4. OIL OXYGEN COMPOUNDS (Determination of acid value for light petroleum) | 24 |
| Laboratory work № 4 Determination of acid value of oil | 26 |
| 5. ASPHALTIC-RESINOUS SUBSTANCES OF OIL | 28 |
| LABORATORY WORK №5 Determination of asphaltic-resinous substances | 29 |
| 6 ANALYSIS OF HYDROCARBONIC COMPOSITION OF EASY FRACTIONS OF OIL RAW MATERIALS BY HROMATOGRAPHIC METHOD | 32 |
| Types of chromatography and analysis techniques | 32 |
| Gas - liquid chromatography | 34 |
| Laboratory work № 6 Type of adsorption chromatography experiment | 36 |
| References |  |

Isa A.B, Tasanbaeva N.E, Sakybaeva S.A., Bymbetova G.

Guidelines

on the discipline

«Chemistry and Physics of Organic Substances»

It is passed for printing _______________

Paper format 60-84  1/16

Typographic paper. Offset printing. Volume 3,94.

Number of  printed copies ___ . Order  № ____

© M.Auezov South Kazakhstan state university edition

Printing-multiplying workshop of M.Auezov SKSU, Shymkent, Tauke Khan Avenue, 5